User Report 2

Model File: Model, Revision 0

1/24/2019

| Table of Contents |  |
| --- | --- |
| 1. Structure Data | 5 |
| 1.1 Story Data | 5 |
| 1.2 Grid Data | 5 |
| 1.3 Point Coordinates | 6 |
| 1.4 Line Connectivity | 7 |
| 1.5 Area Connectivity | 10 |
| 1.6 Link Connectivity | 13 |
| 1.7 Mass | 13 |
| 1.8 Groups | 15 |
| 2. Properties | 16 |
| 2.1 Materials | 16 |
| 2.2 Frame Sections | 16 |
| 2.3 Shell Sections | 16 |
| 2.4 Reinforcement Sizes | 16 |
| 2.5 Links | 16 |
| 2.6 Tendon Sections | 16 |
| 3. Assignments | 18 |
| 3.1 Joint Assignments | 18 |
| 3.2 Frame Assignments | 26 |
| 3.3 Shell Assignments | 45 |
| 3.4 Link Assignments | 50 |
| 4. Loads | 51 |
| 4.1 Load Patterns | 51 |
| 4.2 Auto Seismic Loading | 51 |
| 4.3 Applied Loads | 58 |
| 4.3.1 Line Loads | 58 |
| 4.3.2 Area Loads | 81 |
| 4.4 Load Cases | 89 |
| 4.5 Load Combinations | 89 |
| 5. Analysis Results | 91 |
| 5.1 Structure Results | 91 |
| 5.2 Story Results | 105 |
| 5.3 Point Results | 146 |
| 5.4 Modal Results | 175 |

| List of Tables |  |
| --- | --- |
| Table 1.1 Story Data | 5 |
| Table 1.2 Grid Systems | 5 |
| Table 1.3 Grid Lines | 5 |
| Table 1.4 Joint Coordinates Data | 6 |
| Table 1.5 Column Connectivity Data | 7 |
| Table 1.6 Beam Connectivity Data | 8 |
| Table 1.7 Floor Connectivity Data | 10 |
| Table 1.8 Link Connectivity | 13 |
| Table 1.9 Mass Source | 13 |
| Table 1.10 Centers of Mass and Rigidity | 13 |
| Table 1.11 Mass Summary by Diaphragm | 14 |
| Table 1.12 Mass Summary by Story | 14 |
| Table 1.13 Group Definitions | 15 |
| Table 2.1 Material Properties - Summary | 16 |
| Table 2.2 Frame Sections - Summary | 16 |
| Table 2.3 Shell Sections - Summary | 16 |
| Table 2.4 Reinforcing Bar Sizes | 16 |
| Table 2.5 Link Properties - Summary | 16 |
| Table 2.6 Tendon Section Properties | 17 |
| Table 3.1 Joint Assignments - Summary | 18 |
| Table 3.2 Frame Assignments - Summary | 26 |
| Table 3.3 Shell Assignments - Summary | 45 |
| Table 3.4 Link Assignments - Summary | 50 |
| Table 4.1 Load Patterns | 51 |
| Table 4.4 Frame Loads - Distributed | 58 |
| Table 4.5 Shell Loads - Uniform | 81 |
| Table 4.6 Load Cases - Summary | 89 |
| Table 4.7 Load Combinations | 89 |
| Table 5.1 Base Reactions | 91 |
| Table 5.2 Centers of Mass and Rigidity | 91 |
| Table 5.3 Diaphragm Center of Mass Displacements | 92 |
| Table 5.4 Story Max/Avg Displacements | 105 |
| Table 5.5 Story Drifts | 113 |
| Table 5.6 Story Forces | 121 |
| Table 5.7 Joint Reactions | 146 |
| Table 5.8 Modal Periods and Frequencies | 175 |
| Table 5.9 Modal Participating Mass Ratios | 176 |
| Table 5.10 Modal Load Participation Ratios | 178 |
| Table 5.11 Modal Direction Factors | 178 |

# 1 Structure Data

This chapter provides model geometry information, including items such as story levels, point coordinates, and element connectivity.

## 1.1 Story Data

Table 1.1 - Story Data

| Name | Height m | Elevation m | Master Story | Similar To | Splice Story |
| --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | 3 | 36 | No | None | No |
| 12Story-Story11 | 3 | 33 | No | None | No |
| 12Story-Story10 | 3 | 30 | No | None | No |
| 12Story-Story9 | 3 | 27 | No | None | No |
| 12Story-Story8 | 3 | 24 | No | None | No |
| 12Story-Story7 | 3 | 21 | No | None | No |
| 12Story-Story6 | 3 | 18 | No | None | No |
| 12Story-Story5 | 3 | 15 | No | None | No |
| 12Story-Story4 | 3 | 12 | No | None | No |
| 12Story-Story3 | 3 | 9 | No | None | No |
| 12Story-Story2 | 3 | 6 | No | None | No |
| 12Story-Story1 | 3 | 3 | No | None | No |
| 12Story-Base | 0 | 0 | No | None | No |
| 6Story-Story6 | 3 | 18 | No | None | No |
| 6Story-Story5 | 3 | 15 | No | None | No |
| 6Story-Story4 | 3 | 12 | No | None | No |
| 6Story-Story3 | 3 | 9 | No | None | No |
| 6Story-Story2 | 3 | 6 | No | None | No |
| 6Story-Story1 | 3 | 3 | No | None | No |
| 6Story-Base | 0 | 0 | No | None | No |
| 3Story-Story3 | 3 | 9 | Yes | None | No |
| 3Story-Story2 | 3 | 6 | No | 3Story-Story3 | No |
| 3Story-Story1 | 3 | 3 | No | 3Story-Story3 | No |
| 3Story-Base | 0 | 0 | No | None | No |

## 1.2 Grid Data

Table 1.2 - Grid Systems

| Name | Type | Story Range | X Origin m | Y Origin m | Rotation deg | Bubble Size m | Color |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-G1 | Cartesian | Default | 15.5 | 0 | 0 | 1.25 | ffa0a0a0 |
| 6Story-G1 | Cartesian | Default | 0 | 0 | 0 | 1.25 | ffa0a0a0 |
| 6Story-G2 | Cartesian | Default | 31 | 0 | 0 | 1.25 | ffa0a0a0 |
| 3Story-G1 | Cartesian | Default | 0 | 0 | 0 | 1.25 | ffa0a0a0 |
| 3Story-G2 | Cartesian | Default | 0 | 0 | 0 | 1.25 | ffa0a0a0 |

Table 1.3 - Grid Lines

| Grid System | Grid Direction | Grid ID | Visible | Bubble Location | Ordinate m |
| --- | --- | --- | --- | --- | --- |
| 12Story-G1 | X | 1 | Yes | End | 0 |
| 12Story-G1 | X | 2 | Yes | End | 5 |
| 12Story-G1 | X | 3 | Yes | End | 10 |
| 12Story-G1 | X | 4 | Yes | End | 15 |
| 12Story-G1 | Y | D | Yes | Start | 0 |
| 12Story-G1 | Y | C | Yes | Start | 5 |
| 12Story-G1 | Y | B | Yes | Start | 10 |
| 12Story-G1 | Y | A | Yes | Start | 15 |
| 6Story-G2 | X | 1 | Yes | End | 0 |
| 6Story-G2 | X | 2 | Yes | End | 5 |
| 6Story-G2 | X | 3 | Yes | End | 10 |
| 6Story-G2 | X | 4 | Yes | End | 15 |
| 6Story-G2 | Y | D | Yes | Start | 0 |
| 6Story-G2 | Y | C | Yes | Start | 5 |
| 6Story-G2 | Y | B | Yes | Start | 10 |
| 6Story-G2 | Y | A | Yes | Start | 15 |
| 3Story-G2 | X | 1 | Yes | End | 0 |
| 3Story-G2 | X | 2 | Yes | End | 5 |
| 3Story-G2 | X | 3 | Yes | End | 10 |
| 3Story-G2 | X | 4 | Yes | End | 15 |
| 3Story-G2 | Y | D | Yes | Start | 0 |
| 3Story-G2 | Y | C | Yes | Start | 5 |
| 3Story-G2 | Y | B | Yes | Start | 10 |
| 3Story-G2 | Y | A | Yes | Start | 15 |

## 1.3 Point Coordinates

Table 1.4 - Joint Coordinates Data

| Label | X m | Y m | ΔZ Below m |
| --- | --- | --- | --- |
| 1 | 0 | 15 | 0 |
| 2 | 15 | 15 | 0 |
| 3 | 15 | 0 | 0 |
| 4 | 0 | 0 | 0 |
| 5 | 5 | 15 | 0 |
| 6 | 10 | 15 | 0 |
| 7 | 0 | 5 | 0 |
| 8 | 0 | 10 | 0 |
| 9 | 5 | 0 | 0 |
| 10 | 10 | 0 | 0 |
| 11 | 15 | 10 | 0 |
| 12 | 15 | 5 | 0 |
| 13 | 5 | 5 | 0 |
| 14 | 5 | 10 | 0 |
| 15 | 10 | 5 | 0 |
| 16 | 10 | 10 | 0 |
| 20 | 31 | 15 | 0 |
| 21 | 31 | 0 | 0 |
| 28 | 31 | 10 | 0 |
| 29 | 31 | 5 | 0 |
| 61 | 15.5 | 0 | 0 |
| 62 | 15.5 | 15 | 0 |
| 63 | 30.5 | 15 | 0 |
| 64 | 30.5 | 0 | 0 |
| 65 | 20.5 | 15 | 0 |
| 66 | 25.5 | 15 | 0 |
| 67 | 15.5 | 10 | 0 |
| 68 | 15.5 | 5 | 0 |
| 69 | 20.5 | 0 | 0 |
| 70 | 25.5 | 0 | 0 |
| 71 | 30.5 | 10 | 0 |
| 72 | 30.5 | 5 | 0 |
| 73 | 20.5 | 5 | 0 |
| 74 | 20.5 | 10 | 0 |
| 75 | 25.5 | 5 | 0 |
| 76 | 25.5 | 10 | 0 |
| 102 | 36 | 15 | 0 |
| 103 | 41 | 15 | 0 |
| 104 | 46 | 15 | 0 |
| 105 | 46 | 0 | 0 |
| 106 | 46 | 5 | 0 |
| 107 | 46 | 10 | 0 |
| 108 | 36 | 0 | 0 |
| 109 | 41 | 0 | 0 |
| 110 | 36 | 5 | 0 |
| 111 | 36 | 10 | 0 |
| 112 | 41 | 5 | 0 |
| 113 | 41 | 10 | 0 |

## 1.4 Line Connectivity

Table 1.5 - Column Connectivity Data

| Column | I-End Point | J-End Point | I-End Story |
| --- | --- | --- | --- |
| C1 | 1 | 1 | Below |
| C2 | 2 | 2 | Below |
| C3 | 3 | 3 | Below |
| C4 | 4 | 4 | Below |
| C5 | 5 | 5 | Below |
| C6 | 6 | 6 | Below |
| C7 | 7 | 7 | Below |
| C8 | 8 | 8 | Below |
| C9 | 9 | 9 | Below |
| C10 | 10 | 10 | Below |
| C11 | 11 | 11 | Below |
| C12 | 12 | 12 | Below |
| C13 | 13 | 13 | Below |
| C14 | 14 | 14 | Below |
| C15 | 15 | 15 | Below |
| C16 | 16 | 16 | Below |
| C20 | 20 | 20 | Below |
| C21 | 21 | 21 | Below |
| C28 | 28 | 28 | Below |
| C29 | 29 | 29 | Below |
| C17 | 61 | 61 | Below |
| C50 | 62 | 62 | Below |
| C51 | 63 | 63 | Below |
| C52 | 64 | 64 | Below |
| C53 | 65 | 65 | Below |
| C54 | 66 | 66 | Below |
| C55 | 67 | 67 | Below |
| C56 | 68 | 68 | Below |
| C57 | 69 | 69 | Below |
| C58 | 70 | 70 | Below |
| C59 | 71 | 71 | Below |
| C60 | 72 | 72 | Below |
| C61 | 73 | 73 | Below |
| C62 | 74 | 74 | Below |
| C63 | 75 | 75 | Below |
| C64 | 76 | 76 | Below |
| C81 | 102 | 102 | Below |
| C82 | 103 | 103 | Below |
| C83 | 104 | 104 | Below |
| C84 | 105 | 105 | Below |
| C85 | 106 | 106 | Below |
| C86 | 107 | 107 | Below |
| C87 | 108 | 108 | Below |
| C88 | 109 | 109 | Below |
| C89 | 110 | 110 | Below |
| C90 | 111 | 111 | Below |
| C91 | 112 | 112 | Below |
| C92 | 113 | 113 | Below |

Table 1.6 - Beam Connectivity Data

| Beam | I-End Point | J-End Point | Curve Type |
| --- | --- | --- | --- |
| B39 | 4 | 7 | None |
| B40 | 7 | 8 | None |
| B41 | 8 | 1 | None |
| B42 | 9 | 13 | None |
| B43 | 13 | 14 | None |
| B44 | 14 | 5 | None |
| B45 | 10 | 15 | None |
| B46 | 15 | 16 | None |
| B47 | 16 | 6 | None |
| B48 | 3 | 12 | None |
| B73 | 12 | 11 | None |
| B74 | 11 | 2 | None |
| B75 | 4 | 9 | None |
| B76 | 9 | 10 | None |
| B77 | 10 | 3 | None |
| B78 | 7 | 13 | None |
| B79 | 13 | 15 | None |
| B80 | 15 | 12 | None |
| B81 | 8 | 14 | None |
| B82 | 14 | 16 | None |
| B83 | 16 | 11 | None |
| B84 | 1 | 5 | None |
| B85 | 5 | 6 | None |
| B86 | 6 | 2 | None |
| B25 | 61 | 68 | None |
| B26 | 68 | 67 | None |
| B27 | 67 | 62 | None |
| B28 | 69 | 73 | None |
| B29 | 73 | 74 | None |
| B30 | 74 | 65 | None |
| B31 | 70 | 75 | None |
| B32 | 75 | 76 | None |
| B33 | 76 | 66 | None |
| B34 | 64 | 72 | None |
| B35 | 72 | 71 | None |
| B36 | 71 | 63 | None |
| B37 | 61 | 69 | None |
| B38 | 69 | 70 | None |
| B49 | 70 | 64 | None |
| B50 | 68 | 73 | None |
| B51 | 73 | 75 | None |
| B52 | 75 | 72 | None |
| B53 | 67 | 74 | None |
| B54 | 74 | 76 | None |
| B55 | 76 | 71 | None |
| B56 | 62 | 65 | None |
| B57 | 65 | 66 | None |
| B58 | 66 | 63 | None |
| B59 | 21 | 29 | None |
| B60 | 29 | 28 | None |
| B61 | 28 | 20 | None |
| B62 | 108 | 110 | None |
| B63 | 110 | 111 | None |
| B64 | 111 | 102 | None |
| B65 | 109 | 112 | None |
| B66 | 112 | 113 | None |
| B67 | 113 | 103 | None |
| B68 | 105 | 106 | None |
| B69 | 106 | 107 | None |
| B70 | 107 | 104 | None |
| B71 | 21 | 108 | None |
| B72 | 108 | 109 | None |
| B121 | 109 | 105 | None |
| B122 | 29 | 110 | None |
| B123 | 110 | 112 | None |
| B124 | 112 | 106 | None |
| B125 | 28 | 111 | None |
| B126 | 111 | 113 | None |
| B127 | 113 | 107 | None |
| B128 | 20 | 102 | None |
| B129 | 102 | 103 | None |
| B130 | 103 | 104 | None |

## 1.5 Area Connectivity

Table 1.7 - Floor Connectivity Data

| Floor | Number of Edges | Edge Number | Point 1 | Point 2 | Curve Type |
| --- | --- | --- | --- | --- | --- |
| F25 | 4 | 1 | 8 | 14 | None |
|  |  | 2 | 14 | 5 | None |
|  |  | 3 | 5 | 1 | None |
|  |  | 4 | 1 | 8 | None |
| F26 | 4 | 1 | 14 | 16 | None |
|  |  | 2 | 16 | 6 | None |
|  |  | 3 | 6 | 5 | None |
|  |  | 4 | 5 | 14 | None |
| F27 | 4 | 1 | 16 | 11 | None |
|  |  | 2 | 11 | 2 | None |
|  |  | 3 | 2 | 6 | None |
|  |  | 4 | 6 | 16 | None |
| F28 | 4 | 1 | 15 | 12 | None |
|  |  | 2 | 12 | 11 | None |
|  |  | 3 | 11 | 16 | None |
|  |  | 4 | 16 | 15 | None |
| F29 | 4 | 1 | 13 | 15 | None |
|  |  | 2 | 15 | 16 | None |
|  |  | 3 | 16 | 14 | None |
|  |  | 4 | 14 | 13 | None |
| F30 | 4 | 1 | 7 | 13 | None |
|  |  | 2 | 13 | 14 | None |
|  |  | 3 | 14 | 8 | None |
|  |  | 4 | 8 | 7 | None |
| F31 | 4 | 1 | 4 | 9 | None |
|  |  | 2 | 9 | 13 | None |
|  |  | 3 | 13 | 7 | None |
|  |  | 4 | 7 | 4 | None |
| F32 | 4 | 1 | 9 | 10 | None |
|  |  | 2 | 10 | 15 | None |
|  |  | 3 | 15 | 13 | None |
|  |  | 4 | 13 | 9 | None |
| F33 | 4 | 1 | 10 | 3 | None |
|  |  | 2 | 3 | 12 | None |
|  |  | 3 | 12 | 15 | None |
|  |  | 4 | 15 | 10 | None |
| F10 | 4 | 1 | 61 | 69 | None |
|  |  | 2 | 69 | 73 | None |
|  |  | 3 | 73 | 68 | None |
|  |  | 4 | 68 | 61 | None |
| F11 | 4 | 1 | 68 | 73 | None |
|  |  | 2 | 73 | 74 | None |
|  |  | 3 | 74 | 67 | None |
|  |  | 4 | 67 | 68 | None |
| F12 | 4 | 1 | 67 | 74 | None |
|  |  | 2 | 74 | 65 | None |
|  |  | 3 | 65 | 62 | None |
|  |  | 4 | 62 | 67 | None |
| F13 | 4 | 1 | 69 | 70 | None |
|  |  | 2 | 70 | 75 | None |
|  |  | 3 | 75 | 73 | None |
|  |  | 4 | 73 | 69 | None |
| F14 | 4 | 1 | 73 | 75 | None |
|  |  | 2 | 75 | 76 | None |
|  |  | 3 | 76 | 74 | None |
|  |  | 4 | 74 | 73 | None |
| F15 | 4 | 1 | 74 | 76 | None |
|  |  | 2 | 76 | 66 | None |
|  |  | 3 | 66 | 65 | None |
|  |  | 4 | 65 | 74 | None |
| F16 | 4 | 1 | 70 | 64 | None |
|  |  | 2 | 64 | 72 | None |
|  |  | 3 | 72 | 75 | None |
|  |  | 4 | 75 | 70 | None |
| F17 | 4 | 1 | 75 | 72 | None |
|  |  | 2 | 72 | 71 | None |
|  |  | 3 | 71 | 76 | None |
|  |  | 4 | 76 | 75 | None |
| F18 | 4 | 1 | 76 | 71 | None |
|  |  | 2 | 71 | 63 | None |
|  |  | 3 | 63 | 66 | None |
|  |  | 4 | 66 | 76 | None |
| F19 | 4 | 1 | 21 | 108 | None |
|  |  | 2 | 108 | 110 | None |
|  |  | 3 | 110 | 29 | None |
|  |  | 4 | 29 | 21 | None |
| F20 | 4 | 1 | 29 | 110 | None |
|  |  | 2 | 110 | 111 | None |
|  |  | 3 | 111 | 28 | None |
|  |  | 4 | 28 | 29 | None |
| F21 | 4 | 1 | 28 | 111 | None |
|  |  | 2 | 111 | 102 | None |
|  |  | 3 | 102 | 20 | None |
|  |  | 4 | 20 | 28 | None |
| F22 | 4 | 1 | 111 | 113 | None |
|  |  | 2 | 113 | 103 | None |
|  |  | 3 | 103 | 102 | None |
|  |  | 4 | 102 | 111 | None |
| F23 | 4 | 1 | 113 | 107 | None |
|  |  | 2 | 107 | 104 | None |
|  |  | 3 | 104 | 103 | None |
|  |  | 4 | 103 | 113 | None |
| F24 | 4 | 1 | 112 | 106 | None |
|  |  | 2 | 106 | 107 | None |
|  |  | 3 | 107 | 113 | None |
|  |  | 4 | 113 | 112 | None |
| F46 | 4 | 1 | 110 | 112 | None |
|  |  | 2 | 112 | 113 | None |
|  |  | 3 | 113 | 111 | None |
|  |  | 4 | 111 | 110 | None |
| F47 | 4 | 1 | 108 | 109 | None |
|  |  | 2 | 109 | 112 | None |
|  |  | 3 | 112 | 110 | None |
|  |  | 4 | 110 | 108 | None |
| F48 | 4 | 1 | 109 | 105 | None |
|  |  | 2 | 105 | 106 | None |
|  |  | 3 | 106 | 112 | None |
|  |  | 4 | 112 | 109 | None |

## 1.6 Link Connectivity

Table 1.8 - Link Connectivity

| Unique Name | Story | I-End Point | J-End Point | Length m |
| --- | --- | --- | --- | --- |
| K2 | Story6 | 323 | 84 | 0.5 |
| K1 | Story3 | 386 | 21 | 0.5 |
| K2 | Base | 323 | 84 | 0.5 |

## 1.7 Mass

Table 1.9 - Mass Source

| Name | Include Elements | Include Added Mass | Include Loads | Include Lateral | Include Vertical | Lump at Stories | IsDefault | Load Pattern | Multiplier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MsSrc1 | No | No | Yes | Yes | No | Yes | Yes | Dead | 1 |
| MsSrc1 | No | No | Yes | Yes | No | Yes | Yes | Live | 0.25 |

Table 1.10 - Centers of Mass and Rigidity

| Story | Diaphragm | Mass X kgf-s²/m | Mass Y kgf-s²/m | XCM m | YCM m | Cumulative X kgf-s²/m | Cumulative Y kgf-s²/m | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | D1 | 32413.21 | 32413.21 | 23 | 7.5 | 32413.21 | 32413.21 | 23 | 7.5 |  |  |
| 12Story-Story11 | D1 | 33529.8 | 33529.8 | 23 | 7.5 | 65943.01 | 65943.01 | 23 | 7.5 |  |  |
| 12Story-Story10 | D1 | 33529.8 | 33529.8 | 23 | 7.5 | 99472.8 | 99472.8 | 23 | 7.5 |  |  |
| 12Story-Story9 | D1 | 33982.55 | 33982.55 | 23 | 7.5 | 133455.36 | 133455.36 | 23 | 7.5 |  |  |
| 12Story-Story8 | D1 | 34563.79 | 34563.79 | 23 | 7.5 | 168019.15 | 168019.15 | 23 | 7.5 |  |  |
| 12Story-Story7 | D1 | 34563.79 | 34563.79 | 23 | 7.5 | 202582.94 | 202582.94 | 23 | 7.5 |  |  |
| 12Story-Story6 | D1 | 34992.07 | 34992.07 | 23 | 7.5 | 237575.01 | 237575.01 | 23 | 7.5 |  |  |
| 12Story-Story5 | D1 | 35527.42 | 35527.42 | 23 | 7.5 | 273102.43 | 273102.43 | 23 | 7.5 |  |  |
| 12Story-Story4 | D1 | 35527.42 | 35527.42 | 23 | 7.5 | 308629.85 | 308629.85 | 23 | 7.5 |  |  |
| 12Story-Story3 | D1 | 36194.32 | 36194.32 | 23 | 7.5 | 344824.17 | 344824.17 | 23 | 7.5 |  |  |
| 12Story-Story2 | D1 | 36989.7 | 36989.7 | 23 | 7.5 | 381813.86 | 381813.86 | 23 | 7.5 |  |  |
| 12Story-Story1 | D1 | 36989.7 | 36989.7 | 23 | 7.5 | 418803.56 | 418803.56 | 23 | 7.5 |  |  |
| 6Story-Story6 | D1 | 32413.21 | 32413.21 | 38.5 | 7.5 | 451216.77 | 451216.77 | 24.1134 | 7.5 |  |  |
| 6Story-Story5 | D1 | 33529.8 | 33529.8 | 38.5 | 7.5 | 484746.57 | 484746.57 | 25.1086 | 7.5 |  |  |
| 6Story-Story4 | D1 | 33529.8 | 33529.8 | 38.5 | 7.5 | 518276.36 | 518276.36 | 25.9749 | 7.5 |  |  |
| 6Story-Story3 | D1 | 33982.55 | 33982.55 | 38.5 | 7.5 | 552258.92 | 552258.92 | 26.7456 | 7.5 |  |  |
| 6Story-Story2 | D1 | 34563.79 | 34563.79 | 38.5 | 7.5 | 586822.71 | 586822.71 | 27.438 | 7.5 |  |  |
| 6Story-Story1 | D1 | 34563.79 | 34563.79 | 38.5 | 7.5 | 621386.5 | 621386.5 | 28.0533 | 7.5 |  |  |
| 3Story-Story3 | D1 | 32413.21 | 32413.21 | 7.5 | 7.5 | 653799.7 | 653799.7 | 27.0343 | 7.5 |  |  |
| 3Story-Story2 | D1 | 33529.8 | 33529.8 | 7.5 | 7.5 | 687329.5 | 687329.5 | 26.0814 | 7.5 |  |  |
| 3Story-Story1 | D1 | 33529.8 | 33529.8 | 7.5 | 7.5 | 720859.3 | 720859.3 | 25.2171 | 7.5 |  |  |

Table 1.11 - Mass Summary by Diaphragm

| Story | Diaphragm | Mass X kgf-s²/m | Mass Y kgf-s²/m | Mass Moment of Inertia kgf-m-s² | X Mass Center m | Y Mass Center m |
| --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | D1 | 32413.21 | 32413.21 | 1649448.3 | 23 | 7.5 |
| 12Story-Story11 | D1 | 33529.8 | 33529.8 | 1712352.04 | 23 | 7.5 |
| 12Story-Story10 | D1 | 33529.8 | 33529.8 | 1712352.04 | 23 | 7.5 |
| 12Story-Story9 | D1 | 33982.55 | 33982.55 | 1740190.29 | 23 | 7.5 |
| 12Story-Story8 | D1 | 34563.79 | 34563.79 | 1774988.11 | 23 | 7.5 |
| 12Story-Story7 | D1 | 34563.79 | 34563.79 | 1774988.11 | 23 | 7.5 |
| 12Story-Story6 | D1 | 34992.07 | 34992.07 | 1793419.48 | 23 | 7.5 |
| 12Story-Story5 | D1 | 35527.42 | 35527.42 | 1816936.68 | 23 | 7.5 |
| 12Story-Story4 | D1 | 35527.42 | 35527.42 | 1816936.68 | 23 | 7.5 |
| 12Story-Story3 | D1 | 36194.32 | 36194.32 | 1856629.14 | 23 | 7.5 |
| 12Story-Story2 | D1 | 36989.7 | 36989.7 | 1903281.15 | 23 | 7.5 |
| 12Story-Story1 | D1 | 36989.7 | 36989.7 | 1903281.15 | 23 | 7.5 |
| 6Story-Story6 | D1 | 32413.21 | 32413.21 | 1539510.15 | 38.5 | 7.5 |
| 6Story-Story5 | D1 | 33529.8 | 33529.8 | 1602413.89 | 38.5 | 7.5 |
| 6Story-Story4 | D1 | 33529.8 | 33529.8 | 1602413.89 | 38.5 | 7.5 |
| 6Story-Story3 | D1 | 33982.55 | 33982.55 | 1630252.14 | 38.5 | 7.5 |
| 6Story-Story2 | D1 | 34563.79 | 34563.79 | 1665049.96 | 38.5 | 7.5 |
| 6Story-Story1 | D1 | 34563.79 | 34563.79 | 1665049.96 | 38.5 | 7.5 |
| 3Story-Story3 | D1 | 32413.21 | 32413.21 | 1539510.15 | 7.5 | 7.5 |
| 3Story-Story2 | D1 | 33529.8 | 33529.8 | 1602413.89 | 7.5 | 7.5 |
| 3Story-Story1 | D1 | 33529.8 | 33529.8 | 1602413.89 | 7.5 | 7.5 |

Table 1.12 - Mass Summary by Story

| Story | UX kgf-s²/m | UY kgf-s²/m | UZ kgf-s²/m |
| --- | --- | --- | --- |
| 12Story-Story12 | 32413.21 | 32413.21 | 0 |
| 12Story-Story11 | 33529.8 | 33529.8 | 0 |
| 12Story-Story10 | 33529.8 | 33529.8 | 0 |
| 12Story-Story9 | 33982.55 | 33982.55 | 0 |
| 12Story-Story8 | 34563.79 | 34563.79 | 0 |
| 12Story-Story7 | 34563.79 | 34563.79 | 0 |
| 12Story-Story6 | 34992.07 | 34992.07 | 0 |
| 12Story-Story5 | 35527.42 | 35527.42 | 0 |
| 12Story-Story4 | 35527.42 | 35527.42 | 0 |
| 12Story-Story3 | 36194.32 | 36194.32 | 0 |
| 12Story-Story2 | 36989.7 | 36989.7 | 0 |
| 12Story-Story1 | 36989.7 | 36989.7 | 0 |
| 12Story-Base | 5842.97 | 5842.97 | 0 |
| 6Story-Story6 | 32413.21 | 32413.21 | 0 |
| 6Story-Story5 | 33529.8 | 33529.8 | 0 |
| 6Story-Story4 | 33529.8 | 33529.8 | 0 |
| 6Story-Story3 | 33982.55 | 33982.55 | 0 |
| 6Story-Story2 | 34563.79 | 34563.79 | 0 |
| 6Story-Story1 | 34563.79 | 34563.79 | 0 |
| 6Story-Base | 0 | 0 | 0 |
| 3Story-Story3 | 32413.21 | 32413.21 | 0 |
| 3Story-Story2 | 33529.8 | 33529.8 | 0 |
| 3Story-Story1 | 33529.8 | 33529.8 | 0 |
| 3Story-Base | 0 | 0 | 0 |

## 1.8 Groups

Table 1.13 - Group Definitions

| Name | Color |
| --- | --- |
| All | Yellow |

# 2 Properties

This chapter provides property information for materials, frame sections, shell sections, and links.

## 2.1 Materials

Table 2.1 - Material Properties - Summary

| Name | Type | E kgf/m² | ν | Unit Weight kgf/m³ | Design Strengths |
| --- | --- | --- | --- | --- | --- |
| A416Gr270 | Tendon | 20037484345 | 0 | 7849.05 | Fy=172322365.37 kgf/m², Fu=189828799.06 kgf/m² |
| C30 | Concrete | 24000000000 | 0.2 | 2500 | Fc=3000000 kgf/m² |
| Rebar | Rebar | 20000000000 | 0.3 | 7850 | Fy=36000000 kgf/m², Fu=50000000 kgf/m² |

## 2.2 Frame Sections

Table 2.2 - Frame Sections - Summary

| Name | Material | Shape |
| --- | --- | --- |
| B70X30 | C30 | Concrete Rectangular |
| C40X40-20T16 | C30 | Concrete Rectangular |
| C50X50-20T16 | C30 | Concrete Rectangular |
| C50X50-20T20 | C30 | Concrete Rectangular |
| C50X50-20T22 | C30 | Concrete Rectangular |
| C60X60-20T22 | C30 | Concrete Rectangular |
| C60X60-24T22 | C30 | Concrete Rectangular |
| C70X70-24T22 | C30 | Concrete Rectangular |
| C70X70-28T22 | C30 | Concrete Rectangular |
| C80X80-28T25 | C30 | Concrete Rectangular |

## 2.3 Shell Sections

Table 2.3 - Shell Sections - Summary

| Name | Design Type | Element Type | Material | Total Thickness m |
| --- | --- | --- | --- | --- |
| Slab15 | Slab | Membrane | C30 | 0.15 |

## 2.4 Reinforcement Sizes

Table 2.4 - Reinforcing Bar Sizes

| Name | Diameter m | Area m² |
| --- | --- | --- |
| 18 | 0.018 | 0.000255 |

## 2.5 Links

Table 2.5 - Link Properties - Summary

| Name | Type | Degrees of Freedom | Mass kgf-s²/m | Weight kgf |
| --- | --- | --- | --- | --- |
| GAP(G=0) | Gap | U1; U2; U3; R1; R2; R3 | 0 | 0 |

## 2.6 Tendon Sections

Table 2.6 - Tendon Section Properties

| Name | Material | StrandArea m² | Color |
| --- | --- | --- | --- |
| Tendon1 | A416Gr270 | 9.9E-05 | Fuchsia |

# 3 Assignments

This chapter provides a listing of the assignments applied to the model.

## 3.1 Joint Assignments

Table 3.1 - Joint Assignments - Summary

| Story | Label | Unique Name | Diaphragm | Restraints |
| --- | --- | --- | --- | --- |
| 12Story-Story12 | 61 | 195 | From Area |  |
| 12Story-Story12 | 62 | 198 | From Area |  |
| 12Story-Story12 | 63 | 204 | From Area |  |
| 12Story-Story12 | 64 | 201 | From Area |  |
| 12Story-Story12 | 65 | 205 | From Area |  |
| 12Story-Story12 | 66 | 206 | From Area |  |
| 12Story-Story12 | 67 | 197 | From Area |  |
| 12Story-Story12 | 68 | 196 | From Area |  |
| 12Story-Story12 | 69 | 199 | From Area |  |
| 12Story-Story12 | 70 | 200 | From Area |  |
| 12Story-Story12 | 71 | 203 | From Area |  |
| 12Story-Story12 | 72 | 202 | From Area |  |
| 12Story-Story12 | 73 | 207 | From Area |  |
| 12Story-Story12 | 74 | 209 | From Area |  |
| 12Story-Story12 | 75 | 211 | From Area |  |
| 12Story-Story12 | 76 | 213 | From Area |  |
| 12Story-Story11 | 61 | 187 | From Area |  |
| 12Story-Story11 | 62 | 190 | From Area |  |
| 12Story-Story11 | 63 | 186 | From Area |  |
| 12Story-Story11 | 64 | 183 | From Area |  |
| 12Story-Story11 | 65 | 191 | From Area |  |
| 12Story-Story11 | 66 | 192 | From Area |  |
| 12Story-Story11 | 67 | 194 | From Area |  |
| 12Story-Story11 | 68 | 193 | From Area |  |
| 12Story-Story11 | 69 | 188 | From Area |  |
| 12Story-Story11 | 70 | 189 | From Area |  |
| 12Story-Story11 | 71 | 185 | From Area |  |
| 12Story-Story11 | 72 | 184 | From Area |  |
| 12Story-Story11 | 73 | 208 | From Area |  |
| 12Story-Story11 | 74 | 210 | From Area |  |
| 12Story-Story11 | 75 | 212 | From Area |  |
| 12Story-Story11 | 76 | 214 | From Area |  |
| 12Story-Story10 | 61 | 171 | From Area |  |
| 12Story-Story10 | 62 | 174 | From Area |  |
| 12Story-Story10 | 63 | 180 | From Area |  |
| 12Story-Story10 | 64 | 177 | From Area |  |
| 12Story-Story10 | 65 | 181 | From Area |  |
| 12Story-Story10 | 66 | 182 | From Area |  |
| 12Story-Story10 | 67 | 173 | From Area |  |
| 12Story-Story10 | 68 | 172 | From Area |  |
| 12Story-Story10 | 69 | 175 | From Area |  |
| 12Story-Story10 | 70 | 176 | From Area |  |
| 12Story-Story10 | 71 | 179 | From Area |  |
| 12Story-Story10 | 72 | 178 | From Area |  |
| 12Story-Story10 | 73 | 215 | From Area |  |
| 12Story-Story10 | 74 | 216 | From Area |  |
| 12Story-Story10 | 75 | 217 | From Area |  |
| 12Story-Story10 | 76 | 218 | From Area |  |
| 12Story-Story9 | 61 | 134 | From Area |  |
| 12Story-Story9 | 62 | 131 | From Area |  |
| 12Story-Story9 | 63 | 132 | From Area |  |
| 12Story-Story9 | 64 | 133 | From Area |  |
| 12Story-Story9 | 65 | 135 | From Area |  |
| 12Story-Story9 | 66 | 137 | From Area |  |
| 12Story-Story9 | 67 | 141 | From Area |  |
| 12Story-Story9 | 68 | 139 | From Area |  |
| 12Story-Story9 | 69 | 143 | From Area |  |
| 12Story-Story9 | 70 | 145 | From Area |  |
| 12Story-Story9 | 71 | 149 | From Area |  |
| 12Story-Story9 | 72 | 147 | From Area |  |
| 12Story-Story9 | 73 | 167 | From Area |  |
| 12Story-Story9 | 74 | 168 | From Area |  |
| 12Story-Story9 | 75 | 169 | From Area |  |
| 12Story-Story9 | 76 | 170 | From Area |  |
| 12Story-Story8 | 61 | 130 | From Area |  |
| 12Story-Story8 | 62 | 127 | From Area |  |
| 12Story-Story8 | 63 | 128 | From Area |  |
| 12Story-Story8 | 64 | 129 | From Area |  |
| 12Story-Story8 | 65 | 136 | From Area |  |
| 12Story-Story8 | 66 | 138 | From Area |  |
| 12Story-Story8 | 67 | 142 | From Area |  |
| 12Story-Story8 | 68 | 140 | From Area |  |
| 12Story-Story8 | 69 | 144 | From Area |  |
| 12Story-Story8 | 70 | 146 | From Area |  |
| 12Story-Story8 | 71 | 150 | From Area |  |
| 12Story-Story8 | 72 | 148 | From Area |  |
| 12Story-Story8 | 73 | 163 | From Area |  |
| 12Story-Story8 | 74 | 164 | From Area |  |
| 12Story-Story8 | 75 | 165 | From Area |  |
| 12Story-Story8 | 76 | 166 | From Area |  |
| 12Story-Story7 | 61 | 126 | From Area |  |
| 12Story-Story7 | 62 | 123 | From Area |  |
| 12Story-Story7 | 63 | 124 | From Area |  |
| 12Story-Story7 | 64 | 125 | From Area |  |
| 12Story-Story7 | 65 | 151 | From Area |  |
| 12Story-Story7 | 66 | 152 | From Area |  |
| 12Story-Story7 | 67 | 158 | From Area |  |
| 12Story-Story7 | 68 | 157 | From Area |  |
| 12Story-Story7 | 69 | 155 | From Area |  |
| 12Story-Story7 | 70 | 156 | From Area |  |
| 12Story-Story7 | 71 | 154 | From Area |  |
| 12Story-Story7 | 72 | 153 | From Area |  |
| 12Story-Story7 | 73 | 159 | From Area |  |
| 12Story-Story7 | 74 | 160 | From Area |  |
| 12Story-Story7 | 75 | 161 | From Area |  |
| 12Story-Story7 | 76 | 162 | From Area |  |
| 12Story-Story6 | 20 | 323 | From Area |  |
| 12Story-Story6 | 21 | 330 | From Area |  |
| 12Story-Story6 | 28 | 334 | From Area |  |
| 12Story-Story6 | 29 | 333 | From Area |  |
| 12Story-Story6 | 61 | 86 | From Area |  |
| 12Story-Story6 | 62 | 83 | From Area |  |
| 12Story-Story6 | 63 | 84 | From Area |  |
| 12Story-Story6 | 64 | 85 | From Area |  |
| 12Story-Story6 | 65 | 87 | From Area |  |
| 12Story-Story6 | 66 | 89 | From Area |  |
| 12Story-Story6 | 67 | 93 | From Area |  |
| 12Story-Story6 | 68 | 91 | From Area |  |
| 12Story-Story6 | 69 | 95 | From Area |  |
| 12Story-Story6 | 70 | 97 | From Area |  |
| 12Story-Story6 | 71 | 100 | From Area |  |
| 12Story-Story6 | 72 | 102 | From Area |  |
| 12Story-Story6 | 73 | 119 | From Area |  |
| 12Story-Story6 | 74 | 120 | From Area |  |
| 12Story-Story6 | 75 | 121 | From Area |  |
| 12Story-Story6 | 76 | 122 | From Area |  |
| 12Story-Story6 | 102 | 324 | From Area |  |
| 12Story-Story6 | 103 | 325 | From Area |  |
| 12Story-Story6 | 104 | 326 | From Area |  |
| 12Story-Story6 | 105 | 327 | From Area |  |
| 12Story-Story6 | 106 | 328 | From Area |  |
| 12Story-Story6 | 107 | 329 | From Area |  |
| 12Story-Story6 | 108 | 331 | From Area |  |
| 12Story-Story6 | 109 | 332 | From Area |  |
| 12Story-Story6 | 110 | 335 | From Area |  |
| 12Story-Story6 | 111 | 337 | From Area |  |
| 12Story-Story6 | 112 | 339 | From Area |  |
| 12Story-Story6 | 113 | 341 | From Area |  |
| 12Story-Story5 | 20 | 311 | From Area |  |
| 12Story-Story5 | 21 | 318 | From Area |  |
| 12Story-Story5 | 28 | 320 | From Area |  |
| 12Story-Story5 | 29 | 319 | From Area |  |
| 12Story-Story5 | 61 | 82 | From Area |  |
| 12Story-Story5 | 62 | 79 | From Area |  |
| 12Story-Story5 | 63 | 80 | From Area |  |
| 12Story-Story5 | 64 | 81 | From Area |  |
| 12Story-Story5 | 65 | 88 | From Area |  |
| 12Story-Story5 | 66 | 90 | From Area |  |
| 12Story-Story5 | 67 | 94 | From Area |  |
| 12Story-Story5 | 68 | 92 | From Area |  |
| 12Story-Story5 | 69 | 96 | From Area |  |
| 12Story-Story5 | 70 | 98 | From Area |  |
| 12Story-Story5 | 71 | 99 | From Area |  |
| 12Story-Story5 | 72 | 101 | From Area |  |
| 12Story-Story5 | 73 | 115 | From Area |  |
| 12Story-Story5 | 74 | 116 | From Area |  |
| 12Story-Story5 | 75 | 117 | From Area |  |
| 12Story-Story5 | 76 | 118 | From Area |  |
| 12Story-Story5 | 102 | 312 | From Area |  |
| 12Story-Story5 | 103 | 313 | From Area |  |
| 12Story-Story5 | 104 | 314 | From Area |  |
| 12Story-Story5 | 105 | 315 | From Area |  |
| 12Story-Story5 | 106 | 316 | From Area |  |
| 12Story-Story5 | 107 | 317 | From Area |  |
| 12Story-Story5 | 108 | 321 | From Area |  |
| 12Story-Story5 | 109 | 322 | From Area |  |
| 12Story-Story5 | 110 | 336 | From Area |  |
| 12Story-Story5 | 111 | 338 | From Area |  |
| 12Story-Story5 | 112 | 340 | From Area |  |
| 12Story-Story5 | 113 | 342 | From Area |  |
| 12Story-Story4 | 20 | 302 | From Area |  |
| 12Story-Story4 | 21 | 299 | From Area |  |
| 12Story-Story4 | 28 | 301 | From Area |  |
| 12Story-Story4 | 29 | 300 | From Area |  |
| 12Story-Story4 | 61 | 78 | From Area |  |
| 12Story-Story4 | 62 | 75 | From Area |  |
| 12Story-Story4 | 63 | 76 | From Area |  |
| 12Story-Story4 | 64 | 77 | From Area |  |
| 12Story-Story4 | 65 | 105 | From Area |  |
| 12Story-Story4 | 66 | 106 | From Area |  |
| 12Story-Story4 | 67 | 108 | From Area |  |
| 12Story-Story4 | 68 | 107 | From Area |  |
| 12Story-Story4 | 69 | 109 | From Area |  |
| 12Story-Story4 | 70 | 110 | From Area |  |
| 12Story-Story4 | 71 | 103 | From Area |  |
| 12Story-Story4 | 72 | 104 | From Area |  |
| 12Story-Story4 | 73 | 111 | From Area |  |
| 12Story-Story4 | 74 | 112 | From Area |  |
| 12Story-Story4 | 75 | 113 | From Area |  |
| 12Story-Story4 | 76 | 114 | From Area |  |
| 12Story-Story4 | 102 | 309 | From Area |  |
| 12Story-Story4 | 103 | 310 | From Area |  |
| 12Story-Story4 | 104 | 308 | From Area |  |
| 12Story-Story4 | 105 | 305 | From Area |  |
| 12Story-Story4 | 106 | 306 | From Area |  |
| 12Story-Story4 | 107 | 307 | From Area |  |
| 12Story-Story4 | 108 | 303 | From Area |  |
| 12Story-Story4 | 109 | 304 | From Area |  |
| 12Story-Story4 | 110 | 343 | From Area |  |
| 12Story-Story4 | 111 | 344 | From Area |  |
| 12Story-Story4 | 112 | 345 | From Area |  |
| 12Story-Story4 | 113 | 346 | From Area |  |
| 12Story-Story3 | 1 | 383 | From Area |  |
| 12Story-Story3 | 2 | 386 | From Area |  |
| 12Story-Story3 | 3 | 387 | From Area |  |
| 12Story-Story3 | 4 | 390 | From Area |  |
| 12Story-Story3 | 5 | 384 | From Area |  |
| 12Story-Story3 | 6 | 385 | From Area |  |
| 12Story-Story3 | 7 | 393 | From Area |  |
| 12Story-Story3 | 8 | 394 | From Area |  |
| 12Story-Story3 | 9 | 391 | From Area |  |
| 12Story-Story3 | 10 | 392 | From Area |  |
| 12Story-Story3 | 11 | 389 | From Area |  |
| 12Story-Story3 | 12 | 388 | From Area |  |
| 12Story-Story3 | 13 | 395 | From Area |  |
| 12Story-Story3 | 14 | 397 | From Area |  |
| 12Story-Story3 | 15 | 399 | From Area |  |
| 12Story-Story3 | 16 | 401 | From Area |  |
| 12Story-Story3 | 20 | 247 | From Area |  |
| 12Story-Story3 | 21 | 250 | From Area |  |
| 12Story-Story3 | 28 | 256 | From Area |  |
| 12Story-Story3 | 29 | 258 | From Area |  |
| 12Story-Story3 | 61 | 24 | From Area |  |
| 12Story-Story3 | 62 | 21 | From Area |  |
| 12Story-Story3 | 63 | 22 | From Area |  |
| 12Story-Story3 | 64 | 23 | From Area |  |
| 12Story-Story3 | 65 | 25 | From Area |  |
| 12Story-Story3 | 66 | 27 | From Area |  |
| 12Story-Story3 | 67 | 31 | From Area |  |
| 12Story-Story3 | 68 | 29 | From Area |  |
| 12Story-Story3 | 69 | 33 | From Area |  |
| 12Story-Story3 | 70 | 35 | From Area |  |
| 12Story-Story3 | 71 | 38 | From Area |  |
| 12Story-Story3 | 72 | 40 | From Area |  |
| 12Story-Story3 | 73 | 69 | From Area |  |
| 12Story-Story3 | 74 | 70 | From Area |  |
| 12Story-Story3 | 75 | 71 | From Area |  |
| 12Story-Story3 | 76 | 72 | From Area |  |
| 12Story-Story3 | 102 | 252 | From Area |  |
| 12Story-Story3 | 103 | 254 | From Area |  |
| 12Story-Story3 | 104 | 248 | From Area |  |
| 12Story-Story3 | 105 | 249 | From Area |  |
| 12Story-Story3 | 106 | 266 | From Area |  |
| 12Story-Story3 | 107 | 264 | From Area |  |
| 12Story-Story3 | 108 | 259 | From Area |  |
| 12Story-Story3 | 109 | 261 | From Area |  |
| 12Story-Story3 | 110 | 295 | From Area |  |
| 12Story-Story3 | 111 | 296 | From Area |  |
| 12Story-Story3 | 112 | 297 | From Area |  |
| 12Story-Story3 | 113 | 298 | From Area |  |
| 12Story-Story2 | 1 | 371 | From Area |  |
| 12Story-Story2 | 2 | 374 | From Area |  |
| 12Story-Story2 | 3 | 375 | From Area |  |
| 12Story-Story2 | 4 | 378 | From Area |  |
| 12Story-Story2 | 5 | 372 | From Area |  |
| 12Story-Story2 | 6 | 373 | From Area |  |
| 12Story-Story2 | 7 | 381 | From Area |  |
| 12Story-Story2 | 8 | 382 | From Area |  |
| 12Story-Story2 | 9 | 379 | From Area |  |
| 12Story-Story2 | 10 | 380 | From Area |  |
| 12Story-Story2 | 11 | 377 | From Area |  |
| 12Story-Story2 | 12 | 376 | From Area |  |
| 12Story-Story2 | 13 | 396 | From Area |  |
| 12Story-Story2 | 14 | 398 | From Area |  |
| 12Story-Story2 | 15 | 400 | From Area |  |
| 12Story-Story2 | 16 | 402 | From Area |  |
| 12Story-Story2 | 20 | 243 | From Area |  |
| 12Story-Story2 | 21 | 246 | From Area |  |
| 12Story-Story2 | 28 | 255 | From Area |  |
| 12Story-Story2 | 29 | 257 | From Area |  |
| 12Story-Story2 | 61 | 20 | From Area |  |
| 12Story-Story2 | 62 | 17 | From Area |  |
| 12Story-Story2 | 63 | 18 | From Area |  |
| 12Story-Story2 | 64 | 19 | From Area |  |
| 12Story-Story2 | 65 | 26 | From Area |  |
| 12Story-Story2 | 66 | 28 | From Area |  |
| 12Story-Story2 | 67 | 32 | From Area |  |
| 12Story-Story2 | 68 | 30 | From Area |  |
| 12Story-Story2 | 69 | 34 | From Area |  |
| 12Story-Story2 | 70 | 36 | From Area |  |
| 12Story-Story2 | 71 | 37 | From Area |  |
| 12Story-Story2 | 72 | 39 | From Area |  |
| 12Story-Story2 | 73 | 65 | From Area |  |
| 12Story-Story2 | 74 | 66 | From Area |  |
| 12Story-Story2 | 75 | 67 | From Area |  |
| 12Story-Story2 | 76 | 68 | From Area |  |
| 12Story-Story2 | 102 | 251 | From Area |  |
| 12Story-Story2 | 103 | 253 | From Area |  |
| 12Story-Story2 | 104 | 244 | From Area |  |
| 12Story-Story2 | 105 | 245 | From Area |  |
| 12Story-Story2 | 106 | 265 | From Area |  |
| 12Story-Story2 | 107 | 263 | From Area |  |
| 12Story-Story2 | 108 | 260 | From Area |  |
| 12Story-Story2 | 109 | 262 | From Area |  |
| 12Story-Story2 | 110 | 291 | From Area |  |
| 12Story-Story2 | 111 | 292 | From Area |  |
| 12Story-Story2 | 112 | 293 | From Area |  |
| 12Story-Story2 | 113 | 294 | From Area |  |
| 12Story-Story1 | 1 | 353 | From Area |  |
| 12Story-Story1 | 2 | 359 | From Area |  |
| 12Story-Story1 | 3 | 361 | From Area |  |
| 12Story-Story1 | 4 | 347 | From Area |  |
| 12Story-Story1 | 5 | 355 | From Area |  |
| 12Story-Story1 | 6 | 357 | From Area |  |
| 12Story-Story1 | 7 | 349 | From Area |  |
| 12Story-Story1 | 8 | 351 | From Area |  |
| 12Story-Story1 | 9 | 367 | From Area |  |
| 12Story-Story1 | 10 | 369 | From Area |  |
| 12Story-Story1 | 11 | 365 | From Area |  |
| 12Story-Story1 | 12 | 363 | From Area |  |
| 12Story-Story1 | 13 | 403 | From Area |  |
| 12Story-Story1 | 14 | 404 | From Area |  |
| 12Story-Story1 | 15 | 405 | From Area |  |
| 12Story-Story1 | 16 | 406 | From Area |  |
| 12Story-Story1 | 20 | 238 | From Area |  |
| 12Story-Story1 | 21 | 236 | From Area |  |
| 12Story-Story1 | 28 | 273 | From Area |  |
| 12Story-Story1 | 29 | 274 | From Area |  |
| 12Story-Story1 | 61 | 10 | From Area |  |
| 12Story-Story1 | 62 | 12 | From Area |  |
| 12Story-Story1 | 63 | 14 | From Area |  |
| 12Story-Story1 | 64 | 16 | From Area |  |
| 12Story-Story1 | 65 | 43 | From Area |  |
| 12Story-Story1 | 66 | 44 | From Area |  |
| 12Story-Story1 | 67 | 42 | From Area |  |
| 12Story-Story1 | 68 | 41 | From Area |  |
| 12Story-Story1 | 69 | 47 | From Area |  |
| 12Story-Story1 | 70 | 48 | From Area |  |
| 12Story-Story1 | 71 | 45 | From Area |  |
| 12Story-Story1 | 72 | 46 | From Area |  |
| 12Story-Story1 | 73 | 57 | From Area |  |
| 12Story-Story1 | 74 | 59 | From Area |  |
| 12Story-Story1 | 75 | 61 | From Area |  |
| 12Story-Story1 | 76 | 63 | From Area |  |
| 12Story-Story1 | 102 | 267 | From Area |  |
| 12Story-Story1 | 103 | 268 | From Area |  |
| 12Story-Story1 | 104 | 240 | From Area |  |
| 12Story-Story1 | 105 | 242 | From Area |  |
| 12Story-Story1 | 106 | 272 | From Area |  |
| 12Story-Story1 | 107 | 271 | From Area |  |
| 12Story-Story1 | 108 | 269 | From Area |  |
| 12Story-Story1 | 109 | 270 | From Area |  |
| 12Story-Story1 | 110 | 283 | From Area |  |
| 12Story-Story1 | 111 | 285 | From Area |  |
| 12Story-Story1 | 112 | 287 | From Area |  |
| 12Story-Story1 | 113 | 289 | From Area |  |
| 12Story-Base | 1 | 354 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 2 | 360 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 3 | 362 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 4 | 348 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 5 | 356 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 6 | 358 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 7 | 350 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 8 | 352 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 9 | 368 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 10 | 370 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 11 | 366 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 12 | 364 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 13 | 407 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 14 | 408 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 15 | 409 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 16 | 410 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 20 | 237 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 21 | 235 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 28 | 279 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 29 | 280 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 61 | 9 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 62 | 11 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 63 | 13 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 64 | 15 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 65 | 49 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 66 | 50 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 67 | 51 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 68 | 52 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 69 | 53 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 70 | 54 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 71 | 55 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 72 | 56 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 73 | 58 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 74 | 60 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 75 | 62 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 76 | 64 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 102 | 275 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 103 | 276 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 104 | 239 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 105 | 241 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 106 | 281 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 107 | 282 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 108 | 277 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 109 | 278 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 110 | 284 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 111 | 286 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 112 | 288 | From Area | UX; UY; UZ; RX; RY; RZ |
| 12Story-Base | 113 | 290 | From Area | UX; UY; UZ; RX; RY; RZ |

## 3.2 Frame Assignments

Table 3.2 - Frame Assignments - Summary

| Story | Label | Unique Name | Design Type | Length m | Analysis Section | Design Section | Max Station Spacing m | Min Number Stations | Modifiers |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | C17 | 174 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C50 | 177 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C51 | 183 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C52 | 180 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C53 | 184 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C54 | 185 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C55 | 176 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C56 | 175 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C57 | 178 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C58 | 179 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C59 | 182 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C60 | 181 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story12 | C61 | 186 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story12 | C62 | 187 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story12 | C63 | 188 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story12 | C64 | 189 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story11 | C17 | 166 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C50 | 169 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C51 | 165 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C52 | 162 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C53 | 170 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C54 | 171 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C55 | 173 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C56 | 172 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C57 | 167 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C58 | 168 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C59 | 164 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C60 | 163 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story11 | C61 | 190 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story11 | C62 | 191 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story11 | C63 | 192 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story11 | C64 | 193 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story10 | C17 | 150 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C50 | 153 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C51 | 159 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C52 | 156 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C53 | 160 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C54 | 161 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C55 | 152 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C56 | 151 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C57 | 154 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C58 | 155 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C59 | 158 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C60 | 157 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 12Story-Story10 | C61 | 194 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story10 | C62 | 195 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story10 | C63 | 196 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story10 | C64 | 197 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 12Story-Story9 | C17 | 113 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story9 | C50 | 110 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story9 | C51 | 111 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story9 | C52 | 112 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story9 | C53 | 114 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C54 | 115 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C55 | 117 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C56 | 116 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C57 | 118 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C58 | 119 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C59 | 121 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C60 | 120 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story9 | C61 | 146 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story9 | C62 | 147 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story9 | C63 | 148 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story9 | C64 | 149 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story8 | C17 | 109 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story8 | C50 | 106 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story8 | C51 | 107 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story8 | C52 | 108 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story8 | C53 | 122 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C54 | 123 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C55 | 129 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C56 | 128 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C57 | 126 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C58 | 127 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C59 | 125 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C60 | 124 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story8 | C61 | 142 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story8 | C62 | 143 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story8 | C63 | 144 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story8 | C64 | 145 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story7 | C17 | 105 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story7 | C50 | 102 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story7 | C51 | 103 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story7 | C52 | 104 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 12Story-Story7 | C53 | 132 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C54 | 133 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C55 | 131 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C56 | 130 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C57 | 136 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C58 | 137 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C59 | 135 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C60 | 134 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story7 | C61 | 138 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story7 | C62 | 139 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story7 | C63 | 140 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story7 | C64 | 141 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story6 | C17 | 65 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story6 | C50 | 62 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story6 | C51 | 63 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story6 | C52 | 64 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story6 | C53 | 66 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C54 | 67 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C55 | 69 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C56 | 68 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C57 | 70 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C58 | 71 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C59 | 72 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C60 | 73 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story6 | C61 | 98 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story6 | C62 | 99 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story6 | C63 | 100 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story6 | C64 | 101 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story5 | C17 | 61 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story5 | C50 | 58 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story5 | C51 | 59 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story5 | C52 | 60 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story5 | C53 | 76 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C54 | 77 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C55 | 79 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C56 | 78 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C57 | 80 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C58 | 81 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C59 | 74 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C60 | 75 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story5 | C61 | 94 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story5 | C62 | 95 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story5 | C63 | 96 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story5 | C64 | 97 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story4 | C17 | 57 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story4 | C50 | 54 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story4 | C51 | 55 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story4 | C52 | 56 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 12Story-Story4 | C53 | 82 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C54 | 83 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C55 | 85 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C56 | 84 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C57 | 86 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C58 | 87 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C59 | 88 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C60 | 89 | Column | 3 | C60X60-20T22 | C60X60-20T22 |  | 3 | Yes |
| 12Story-Story4 | C61 | 90 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story4 | C62 | 91 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story4 | C63 | 92 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story4 | C64 | 93 | Column | 3 | C70X70-28T22 | C70X70-28T22 |  | 3 | Yes |
| 12Story-Story3 | C17 | 16 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story3 | C50 | 13 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story3 | C51 | 14 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story3 | C52 | 15 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story3 | C53 | 17 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C54 | 18 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C55 | 20 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C56 | 19 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C57 | 21 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C58 | 22 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C59 | 23 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C60 | 24 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story3 | C61 | 49 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story3 | C62 | 50 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story3 | C63 | 51 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story3 | C64 | 52 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story2 | C17 | 12 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story2 | C50 | 9 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story2 | C51 | 10 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story2 | C52 | 11 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story2 | C53 | 27 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C54 | 28 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C55 | 26 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C56 | 25 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C57 | 31 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C58 | 32 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C59 | 29 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C60 | 30 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story2 | C61 | 45 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story2 | C62 | 46 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story2 | C63 | 47 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story2 | C64 | 48 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story1 | C17 | 5 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story1 | C50 | 6 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story1 | C51 | 7 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story1 | C52 | 8 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 12Story-Story1 | C53 | 33 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C54 | 34 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C55 | 35 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C56 | 36 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C57 | 37 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C58 | 38 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C59 | 39 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C60 | 40 | Column | 3 | C70X70-24T22 | C70X70-24T22 |  | 3 | Yes |
| 12Story-Story1 | C61 | 41 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story1 | C62 | 42 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story1 | C63 | 43 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story1 | C64 | 44 | Column | 3 | C80X80-28T25 | C80X80-28T25 |  | 3 | Yes |
| 12Story-Story12 | B25 | 554 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B26 | 566 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B27 | 578 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B28 | 590 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B29 | 602 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B30 | 614 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B31 | 626 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B32 | 638 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B33 | 650 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B34 | 662 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B35 | 674 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B36 | 686 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B37 | 698 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B38 | 710 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B49 | 722 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B50 | 734 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B51 | 746 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B52 | 758 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B53 | 770 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B54 | 782 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B55 | 794 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B56 | 806 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B57 | 818 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story12 | B58 | 830 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B25 | 555 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B26 | 567 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B27 | 579 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B28 | 591 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B29 | 603 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B30 | 615 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B31 | 627 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B32 | 639 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B33 | 651 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B34 | 663 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B35 | 675 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B36 | 687 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B37 | 699 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B38 | 711 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B49 | 723 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B50 | 735 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B51 | 747 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B52 | 759 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B53 | 771 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B54 | 783 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B55 | 795 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B56 | 807 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B57 | 819 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story11 | B58 | 831 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B25 | 556 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B26 | 568 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B27 | 580 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B28 | 592 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B29 | 604 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B30 | 616 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B31 | 628 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B32 | 640 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B33 | 652 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B34 | 664 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B35 | 676 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B36 | 688 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B37 | 700 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B38 | 712 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B49 | 724 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B50 | 736 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B51 | 748 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B52 | 760 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B53 | 772 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B54 | 784 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B55 | 796 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B56 | 808 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B57 | 820 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story10 | B58 | 832 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B25 | 557 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B26 | 569 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B27 | 581 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B28 | 593 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B29 | 605 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B30 | 617 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B31 | 629 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B32 | 641 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B33 | 653 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B34 | 665 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B35 | 677 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B36 | 689 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B37 | 701 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B38 | 713 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B49 | 725 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B50 | 737 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B51 | 749 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B52 | 761 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B53 | 773 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B54 | 785 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B55 | 797 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B56 | 809 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B57 | 821 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story9 | B58 | 833 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B25 | 558 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B26 | 570 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B27 | 582 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B28 | 594 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B29 | 606 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B30 | 618 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B31 | 630 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B32 | 642 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B33 | 654 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B34 | 666 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B35 | 678 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B36 | 690 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B37 | 702 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B38 | 714 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B49 | 726 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B50 | 738 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B51 | 750 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B52 | 762 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B53 | 774 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B54 | 786 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B55 | 798 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B56 | 810 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B57 | 822 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story8 | B58 | 834 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B25 | 559 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B26 | 571 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B27 | 583 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B28 | 595 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B29 | 607 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B30 | 619 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B31 | 631 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B32 | 643 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B33 | 655 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B34 | 667 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B35 | 679 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B36 | 691 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B37 | 703 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B38 | 715 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B49 | 727 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B50 | 739 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B51 | 751 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B52 | 763 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B53 | 775 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B54 | 787 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B55 | 799 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B56 | 811 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B57 | 823 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story7 | B58 | 835 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B25 | 560 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B26 | 572 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B27 | 584 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B28 | 596 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B29 | 608 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B30 | 620 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B31 | 632 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B32 | 644 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B33 | 656 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B34 | 668 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B35 | 680 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B36 | 692 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B37 | 704 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B38 | 716 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B49 | 728 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B50 | 740 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B51 | 752 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B52 | 764 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B53 | 776 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B54 | 788 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B55 | 800 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B56 | 812 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B57 | 824 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story6 | B58 | 836 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B25 | 561 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B26 | 573 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B27 | 585 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B28 | 597 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B29 | 609 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B30 | 621 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B31 | 633 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B32 | 645 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B33 | 657 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B34 | 669 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B35 | 681 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B36 | 693 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B37 | 705 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B38 | 717 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B49 | 729 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B50 | 741 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B51 | 753 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B52 | 765 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B53 | 777 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B54 | 789 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B55 | 801 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B56 | 813 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B57 | 825 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story5 | B58 | 837 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B25 | 562 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B26 | 574 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B27 | 586 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B28 | 598 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B29 | 610 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B30 | 622 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B31 | 634 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B32 | 646 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B33 | 658 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B34 | 670 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B35 | 682 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B36 | 694 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B37 | 706 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B38 | 718 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B49 | 730 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B50 | 742 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B51 | 754 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B52 | 766 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B53 | 778 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B54 | 790 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B55 | 802 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B56 | 814 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B57 | 826 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story4 | B58 | 838 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B25 | 563 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B26 | 575 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B27 | 587 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B28 | 599 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B29 | 611 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B30 | 623 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B31 | 635 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B32 | 647 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B33 | 659 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B34 | 671 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B35 | 683 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B36 | 695 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B37 | 707 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B38 | 719 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B49 | 731 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B50 | 743 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B51 | 755 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B52 | 767 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B53 | 779 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B54 | 791 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B55 | 803 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B56 | 815 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B57 | 827 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story3 | B58 | 839 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B25 | 564 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B26 | 576 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B27 | 588 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B28 | 600 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B29 | 612 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B30 | 624 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B31 | 636 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B32 | 648 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B33 | 660 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B34 | 672 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B35 | 684 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B36 | 696 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B37 | 708 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B38 | 720 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B49 | 732 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B50 | 744 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B51 | 756 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B52 | 768 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B53 | 780 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B54 | 792 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B55 | 804 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B56 | 816 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B57 | 828 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story2 | B58 | 840 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B25 | 553 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B26 | 565 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B27 | 577 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B28 | 589 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B29 | 601 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B30 | 613 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B31 | 625 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B32 | 637 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B33 | 649 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B34 | 661 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B35 | 673 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B36 | 685 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B37 | 697 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B38 | 709 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B49 | 721 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B50 | 733 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B51 | 745 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B52 | 757 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B53 | 769 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B54 | 781 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B55 | 793 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B56 | 805 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B57 | 817 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 12Story-Story1 | B58 | 829 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | C20 | 282 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C21 | 289 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C28 | 293 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C29 | 292 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C81 | 283 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C82 | 284 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C83 | 285 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C84 | 286 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C85 | 287 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C86 | 288 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C87 | 290 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C88 | 291 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story6 | C89 | 294 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story6 | C90 | 295 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story6 | C91 | 296 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story6 | C92 | 297 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story5 | C20 | 270 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C21 | 277 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C28 | 279 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C29 | 278 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C81 | 271 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C82 | 272 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C83 | 273 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C84 | 274 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C85 | 275 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C86 | 276 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C87 | 280 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C88 | 281 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story5 | C89 | 298 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story5 | C90 | 299 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story5 | C91 | 300 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story5 | C92 | 301 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story4 | C20 | 261 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C21 | 258 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C28 | 260 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C29 | 259 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C81 | 268 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C82 | 269 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C83 | 267 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C84 | 264 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C85 | 265 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C86 | 266 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C87 | 262 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C88 | 263 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 6Story-Story4 | C89 | 302 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story4 | C90 | 303 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story4 | C91 | 304 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story4 | C92 | 305 | Column | 3 | C50X50-20T22 | C50X50-20T22 |  | 3 | Yes |
| 6Story-Story3 | C20 | 218 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story3 | C21 | 221 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story3 | C28 | 224 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C29 | 225 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C81 | 222 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C82 | 223 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C83 | 219 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story3 | C84 | 220 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story3 | C85 | 229 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C86 | 228 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C87 | 226 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C88 | 227 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story3 | C89 | 254 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story3 | C90 | 255 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story3 | C91 | 256 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story3 | C92 | 257 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story2 | C20 | 214 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story2 | C21 | 217 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story2 | C28 | 236 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C29 | 237 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C81 | 230 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C82 | 231 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C83 | 215 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story2 | C84 | 216 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story2 | C85 | 235 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C86 | 234 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C87 | 232 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C88 | 233 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story2 | C89 | 250 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story2 | C90 | 251 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story2 | C91 | 252 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story2 | C92 | 253 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story1 | C20 | 211 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story1 | C21 | 210 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story1 | C28 | 242 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C29 | 243 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C81 | 238 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C82 | 239 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C83 | 212 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story1 | C84 | 213 | Column | 3 | C50X50-20T16 | C50X50-20T16 |  | 3 | Yes |
| 6Story-Story1 | C85 | 244 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C86 | 245 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C87 | 240 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C88 | 241 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 6Story-Story1 | C89 | 246 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story1 | C90 | 247 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story1 | C91 | 248 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story1 | C92 | 249 | Column | 3 | C60X60-24T22 | C60X60-24T22 |  | 3 | Yes |
| 6Story-Story6 | B59 | 410 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B60 | 416 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B61 | 422 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B62 | 428 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B63 | 434 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B64 | 440 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B65 | 446 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B66 | 452 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B67 | 458 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B68 | 464 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B69 | 470 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B70 | 476 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B71 | 482 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B72 | 488 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B121 | 494 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B122 | 500 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B123 | 506 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B124 | 512 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B125 | 518 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B126 | 524 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B127 | 530 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B128 | 536 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B129 | 542 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story6 | B130 | 548 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B59 | 411 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B60 | 417 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B61 | 423 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B62 | 429 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B63 | 435 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B64 | 441 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B65 | 447 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B66 | 453 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B67 | 459 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B68 | 465 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B69 | 471 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B70 | 477 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B71 | 483 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B72 | 489 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B121 | 495 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B122 | 501 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B123 | 507 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B124 | 513 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B125 | 519 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B126 | 525 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B127 | 531 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B128 | 537 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B129 | 543 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story5 | B130 | 549 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B59 | 412 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B60 | 418 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B61 | 424 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B62 | 430 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B63 | 436 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B64 | 442 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B65 | 448 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B66 | 454 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B67 | 460 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B68 | 466 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B69 | 472 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B70 | 478 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B71 | 484 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B72 | 490 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B121 | 496 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B122 | 502 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B123 | 508 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B124 | 514 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B125 | 520 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B126 | 526 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B127 | 532 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B128 | 538 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B129 | 544 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story4 | B130 | 550 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B59 | 413 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B60 | 419 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B61 | 425 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B62 | 431 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B63 | 437 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B64 | 443 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B65 | 449 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B66 | 455 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B67 | 461 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B68 | 467 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B69 | 473 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B70 | 479 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B71 | 485 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B72 | 491 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B121 | 497 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B122 | 503 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B123 | 509 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B124 | 515 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B125 | 521 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B126 | 527 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B127 | 533 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B128 | 539 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B129 | 545 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story3 | B130 | 551 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B59 | 414 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B60 | 420 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B61 | 426 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B62 | 432 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B63 | 438 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B64 | 444 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B65 | 450 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B66 | 456 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B67 | 462 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B68 | 468 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B69 | 474 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B70 | 480 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B71 | 486 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B72 | 492 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B121 | 498 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B122 | 504 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B123 | 510 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B124 | 516 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B125 | 522 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B126 | 528 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B127 | 534 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B128 | 540 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B129 | 546 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story2 | B130 | 552 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B59 | 409 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B60 | 415 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B61 | 421 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B62 | 427 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B63 | 433 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B64 | 439 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B65 | 445 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B66 | 451 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B67 | 457 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B68 | 463 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B69 | 469 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B70 | 475 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B71 | 481 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B72 | 487 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B121 | 493 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B122 | 499 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B123 | 505 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B124 | 511 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B125 | 517 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B126 | 523 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B127 | 529 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B128 | 535 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B129 | 541 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 6Story-Story1 | B130 | 547 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | C1 | 330 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C2 | 333 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C3 | 334 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C4 | 337 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C5 | 331 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C6 | 332 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C7 | 340 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C8 | 341 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C9 | 338 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C10 | 339 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C11 | 336 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C12 | 335 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story3 | C13 | 342 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story3 | C14 | 343 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story3 | C15 | 344 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story3 | C16 | 345 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story2 | C1 | 318 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C2 | 321 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C3 | 322 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C4 | 325 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C5 | 319 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C6 | 320 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C7 | 328 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C8 | 329 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C9 | 326 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C10 | 327 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C11 | 324 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C12 | 323 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story2 | C13 | 346 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story2 | C14 | 347 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story2 | C15 | 348 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story2 | C16 | 349 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story1 | C1 | 309 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C2 | 312 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C3 | 313 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C4 | 306 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C5 | 310 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C6 | 311 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C7 | 307 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C8 | 308 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C9 | 316 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C10 | 317 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C11 | 315 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C12 | 314 | Column | 3 | C40X40-20T16 | C40X40-20T16 |  | 3 | Yes |
| 3Story-Story1 | C13 | 350 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story1 | C14 | 351 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story1 | C15 | 352 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story1 | C16 | 353 | Column | 3 | C50X50-20T20 | C50X50-20T20 |  | 3 | Yes |
| 3Story-Story3 | B39 | 2 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B40 | 53 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B41 | 200 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B42 | 203 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B43 | 206 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B44 | 209 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B45 | 356 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B46 | 359 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B47 | 362 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B48 | 365 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B73 | 368 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B74 | 371 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B75 | 374 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B76 | 377 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B77 | 380 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B78 | 383 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B79 | 386 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B80 | 389 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B81 | 392 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B82 | 395 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B83 | 398 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B84 | 401 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B85 | 404 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story3 | B86 | 407 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B39 | 3 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B40 | 198 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B41 | 201 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B42 | 204 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B43 | 207 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B44 | 354 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B45 | 357 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B46 | 360 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B47 | 363 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B48 | 366 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B73 | 369 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B74 | 372 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B75 | 375 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B76 | 378 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B77 | 381 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B78 | 384 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B79 | 387 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B80 | 390 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B81 | 393 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B82 | 396 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B83 | 399 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B84 | 402 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B85 | 405 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story2 | B86 | 408 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B39 | 1 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B40 | 4 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B41 | 199 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B42 | 202 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B43 | 205 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B44 | 208 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B45 | 355 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B46 | 358 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B47 | 361 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B48 | 364 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B73 | 367 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B74 | 370 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B75 | 373 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B76 | 376 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B77 | 379 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B78 | 382 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B79 | 385 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B80 | 388 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B81 | 391 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B82 | 394 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B83 | 397 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B84 | 400 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B85 | 403 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |
| 3Story-Story1 | B86 | 406 | Beam | 5 | B70X30 | B70X30 | 0.5 |  | Yes |

## 3.3 Shell Assignments

Table 3.3 - Shell Assignments - Summary

| Story | Label | Unique Name | Section | Diaphragm |
| --- | --- | --- | --- | --- |
| 12Story-Story12 | F10 | 182 | Slab15 | D1 |
| 12Story-Story12 | F11 | 195 | Slab15 | D1 |
| 12Story-Story12 | F12 | 208 | Slab15 | D1 |
| 12Story-Story12 | F13 | 221 | Slab15 | D1 |
| 12Story-Story12 | F14 | 234 | Slab15 | D1 |
| 12Story-Story12 | F15 | 247 | Slab15 | D1 |
| 12Story-Story12 | F16 | 260 | Slab15 | D1 |
| 12Story-Story12 | F17 | 273 | Slab15 | D1 |
| 12Story-Story12 | F18 | 286 | Slab15 | D1 |
| 12Story-Story11 | F10 | 183 | Slab15 | D1 |
| 12Story-Story11 | F11 | 196 | Slab15 | D1 |
| 12Story-Story11 | F12 | 209 | Slab15 | D1 |
| 12Story-Story11 | F13 | 222 | Slab15 | D1 |
| 12Story-Story11 | F14 | 235 | Slab15 | D1 |
| 12Story-Story11 | F15 | 248 | Slab15 | D1 |
| 12Story-Story11 | F16 | 261 | Slab15 | D1 |
| 12Story-Story11 | F17 | 274 | Slab15 | D1 |
| 12Story-Story11 | F18 | 287 | Slab15 | D1 |
| 12Story-Story10 | F10 | 184 | Slab15 | D1 |
| 12Story-Story10 | F11 | 197 | Slab15 | D1 |
| 12Story-Story10 | F12 | 210 | Slab15 | D1 |
| 12Story-Story10 | F13 | 223 | Slab15 | D1 |
| 12Story-Story10 | F14 | 236 | Slab15 | D1 |
| 12Story-Story10 | F15 | 249 | Slab15 | D1 |
| 12Story-Story10 | F16 | 262 | Slab15 | D1 |
| 12Story-Story10 | F17 | 275 | Slab15 | D1 |
| 12Story-Story10 | F18 | 288 | Slab15 | D1 |
| 12Story-Story9 | F10 | 185 | Slab15 | D1 |
| 12Story-Story9 | F11 | 198 | Slab15 | D1 |
| 12Story-Story9 | F12 | 211 | Slab15 | D1 |
| 12Story-Story9 | F13 | 224 | Slab15 | D1 |
| 12Story-Story9 | F14 | 237 | Slab15 | D1 |
| 12Story-Story9 | F15 | 250 | Slab15 | D1 |
| 12Story-Story9 | F16 | 263 | Slab15 | D1 |
| 12Story-Story9 | F17 | 276 | Slab15 | D1 |
| 12Story-Story9 | F18 | 289 | Slab15 | D1 |
| 12Story-Story8 | F10 | 186 | Slab15 | D1 |
| 12Story-Story8 | F11 | 199 | Slab15 | D1 |
| 12Story-Story8 | F12 | 212 | Slab15 | D1 |
| 12Story-Story8 | F13 | 225 | Slab15 | D1 |
| 12Story-Story8 | F14 | 238 | Slab15 | D1 |
| 12Story-Story8 | F15 | 251 | Slab15 | D1 |
| 12Story-Story8 | F16 | 264 | Slab15 | D1 |
| 12Story-Story8 | F17 | 277 | Slab15 | D1 |
| 12Story-Story8 | F18 | 290 | Slab15 | D1 |
| 12Story-Story7 | F10 | 187 | Slab15 | D1 |
| 12Story-Story7 | F11 | 200 | Slab15 | D1 |
| 12Story-Story7 | F12 | 213 | Slab15 | D1 |
| 12Story-Story7 | F13 | 226 | Slab15 | D1 |
| 12Story-Story7 | F14 | 239 | Slab15 | D1 |
| 12Story-Story7 | F15 | 252 | Slab15 | D1 |
| 12Story-Story7 | F16 | 265 | Slab15 | D1 |
| 12Story-Story7 | F17 | 278 | Slab15 | D1 |
| 12Story-Story7 | F18 | 291 | Slab15 | D1 |
| 12Story-Story6 | F10 | 188 | Slab15 | D1 |
| 12Story-Story6 | F11 | 201 | Slab15 | D1 |
| 12Story-Story6 | F12 | 214 | Slab15 | D1 |
| 12Story-Story6 | F13 | 227 | Slab15 | D1 |
| 12Story-Story6 | F14 | 240 | Slab15 | D1 |
| 12Story-Story6 | F15 | 253 | Slab15 | D1 |
| 12Story-Story6 | F16 | 266 | Slab15 | D1 |
| 12Story-Story6 | F17 | 279 | Slab15 | D1 |
| 12Story-Story6 | F18 | 292 | Slab15 | D1 |
| 12Story-Story5 | F10 | 189 | Slab15 | D1 |
| 12Story-Story5 | F11 | 202 | Slab15 | D1 |
| 12Story-Story5 | F12 | 215 | Slab15 | D1 |
| 12Story-Story5 | F13 | 228 | Slab15 | D1 |
| 12Story-Story5 | F14 | 241 | Slab15 | D1 |
| 12Story-Story5 | F15 | 254 | Slab15 | D1 |
| 12Story-Story5 | F16 | 267 | Slab15 | D1 |
| 12Story-Story5 | F17 | 280 | Slab15 | D1 |
| 12Story-Story5 | F18 | 293 | Slab15 | D1 |
| 12Story-Story4 | F10 | 190 | Slab15 | D1 |
| 12Story-Story4 | F11 | 203 | Slab15 | D1 |
| 12Story-Story4 | F12 | 216 | Slab15 | D1 |
| 12Story-Story4 | F13 | 229 | Slab15 | D1 |
| 12Story-Story4 | F14 | 242 | Slab15 | D1 |
| 12Story-Story4 | F15 | 255 | Slab15 | D1 |
| 12Story-Story4 | F16 | 268 | Slab15 | D1 |
| 12Story-Story4 | F17 | 281 | Slab15 | D1 |
| 12Story-Story4 | F18 | 294 | Slab15 | D1 |
| 12Story-Story3 | F10 | 191 | Slab15 | D1 |
| 12Story-Story3 | F11 | 204 | Slab15 | D1 |
| 12Story-Story3 | F12 | 217 | Slab15 | D1 |
| 12Story-Story3 | F13 | 230 | Slab15 | D1 |
| 12Story-Story3 | F14 | 243 | Slab15 | D1 |
| 12Story-Story3 | F15 | 256 | Slab15 | D1 |
| 12Story-Story3 | F16 | 269 | Slab15 | D1 |
| 12Story-Story3 | F17 | 282 | Slab15 | D1 |
| 12Story-Story3 | F18 | 295 | Slab15 | D1 |
| 12Story-Story2 | F10 | 192 | Slab15 | D1 |
| 12Story-Story2 | F11 | 205 | Slab15 | D1 |
| 12Story-Story2 | F12 | 218 | Slab15 | D1 |
| 12Story-Story2 | F13 | 231 | Slab15 | D1 |
| 12Story-Story2 | F14 | 244 | Slab15 | D1 |
| 12Story-Story2 | F15 | 257 | Slab15 | D1 |
| 12Story-Story2 | F16 | 270 | Slab15 | D1 |
| 12Story-Story2 | F17 | 283 | Slab15 | D1 |
| 12Story-Story2 | F18 | 296 | Slab15 | D1 |
| 12Story-Story1 | F10 | 181 | Slab15 | D1 |
| 12Story-Story1 | F11 | 194 | Slab15 | D1 |
| 12Story-Story1 | F12 | 207 | Slab15 | D1 |
| 12Story-Story1 | F13 | 220 | Slab15 | D1 |
| 12Story-Story1 | F14 | 233 | Slab15 | D1 |
| 12Story-Story1 | F15 | 246 | Slab15 | D1 |
| 12Story-Story1 | F16 | 259 | Slab15 | D1 |
| 12Story-Story1 | F17 | 272 | Slab15 | D1 |
| 12Story-Story1 | F18 | 285 | Slab15 | D1 |
| 6Story-Story6 | F19 | 8 | Slab15 | D1 |
| 6Story-Story6 | F20 | 36 | Slab15 | D1 |
| 6Story-Story6 | F21 | 43 | Slab15 | D1 |
| 6Story-Story6 | F22 | 50 | Slab15 | D1 |
| 6Story-Story6 | F23 | 57 | Slab15 | D1 |
| 6Story-Story6 | F24 | 64 | Slab15 | D1 |
| 6Story-Story6 | F46 | 71 | Slab15 | D1 |
| 6Story-Story6 | F47 | 78 | Slab15 | D1 |
| 6Story-Story6 | F48 | 85 | Slab15 | D1 |
| 6Story-Story5 | F19 | 12 | Slab15 | D1 |
| 6Story-Story5 | F20 | 37 | Slab15 | D1 |
| 6Story-Story5 | F21 | 44 | Slab15 | D1 |
| 6Story-Story5 | F22 | 51 | Slab15 | D1 |
| 6Story-Story5 | F23 | 58 | Slab15 | D1 |
| 6Story-Story5 | F24 | 65 | Slab15 | D1 |
| 6Story-Story5 | F46 | 72 | Slab15 | D1 |
| 6Story-Story5 | F47 | 79 | Slab15 | D1 |
| 6Story-Story5 | F48 | 86 | Slab15 | D1 |
| 6Story-Story4 | F19 | 16 | Slab15 | D1 |
| 6Story-Story4 | F20 | 38 | Slab15 | D1 |
| 6Story-Story4 | F21 | 45 | Slab15 | D1 |
| 6Story-Story4 | F22 | 52 | Slab15 | D1 |
| 6Story-Story4 | F23 | 59 | Slab15 | D1 |
| 6Story-Story4 | F24 | 66 | Slab15 | D1 |
| 6Story-Story4 | F46 | 73 | Slab15 | D1 |
| 6Story-Story4 | F47 | 80 | Slab15 | D1 |
| 6Story-Story4 | F48 | 87 | Slab15 | D1 |
| 6Story-Story3 | F19 | 20 | Slab15 | D1 |
| 6Story-Story3 | F20 | 39 | Slab15 | D1 |
| 6Story-Story3 | F21 | 46 | Slab15 | D1 |
| 6Story-Story3 | F22 | 53 | Slab15 | D1 |
| 6Story-Story3 | F23 | 60 | Slab15 | D1 |
| 6Story-Story3 | F24 | 67 | Slab15 | D1 |
| 6Story-Story3 | F46 | 74 | Slab15 | D1 |
| 6Story-Story3 | F47 | 81 | Slab15 | D1 |
| 6Story-Story3 | F48 | 88 | Slab15 | D1 |
| 6Story-Story2 | F19 | 24 | Slab15 | D1 |
| 6Story-Story2 | F20 | 40 | Slab15 | D1 |
| 6Story-Story2 | F21 | 47 | Slab15 | D1 |
| 6Story-Story2 | F22 | 54 | Slab15 | D1 |
| 6Story-Story2 | F23 | 61 | Slab15 | D1 |
| 6Story-Story2 | F24 | 68 | Slab15 | D1 |
| 6Story-Story2 | F46 | 75 | Slab15 | D1 |
| 6Story-Story2 | F47 | 82 | Slab15 | D1 |
| 6Story-Story2 | F48 | 89 | Slab15 | D1 |
| 6Story-Story1 | F19 | 4 | Slab15 | D1 |
| 6Story-Story1 | F20 | 32 | Slab15 | D1 |
| 6Story-Story1 | F21 | 42 | Slab15 | D1 |
| 6Story-Story1 | F22 | 49 | Slab15 | D1 |
| 6Story-Story1 | F23 | 56 | Slab15 | D1 |
| 6Story-Story1 | F24 | 63 | Slab15 | D1 |
| 6Story-Story1 | F46 | 70 | Slab15 | D1 |
| 6Story-Story1 | F47 | 77 | Slab15 | D1 |
| 6Story-Story1 | F48 | 84 | Slab15 | D1 |
| 3Story-Story3 | F25 | 2 | Slab15 | D1 |
| 3Story-Story3 | F26 | 6 | Slab15 | D1 |
| 3Story-Story3 | F27 | 10 | Slab15 | D1 |
| 3Story-Story3 | F28 | 14 | Slab15 | D1 |
| 3Story-Story3 | F29 | 18 | Slab15 | D1 |
| 3Story-Story3 | F30 | 22 | Slab15 | D1 |
| 3Story-Story3 | F31 | 26 | Slab15 | D1 |
| 3Story-Story3 | F32 | 30 | Slab15 | D1 |
| 3Story-Story3 | F33 | 34 | Slab15 | D1 |
| 3Story-Story2 | F25 | 3 | Slab15 | D1 |
| 3Story-Story2 | F26 | 7 | Slab15 | D1 |
| 3Story-Story2 | F27 | 11 | Slab15 | D1 |
| 3Story-Story2 | F28 | 15 | Slab15 | D1 |
| 3Story-Story2 | F29 | 19 | Slab15 | D1 |
| 3Story-Story2 | F30 | 23 | Slab15 | D1 |
| 3Story-Story2 | F31 | 27 | Slab15 | D1 |
| 3Story-Story2 | F32 | 31 | Slab15 | D1 |
| 3Story-Story2 | F33 | 35 | Slab15 | D1 |
| 3Story-Story1 | F25 | 1 | Slab15 | D1 |
| 3Story-Story1 | F26 | 5 | Slab15 | D1 |
| 3Story-Story1 | F27 | 9 | Slab15 | D1 |
| 3Story-Story1 | F28 | 13 | Slab15 | D1 |
| 3Story-Story1 | F29 | 17 | Slab15 | D1 |
| 3Story-Story1 | F30 | 21 | Slab15 | D1 |
| 3Story-Story1 | F31 | 25 | Slab15 | D1 |
| 3Story-Story1 | F32 | 29 | Slab15 | D1 |
| 3Story-Story1 | F33 | 33 | Slab15 | D1 |

## 3.4 Link Assignments

Table 3.4 - Link Assignments - Summary

| Story | Unique Name | Property |
| --- | --- | --- |
| 12Story-Story6 | K2 | GAP(G=0) |
| 12Story-Story3 | K1 | GAP(G=0) |
| 6Story-Base | K2 | GAP(G=0) |

# 4 Loads

This chapter provides loading information as applied to the model.

## 4.1 Load Patterns

Table 4.1 - Load Patterns

| Name | Type | Self Weight Multiplier | Auto Load |
| --- | --- | --- | --- |
| Dead | Dead | 1 |  |
| Live | Live | 0 |  |
| EX | Seismic | 0 | ASCE 7-10 |
| EY | Seismic | 0 | ASCE 7-10 |

## 4.2 Auto Seismic Loading

# ASCE 7-10 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EX according to ASCE 7-10, as calculated by ETABS.

### Direction and Eccentricity

Direction = Multiple

Eccentricity Ratio = 5% for all diaphragms

### Structural Period

Period Calculation Method = Program Calculated

| Coefficient, Ct [ASCE Table 12.8-2] | Ct=0.028ft |
| --- | --- |
| Coefficient, x [ASCE Table 12.8-2] | x=0.8 |
| Structure Height Above Base, hn | hn=118.11 ft |
| Long-Period Transition Period, TL [ASCE 11.4.5] | TL=8 sec |

### Factors and Coefficients

| Response Modification Factor, R [ASCE Table 12.2-1] | R=5 |
| --- | --- |
| System Overstrength Factor, Ω0 [ASCE Table 12.2-1] | Ω0=3 |
| Deflection Amplification Factor, Cd [ASCE Table 12.2-1] | Cd=4.5 |
| Importance Factor, I [ASCE Table 11.5-1] | I=1 |

Ss and S1 Source = User Specified

| Mapped MCE Spectral Response Acceleration, Ss [ASCE 11.4.1] | Ss=2.281081g |
| --- | --- |
| Mapped MCE Spectral Response Acceleration, S1 [ASCE 11.4.1] | S1=0.945332g |
| Site Class [ASCE Table 20.3-1] = B - Rock |  |
| Site Coefficient, Fa [ASCE Table 11.4-1] | Fa=1 |
| Site Coefficient, Fv [ASCE Table 11.4-2] | Fv=1 |

### Seismic Response

| MCE Spectral Response Acceleration, SMS [ASCE 11.4.3, Eq. 11.4-1] | SMS=FaSS | SMS=2.281081g |
| --- | --- | --- |
| MCE Spectral Response Acceleration, SM1 [ASCE 11.4.3, Eq. 11.4-2] | SM1=FvS1 | SM1=0.945332g |
| Design Spectral Response Acceleration, SDS [ASCE 11.4.4, Eq. 11.4-3] | SDS=23SMS | SDS=1.520721g |
| Design Spectral Response Acceleration, SD1 [ASCE 11.4.4, Eq. 11.4-4] | SD1=23SM1 | SD1=0.630221g |

### Equivalent Lateral Forces

| Seismic Response Coefficient, CS [ASCE 12.8.1.1, Eq. 12.8-2] | CS=SDS(RI) |
| --- | --- |
| [ASCE 12.8.1.1, Eq. 12.8-3] | CS,max=SD1T(RI) |
| [ASCE 12.8.1.1, Eq. 12.8-5] | CS,min=max(0.044SDSI,0.01)=0.066912 |
| [ASCE 12.8.1.1, Eq. 12.8-6] | CS,min=0.5S1(RI)forS1=0.6g |
|  | CS,min≤Cs≤CS,max |

### Calculated Base Shear

| Direction | Period Used (sec) | Cs | W (kgf) | V (kgf) |
| --- | --- | --- | --- | --- |
| X | 0.566 | 0.222854 | 7069215 | 1575400.64 |
| X + Ecc. Y | 0.566 | 0.222854 | 7069215 | 1575400.64 |
| X - Ecc. Y | 0.566 | 0.222854 | 7069215 | 1575400.64 |

### Applied Story Forces

| Story; Elevation; X-Dir; Y-Dir. m; kgf; kgf. Story12; 36; 135563.39; 0. Story11; 33; 128180.94; 0. Story10; 30; 116164.46; 0. Story9; 27; 105594.22; 0. Story8; 24; 95098.88; 0. Story7; 21; 82847.91; 0. Story6; 18; 71529.88; 0. Story5; 15; 60159.39; 0. Story4; 12; 47776.59; 0. Story3; 9; 36162.27; 0. Story2; 6; 24312.5; 0. Story1; 3; 11883.03; 0. Base; 0; 0; 0. |  |
| --- | --- |

# ASCE 7-10 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EY according to ASCE 7-10, as calculated by ETABS.

### Direction and Eccentricity

Direction = Multiple

Eccentricity Ratio = 5% for all diaphragms

### Structural Period

Period Calculation Method = Program Calculated

| Coefficient, Ct [ASCE Table 12.8-2] | Ct=0.028ft |
| --- | --- |
| Coefficient, x [ASCE Table 12.8-2] | x=0.8 |
| Structure Height Above Base, hn | hn=118.11 ft |
| Long-Period Transition Period, TL [ASCE 11.4.5] | TL=8 sec |

### Factors and Coefficients

| Response Modification Factor, R [ASCE Table 12.2-1] | R=5 |
| --- | --- |
| System Overstrength Factor, Ω0 [ASCE Table 12.2-1] | Ω0=3 |
| Deflection Amplification Factor, Cd [ASCE Table 12.2-1] | Cd=4.5 |
| Importance Factor, I [ASCE Table 11.5-1] | I=1 |

Ss and S1 Source = User Specified

| Mapped MCE Spectral Response Acceleration, Ss [ASCE 11.4.1] | Ss=2.29g |
| --- | --- |
| Mapped MCE Spectral Response Acceleration, S1 [ASCE 11.4.1] | S1=0.869g |
| Site Class [ASCE Table 20.3-1] = B - Rock |  |
| Site Coefficient, Fa [ASCE Table 11.4-1] | Fa=1 |
| Site Coefficient, Fv [ASCE Table 11.4-2] | Fv=1 |

### Seismic Response

| MCE Spectral Response Acceleration, SMS [ASCE 11.4.3, Eq. 11.4-1] | SMS=FaSS | SMS=2.29g |
| --- | --- | --- |
| MCE Spectral Response Acceleration, SM1 [ASCE 11.4.3, Eq. 11.4-2] | SM1=FvS1 | SM1=0.869g |
| Design Spectral Response Acceleration, SDS [ASCE 11.4.4, Eq. 11.4-3] | SDS=23SMS | SDS=1.526667g |
| Design Spectral Response Acceleration, SD1 [ASCE 11.4.4, Eq. 11.4-4] | SD1=23SM1 | SD1=0.579333g |

### Equivalent Lateral Forces

| Seismic Response Coefficient, CS [ASCE 12.8.1.1, Eq. 12.8-2] | CS=SDS(RI) |
| --- | --- |
| [ASCE 12.8.1.1, Eq. 12.8-3] | CS,max=SD1T(RI) |
| [ASCE 12.8.1.1, Eq. 12.8-5] | CS,min=max(0.044SDSI,0.01)=0.067173 |
| [ASCE 12.8.1.1, Eq. 12.8-6] | CS,min=0.5S1(RI)forS1=0.6g |
|  | CS,min≤Cs≤CS,max |

### Calculated Base Shear

| Direction | Period Used (sec) | Cs | W (kgf) | V (kgf) |
| --- | --- | --- | --- | --- |
| Y | 0.516 | 0.224512 | 7069215 | 1587121.6 |
| Y + Ecc. X | 0.516 | 0.224512 | 7069215 | 1587121.6 |
| Y - Ecc. X | 0.516 | 0.224512 | 7069215 | 1587121.6 |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kgf; kgf. Story12; 36; 0; 135005.39. Story11; 33; 0; 127928.58. Story10; 30; 0; 116209.6. Story9; 27; 0; 105911.14. Story8; 24; 0; 95662.81. Story7; 21; 0; 83615.13. Story6; 18; 0; 72468.29. Story5; 15; 0; 61224.33. Story4; 12; 0; 48891.66. Story3; 9; 0; 37270.74. Story2; 6; 0; 25310.52. Story1; 3; 0; 12584.92. Base; 0; 0; 0.

## 4.3 Applied Loads

### 4.3.1 Line Loads

Table 4.4 - Frame Loads - Distributed

| Story | Label | Unique Name | Design Type | Load Pattern | LoadType | Direction | Relative Distance Start | Relative Distance End | Absolute Distance Start m | Absolute Distance End m | Force at Start kgf/m | Force at End kgf/m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | B25 | 554 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B26 | 566 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B27 | 578 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B28 | 590 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B29 | 602 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B30 | 614 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B31 | 626 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B32 | 638 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B33 | 650 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B34 | 662 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B35 | 674 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B36 | 686 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B37 | 698 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B38 | 710 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B49 | 722 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B50 | 734 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B51 | 746 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B52 | 758 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B53 | 770 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B54 | 782 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B55 | 794 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B56 | 806 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B57 | 818 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story12 | B58 | 830 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B25 | 555 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B26 | 567 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B27 | 579 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B28 | 591 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B29 | 603 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B30 | 615 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B31 | 627 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B32 | 639 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B33 | 651 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B34 | 663 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B35 | 675 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B36 | 687 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B37 | 699 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B38 | 711 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B49 | 723 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B50 | 735 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B51 | 747 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B52 | 759 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B53 | 771 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B54 | 783 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B55 | 795 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B56 | 807 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B57 | 819 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story11 | B58 | 831 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B25 | 556 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B26 | 568 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B27 | 580 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B28 | 592 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B29 | 604 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B30 | 616 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B31 | 628 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B32 | 640 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B33 | 652 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B34 | 664 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B35 | 676 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B36 | 688 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B37 | 700 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B38 | 712 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B49 | 724 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B50 | 736 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B51 | 748 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B52 | 760 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B53 | 772 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B54 | 784 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B55 | 796 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B56 | 808 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B57 | 820 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story10 | B58 | 832 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B25 | 557 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B26 | 569 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B27 | 581 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B28 | 593 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B29 | 605 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B30 | 617 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B31 | 629 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B32 | 641 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B33 | 653 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B34 | 665 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B35 | 677 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B36 | 689 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B37 | 701 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B38 | 713 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B49 | 725 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B50 | 737 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B51 | 749 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B52 | 761 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B53 | 773 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B54 | 785 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B55 | 797 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B56 | 809 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B57 | 821 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story9 | B58 | 833 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B25 | 558 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B26 | 570 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B27 | 582 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B28 | 594 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B29 | 606 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B30 | 618 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B31 | 630 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B32 | 642 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B33 | 654 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B34 | 666 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B35 | 678 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B36 | 690 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B37 | 702 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B38 | 714 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B49 | 726 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B50 | 738 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B51 | 750 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B52 | 762 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B53 | 774 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B54 | 786 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B55 | 798 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B56 | 810 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B57 | 822 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story8 | B58 | 834 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B25 | 559 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B26 | 571 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B27 | 583 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B28 | 595 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B29 | 607 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B30 | 619 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B31 | 631 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B32 | 643 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B33 | 655 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B34 | 667 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B35 | 679 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B36 | 691 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B37 | 703 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B38 | 715 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B49 | 727 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B50 | 739 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B51 | 751 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B52 | 763 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B53 | 775 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B54 | 787 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B55 | 799 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B56 | 811 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B57 | 823 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story7 | B58 | 835 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B25 | 560 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B26 | 572 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B27 | 584 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B28 | 596 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B29 | 608 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B30 | 620 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B31 | 632 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B32 | 644 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B33 | 656 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B34 | 668 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B35 | 680 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B36 | 692 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B37 | 704 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B38 | 716 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B49 | 728 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B50 | 740 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B51 | 752 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B52 | 764 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B53 | 776 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B54 | 788 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B55 | 800 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B56 | 812 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B57 | 824 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story6 | B58 | 836 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B25 | 561 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B26 | 573 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B27 | 585 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B28 | 597 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B29 | 609 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B30 | 621 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B31 | 633 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B32 | 645 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B33 | 657 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B34 | 669 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B35 | 681 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B36 | 693 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B37 | 705 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B38 | 717 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B49 | 729 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B50 | 741 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B51 | 753 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B52 | 765 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B53 | 777 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B54 | 789 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B55 | 801 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B56 | 813 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B57 | 825 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story5 | B58 | 837 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B25 | 562 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B26 | 574 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B27 | 586 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B28 | 598 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B29 | 610 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B30 | 622 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B31 | 634 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B32 | 646 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B33 | 658 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B34 | 670 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B35 | 682 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B36 | 694 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B37 | 706 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B38 | 718 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B49 | 730 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B50 | 742 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B51 | 754 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B52 | 766 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B53 | 778 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B54 | 790 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B55 | 802 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B56 | 814 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B57 | 826 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story4 | B58 | 838 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B25 | 563 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B26 | 575 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B27 | 587 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B28 | 599 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B29 | 611 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B30 | 623 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B31 | 635 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B32 | 647 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B33 | 659 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B34 | 671 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B35 | 683 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B36 | 695 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B37 | 707 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B38 | 719 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B49 | 731 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B50 | 743 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B51 | 755 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B52 | 767 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B53 | 779 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B54 | 791 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B55 | 803 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B56 | 815 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B57 | 827 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story3 | B58 | 839 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B25 | 564 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B26 | 576 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B27 | 588 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B28 | 600 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B29 | 612 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B30 | 624 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B31 | 636 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B32 | 648 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B33 | 660 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B34 | 672 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B35 | 684 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B36 | 696 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B37 | 708 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B38 | 720 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B49 | 732 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B50 | 744 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B51 | 756 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B52 | 768 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B53 | 780 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B54 | 792 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B55 | 804 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B56 | 816 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B57 | 828 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story2 | B58 | 840 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B25 | 553 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B26 | 565 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B27 | 577 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B28 | 589 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B29 | 601 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B30 | 613 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B31 | 625 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B32 | 637 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B33 | 649 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B34 | 661 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B35 | 673 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B36 | 685 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B37 | 697 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B38 | 709 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B49 | 721 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B50 | 733 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B51 | 745 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B52 | 757 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B53 | 769 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B54 | 781 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B55 | 793 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B56 | 805 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B57 | 817 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 12Story-Story1 | B58 | 829 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B59 | 410 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B60 | 416 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B61 | 422 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B62 | 428 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B63 | 434 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B64 | 440 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B65 | 446 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B66 | 452 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B67 | 458 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B68 | 464 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B69 | 470 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B70 | 476 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B71 | 482 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B72 | 488 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B121 | 494 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B122 | 500 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B123 | 506 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B124 | 512 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B125 | 518 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B126 | 524 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B127 | 530 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B128 | 536 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B129 | 542 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story6 | B130 | 548 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B59 | 411 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B60 | 417 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B61 | 423 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B62 | 429 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B63 | 435 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B64 | 441 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B65 | 447 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B66 | 453 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B67 | 459 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B68 | 465 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B69 | 471 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B70 | 477 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B71 | 483 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B72 | 489 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B121 | 495 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B122 | 501 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B123 | 507 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B124 | 513 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B125 | 519 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B126 | 525 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B127 | 531 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B128 | 537 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B129 | 543 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story5 | B130 | 549 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B59 | 412 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B60 | 418 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B61 | 424 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B62 | 430 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B63 | 436 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B64 | 442 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B65 | 448 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B66 | 454 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B67 | 460 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B68 | 466 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B69 | 472 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B70 | 478 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B71 | 484 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B72 | 490 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B121 | 496 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B122 | 502 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B123 | 508 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B124 | 514 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B125 | 520 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B126 | 526 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B127 | 532 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B128 | 538 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B129 | 544 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story4 | B130 | 550 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B59 | 413 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B60 | 419 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B61 | 425 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B62 | 431 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B63 | 437 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B64 | 443 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B65 | 449 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B66 | 455 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B67 | 461 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B68 | 467 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B69 | 473 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B70 | 479 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B71 | 485 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B72 | 491 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B121 | 497 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B122 | 503 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B123 | 509 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B124 | 515 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B125 | 521 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B126 | 527 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B127 | 533 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B128 | 539 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B129 | 545 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story3 | B130 | 551 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B59 | 414 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B60 | 420 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B61 | 426 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B62 | 432 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B63 | 438 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B64 | 444 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B65 | 450 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B66 | 456 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B67 | 462 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B68 | 468 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B69 | 474 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B70 | 480 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B71 | 486 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B72 | 492 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B121 | 498 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B122 | 504 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B123 | 510 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B124 | 516 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B125 | 522 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B126 | 528 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B127 | 534 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B128 | 540 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B129 | 546 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story2 | B130 | 552 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B59 | 409 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B60 | 415 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B61 | 421 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B62 | 427 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B63 | 433 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B64 | 439 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B65 | 445 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B66 | 451 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B67 | 457 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B68 | 463 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B69 | 469 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B70 | 475 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B71 | 481 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B72 | 487 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B121 | 493 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B122 | 499 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B123 | 505 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B124 | 511 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B125 | 517 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B126 | 523 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B127 | 529 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B128 | 535 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B129 | 541 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 6Story-Story1 | B130 | 547 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B39 | 2 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B40 | 53 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B41 | 200 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B42 | 203 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B43 | 206 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B44 | 209 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B45 | 356 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B46 | 359 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B47 | 362 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B48 | 365 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B73 | 368 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B74 | 371 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B75 | 374 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B76 | 377 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B77 | 380 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B78 | 383 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B79 | 386 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B80 | 389 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B81 | 392 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B82 | 395 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B83 | 398 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B84 | 401 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B85 | 404 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story3 | B86 | 407 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B39 | 3 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B40 | 198 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B41 | 201 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B42 | 204 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B43 | 207 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B44 | 354 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B45 | 357 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B46 | 360 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B47 | 363 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B48 | 366 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B73 | 369 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B74 | 372 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B75 | 375 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B76 | 378 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B77 | 381 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B78 | 384 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B79 | 387 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B80 | 390 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B81 | 393 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B82 | 396 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B83 | 399 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B84 | 402 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B85 | 405 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story2 | B86 | 408 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B39 | 1 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B40 | 4 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B41 | 199 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B42 | 202 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B43 | 205 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B44 | 208 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B45 | 355 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B46 | 358 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B47 | 361 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B48 | 364 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B73 | 367 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B74 | 370 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B75 | 373 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B76 | 376 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B77 | 379 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B78 | 382 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B79 | 385 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B80 | 388 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B81 | 391 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B82 | 394 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B83 | 397 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B84 | 400 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B85 | 403 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |
| 3Story-Story1 | B86 | 406 | Beam | Dead | Force | Gravity | 0 | 1 | 0 | 5 | 1000 | 1000 |

### 4.3.2 Area Loads

Table 4.5 - Shell Loads - Uniform

| Story | Label | Unique Name | Load Pattern | Direction | Load kgf/m² |
| --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | F10 | 182 | Dead | Gravity | 150 |
| 12Story-Story12 | F11 | 195 | Dead | Gravity | 150 |
| 12Story-Story12 | F12 | 208 | Dead | Gravity | 150 |
| 12Story-Story12 | F13 | 221 | Dead | Gravity | 150 |
| 12Story-Story12 | F14 | 234 | Dead | Gravity | 150 |
| 12Story-Story12 | F15 | 247 | Dead | Gravity | 150 |
| 12Story-Story12 | F16 | 260 | Dead | Gravity | 150 |
| 12Story-Story12 | F17 | 273 | Dead | Gravity | 150 |
| 12Story-Story12 | F18 | 286 | Dead | Gravity | 150 |
| 12Story-Story11 | F10 | 183 | Dead | Gravity | 150 |
| 12Story-Story11 | F11 | 196 | Dead | Gravity | 150 |
| 12Story-Story11 | F12 | 209 | Dead | Gravity | 150 |
| 12Story-Story11 | F13 | 222 | Dead | Gravity | 150 |
| 12Story-Story11 | F14 | 235 | Dead | Gravity | 150 |
| 12Story-Story11 | F15 | 248 | Dead | Gravity | 150 |
| 12Story-Story11 | F16 | 261 | Dead | Gravity | 150 |
| 12Story-Story11 | F17 | 274 | Dead | Gravity | 150 |
| 12Story-Story11 | F18 | 287 | Dead | Gravity | 150 |
| 12Story-Story10 | F10 | 184 | Dead | Gravity | 150 |
| 12Story-Story10 | F11 | 197 | Dead | Gravity | 150 |
| 12Story-Story10 | F12 | 210 | Dead | Gravity | 150 |
| 12Story-Story10 | F13 | 223 | Dead | Gravity | 150 |
| 12Story-Story10 | F14 | 236 | Dead | Gravity | 150 |
| 12Story-Story10 | F15 | 249 | Dead | Gravity | 150 |
| 12Story-Story10 | F16 | 262 | Dead | Gravity | 150 |
| 12Story-Story10 | F17 | 275 | Dead | Gravity | 150 |
| 12Story-Story10 | F18 | 288 | Dead | Gravity | 150 |
| 12Story-Story9 | F10 | 185 | Dead | Gravity | 150 |
| 12Story-Story9 | F11 | 198 | Dead | Gravity | 150 |
| 12Story-Story9 | F12 | 211 | Dead | Gravity | 150 |
| 12Story-Story9 | F13 | 224 | Dead | Gravity | 150 |
| 12Story-Story9 | F14 | 237 | Dead | Gravity | 150 |
| 12Story-Story9 | F15 | 250 | Dead | Gravity | 150 |
| 12Story-Story9 | F16 | 263 | Dead | Gravity | 150 |
| 12Story-Story9 | F17 | 276 | Dead | Gravity | 150 |
| 12Story-Story9 | F18 | 289 | Dead | Gravity | 150 |
| 12Story-Story8 | F10 | 186 | Dead | Gravity | 150 |
| 12Story-Story8 | F11 | 199 | Dead | Gravity | 150 |
| 12Story-Story8 | F12 | 212 | Dead | Gravity | 150 |
| 12Story-Story8 | F13 | 225 | Dead | Gravity | 150 |
| 12Story-Story8 | F14 | 238 | Dead | Gravity | 150 |
| 12Story-Story8 | F15 | 251 | Dead | Gravity | 150 |
| 12Story-Story8 | F16 | 264 | Dead | Gravity | 150 |
| 12Story-Story8 | F17 | 277 | Dead | Gravity | 150 |
| 12Story-Story8 | F18 | 290 | Dead | Gravity | 150 |
| 12Story-Story7 | F10 | 187 | Dead | Gravity | 150 |
| 12Story-Story7 | F11 | 200 | Dead | Gravity | 150 |
| 12Story-Story7 | F12 | 213 | Dead | Gravity | 150 |
| 12Story-Story7 | F13 | 226 | Dead | Gravity | 150 |
| 12Story-Story7 | F14 | 239 | Dead | Gravity | 150 |
| 12Story-Story7 | F15 | 252 | Dead | Gravity | 150 |
| 12Story-Story7 | F16 | 265 | Dead | Gravity | 150 |
| 12Story-Story7 | F17 | 278 | Dead | Gravity | 150 |
| 12Story-Story7 | F18 | 291 | Dead | Gravity | 150 |
| 12Story-Story6 | F10 | 188 | Dead | Gravity | 150 |
| 12Story-Story6 | F11 | 201 | Dead | Gravity | 150 |
| 12Story-Story6 | F12 | 214 | Dead | Gravity | 150 |
| 12Story-Story6 | F13 | 227 | Dead | Gravity | 150 |
| 12Story-Story6 | F14 | 240 | Dead | Gravity | 150 |
| 12Story-Story6 | F15 | 253 | Dead | Gravity | 150 |
| 12Story-Story6 | F16 | 266 | Dead | Gravity | 150 |
| 12Story-Story6 | F17 | 279 | Dead | Gravity | 150 |
| 12Story-Story6 | F18 | 292 | Dead | Gravity | 150 |
| 12Story-Story5 | F10 | 189 | Dead | Gravity | 150 |
| 12Story-Story5 | F11 | 202 | Dead | Gravity | 150 |
| 12Story-Story5 | F12 | 215 | Dead | Gravity | 150 |
| 12Story-Story5 | F13 | 228 | Dead | Gravity | 150 |
| 12Story-Story5 | F14 | 241 | Dead | Gravity | 150 |
| 12Story-Story5 | F15 | 254 | Dead | Gravity | 150 |
| 12Story-Story5 | F16 | 267 | Dead | Gravity | 150 |
| 12Story-Story5 | F17 | 280 | Dead | Gravity | 150 |
| 12Story-Story5 | F18 | 293 | Dead | Gravity | 150 |
| 12Story-Story4 | F10 | 190 | Dead | Gravity | 150 |
| 12Story-Story4 | F11 | 203 | Dead | Gravity | 150 |
| 12Story-Story4 | F12 | 216 | Dead | Gravity | 150 |
| 12Story-Story4 | F13 | 229 | Dead | Gravity | 150 |
| 12Story-Story4 | F14 | 242 | Dead | Gravity | 150 |
| 12Story-Story4 | F15 | 255 | Dead | Gravity | 150 |
| 12Story-Story4 | F16 | 268 | Dead | Gravity | 150 |
| 12Story-Story4 | F17 | 281 | Dead | Gravity | 150 |
| 12Story-Story4 | F18 | 294 | Dead | Gravity | 150 |
| 12Story-Story3 | F10 | 191 | Dead | Gravity | 150 |
| 12Story-Story3 | F11 | 204 | Dead | Gravity | 150 |
| 12Story-Story3 | F12 | 217 | Dead | Gravity | 150 |
| 12Story-Story3 | F13 | 230 | Dead | Gravity | 150 |
| 12Story-Story3 | F14 | 243 | Dead | Gravity | 150 |
| 12Story-Story3 | F15 | 256 | Dead | Gravity | 150 |
| 12Story-Story3 | F16 | 269 | Dead | Gravity | 150 |
| 12Story-Story3 | F17 | 282 | Dead | Gravity | 150 |
| 12Story-Story3 | F18 | 295 | Dead | Gravity | 150 |
| 12Story-Story2 | F10 | 192 | Dead | Gravity | 150 |
| 12Story-Story2 | F11 | 205 | Dead | Gravity | 150 |
| 12Story-Story2 | F12 | 218 | Dead | Gravity | 150 |
| 12Story-Story2 | F13 | 231 | Dead | Gravity | 150 |
| 12Story-Story2 | F14 | 244 | Dead | Gravity | 150 |
| 12Story-Story2 | F15 | 257 | Dead | Gravity | 150 |
| 12Story-Story2 | F16 | 270 | Dead | Gravity | 150 |
| 12Story-Story2 | F17 | 283 | Dead | Gravity | 150 |
| 12Story-Story2 | F18 | 296 | Dead | Gravity | 150 |
| 12Story-Story1 | F10 | 181 | Dead | Gravity | 150 |
| 12Story-Story1 | F11 | 194 | Dead | Gravity | 150 |
| 12Story-Story1 | F12 | 207 | Dead | Gravity | 150 |
| 12Story-Story1 | F13 | 220 | Dead | Gravity | 150 |
| 12Story-Story1 | F14 | 233 | Dead | Gravity | 150 |
| 12Story-Story1 | F15 | 246 | Dead | Gravity | 150 |
| 12Story-Story1 | F16 | 259 | Dead | Gravity | 150 |
| 12Story-Story1 | F17 | 272 | Dead | Gravity | 150 |
| 12Story-Story1 | F18 | 285 | Dead | Gravity | 150 |
| 12Story-Story12 | F10 | 182 | Live | Gravity | 200 |
| 12Story-Story12 | F11 | 195 | Live | Gravity | 200 |
| 12Story-Story12 | F12 | 208 | Live | Gravity | 200 |
| 12Story-Story12 | F13 | 221 | Live | Gravity | 200 |
| 12Story-Story12 | F14 | 234 | Live | Gravity | 200 |
| 12Story-Story12 | F15 | 247 | Live | Gravity | 200 |
| 12Story-Story12 | F16 | 260 | Live | Gravity | 200 |
| 12Story-Story12 | F17 | 273 | Live | Gravity | 200 |
| 12Story-Story12 | F18 | 286 | Live | Gravity | 200 |
| 12Story-Story11 | F10 | 183 | Live | Gravity | 200 |
| 12Story-Story11 | F11 | 196 | Live | Gravity | 200 |
| 12Story-Story11 | F12 | 209 | Live | Gravity | 200 |
| 12Story-Story11 | F13 | 222 | Live | Gravity | 200 |
| 12Story-Story11 | F14 | 235 | Live | Gravity | 200 |
| 12Story-Story11 | F15 | 248 | Live | Gravity | 200 |
| 12Story-Story11 | F16 | 261 | Live | Gravity | 200 |
| 12Story-Story11 | F17 | 274 | Live | Gravity | 200 |
| 12Story-Story11 | F18 | 287 | Live | Gravity | 200 |
| 12Story-Story10 | F10 | 184 | Live | Gravity | 200 |
| 12Story-Story10 | F11 | 197 | Live | Gravity | 200 |
| 12Story-Story10 | F12 | 210 | Live | Gravity | 200 |
| 12Story-Story10 | F13 | 223 | Live | Gravity | 200 |
| 12Story-Story10 | F14 | 236 | Live | Gravity | 200 |
| 12Story-Story10 | F15 | 249 | Live | Gravity | 200 |
| 12Story-Story10 | F16 | 262 | Live | Gravity | 200 |
| 12Story-Story10 | F17 | 275 | Live | Gravity | 200 |
| 12Story-Story10 | F18 | 288 | Live | Gravity | 200 |
| 12Story-Story9 | F10 | 185 | Live | Gravity | 200 |
| 12Story-Story9 | F11 | 198 | Live | Gravity | 200 |
| 12Story-Story9 | F12 | 211 | Live | Gravity | 200 |
| 12Story-Story9 | F13 | 224 | Live | Gravity | 200 |
| 12Story-Story9 | F14 | 237 | Live | Gravity | 200 |
| 12Story-Story9 | F15 | 250 | Live | Gravity | 200 |
| 12Story-Story9 | F16 | 263 | Live | Gravity | 200 |
| 12Story-Story9 | F17 | 276 | Live | Gravity | 200 |
| 12Story-Story9 | F18 | 289 | Live | Gravity | 200 |
| 12Story-Story8 | F10 | 186 | Live | Gravity | 200 |
| 12Story-Story8 | F11 | 199 | Live | Gravity | 200 |
| 12Story-Story8 | F12 | 212 | Live | Gravity | 200 |
| 12Story-Story8 | F13 | 225 | Live | Gravity | 200 |
| 12Story-Story8 | F14 | 238 | Live | Gravity | 200 |
| 12Story-Story8 | F15 | 251 | Live | Gravity | 200 |
| 12Story-Story8 | F16 | 264 | Live | Gravity | 200 |
| 12Story-Story8 | F17 | 277 | Live | Gravity | 200 |
| 12Story-Story8 | F18 | 290 | Live | Gravity | 200 |
| 12Story-Story7 | F10 | 187 | Live | Gravity | 200 |
| 12Story-Story7 | F11 | 200 | Live | Gravity | 200 |
| 12Story-Story7 | F12 | 213 | Live | Gravity | 200 |
| 12Story-Story7 | F13 | 226 | Live | Gravity | 200 |
| 12Story-Story7 | F14 | 239 | Live | Gravity | 200 |
| 12Story-Story7 | F15 | 252 | Live | Gravity | 200 |
| 12Story-Story7 | F16 | 265 | Live | Gravity | 200 |
| 12Story-Story7 | F17 | 278 | Live | Gravity | 200 |
| 12Story-Story7 | F18 | 291 | Live | Gravity | 200 |
| 12Story-Story6 | F10 | 188 | Live | Gravity | 200 |
| 12Story-Story6 | F11 | 201 | Live | Gravity | 200 |
| 12Story-Story6 | F12 | 214 | Live | Gravity | 200 |
| 12Story-Story6 | F13 | 227 | Live | Gravity | 200 |
| 12Story-Story6 | F14 | 240 | Live | Gravity | 200 |
| 12Story-Story6 | F15 | 253 | Live | Gravity | 200 |
| 12Story-Story6 | F16 | 266 | Live | Gravity | 200 |
| 12Story-Story6 | F17 | 279 | Live | Gravity | 200 |
| 12Story-Story6 | F18 | 292 | Live | Gravity | 200 |
| 12Story-Story5 | F10 | 189 | Live | Gravity | 200 |
| 12Story-Story5 | F11 | 202 | Live | Gravity | 200 |
| 12Story-Story5 | F12 | 215 | Live | Gravity | 200 |
| 12Story-Story5 | F13 | 228 | Live | Gravity | 200 |
| 12Story-Story5 | F14 | 241 | Live | Gravity | 200 |
| 12Story-Story5 | F15 | 254 | Live | Gravity | 200 |
| 12Story-Story5 | F16 | 267 | Live | Gravity | 200 |
| 12Story-Story5 | F17 | 280 | Live | Gravity | 200 |
| 12Story-Story5 | F18 | 293 | Live | Gravity | 200 |
| 12Story-Story4 | F10 | 190 | Live | Gravity | 200 |
| 12Story-Story4 | F11 | 203 | Live | Gravity | 200 |
| 12Story-Story4 | F12 | 216 | Live | Gravity | 200 |
| 12Story-Story4 | F13 | 229 | Live | Gravity | 200 |
| 12Story-Story4 | F14 | 242 | Live | Gravity | 200 |
| 12Story-Story4 | F15 | 255 | Live | Gravity | 200 |
| 12Story-Story4 | F16 | 268 | Live | Gravity | 200 |
| 12Story-Story4 | F17 | 281 | Live | Gravity | 200 |
| 12Story-Story4 | F18 | 294 | Live | Gravity | 200 |
| 12Story-Story3 | F10 | 191 | Live | Gravity | 200 |
| 12Story-Story3 | F11 | 204 | Live | Gravity | 200 |
| 12Story-Story3 | F12 | 217 | Live | Gravity | 200 |
| 12Story-Story3 | F13 | 230 | Live | Gravity | 200 |
| 12Story-Story3 | F14 | 243 | Live | Gravity | 200 |
| 12Story-Story3 | F15 | 256 | Live | Gravity | 200 |
| 12Story-Story3 | F16 | 269 | Live | Gravity | 200 |
| 12Story-Story3 | F17 | 282 | Live | Gravity | 200 |
| 12Story-Story3 | F18 | 295 | Live | Gravity | 200 |
| 12Story-Story2 | F10 | 192 | Live | Gravity | 200 |
| 12Story-Story2 | F11 | 205 | Live | Gravity | 200 |
| 12Story-Story2 | F12 | 218 | Live | Gravity | 200 |
| 12Story-Story2 | F13 | 231 | Live | Gravity | 200 |
| 12Story-Story2 | F14 | 244 | Live | Gravity | 200 |
| 12Story-Story2 | F15 | 257 | Live | Gravity | 200 |
| 12Story-Story2 | F16 | 270 | Live | Gravity | 200 |
| 12Story-Story2 | F17 | 283 | Live | Gravity | 200 |
| 12Story-Story2 | F18 | 296 | Live | Gravity | 200 |
| 12Story-Story1 | F10 | 181 | Live | Gravity | 200 |
| 12Story-Story1 | F11 | 194 | Live | Gravity | 200 |
| 12Story-Story1 | F12 | 207 | Live | Gravity | 200 |
| 12Story-Story1 | F13 | 220 | Live | Gravity | 200 |
| 12Story-Story1 | F14 | 233 | Live | Gravity | 200 |
| 12Story-Story1 | F15 | 246 | Live | Gravity | 200 |
| 12Story-Story1 | F16 | 259 | Live | Gravity | 200 |
| 12Story-Story1 | F17 | 272 | Live | Gravity | 200 |
| 12Story-Story1 | F18 | 285 | Live | Gravity | 200 |
| 6Story-Story6 | F19 | 8 | Dead | Gravity | 150 |
| 6Story-Story6 | F20 | 36 | Dead | Gravity | 150 |
| 6Story-Story6 | F21 | 43 | Dead | Gravity | 150 |
| 6Story-Story6 | F22 | 50 | Dead | Gravity | 150 |
| 6Story-Story6 | F23 | 57 | Dead | Gravity | 150 |
| 6Story-Story6 | F24 | 64 | Dead | Gravity | 150 |
| 6Story-Story6 | F46 | 71 | Dead | Gravity | 150 |
| 6Story-Story6 | F47 | 78 | Dead | Gravity | 150 |
| 6Story-Story6 | F48 | 85 | Dead | Gravity | 150 |
| 6Story-Story5 | F19 | 12 | Dead | Gravity | 150 |
| 6Story-Story5 | F20 | 37 | Dead | Gravity | 150 |
| 6Story-Story5 | F21 | 44 | Dead | Gravity | 150 |
| 6Story-Story5 | F22 | 51 | Dead | Gravity | 150 |
| 6Story-Story5 | F23 | 58 | Dead | Gravity | 150 |
| 6Story-Story5 | F24 | 65 | Dead | Gravity | 150 |
| 6Story-Story5 | F46 | 72 | Dead | Gravity | 150 |
| 6Story-Story5 | F47 | 79 | Dead | Gravity | 150 |
| 6Story-Story5 | F48 | 86 | Dead | Gravity | 150 |
| 6Story-Story4 | F19 | 16 | Dead | Gravity | 150 |
| 6Story-Story4 | F20 | 38 | Dead | Gravity | 150 |
| 6Story-Story4 | F21 | 45 | Dead | Gravity | 150 |
| 6Story-Story4 | F22 | 52 | Dead | Gravity | 150 |
| 6Story-Story4 | F23 | 59 | Dead | Gravity | 150 |
| 6Story-Story4 | F24 | 66 | Dead | Gravity | 150 |
| 6Story-Story4 | F46 | 73 | Dead | Gravity | 150 |
| 6Story-Story4 | F47 | 80 | Dead | Gravity | 150 |
| 6Story-Story4 | F48 | 87 | Dead | Gravity | 150 |
| 6Story-Story3 | F19 | 20 | Dead | Gravity | 150 |
| 6Story-Story3 | F20 | 39 | Dead | Gravity | 150 |
| 6Story-Story3 | F21 | 46 | Dead | Gravity | 150 |
| 6Story-Story3 | F22 | 53 | Dead | Gravity | 150 |
| 6Story-Story3 | F23 | 60 | Dead | Gravity | 150 |
| 6Story-Story3 | F24 | 67 | Dead | Gravity | 150 |
| 6Story-Story3 | F46 | 74 | Dead | Gravity | 150 |
| 6Story-Story3 | F47 | 81 | Dead | Gravity | 150 |
| 6Story-Story3 | F48 | 88 | Dead | Gravity | 150 |
| 6Story-Story2 | F19 | 24 | Dead | Gravity | 150 |
| 6Story-Story2 | F20 | 40 | Dead | Gravity | 150 |
| 6Story-Story2 | F21 | 47 | Dead | Gravity | 150 |
| 6Story-Story2 | F22 | 54 | Dead | Gravity | 150 |
| 6Story-Story2 | F23 | 61 | Dead | Gravity | 150 |
| 6Story-Story2 | F24 | 68 | Dead | Gravity | 150 |
| 6Story-Story2 | F46 | 75 | Dead | Gravity | 150 |
| 6Story-Story2 | F47 | 82 | Dead | Gravity | 150 |
| 6Story-Story2 | F48 | 89 | Dead | Gravity | 150 |
| 6Story-Story1 | F19 | 4 | Dead | Gravity | 150 |
| 6Story-Story1 | F20 | 32 | Dead | Gravity | 150 |
| 6Story-Story1 | F21 | 42 | Dead | Gravity | 150 |
| 6Story-Story1 | F22 | 49 | Dead | Gravity | 150 |
| 6Story-Story1 | F23 | 56 | Dead | Gravity | 150 |
| 6Story-Story1 | F24 | 63 | Dead | Gravity | 150 |
| 6Story-Story1 | F46 | 70 | Dead | Gravity | 150 |
| 6Story-Story1 | F47 | 77 | Dead | Gravity | 150 |
| 6Story-Story1 | F48 | 84 | Dead | Gravity | 150 |
| 6Story-Story6 | F19 | 8 | Live | Gravity | 200 |
| 6Story-Story6 | F20 | 36 | Live | Gravity | 200 |
| 6Story-Story6 | F21 | 43 | Live | Gravity | 200 |
| 6Story-Story6 | F22 | 50 | Live | Gravity | 200 |
| 6Story-Story6 | F23 | 57 | Live | Gravity | 200 |
| 6Story-Story6 | F24 | 64 | Live | Gravity | 200 |
| 6Story-Story6 | F46 | 71 | Live | Gravity | 200 |
| 6Story-Story6 | F47 | 78 | Live | Gravity | 200 |
| 6Story-Story6 | F48 | 85 | Live | Gravity | 200 |
| 6Story-Story5 | F19 | 12 | Live | Gravity | 200 |
| 6Story-Story5 | F20 | 37 | Live | Gravity | 200 |
| 6Story-Story5 | F21 | 44 | Live | Gravity | 200 |
| 6Story-Story5 | F22 | 51 | Live | Gravity | 200 |
| 6Story-Story5 | F23 | 58 | Live | Gravity | 200 |
| 6Story-Story5 | F24 | 65 | Live | Gravity | 200 |
| 6Story-Story5 | F46 | 72 | Live | Gravity | 200 |
| 6Story-Story5 | F47 | 79 | Live | Gravity | 200 |
| 6Story-Story5 | F48 | 86 | Live | Gravity | 200 |
| 6Story-Story4 | F19 | 16 | Live | Gravity | 200 |
| 6Story-Story4 | F20 | 38 | Live | Gravity | 200 |
| 6Story-Story4 | F21 | 45 | Live | Gravity | 200 |
| 6Story-Story4 | F22 | 52 | Live | Gravity | 200 |
| 6Story-Story4 | F23 | 59 | Live | Gravity | 200 |
| 6Story-Story4 | F24 | 66 | Live | Gravity | 200 |
| 6Story-Story4 | F46 | 73 | Live | Gravity | 200 |
| 6Story-Story4 | F47 | 80 | Live | Gravity | 200 |
| 6Story-Story4 | F48 | 87 | Live | Gravity | 200 |
| 6Story-Story3 | F19 | 20 | Live | Gravity | 200 |
| 6Story-Story3 | F20 | 39 | Live | Gravity | 200 |
| 6Story-Story3 | F21 | 46 | Live | Gravity | 200 |
| 6Story-Story3 | F22 | 53 | Live | Gravity | 200 |
| 6Story-Story3 | F23 | 60 | Live | Gravity | 200 |
| 6Story-Story3 | F24 | 67 | Live | Gravity | 200 |
| 6Story-Story3 | F46 | 74 | Live | Gravity | 200 |
| 6Story-Story3 | F47 | 81 | Live | Gravity | 200 |
| 6Story-Story3 | F48 | 88 | Live | Gravity | 200 |
| 6Story-Story2 | F19 | 24 | Live | Gravity | 200 |
| 6Story-Story2 | F20 | 40 | Live | Gravity | 200 |
| 6Story-Story2 | F21 | 47 | Live | Gravity | 200 |
| 6Story-Story2 | F22 | 54 | Live | Gravity | 200 |
| 6Story-Story2 | F23 | 61 | Live | Gravity | 200 |
| 6Story-Story2 | F24 | 68 | Live | Gravity | 200 |
| 6Story-Story2 | F46 | 75 | Live | Gravity | 200 |
| 6Story-Story2 | F47 | 82 | Live | Gravity | 200 |
| 6Story-Story2 | F48 | 89 | Live | Gravity | 200 |
| 6Story-Story1 | F19 | 4 | Live | Gravity | 200 |
| 6Story-Story1 | F20 | 32 | Live | Gravity | 200 |
| 6Story-Story1 | F21 | 42 | Live | Gravity | 200 |
| 6Story-Story1 | F22 | 49 | Live | Gravity | 200 |
| 6Story-Story1 | F23 | 56 | Live | Gravity | 200 |
| 6Story-Story1 | F24 | 63 | Live | Gravity | 200 |
| 6Story-Story1 | F46 | 70 | Live | Gravity | 200 |
| 6Story-Story1 | F47 | 77 | Live | Gravity | 200 |
| 6Story-Story1 | F48 | 84 | Live | Gravity | 200 |
| 3Story-Story3 | F25 | 2 | Dead | Gravity | 150 |
| 3Story-Story3 | F26 | 6 | Dead | Gravity | 150 |
| 3Story-Story3 | F27 | 10 | Dead | Gravity | 150 |
| 3Story-Story3 | F28 | 14 | Dead | Gravity | 150 |
| 3Story-Story3 | F29 | 18 | Dead | Gravity | 150 |
| 3Story-Story3 | F30 | 22 | Dead | Gravity | 150 |
| 3Story-Story3 | F31 | 26 | Dead | Gravity | 150 |
| 3Story-Story3 | F32 | 30 | Dead | Gravity | 150 |
| 3Story-Story3 | F33 | 34 | Dead | Gravity | 150 |
| 3Story-Story2 | F25 | 3 | Dead | Gravity | 150 |
| 3Story-Story2 | F26 | 7 | Dead | Gravity | 150 |
| 3Story-Story2 | F27 | 11 | Dead | Gravity | 150 |
| 3Story-Story2 | F28 | 15 | Dead | Gravity | 150 |
| 3Story-Story2 | F29 | 19 | Dead | Gravity | 150 |
| 3Story-Story2 | F30 | 23 | Dead | Gravity | 150 |
| 3Story-Story2 | F31 | 27 | Dead | Gravity | 150 |
| 3Story-Story2 | F32 | 31 | Dead | Gravity | 150 |
| 3Story-Story2 | F33 | 35 | Dead | Gravity | 150 |
| 3Story-Story1 | F25 | 1 | Dead | Gravity | 150 |
| 3Story-Story1 | F26 | 5 | Dead | Gravity | 150 |
| 3Story-Story1 | F27 | 9 | Dead | Gravity | 150 |
| 3Story-Story1 | F28 | 13 | Dead | Gravity | 150 |
| 3Story-Story1 | F29 | 17 | Dead | Gravity | 150 |
| 3Story-Story1 | F30 | 21 | Dead | Gravity | 150 |
| 3Story-Story1 | F31 | 25 | Dead | Gravity | 150 |
| 3Story-Story1 | F32 | 29 | Dead | Gravity | 150 |
| 3Story-Story1 | F33 | 33 | Dead | Gravity | 150 |
| 3Story-Story3 | F25 | 2 | Live | Gravity | 200 |
| 3Story-Story3 | F26 | 6 | Live | Gravity | 200 |
| 3Story-Story3 | F27 | 10 | Live | Gravity | 200 |
| 3Story-Story3 | F28 | 14 | Live | Gravity | 200 |
| 3Story-Story3 | F29 | 18 | Live | Gravity | 200 |
| 3Story-Story3 | F30 | 22 | Live | Gravity | 200 |
| 3Story-Story3 | F31 | 26 | Live | Gravity | 200 |
| 3Story-Story3 | F32 | 30 | Live | Gravity | 200 |
| 3Story-Story3 | F33 | 34 | Live | Gravity | 200 |
| 3Story-Story2 | F25 | 3 | Live | Gravity | 200 |
| 3Story-Story2 | F26 | 7 | Live | Gravity | 200 |
| 3Story-Story2 | F27 | 11 | Live | Gravity | 200 |
| 3Story-Story2 | F28 | 15 | Live | Gravity | 200 |
| 3Story-Story2 | F29 | 19 | Live | Gravity | 200 |
| 3Story-Story2 | F30 | 23 | Live | Gravity | 200 |
| 3Story-Story2 | F31 | 27 | Live | Gravity | 200 |
| 3Story-Story2 | F32 | 31 | Live | Gravity | 200 |
| 3Story-Story2 | F33 | 35 | Live | Gravity | 200 |
| 3Story-Story1 | F25 | 1 | Live | Gravity | 200 |
| 3Story-Story1 | F26 | 5 | Live | Gravity | 200 |
| 3Story-Story1 | F27 | 9 | Live | Gravity | 200 |
| 3Story-Story1 | F28 | 13 | Live | Gravity | 200 |
| 3Story-Story1 | F29 | 17 | Live | Gravity | 200 |
| 3Story-Story1 | F30 | 21 | Live | Gravity | 200 |
| 3Story-Story1 | F31 | 25 | Live | Gravity | 200 |
| 3Story-Story1 | F32 | 29 | Live | Gravity | 200 |
| 3Story-Story1 | F33 | 33 | Live | Gravity | 200 |

## 4.4 Load Cases

Table 4.6 - Load Cases - Summary

| Name | Type |
| --- | --- |
| Dead | Linear Static |
| Live | Linear Static |
| EX | Linear Static |
| EX1 | Linear Static |
| EY | Linear Static |

## 4.5 Load Combinations

Table 4.7 - Load Combinations

| Name | Load Case/Combo | Scale Factor | Type | Auto |
| --- | --- | --- | --- | --- |
| DCon1 | Dead | 1.4 | Linear Add | Yes |
| DCon2 | Dead | 1.2 | Linear Add | Yes |
| DCon2 | Live | 1.6 |  | No |
| DCon3 | Dead | 1.3 | Linear Add | Yes |
| DCon3 | Live | 1 |  | No |
| DCon3 | EX1 | 1 |  | No |
| DCon4 | Dead | 1.3 | Linear Add | Yes |
| DCon4 | Live | 1 |  | No |
| DCon4 | EX1 | -1 |  | No |
| DCon5 | Dead | 1.3 | Linear Add | Yes |
| DCon5 | Live | 1 |  | No |
| DCon5 | EY | 1 |  | No |
| DCon6 | Dead | 1.3 | Linear Add | Yes |
| DCon6 | Live | 1 |  | No |
| DCon6 | EY | -1 |  | No |
| DCon7 | Dead | 0.8 | Linear Add | Yes |
| DCon7 | EX1 | 1 |  | No |
| DCon8 | Dead | 0.8 | Linear Add | Yes |
| DCon8 | EX1 | -1 |  | No |
| DCon9 | Dead | 0.8 | Linear Add | Yes |
| DCon9 | EY | 1 |  | No |
| DCon10 | Dead | 0.8 | Linear Add | Yes |
| DCon10 | EY | -1 |  | No |

# 5 Analysis Results

This chapter provides analysis results.

## 5.1 Structure Results

Table 5.1 - Base Reactions

| Load Case/Combo | FX kgf | FY kgf | FZ kgf | MX kgf-m | MY kgf-m | MZ kgf-m | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dead | -8.044E-05 | -0.0001422 | 5967000 | 44752500.01 | -147298950 | -0.002396 | 0 | 0 | 0 |
| Live | 0 | 0 | 540000 | 4050000 | -12420000 | -0.0002888 | 0 | 0 | 0 |
| EX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| EX1 1 | -1575400.51 | -0.0003808 | 0 | 0.01 | -30003267.15 | 11815503.83 | 0 | 0 | 0 |
| EX1 2 | -1575400.51 | 0.001833 | 0 | -0.05 | -30003267.16 | 12997054.33 | 0 | 0 | 0 |
| EX1 3 | -1575400.51 | -0.002595 | 0 | 0.08 | -30003267.15 | 10633953.32 | 0 | 0 | 0 |
| EY 1 | -0.000238 | -1587121.47 | 0 | 30106282.73 | -0.01 | -40022579.04 | 0 | 0 | 0 |
| EY 2 | -0.0001071 | -1587121.48 | 0 | 30106282.79 | -0.003276 | -41212920.26 | 0 | 0 | 0 |
| EY 3 | -0.000369 | -1587121.47 | 0 | 30106282.66 | -0.01 | -38832237.81 | 0 | 0 | 0 |
| DCon1 | -0.0001126 | -0.0001991 | 8353800 | 62653500.01 | -206218530 | -0.003355 | 0 | 0 | 0 |
| DCon2 | -0.0001231 | -0.0002027 | 8024400 | 60183000.01 | -196630740 | -0.003338 | 0 | 0 | 0 |
| DCon3 Max | -1575400.51 | 0.001628 | 8297100 | 62228250.09 | -233911902 | 12997054.33 | 0 | 0 | 0 |
| DCon3 Min | -1575400.51 | -0.002799 | 8297100 | 62228249.96 | -233911902 | 10633953.32 | 0 | 0 | 0 |
| DCon4 Max | 1575400.51 | 0.00239 | 8297100 | 62228250.06 | -173905368 | -10633953.33 | 0 | 0 | 0 |
| DCon4 Min | 1575400.51 | -0.002038 | 8297100 | 62228249.93 | -173905368 | -12997054.34 | 0 | 0 | 0 |
| DCon5 Max | -0.0002282 | -1587121.47 | 8297100 | 92334532.8 | -203908635 | -38832237.81 | 0 | 0 | 0 |
| DCon5 Min | -0.0004902 | -1587121.48 | 8297100 | 92334532.67 | -203908635 | -41212920.27 | 0 | 0 | 0 |
| DCon6 Max | 0.0002478 | 1587121.48 | 8297100 | 32121967.35 | -203908635 | 41212920.26 | 0 | 0 | 0 |
| DCon6 Min | 0 | 1587121.47 | 8297100 | 32121967.22 | -203908635 | 38832237.81 | 0 | 0 | 0 |
| DCon7 Max | -1575400.51 | 0.001719 | 4773600 | 35802000.08 | -147842427 | 12997054.33 | 0 | 0 | 0 |
| DCon7 Min | -1575400.51 | -0.002708 | 4773600 | 35801999.95 | -147842427 | 10633953.32 | 0 | 0 | 0 |
| DCon8 Max | 1575400.51 | 0.002481 | 4773600 | 35802000.06 | -87835892.85 | -10633953.33 | 0 | 0 | 0 |
| DCon8 Min | 1575400.51 | -0.001947 | 4773600 | 35801999.93 | -87835892.86 | -12997054.33 | 0 | 0 | 0 |
| DCon9 Max | -0.0001714 | -1587121.47 | 4773600 | 65908282.8 | -117839160 | -38832237.81 | 0 | 0 | 0 |
| DCon9 Min | -0.0004334 | -1587121.48 | 4773600 | 65908282.67 | -117839160 | -41212920.27 | 0 | 0 | 0 |
| DCon10 Max | 0.0003047 | 1587121.48 | 4773600 | 5695717.34 | -117839160 | 41212920.26 | 0 | 0 | 0 |
| DCon10 Min | 0 | 1587121.47 | 4773600 | 5695717.21 | -117839160 | 38832237.81 | 0 | 0 | 0 |

Table 5.2 - Centers of Mass and Rigidity

| Story | Diaphragm | Mass X kgf-s²/m | Mass Y kgf-s²/m | XCM m | YCM m | Cumulative X kgf-s²/m | Cumulative Y kgf-s²/m | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | D1 | 32413.21 | 32413.21 | 23 | 7.5 | 32413.21 | 32413.21 | 23 | 7.5 |  |  |
| 12Story-Story11 | D1 | 33529.8 | 33529.8 | 23 | 7.5 | 65943.01 | 65943.01 | 23 | 7.5 |  |  |
| 12Story-Story10 | D1 | 33529.8 | 33529.8 | 23 | 7.5 | 99472.8 | 99472.8 | 23 | 7.5 |  |  |
| 12Story-Story9 | D1 | 33982.55 | 33982.55 | 23 | 7.5 | 133455.36 | 133455.36 | 23 | 7.5 |  |  |
| 12Story-Story8 | D1 | 34563.79 | 34563.79 | 23 | 7.5 | 168019.15 | 168019.15 | 23 | 7.5 |  |  |
| 12Story-Story7 | D1 | 34563.79 | 34563.79 | 23 | 7.5 | 202582.94 | 202582.94 | 23 | 7.5 |  |  |
| 12Story-Story6 | D1 | 34992.07 | 34992.07 | 23 | 7.5 | 237575.01 | 237575.01 | 23 | 7.5 |  |  |
| 12Story-Story5 | D1 | 35527.42 | 35527.42 | 23 | 7.5 | 273102.43 | 273102.43 | 23 | 7.5 |  |  |
| 12Story-Story4 | D1 | 35527.42 | 35527.42 | 23 | 7.5 | 308629.85 | 308629.85 | 23 | 7.5 |  |  |
| 12Story-Story3 | D1 | 36194.32 | 36194.32 | 23 | 7.5 | 344824.17 | 344824.17 | 23 | 7.5 |  |  |
| 12Story-Story2 | D1 | 36989.7 | 36989.7 | 23 | 7.5 | 381813.86 | 381813.86 | 23 | 7.5 |  |  |
| 12Story-Story1 | D1 | 36989.7 | 36989.7 | 23 | 7.5 | 418803.56 | 418803.56 | 23 | 7.5 |  |  |
| 6Story-Story6 | D1 | 32413.21 | 32413.21 | 38.5 | 7.5 | 451216.77 | 451216.77 | 24.1134 | 7.5 |  |  |
| 6Story-Story5 | D1 | 33529.8 | 33529.8 | 38.5 | 7.5 | 484746.57 | 484746.57 | 25.1086 | 7.5 |  |  |
| 6Story-Story4 | D1 | 33529.8 | 33529.8 | 38.5 | 7.5 | 518276.36 | 518276.36 | 25.9749 | 7.5 |  |  |
| 6Story-Story3 | D1 | 33982.55 | 33982.55 | 38.5 | 7.5 | 552258.92 | 552258.92 | 26.7456 | 7.5 |  |  |
| 6Story-Story2 | D1 | 34563.79 | 34563.79 | 38.5 | 7.5 | 586822.71 | 586822.71 | 27.438 | 7.5 |  |  |
| 6Story-Story1 | D1 | 34563.79 | 34563.79 | 38.5 | 7.5 | 621386.5 | 621386.5 | 28.0533 | 7.5 |  |  |
| 3Story-Story3 | D1 | 32413.21 | 32413.21 | 7.5 | 7.5 | 653799.7 | 653799.7 | 27.0343 | 7.5 |  |  |
| 3Story-Story2 | D1 | 33529.8 | 33529.8 | 7.5 | 7.5 | 687329.5 | 687329.5 | 26.0814 | 7.5 |  |  |
| 3Story-Story1 | D1 | 33529.8 | 33529.8 | 7.5 | 7.5 | 720859.3 | 720859.3 | 25.2171 | 7.5 |  |  |

Table 5.3 - Diaphragm Center of Mass Displacements

| Story | Diaphragm | Load Case/Combo | UX m | UY m | RZ rad | Point | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | D1 | Dead | -1.6E-05 | -3.5E-05 | 1E-06 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | Live | -3E-06 | -5E-06 | 2.704E-07 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EX | 0 | 0 | 0 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EX1 1 | 0.031431 | -9E-05 | 1.8E-05 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EX1 2 | 0.031411 | 0.000279 | -0.000202 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EX1 3 | 0.03145 | -0.000459 | 0.000238 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EY 1 | -4.4E-05 | 0.028407 | -0.000168 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EY 2 | -2.4E-05 | 0.028036 | 5.2E-05 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | EY 3 | -6.3E-05 | 0.028777 | -0.000388 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon1 | -2.2E-05 | -5E-05 | 2E-06 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon2 | -2.4E-05 | -5.1E-05 | 2E-06 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon3 Max | 0.031426 | 0.000228 | 0.00024 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon3 Min | 0.031387 | -0.000511 | -0.0002 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon4 Max | -0.031435 | 0.000408 | 0.000204 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon4 Min | -0.031474 | -0.000331 | -0.000236 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon5 Max | -4.8E-05 | 0.028726 | 5.4E-05 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon5 Min | -8.7E-05 | 0.027985 | -0.000386 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon6 Max | 4E-05 | -0.028087 | 0.00039 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon6 Min | 2.114E-07 | -0.028828 | -5E-05 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon7 Max | 0.031438 | 0.000251 | 0.000239 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon7 Min | 0.031398 | -0.000488 | -0.0002 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon8 Max | -0.031423 | 0.000431 | 0.000203 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon8 Min | -0.031463 | -0.000308 | -0.000237 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon9 Max | -3.7E-05 | 0.028749 | 5.3E-05 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon9 Min | -7.6E-05 | 0.028008 | -0.000387 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon10 Max | 5.1E-05 | -0.028064 | 0.000389 | 1 | 23 | 7.5 | 36 |
| 12Story-Story12 | D1 | DCon10 Min | 1.1E-05 | -0.028805 | -5.1E-05 | 1 | 23 | 7.5 | 36 |
| 12Story-Story11 | D1 | Dead | -1.4E-05 | -3.1E-05 | 1E-06 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | Live | -3E-06 | -4E-06 | 2.699E-07 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EX | 0 | 0 | 0 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EX1 1 | 0.030341 | -8.1E-05 | 1.8E-05 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EX1 2 | 0.030322 | 0.000286 | -0.000191 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EX1 3 | 0.03036 | -0.000449 | 0.000227 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EY 1 | -4E-05 | 0.027316 | -0.000168 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EY 2 | -2.1E-05 | 0.026947 | 4.1E-05 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | EY 3 | -5.9E-05 | 0.027685 | -0.000377 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon1 | -1.9E-05 | -4.3E-05 | 2E-06 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon2 | -2.1E-05 | -4.4E-05 | 2E-06 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon3 Max | 0.030339 | 0.000242 | 0.000229 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon3 Min | 0.030302 | -0.000494 | -0.000189 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon4 Max | -0.030343 | 0.000404 | 0.000193 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon4 Min | -0.030381 | -0.000331 | -0.000225 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon5 Max | -4.2E-05 | 0.02764 | 4.3E-05 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon5 Min | -7.9E-05 | 0.026903 | -0.000375 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon6 Max | 3.8E-05 | -0.026992 | 0.000379 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon6 Min | 2.767E-07 | -0.027729 | -3.9E-05 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon7 Max | 0.030349 | 0.000262 | 0.000228 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon7 Min | 0.030311 | -0.000474 | -0.000189 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon8 Max | -0.030333 | 0.000424 | 0.000192 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon8 Min | -0.030371 | -0.000311 | -0.000226 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon9 Max | -3.2E-05 | 0.02766 | 4.2E-05 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon9 Min | -7E-05 | 0.026923 | -0.000376 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon10 Max | 4.8E-05 | -0.026972 | 0.000378 | 2 | 23 | 7.5 | 33 |
| 12Story-Story11 | D1 | DCon10 Min | 1E-05 | -0.027709 | -4E-05 | 2 | 23 | 7.5 | 33 |
| 12Story-Story10 | D1 | Dead | -1.2E-05 | -2.6E-05 | 1E-06 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | Live | -3E-06 | -4E-06 | 2.694E-07 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EX | 0 | 0 | 0 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EX1 1 | 0.028514 | -7.2E-05 | 1.8E-05 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EX1 2 | 0.028496 | 0.000293 | -0.00017 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EX1 3 | 0.028532 | -0.000438 | 0.000207 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EY 1 | -3.6E-05 | 0.025489 | -0.000168 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EY 2 | -1.8E-05 | 0.025122 | 2.1E-05 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | EY 3 | -5.4E-05 | 0.025856 | -0.000356 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon1 | -1.6E-05 | -3.7E-05 | 2E-06 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon2 | -1.8E-05 | -3.8E-05 | 2E-06 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon3 Max | 0.028514 | 0.000255 | 0.000209 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon3 Min | 0.028478 | -0.000476 | -0.000168 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon4 Max | -0.028514 | 0.0004 | 0.000172 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon4 Min | -0.028549 | -0.000331 | -0.000204 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon5 Max | -3.6E-05 | 0.025818 | 2.3E-05 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon5 Min | -7.2E-05 | 0.025084 | -0.000354 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon6 Max | 3.6E-05 | -0.02516 | 0.000359 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon6 Min | 3.393E-07 | -0.025894 | -1.9E-05 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon7 Max | 0.028522 | 0.000272 | 0.000208 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon7 Min | 0.028487 | -0.000459 | -0.000169 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon8 Max | -0.028505 | 0.000417 | 0.000171 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon8 Min | -0.028541 | -0.000314 | -0.000205 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon9 Max | -2.7E-05 | 0.025835 | 2.2E-05 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon9 Min | -6.3E-05 | 0.025101 | -0.000355 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon10 Max | 4.5E-05 | -0.025143 | 0.000358 | 3 | 23 | 7.5 | 30 |
| 12Story-Story10 | D1 | DCon10 Min | 9E-06 | -0.025877 | -2E-05 | 3 | 23 | 7.5 | 30 |
| 12Story-Story9 | D1 | Dead | -1E-05 | -2.2E-05 | 1E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | Live | -2E-06 | -3E-06 | 2.685E-07 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EX | 0 | 0 | 0 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EX1 1 | 0.026 | -6.4E-05 | 1.8E-05 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EX1 2 | 0.025983 | 0.0003 | -0.000141 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EX1 3 | 0.026017 | -0.000427 | 0.000177 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EY 1 | -3.2E-05 | 0.022975 | -0.000168 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EY 2 | -1.5E-05 | 0.02261 | -8E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | EY 3 | -4.9E-05 | 0.02334 | -0.000327 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon1 | -1.3E-05 | -3E-05 | 2E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon2 | -1.5E-05 | -3.1E-05 | 2E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon3 Max | 0.026003 | 0.000269 | 0.000179 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon3 Min | 0.025969 | -0.000459 | -0.000139 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon4 Max | -0.025998 | 0.000396 | 0.000143 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon4 Min | -0.026032 | -0.000332 | -0.000175 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon5 Max | -3E-05 | 0.023309 | -6E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon5 Min | -6.4E-05 | 0.022579 | -0.000325 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon6 Max | 3.4E-05 | -0.022642 | 0.000329 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon6 Min | 3.842E-07 | -0.023371 | 1E-05 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon7 Max | 0.02601 | 0.000283 | 0.000179 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon7 Min | 0.025976 | -0.000445 | -0.00014 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon8 Max | -0.025991 | 0.00041 | 0.000142 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon8 Min | -0.026025 | -0.000318 | -0.000176 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon9 Max | -2.3E-05 | 0.023323 | -7E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon9 Min | -5.7E-05 | 0.022593 | -0.000326 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon10 Max | 4.1E-05 | -0.022628 | 0.000328 | 4 | 23 | 7.5 | 27 |
| 12Story-Story9 | D1 | DCon10 Min | 7E-06 | -0.023358 | 9E-06 | 4 | 23 | 7.5 | 27 |
| 12Story-Story8 | D1 | Dead | -7E-06 | -1.7E-05 | 1E-06 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | Live | -2E-06 | -2E-06 | 2.65E-07 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EX | 0 | 0 | 0 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EX1 1 | 0.023467 | -5.4E-05 | 1.8E-05 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EX1 2 | 0.023452 | 0.000307 | -0.000114 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EX1 3 | 0.023483 | -0.000415 | 0.00015 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EY 1 | -2.8E-05 | 0.020442 | -0.000167 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EY 2 | -1.2E-05 | 0.02008 | -3.5E-05 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | EY 3 | -4.4E-05 | 0.020804 | -0.000299 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon1 | -1E-05 | -2.4E-05 | 2E-06 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon2 | -1.2E-05 | -2.4E-05 | 2E-06 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon3 Max | 0.023472 | 0.000282 | 0.000152 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon3 Min | 0.02344 | -0.00044 | -0.000112 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon4 Max | -0.023463 | 0.000391 | 0.000116 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon4 Min | -0.023495 | -0.000331 | -0.000148 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon5 Max | -2.3E-05 | 0.020779 | -3.3E-05 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon5 Min | -5.5E-05 | 0.020055 | -0.000297 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon6 Max | 3.2E-05 | -0.020104 | 0.000301 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon6 Min | 3.322E-07 | -0.020828 | 3.7E-05 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon7 Max | 0.023478 | 0.000293 | 0.000151 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon7 Min | 0.023446 | -0.000429 | -0.000113 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon8 Max | -0.023457 | 0.000402 | 0.000115 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon8 Min | -0.023489 | -0.00032 | -0.000149 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon9 Max | -1.7E-05 | 0.02079 | -3.4E-05 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon9 Min | -4.9E-05 | 0.020066 | -0.000298 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon10 Max | 3.8E-05 | -0.020094 | 0.0003 | 5 | 23 | 7.5 | 24 |
| 12Story-Story8 | D1 | DCon10 Min | 6E-06 | -0.020818 | 3.6E-05 | 5 | 23 | 7.5 | 24 |
| 12Story-Story7 | D1 | Dead | -5E-06 | -1.2E-05 | 1E-06 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | Live | -1E-06 | -2E-06 | 2.47E-07 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EX | 0 | 0 | 0 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EX1 1 | 0.020543 | -4.6E-05 | 1.7E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EX1 2 | 0.020528 | 0.000308 | -8.3E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EX1 3 | 0.020557 | -0.000399 | 0.000117 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EY 1 | -2.1E-05 | 0.017527 | -0.000164 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EY 2 | -7E-06 | 0.017172 | -6.3E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | EY 3 | -3.6E-05 | 0.017882 | -0.000264 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon1 | -6E-06 | -1.7E-05 | 2E-06 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon2 | -7E-06 | -1.7E-05 | 2E-06 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon3 Max | 0.02055 | 0.00029 | 0.000119 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon3 Min | 0.020521 | -0.000417 | -8.1E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon4 Max | -0.020536 | 0.000381 | 8.5E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon4 Min | -0.020565 | -0.000326 | -0.000115 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon5 Max | -1.4E-05 | 0.017864 | -6.1E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon5 Min | -4.3E-05 | 0.017155 | -0.000262 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon6 Max | 2.9E-05 | -0.01719 | 0.000266 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon6 Min | -1.742E-07 | -0.0179 | 6.5E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon7 Max | 0.020554 | 0.000298 | 0.000118 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon7 Min | 0.020525 | -0.000409 | -8.2E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon8 Max | -0.020532 | 0.000389 | 8.4E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon8 Min | -0.020561 | -0.000318 | -0.000116 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon9 Max | -1.1E-05 | 0.017872 | -6.2E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon9 Min | -4E-05 | 0.017163 | -0.000263 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon10 Max | 3.2E-05 | -0.017182 | 0.000265 | 6 | 23 | 7.5 | 21 |
| 12Story-Story7 | D1 | DCon10 Min | 3E-06 | -0.017892 | 6.4E-05 | 6 | 23 | 7.5 | 21 |
| 12Story-Story6 | D1 | Dead | 1E-06 | -8E-06 | 1E-06 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | Live | -6.309E-08 | -1E-06 | 1.196E-07 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EX | 0 | 0 | 0 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EX1 1 | 0.017325 | -3.8E-05 | 1E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EX1 2 | 0.017314 | 0.000284 | -6E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EX1 3 | 0.017335 | -0.00036 | 7.9E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EY 1 | -6E-06 | 0.014381 | -0.000141 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EY 2 | 5E-06 | 0.014058 | -7.2E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | EY 3 | -1.6E-05 | 0.014704 | -0.000211 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon1 | 2E-06 | -1.1E-05 | 1E-06 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon2 | 1E-06 | -1.1E-05 | 1E-06 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon3 Max | 0.017336 | 0.000273 | 8E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon3 Min | 0.017316 | -0.000372 | -5.8E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon4 Max | -0.017313 | 0.000349 | 6.1E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon4 Min | -0.017333 | -0.000296 | -7.8E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon5 Max | 6E-06 | 0.014693 | -7E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon5 Min | -1.4E-05 | 0.014046 | -0.00021 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon6 Max | 1.7E-05 | -0.014069 | 0.000212 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon6 Min | -3E-06 | -0.014716 | 7.3E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon7 Max | 0.017336 | 0.000278 | 8E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon7 Min | 0.017315 | -0.000367 | -5.9E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon8 Max | -0.017313 | 0.000354 | 6E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon8 Min | -0.017334 | -0.000291 | -7.9E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon9 Max | 6E-06 | 0.014698 | -7.1E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon9 Min | -1.5E-05 | 0.014052 | -0.00021 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon10 Max | 1.7E-05 | -0.014064 | 0.000212 | 7 | 23 | 7.5 | 18 |
| 12Story-Story6 | D1 | DCon10 Min | -4E-06 | -0.014711 | 7.2E-05 | 7 | 23 | 7.5 | 18 |
| 12Story-Story5 | D1 | Dead | 6E-06 | -5E-06 | 7.516E-08 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | Live | 1E-06 | -1E-06 | -2.721E-08 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EX | 0 | 0 | 0 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EX1 1 | 0.014136 | -2.9E-05 | 4E-06 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EX1 2 | 0.014129 | 0.000212 | -4.5E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EX1 3 | 0.014142 | -0.00027 | 5.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EY 1 | 9E-06 | 0.011482 | -7.5E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EY 2 | 1.6E-05 | 0.01124 | -2.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | EY 3 | 3E-06 | 0.011724 | -0.000125 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon1 | 9E-06 | -7E-06 | 1.052E-07 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon2 | 9E-06 | -7E-06 | 4.666E-08 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon3 Max | 0.014151 | 0.000205 | 5.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon3 Min | 0.014139 | -0.000277 | -4.5E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon4 Max | -0.01412 | 0.000263 | 4.6E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon4 Min | -0.014133 | -0.000219 | -5.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon5 Max | 2.5E-05 | 0.011717 | -2.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon5 Min | 1.2E-05 | 0.011233 | -0.000125 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon6 Max | 6E-06 | -0.011247 | 0.000125 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon6 Min | -6E-06 | -0.011731 | 2.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon7 Max | 0.014147 | 0.000208 | 5.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon7 Min | 0.014135 | -0.000274 | -4.5E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon8 Max | -0.014124 | 0.000266 | 4.6E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon8 Min | -0.014137 | -0.000216 | -5.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon9 Max | 2.1E-05 | 0.01172 | -2.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon9 Min | 8E-06 | 0.011236 | -0.000125 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon10 Max | 2E-06 | -0.011244 | 0.000125 | 8 | 23 | 7.5 | 15 |
| 12Story-Story5 | D1 | DCon10 Min | -1.1E-05 | -0.011727 | 2.4E-05 | 8 | 23 | 7.5 | 15 |
| 12Story-Story4 | D1 | Dead | 8E-06 | -2E-06 | -2.738E-07 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | Live | 1E-06 | -3.762E-07 | -7.602E-08 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EX | 0 | 0 | 0 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EX1 1 | 0.010735 | -2E-05 | 5E-06 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EX1 2 | 0.01073 | 0.000127 | -2.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EX1 3 | 0.010739 | -0.000166 | 3.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EY 1 | 1.3E-05 | 0.0085 | 1E-06 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EY 2 | 1.8E-05 | 0.008353 | 3.3E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | EY 3 | 9E-06 | 0.008647 | -3.1E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon1 | 1.1E-05 | -3E-06 | -3.834E-07 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon2 | 1.1E-05 | -3E-06 | -4.502E-07 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon3 Max | 0.010751 | 0.000123 | 3.6E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon3 Min | 0.010742 | -0.00017 | -2.8E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon4 Max | -0.010719 | 0.000163 | 2.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon4 Min | -0.010728 | -0.00013 | -3.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon5 Max | 2.9E-05 | 0.008643 | 3.3E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon5 Min | 2E-05 | 0.00835 | -3.1E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon6 Max | 3E-06 | -0.008356 | 3E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon6 Min | -6E-06 | -0.00865 | -3.4E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon7 Max | 0.010746 | 0.000125 | 3.6E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon7 Min | 0.010737 | -0.000168 | -2.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon8 Max | -0.010724 | 0.000164 | 2.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon8 Min | -0.010733 | -0.000129 | -3.7E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon9 Max | 2.4E-05 | 0.008645 | 3.3E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon9 Min | 1.5E-05 | 0.008351 | -3.1E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon10 Max | -3E-06 | -0.008355 | 3.1E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story4 | D1 | DCon10 Min | -1.2E-05 | -0.008648 | -3.4E-05 | 73 | 23 | 7.5 | 12 |
| 12Story-Story3 | D1 | Dead | 5E-06 | -1E-06 | -2.482E-07 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | Live | 1E-06 | -1.702E-07 | -4.654E-08 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EX | 0 | 0 | 0 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EX1 1 | 0.007299 | -1.2E-05 | 1E-06 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EX1 2 | 0.007297 | 5.6E-05 | -1.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EX1 3 | 0.007302 | -8E-05 | 1.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EY 1 | 9E-06 | 0.005586 | 5.1E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EY 2 | 1.2E-05 | 0.005518 | 6.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | EY 3 | 7E-06 | 0.005654 | 3.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon1 | 7E-06 | -1E-06 | -3.475E-07 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon2 | 8E-06 | -1E-06 | -3.724E-07 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon3 Max | 0.00731 | 5.5E-05 | 1.7E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon3 Min | 0.007304 | -8.1E-05 | -1.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon4 Max | -0.007289 | 7.9E-05 | 1.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon4 Min | -0.007294 | -5.7E-05 | -1.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon5 Max | 2E-05 | 0.005653 | 6.7E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon5 Min | 1.4E-05 | 0.005517 | 3.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon6 Max | 1E-06 | -0.005519 | -3.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon6 Min | -4E-06 | -0.005655 | -6.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon7 Max | 0.007306 | 5.6E-05 | 1.7E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon7 Min | 0.007301 | -8E-05 | -1.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon8 Max | -0.007292 | 7.9E-05 | 1.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon8 Min | -0.007298 | -5.7E-05 | -1.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon9 Max | 1.6E-05 | 0.005654 | 6.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon9 Min | 1.1E-05 | 0.005518 | 3.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon10 Max | -2E-06 | -0.005519 | -3.5E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story3 | D1 | DCon10 Min | -8E-06 | -0.005655 | -6.8E-05 | 74 | 23 | 7.5 | 9 |
| 12Story-Story2 | D1 | Dead | 2E-06 | 2.925E-07 | 1.286E-08 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | Live | 2.602E-07 | -6.896E-08 | 1.331E-08 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EX | 0 | 0 | 0 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EX1 1 | 0.004187 | -6E-06 | -3E-06 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EX1 2 | 0.004186 | 2.5E-05 | -1.2E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EX1 3 | 0.004188 | -3.6E-05 | 5E-06 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EY 1 | 3E-06 | 0.003143 | 4.2E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EY 2 | 4E-06 | 0.003112 | 5E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | EY 3 | 2E-06 | 0.003173 | 3.3E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon1 | 2E-06 | 4.095E-07 | 1.801E-08 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon2 | 2E-06 | 2.407E-07 | 3.674E-08 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon3 Max | 0.00419 | 2.5E-05 | 5E-06 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon3 Min | 0.004189 | -3.6E-05 | -1.2E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon4 Max | -0.004184 | 3.6E-05 | 1.2E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon4 Min | -0.004186 | -2.4E-05 | -5E-06 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon5 Max | 6E-06 | 0.003173 | 5E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon5 Min | 4E-06 | 0.003113 | 3.3E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon6 Max | 4.777E-07 | -0.003112 | -3.3E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon6 Min | -1E-06 | -0.003172 | -5E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon7 Max | 0.004189 | 2.5E-05 | 5E-06 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon7 Min | 0.004188 | -3.6E-05 | -1.2E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon8 Max | -0.004185 | 3.6E-05 | 1.2E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon8 Min | -0.004187 | -2.4E-05 | -5E-06 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon9 Max | 5E-06 | 0.003173 | 5E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon9 Min | 3E-06 | 0.003112 | 3.3E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon10 Max | -1E-06 | -0.003112 | -3.3E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story2 | D1 | DCon10 Min | -2E-06 | -0.003173 | -5E-05 | 219 | 23 | 7.5 | 6 |
| 12Story-Story1 | D1 | Dead | 3.22E-07 | 2.816E-07 | 2.559E-08 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | Live | 5.11E-08 | -7.67E-09 | 1.015E-08 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EX | 0 | 0 | 0 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EX1 1 | 0.001446 | -2E-06 | -2E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EX1 2 | 0.001446 | 7E-06 | -5E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EX1 3 | 0.001446 | -1.1E-05 | 1E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EY 1 | 1E-06 | 0.001076 | 1.6E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EY 2 | 1E-06 | 0.001067 | 1.9E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | EY 3 | 3.486E-07 | 0.001085 | 1.3E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon1 | 4.509E-07 | 3.942E-07 | 3.582E-08 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon2 | 4.682E-07 | 3.256E-07 | 4.695E-08 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon3 Max | 0.001447 | 7E-06 | 1E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon3 Min | 0.001446 | -1.1E-05 | -5E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon4 Max | -0.001445 | 1.1E-05 | 5E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon4 Min | -0.001446 | -7E-06 | -1E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon5 Max | 1E-06 | 0.001086 | 1.9E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon5 Min | 1E-06 | 0.001068 | 1.3E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon6 Max | 1.211E-07 | -0.001067 | -1.3E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon6 Min | -2.907E-07 | -0.001085 | -1.9E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon7 Max | 0.001447 | 7E-06 | 1E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon7 Min | 0.001446 | -1.1E-05 | -5E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon8 Max | -0.001446 | 1.1E-05 | 5E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon8 Min | -0.001446 | -7E-06 | -1E-06 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon9 Max | 1E-06 | 0.001086 | 1.9E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon9 Min | 1E-06 | 0.001068 | 1.3E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon10 Max | -9.099E-08 | -0.001067 | -1.3E-05 | 220 | 23 | 7.5 | 3 |
| 12Story-Story1 | D1 | DCon10 Min | -1E-06 | -0.001085 | -1.9E-05 | 220 | 23 | 7.5 | 3 |
| 6Story-Story6 | D1 | Dead | -2.1E-05 | 4E-06 | 1E-06 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | Live | -3E-06 | 1E-06 | 1.196E-07 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EX | 0 | 0 | 0 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EX1 1 | 0.008935 | 0.000115 | 1E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EX1 2 | 0.008936 | -0.000638 | -6E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EX1 3 | 0.008934 | 0.000868 | 7.9E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EY 1 | -2.5E-05 | 0.012192 | -0.000141 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EY 2 | -2.6E-05 | 0.012948 | -7.2E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | EY 3 | -2.5E-05 | 0.011436 | -0.000211 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon1 | -3E-05 | 6E-06 | 1E-06 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon2 | -3E-05 | 6E-06 | 1E-06 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon3 Max | 0.008905 | 0.000874 | 8E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon3 Min | 0.008903 | -0.000632 | -5.8E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon4 Max | -0.008965 | 0.000644 | 6.1E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon4 Min | -0.008966 | -0.000862 | -7.8E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon5 Max | -5.5E-05 | 0.012954 | -7E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon5 Min | -5.7E-05 | 0.011442 | -0.00021 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon6 Max | -4E-06 | -0.011429 | 0.000212 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon6 Min | -6E-06 | -0.012942 | 7.3E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon7 Max | 0.008918 | 0.000871 | 8E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon7 Min | 0.008917 | -0.000635 | -5.9E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon8 Max | -0.008951 | 0.000642 | 6E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon8 Min | -0.008953 | -0.000865 | -7.9E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon9 Max | -4.2E-05 | 0.012951 | -7.1E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon9 Min | -4.3E-05 | 0.011439 | -0.00021 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon10 Max | 9E-06 | -0.011432 | 0.000212 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story6 | D1 | DCon10 Min | 8E-06 | -0.012945 | 7.2E-05 | 221 | 38.5 | 7.5 | 18 |
| 6Story-Story5 | D1 | Dead | -1.1E-05 | 1E-06 | 6.07E-08 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | Live | -2E-06 | 1E-06 | 5.387E-09 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EX | 0 | 0 | 0 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EX1 1 | 0.008089 | 8.7E-05 | 1.2E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EX1 2 | 0.008088 | -0.00053 | -5.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EX1 3 | 0.008091 | 0.000703 | 7.9E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EY 1 | -1.7E-05 | 0.010755 | -0.000112 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EY 2 | -1.5E-05 | 0.011374 | -4.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | EY 3 | -1.8E-05 | 0.010136 | -0.000178 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon1 | -1.5E-05 | 1E-06 | 8.498E-08 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon2 | -1.5E-05 | 2E-06 | 8.146E-08 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon3 Max | 0.008075 | 0.000705 | 7.9E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon3 Min | 0.008072 | -0.000528 | -5.4E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon4 Max | -0.008103 | 0.000531 | 5.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon4 Min | -0.008106 | -0.000701 | -7.9E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon5 Max | -3.1E-05 | 0.011376 | -4.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon5 Min | -3.4E-05 | 0.010138 | -0.000178 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon6 Max | 3E-06 | -0.010134 | 0.000179 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon6 Min | -4.954E-08 | -0.011372 | 4.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon7 Max | 0.008082 | 0.000704 | 7.9E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon7 Min | 0.008079 | -0.000529 | -5.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon8 Max | -0.008096 | 0.00053 | 5.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon8 Min | -0.008099 | -0.000702 | -7.9E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon9 Max | -2.4E-05 | 0.011375 | -4.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon9 Min | -2.7E-05 | 0.010137 | -0.000178 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon10 Max | 1E-05 | -0.010135 | 0.000179 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story5 | D1 | DCon10 Min | 7E-06 | -0.011373 | 4.5E-05 | 222 | 38.5 | 7.5 | 15 |
| 6Story-Story4 | D1 | Dead | -6E-06 | -1E-06 | 2.039E-08 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | Live | -1E-06 | 1.884E-07 | 3.513E-11 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EX | 0 | 0 | 0 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EX1 1 | 0.00667 | 5.8E-05 | 9E-06 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EX1 2 | 0.006669 | -0.000401 | -4.8E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EX1 3 | 0.006671 | 0.000518 | 6.6E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EY 1 | -1E-05 | 0.008656 | -8.2E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EY 2 | -9E-06 | 0.009117 | -2.5E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | EY 3 | -1.1E-05 | 0.008195 | -0.00014 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon1 | -9E-06 | -1E-06 | 2.855E-08 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon2 | -9E-06 | -3.877E-07 | 2.453E-08 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon3 Max | 0.006662 | 0.000517 | 6.6E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon3 Min | 0.00666 | -0.000402 | -4.8E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon4 Max | -0.006679 | 0.000401 | 4.8E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon4 Min | -0.006681 | -0.000518 | -6.6E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon5 Max | -1.8E-05 | 0.009117 | -2.5E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon5 Min | -2E-05 | 0.008194 | -0.00014 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon6 Max | 2E-06 | -0.008195 | 0.00014 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon6 Min | 1.917E-07 | -0.009118 | 2.5E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon7 Max | 0.006666 | 0.000517 | 6.6E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon7 Min | 0.006664 | -0.000402 | -4.8E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon8 Max | -0.006674 | 0.000401 | 4.8E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon8 Min | -0.006676 | -0.000518 | -6.6E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon9 Max | -1.4E-05 | 0.009117 | -2.5E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon9 Min | -1.6E-05 | 0.008194 | -0.00014 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon10 Max | 6E-06 | -0.008195 | 0.00014 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story4 | D1 | DCon10 Min | 4E-06 | -0.009118 | 2.5E-05 | 223 | 38.5 | 7.5 | 12 |
| 6Story-Story3 | D1 | Dead | -3E-06 | -1E-06 | 6.981E-09 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | Live | -1E-06 | 2.408E-08 | -9.917E-10 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EX | 0 | 0 | 0 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EX1 1 | 0.004763 | 3.5E-05 | 6E-06 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EX1 2 | 0.004763 | -0.000268 | -3.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EX1 3 | 0.004764 | 0.000338 | 4.8E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EY 1 | -6E-06 | 0.006075 | -5.4E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EY 2 | -5E-06 | 0.00638 | -1.2E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | EY 3 | -6E-06 | 0.005771 | -9.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon1 | -5E-06 | -1E-06 | 9.774E-09 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon2 | -5E-06 | -1E-06 | 6.791E-09 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon3 Max | 0.004759 | 0.000337 | 4.8E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon3 Min | 0.004758 | -0.00027 | -3.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon4 Max | -0.004768 | 0.000267 | 3.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon4 Min | -0.004769 | -0.00034 | -4.8E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon5 Max | -1E-05 | 0.006378 | -1.2E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon5 Min | -1.1E-05 | 0.005769 | -9.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon6 Max | 1E-06 | -0.005772 | 9.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon6 Min | 1.509E-07 | -0.006381 | 1.2E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon7 Max | 0.004761 | 0.000338 | 4.8E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon7 Min | 0.00476 | -0.000269 | -3.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon8 Max | -0.004765 | 0.000267 | 3.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon8 Min | -0.004767 | -0.000339 | -4.8E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon9 Max | -8E-06 | 0.006379 | -1.2E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon9 Min | -9E-06 | 0.00577 | -9.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon10 Max | 4E-06 | -0.005772 | 9.6E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story3 | D1 | DCon10 Min | 2E-06 | -0.006381 | 1.2E-05 | 224 | 38.5 | 7.5 | 9 |
| 6Story-Story2 | D1 | Dead | -2E-06 | -1E-06 | 3.374E-09 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | Live | -2.503E-07 | -5.943E-08 | -7.394E-10 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EX | 0 | 0 | 0 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EX1 1 | 0.00298 | 1.9E-05 | 4E-06 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EX1 2 | 0.00298 | -0.000163 | -2.3E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EX1 3 | 0.002981 | 0.0002 | 3.1E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EY 1 | -3E-06 | 0.003764 | -3.3E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EY 2 | -2E-06 | 0.003946 | -5E-06 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | EY 3 | -3E-06 | 0.003582 | -6E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon1 | -2E-06 | -1E-06 | 4.724E-09 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon2 | -2E-06 | -1E-06 | 2.866E-09 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon3 Max | 0.002978 | 0.000198 | 3.1E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon3 Min | 0.002978 | -0.000164 | -2.3E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon4 Max | -0.002982 | 0.000161 | 2.3E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon4 Min | -0.002983 | -0.000201 | -3.1E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon5 Max | -5E-06 | 0.003945 | -5E-06 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon5 Min | -5E-06 | 0.003581 | -6E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon6 Max | 1E-06 | -0.003584 | 6E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon6 Min | 7.125E-08 | -0.003948 | 5E-06 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon7 Max | 0.002979 | 0.000199 | 3.1E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon7 Min | 0.002979 | -0.000164 | -2.3E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon8 Max | -0.002981 | 0.000162 | 2.3E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon8 Min | -0.002982 | -0.000201 | -3.1E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon9 Max | -4E-06 | 0.003945 | -5E-06 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon9 Min | -4E-06 | 0.003581 | -6E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon10 Max | 2E-06 | -0.003583 | 6E-05 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story2 | D1 | DCon10 Min | 1E-06 | -0.003947 | 5E-06 | 225 | 38.5 | 7.5 | 6 |
| 6Story-Story1 | D1 | Dead | -4.112E-07 | -1E-06 | 9.65E-10 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | Live | -6.616E-08 | -4.974E-08 | -3.441E-10 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EX | 0 | 0 | 0 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EX1 1 | 0.001163 | 6E-06 | 1E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EX1 2 | 0.001163 | -6.2E-05 | -9E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EX1 3 | 0.001163 | 7.5E-05 | 1.2E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EY 1 | -1E-06 | 0.00146 | -1.3E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EY 2 | -1E-06 | 0.001529 | -2E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | EY 3 | -1E-06 | 0.001391 | -2.4E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon1 | -1E-06 | -1E-06 | 1.351E-09 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon2 | -1E-06 | -1E-06 | 6.074E-10 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon3 Max | 0.001163 | 7.4E-05 | 1.2E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon3 Min | 0.001163 | -6.3E-05 | -9E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon4 Max | -0.001164 | 6.2E-05 | 9E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon4 Min | -0.001164 | -7.6E-05 | -1.2E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon5 Max | -1E-06 | 0.001528 | -2E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon5 Min | -1E-06 | 0.00139 | -2.4E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon6 Max | 1.589E-07 | -0.001392 | 2.4E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon6 Min | 1.918E-08 | -0.001529 | 2E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon7 Max | 0.001163 | 7.4E-05 | 1.2E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon7 Min | 0.001163 | -6.3E-05 | -9E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon8 Max | -0.001164 | 6.2E-05 | 9E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon8 Min | -0.001164 | -7.5E-05 | -1.2E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon9 Max | -1E-06 | 0.001528 | -2E-06 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon9 Min | -1E-06 | 0.00139 | -2.4E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon10 Max | 4.307E-07 | -0.001391 | 2.4E-05 | 226 | 38.5 | 7.5 | 3 |
| 6Story-Story1 | D1 | DCon10 Min | 2.91E-07 | -0.001529 | 2E-06 | 226 | 38.5 | 7.5 | 3 |
| 3Story-Story3 | D1 | Dead | 1E-05 | 3E-06 | -2.482E-07 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | Live | 1E-06 | 1E-06 | -4.654E-08 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EX | 0 | 0 | 0 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EX1 1 | 0.002562 | -3.2E-05 | 1E-06 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EX1 2 | 0.002563 | 0.000289 | -1.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EX1 3 | 0.002561 | -0.000352 | 1.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EY 1 | 1.6E-05 | 0.004789 | 5.1E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EY 2 | 1.5E-05 | 0.004466 | 6.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | EY 3 | 1.7E-05 | 0.005112 | 3.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon1 | 1.4E-05 | 4E-06 | -3.475E-07 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon2 | 1.4E-05 | 5E-06 | -3.724E-07 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon3 Max | 0.002577 | 0.000294 | 1.7E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon3 Min | 0.002575 | -0.000348 | -1.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon4 Max | -0.002547 | 0.000357 | 1.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon4 Min | -0.002549 | -0.000284 | -1.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon5 Max | 3.2E-05 | 0.005116 | 6.7E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon5 Min | 2.9E-05 | 0.004471 | 3.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon6 Max | -1E-06 | -0.004461 | -3.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon6 Min | -3E-06 | -0.005107 | -6.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon7 Max | 0.002571 | 0.000292 | 1.7E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon7 Min | 0.002569 | -0.00035 | -1.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon8 Max | -0.002553 | 0.000355 | 1.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon8 Min | -0.002555 | -0.000287 | -1.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon9 Max | 2.5E-05 | 0.005114 | 6.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon9 Min | 2.3E-05 | 0.004469 | 3.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon10 Max | -7E-06 | -0.004464 | -3.5E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story3 | D1 | DCon10 Min | -9E-06 | -0.005109 | -6.8E-05 | 227 | 7.5 | 7.5 | 9 |
| 3Story-Story2 | D1 | Dead | 3E-06 | 1E-06 | 1.534E-07 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | Live | 3.538E-07 | 3.341E-07 | 1.43E-08 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EX | 0 | 0 | 0 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EX1 1 | 0.001869 | -1.7E-05 | 5E-06 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EX1 2 | 0.001868 | 0.000193 | -8E-06 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EX1 3 | 0.001869 | -0.000226 | 1.9E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EY 1 | 5E-06 | 0.003335 | 3.1E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EY 2 | 5E-06 | 0.003125 | 4.5E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | EY 3 | 5E-06 | 0.003546 | 1.7E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon1 | 4E-06 | 1E-06 | 2.147E-07 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon2 | 4E-06 | 1E-06 | 2.069E-07 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon3 Max | 0.001872 | 0.000194 | 1.9E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon3 Min | 0.001872 | -0.000225 | -8E-06 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon4 Max | -0.001865 | 0.000228 | 9E-06 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon4 Min | -0.001865 | -0.000192 | -1.9E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon5 Max | 8E-06 | 0.003547 | 4.5E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon5 Min | 8E-06 | 0.003126 | 1.7E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon6 Max | -1E-06 | -0.003123 | -1.7E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon6 Min | -1E-06 | -0.003545 | -4.5E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon7 Max | 0.001871 | 0.000193 | 1.9E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon7 Min | 0.001871 | -0.000226 | -8E-06 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon8 Max | -0.001866 | 0.000227 | 8E-06 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon8 Min | -0.001866 | -0.000192 | -1.9E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon9 Max | 7E-06 | 0.003547 | 4.5E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon9 Min | 7E-06 | 0.003125 | 1.7E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon10 Max | -2E-06 | -0.003124 | -1.7E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story2 | D1 | DCon10 Min | -2E-06 | -0.003546 | -4.5E-05 | 228 | 7.5 | 7.5 | 6 |
| 3Story-Story1 | D1 | Dead | 1E-06 | -9.516E-08 | 7.2E-08 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | Live | 8.898E-08 | 9.674E-08 | 7.057E-09 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EX | 0 | 0 | 0 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EX1 1 | 0.00085 | -5E-06 | 2E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EX1 2 | 0.00085 | 8.2E-05 | -4E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EX1 3 | 0.00085 | -9.1E-05 | 9E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EY 1 | 1E-06 | 0.001455 | 1.3E-05 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EY 2 | 1E-06 | 0.001368 | 2E-05 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | EY 3 | 1E-06 | 0.001542 | 6E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon1 | 1E-06 | -1.332E-07 | 1.008E-07 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon2 | 1E-06 | 4.059E-08 | 9.769E-08 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon3 Max | 0.000851 | 8.2E-05 | 9E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon3 Min | 0.000851 | -9.1E-05 | -4E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon4 Max | -0.000849 | 9.1E-05 | 5E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon4 Min | -0.000849 | -8.2E-05 | -9E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon5 Max | 2E-06 | 0.001542 | 2E-05 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon5 Min | 2E-06 | 0.001368 | 6E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon6 Max | -1.244E-07 | -0.001368 | -6E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon6 Min | -1.801E-07 | -0.001542 | -2E-05 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon7 Max | 0.000851 | 8.2E-05 | 9E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon7 Min | 0.000851 | -9.1E-05 | -4E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon8 Max | -0.00085 | 9.1E-05 | 5E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon8 Min | -0.00085 | -8.2E-05 | -9E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon9 Max | 2E-06 | 0.001542 | 2E-05 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon9 Min | 2E-06 | 0.001368 | 6E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon10 Max | -1E-06 | -0.001368 | -6E-06 | 229 | 7.5 | 7.5 | 3 |
| 3Story-Story1 | D1 | DCon10 Min | -1E-06 | -0.001542 | -2E-05 | 229 | 7.5 | 7.5 | 3 |

## 5.2 Story Results

Table 5.4 - Story Max/Avg Displacements

| Story | Load Case/Combo | Direction | Maximum m | Average m | Ratio |
| --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | Dead | X | 2.6E-05 | 1.6E-05 | 1.666 |
| 12Story-Story12 | Dead | Y | 4.6E-05 | 3.5E-05 | 1.296 |
| 12Story-Story11 | Dead | X | 2.4E-05 | 1.4E-05 | 1.764 |
| 12Story-Story11 | Dead | Y | 4.1E-05 | 3.1E-05 | 1.339 |
| 12Story-Story10 | Dead | X | 2.2E-05 | 1.2E-05 | 1.897 |
| 12Story-Story10 | Dead | Y | 3.7E-05 | 2.6E-05 | 1.397 |
| 12Story-Story9 | Dead | X | 2E-05 | 1E-05 | 2.091 |
| 12Story-Story9 | Dead | Y | 3.2E-05 | 2.2E-05 | 1.48 |
| 12Story-Story8 | Dead | X | 1.8E-05 | 7E-06 | 2.412 |
| 12Story-Story8 | Dead | Y | 2.7E-05 | 1.7E-05 | 1.606 |
| 12Story-Story7 | Dead | X | 1.4E-05 | 5E-06 | 3.148 |
| 12Story-Story7 | Dead | Y | 2.2E-05 | 1.2E-05 | 1.789 |
| 12Story-Story6 | Dead | X | 7E-06 | 1E-06 | 5.76 |
| 12Story-Story6 | Dead | Y | 1.4E-05 | 8E-06 | 1.729 |
| 12Story-Story5 | Dead | X | 7E-06 | 6E-06 | 1.088 |
| 12Story-Story5 | Dead | Y | 5E-06 | 5E-06 | 1.12 |
| 12Story-Story4 | Dead | X | 1E-05 | 8E-06 | 1.267 |
| 12Story-Story4 | Dead | Y | 4E-06 | 2E-06 | 1.876 |
| 12Story-Story3 | Dead | X | 7E-06 | 5E-06 | 1.35 |
| 12Story-Story3 | Dead | Y | 3E-06 | 1E-06 | 3.882 |
| 12Story-Story2 | Dead | X | 2E-06 | 2E-06 | 1.061 |
| 12Story-Story2 | Dead | Y | 3.89E-07 | 2.925E-07 | 1.33 |
| 12Story-Story1 | Dead | X | 1E-06 | 3.22E-07 | 1.596 |
| 12Story-Story1 | Dead | Y | 4.735E-07 | 2.816E-07 | 1.682 |
| 12Story-Story12 | Live | X | 5E-06 | 3E-06 | 1.618 |
| 12Story-Story12 | Live | Y | 7E-06 | 5E-06 | 1.393 |
| 12Story-Story11 | Live | X | 5E-06 | 3E-06 | 1.695 |
| 12Story-Story11 | Live | Y | 6E-06 | 4E-06 | 1.455 |
| 12Story-Story10 | Live | X | 5E-06 | 3E-06 | 1.795 |
| 12Story-Story10 | Live | Y | 6E-06 | 4E-06 | 1.54 |
| 12Story-Story9 | Live | X | 4E-06 | 2E-06 | 1.932 |
| 12Story-Story9 | Live | Y | 5E-06 | 3E-06 | 1.666 |
| 12Story-Story8 | Live | X | 4E-06 | 2E-06 | 2.135 |
| 12Story-Story8 | Live | Y | 4E-06 | 2E-06 | 1.865 |
| 12Story-Story7 | Live | X | 3E-06 | 1E-06 | 2.507 |
| 12Story-Story7 | Live | Y | 3E-06 | 2E-06 | 2.157 |
| 12Story-Story6 | Live | Y | 2E-06 | 1E-06 | 1.829 |
| 12Story-Story5 | Live | X | 1E-06 | 1E-06 | 1.202 |
| 12Story-Story5 | Live | Y | 1E-06 | 1E-06 | 1.285 |
| 12Story-Story4 | Live | X | 2E-06 | 1E-06 | 1.443 |
| 12Story-Story4 | Live | Y | 1E-06 | 3.762E-07 | 2.516 |
| 12Story-Story3 | Live | X | 1E-06 | 1E-06 | 1.39 |
| 12Story-Story3 | Live | Y | 1E-06 | 1.702E-07 | 3.051 |
| 12Story-Story2 | Live | X | 3.6E-07 | 2.602E-07 | 1.384 |
| 12Story-Story2 | Live | Y | 1.688E-07 | 6.896E-08 | 2.448 |
| 12Story-Story1 | Live | X | 1.272E-07 | 5.11E-08 | 2.49 |
| 12Story-Story1 | Live | Y | 8.38E-08 | 7.67E-09 | 10.926 |
| 12Story-Story12 | EX1 1 | X | 0.031567 | 0.031431 | 1.004 |
| 12Story-Story11 | EX1 1 | X | 0.030478 | 0.030341 | 1.005 |
| 12Story-Story10 | EX1 1 | X | 0.02865 | 0.028514 | 1.005 |
| 12Story-Story9 | EX1 1 | X | 0.026136 | 0.026 | 1.005 |
| 12Story-Story8 | EX1 1 | X | 0.023602 | 0.023467 | 1.006 |
| 12Story-Story7 | EX1 1 | X | 0.02067 | 0.020543 | 1.006 |
| 12Story-Story6 | EX1 1 | X | 0.017398 | 0.017325 | 1.004 |
| 12Story-Story5 | EX1 1 | X | 0.014169 | 0.014136 | 1.002 |
| 12Story-Story4 | EX1 1 | X | 0.010771 | 0.010735 | 1.003 |
| 12Story-Story3 | EX1 1 | X | 0.007309 | 0.007299 | 1.001 |
| 12Story-Story2 | EX1 1 | X | 0.004213 | 0.004187 | 1.006 |
| 12Story-Story1 | EX1 1 | X | 0.00146 | 0.001446 | 1.009 |
| 12Story-Story12 | EX1 2 | X | 0.032923 | 0.031411 | 1.048 |
| 12Story-Story11 | EX1 2 | X | 0.031752 | 0.030322 | 1.047 |
| 12Story-Story10 | EX1 2 | X | 0.029772 | 0.028496 | 1.045 |
| 12Story-Story9 | EX1 2 | X | 0.027042 | 0.025983 | 1.041 |
| 12Story-Story8 | EX1 2 | X | 0.024306 | 0.023452 | 1.036 |
| 12Story-Story7 | EX1 2 | X | 0.021154 | 0.020528 | 1.03 |
| 12Story-Story6 | EX1 2 | X | 0.017761 | 0.017314 | 1.026 |
| 12Story-Story5 | EX1 2 | X | 0.014471 | 0.014129 | 1.024 |
| 12Story-Story4 | EX1 2 | X | 0.010934 | 0.01073 | 1.019 |
| 12Story-Story3 | EX1 2 | X | 0.007409 | 0.007297 | 1.015 |
| 12Story-Story2 | EX1 2 | X | 0.004275 | 0.004186 | 1.021 |
| 12Story-Story1 | EX1 2 | X | 0.001481 | 0.001446 | 1.024 |
| 12Story-Story12 | EX1 3 | X | 0.033236 | 0.03145 | 1.057 |
| 12Story-Story11 | EX1 3 | X | 0.032063 | 0.03036 | 1.056 |
| 12Story-Story10 | EX1 3 | X | 0.030081 | 0.028532 | 1.054 |
| 12Story-Story9 | EX1 3 | X | 0.027348 | 0.026017 | 1.051 |
| 12Story-Story8 | EX1 3 | X | 0.024607 | 0.023483 | 1.048 |
| 12Story-Story7 | EX1 3 | X | 0.021437 | 0.020557 | 1.043 |
| 12Story-Story6 | EX1 3 | X | 0.017929 | 0.017335 | 1.034 |
| 12Story-Story5 | EX1 3 | X | 0.014549 | 0.014142 | 1.029 |
| 12Story-Story4 | EX1 3 | X | 0.011015 | 0.010739 | 1.026 |
| 12Story-Story3 | EX1 3 | X | 0.007434 | 0.007302 | 1.018 |
| 12Story-Story2 | EX1 3 | X | 0.004226 | 0.004188 | 1.009 |
| 12Story-Story1 | EX1 3 | X | 0.001455 | 0.001446 | 1.006 |
| 12Story-Story12 | EY 1 | Y | 0.029668 | 0.028407 | 1.044 |
| 12Story-Story11 | EY 1 | Y | 0.028576 | 0.027316 | 1.046 |
| 12Story-Story10 | EY 1 | Y | 0.026748 | 0.025489 | 1.049 |
| 12Story-Story9 | EY 1 | Y | 0.024233 | 0.022975 | 1.055 |
| 12Story-Story8 | EY 1 | Y | 0.021695 | 0.020442 | 1.061 |
| 12Story-Story7 | EY 1 | Y | 0.018753 | 0.017527 | 1.07 |
| 12Story-Story6 | EY 1 | Y | 0.015441 | 0.014381 | 1.074 |
| 12Story-Story5 | EY 1 | Y | 0.012041 | 0.011482 | 1.049 |
| 12Story-Story4 | EY 1 | Y | 0.00851 | 0.0085 | 1.001 |
| 12Story-Story3 | EY 1 | Y | 0.005972 | 0.005586 | 1.069 |
| 12Story-Story2 | EY 1 | Y | 0.003454 | 0.003143 | 1.099 |
| 12Story-Story1 | EY 1 | Y | 0.001199 | 0.001076 | 1.114 |
| 12Story-Story12 | EY 2 | Y | 0.028425 | 0.028036 | 1.014 |
| 12Story-Story11 | EY 2 | Y | 0.027255 | 0.026947 | 1.011 |
| 12Story-Story10 | EY 2 | Y | 0.025277 | 0.025122 | 1.006 |
| 12Story-Story9 | EY 2 | Y | 0.022671 | 0.02261 | 1.003 |
| 12Story-Story8 | EY 2 | Y | 0.020342 | 0.02008 | 1.013 |
| 12Story-Story7 | EY 2 | Y | 0.017644 | 0.017172 | 1.027 |
| 12Story-Story6 | EY 2 | Y | 0.014595 | 0.014058 | 1.038 |
| 12Story-Story5 | EY 2 | Y | 0.011423 | 0.01124 | 1.016 |
| 12Story-Story4 | EY 2 | Y | 0.008604 | 0.008353 | 1.03 |
| 12Story-Story3 | EY 2 | Y | 0.006027 | 0.005518 | 1.092 |
| 12Story-Story2 | EY 2 | Y | 0.003488 | 0.003112 | 1.121 |
| 12Story-Story1 | EY 2 | Y | 0.001212 | 0.001067 | 1.136 |
| 12Story-Story12 | EY 3 | Y | 0.031688 | 0.028777 | 1.101 |
| 12Story-Story11 | EY 3 | Y | 0.030512 | 0.027685 | 1.102 |
| 12Story-Story10 | EY 3 | Y | 0.028529 | 0.025856 | 1.103 |
| 12Story-Story9 | EY 3 | Y | 0.025794 | 0.02334 | 1.105 |
| 12Story-Story8 | EY 3 | Y | 0.023048 | 0.020804 | 1.108 |
| 12Story-Story7 | EY 3 | Y | 0.019863 | 0.017882 | 1.111 |
| 12Story-Story6 | EY 3 | Y | 0.016286 | 0.014704 | 1.108 |
| 12Story-Story5 | EY 3 | Y | 0.012658 | 0.011724 | 1.08 |
| 12Story-Story4 | EY 3 | Y | 0.008877 | 0.008647 | 1.027 |
| 12Story-Story3 | EY 3 | Y | 0.005917 | 0.005654 | 1.046 |
| 12Story-Story2 | EY 3 | Y | 0.00342 | 0.003173 | 1.078 |
| 12Story-Story1 | EY 3 | Y | 0.001186 | 0.001085 | 1.093 |
| 12Story-Story12 | DCon1 | X | 3.7E-05 | 2.2E-05 | 1.666 |
| 12Story-Story12 | DCon1 | Y | 6.4E-05 | 5E-05 | 1.296 |
| 12Story-Story11 | DCon1 | X | 3.4E-05 | 1.9E-05 | 1.764 |
| 12Story-Story11 | DCon1 | Y | 5.8E-05 | 4.3E-05 | 1.339 |
| 12Story-Story10 | DCon1 | X | 3.1E-05 | 1.6E-05 | 1.897 |
| 12Story-Story10 | DCon1 | Y | 5.2E-05 | 3.7E-05 | 1.397 |
| 12Story-Story9 | DCon1 | X | 2.8E-05 | 1.3E-05 | 2.091 |
| 12Story-Story9 | DCon1 | Y | 4.5E-05 | 3E-05 | 1.48 |
| 12Story-Story8 | DCon1 | X | 2.5E-05 | 1E-05 | 2.412 |
| 12Story-Story8 | DCon1 | Y | 3.8E-05 | 2.4E-05 | 1.606 |
| 12Story-Story7 | DCon1 | X | 2E-05 | 6E-06 | 3.148 |
| 12Story-Story7 | DCon1 | Y | 3.1E-05 | 1.7E-05 | 1.789 |
| 12Story-Story6 | DCon1 | X | 1E-05 | 2E-06 | 5.76 |
| 12Story-Story6 | DCon1 | Y | 1.9E-05 | 1.1E-05 | 1.729 |
| 12Story-Story5 | DCon1 | X | 1E-05 | 9E-06 | 1.088 |
| 12Story-Story5 | DCon1 | Y | 7E-06 | 7E-06 | 1.12 |
| 12Story-Story4 | DCon1 | X | 1.4E-05 | 1.1E-05 | 1.267 |
| 12Story-Story4 | DCon1 | Y | 6E-06 | 3E-06 | 1.876 |
| 12Story-Story3 | DCon1 | X | 1E-05 | 7E-06 | 1.35 |
| 12Story-Story3 | DCon1 | Y | 4E-06 | 1E-06 | 3.882 |
| 12Story-Story2 | DCon1 | X | 2E-06 | 2E-06 | 1.061 |
| 12Story-Story2 | DCon1 | Y | 1E-06 | 4.095E-07 | 1.33 |
| 12Story-Story1 | DCon1 | X | 1E-06 | 4.509E-07 | 1.596 |
| 12Story-Story1 | DCon1 | Y | 1E-06 | 3.942E-07 | 1.682 |
| 12Story-Story12 | DCon2 | X | 4E-05 | 2.4E-05 | 1.655 |
| 12Story-Story12 | DCon2 | Y | 6.7E-05 | 5.1E-05 | 1.312 |
| 12Story-Story11 | DCon2 | X | 3.7E-05 | 2.1E-05 | 1.748 |
| 12Story-Story11 | DCon2 | Y | 6E-05 | 4.4E-05 | 1.358 |
| 12Story-Story10 | DCon2 | X | 3.4E-05 | 1.8E-05 | 1.874 |
| 12Story-Story10 | DCon2 | Y | 5.3E-05 | 3.8E-05 | 1.42 |
| 12Story-Story9 | DCon2 | X | 3.1E-05 | 1.5E-05 | 2.054 |
| 12Story-Story9 | DCon2 | Y | 4.7E-05 | 3.1E-05 | 1.509 |
| 12Story-Story8 | DCon2 | X | 2.7E-05 | 1.2E-05 | 2.345 |
| 12Story-Story8 | DCon2 | Y | 4E-05 | 2.4E-05 | 1.646 |
| 12Story-Story7 | DCon2 | X | 2.2E-05 | 7E-06 | 2.978 |
| 12Story-Story7 | DCon2 | Y | 3.2E-05 | 1.7E-05 | 1.843 |
| 12Story-Story6 | DCon2 | X | 1E-05 | 1E-06 | 7.162 |
| 12Story-Story6 | DCon2 | Y | 2E-05 | 1.1E-05 | 1.744 |
| 12Story-Story5 | DCon2 | X | 1E-05 | 9E-06 | 1.037 |
| 12Story-Story5 | DCon2 | Y | 7E-06 | 7E-06 | 1.052 |
| 12Story-Story4 | DCon2 | X | 1.5E-05 | 1.1E-05 | 1.299 |
| 12Story-Story4 | DCon2 | Y | 7E-06 | 3E-06 | 1.988 |
| 12Story-Story3 | DCon2 | X | 1.1E-05 | 8E-06 | 1.357 |
| 12Story-Story3 | DCon2 | Y | 4E-06 | 1E-06 | 3.666 |
| 12Story-Story2 | DCon2 | X | 3E-06 | 2E-06 | 1.118 |
| 12Story-Story2 | DCon2 | Y | 1E-06 | 2.407E-07 | 2.145 |
| 12Story-Story1 | DCon2 | X | 1E-06 | 4.682E-07 | 1.752 |
| 12Story-Story1 | DCon2 | Y | 1E-06 | 3.256E-07 | 2.081 |
| 12Story-Story12 | DCon3 Max | X | 0.033228 | 0.032557 | 1.021 |
| 12Story-Story11 | DCon3 Max | X | 0.032058 | 0.031415 | 1.02 |
| 12Story-Story10 | DCon3 Max | X | 0.030079 | 0.029489 | 1.02 |
| 12Story-Story9 | DCon3 Max | X | 0.027349 | 0.026833 | 1.019 |
| 12Story-Story8 | DCon3 Max | X | 0.024611 | 0.024165 | 1.018 |
| 12Story-Story7 | DCon3 Max | X | 0.021444 | 0.021085 | 1.017 |
| 12Story-Story6 | DCon3 Max | X | 0.017939 | 0.017701 | 1.013 |
| 12Story-Story5 | DCon3 Max | X | 0.014559 | 0.014406 | 1.011 |
| 12Story-Story4 | DCon3 Max | X | 0.011023 | 0.010917 | 1.01 |
| 12Story-Story3 | DCon3 Max | X | 0.007439 | 0.007391 | 1.006 |
| 12Story-Story2 | DCon3 Max | X | 0.004278 | 0.00424 | 1.009 |
| 12Story-Story1 | DCon3 Max | X | 0.001481 | 0.001466 | 1.011 |
| 12Story-Story12 | DCon3 Min | X | 0.030888 | 0.030256 | 1.021 |
| 12Story-Story11 | DCon3 Min | X | 0.02983 | 0.029225 | 1.021 |
| 12Story-Story10 | DCon3 Min | X | 0.028058 | 0.027504 | 1.02 |
| 12Story-Story9 | DCon3 Min | X | 0.025621 | 0.025139 | 1.019 |
| 12Story-Story8 | DCon3 Min | X | 0.023161 | 0.022747 | 1.018 |
| 12Story-Story7 | DCon3 Min | X | 0.020318 | 0.019987 | 1.017 |
| 12Story-Story6 | DCon3 Min | X | 0.01717 | 0.016952 | 1.013 |
| 12Story-Story5 | DCon3 Min | X | 0.014025 | 0.013884 | 1.01 |
| 12Story-Story4 | DCon3 Min | X | 0.010673 | 0.010576 | 1.009 |
| 12Story-Story3 | DCon3 Min | X | 0.007267 | 0.007224 | 1.006 |
| 12Story-Story2 | DCon3 Min | X | 0.004178 | 0.004139 | 1.009 |
| 12Story-Story1 | DCon3 Min | X | 0.001444 | 0.001428 | 1.011 |
| 12Story-Story12 | DCon4 Max | X | 0.030925 | 0.030315 | 1.02 |
| 12Story-Story11 | DCon4 Max | X | 0.029861 | 0.029277 | 1.02 |
| 12Story-Story10 | DCon4 Max | X | 0.028083 | 0.02755 | 1.019 |
| 12Story-Story9 | DCon4 Max | X | 0.02564 | 0.025178 | 1.018 |
| 12Story-Story8 | DCon4 Max | X | 0.023173 | 0.02278 | 1.017 |
| 12Story-Story7 | DCon4 Max | X | 0.020322 | 0.020011 | 1.016 |
| 12Story-Story6 | DCon4 Max | X | 0.017161 | 0.016954 | 1.012 |
| 12Story-Story5 | DCon4 Max | X | 0.014006 | 0.013866 | 1.01 |
| 12Story-Story4 | DCon4 Max | X | 0.010652 | 0.010551 | 1.01 |
| 12Story-Story3 | DCon4 Max | X | 0.007252 | 0.007206 | 1.006 |
| 12Story-Story2 | DCon4 Max | X | 0.004173 | 0.004134 | 1.01 |
| 12Story-Story1 | DCon4 Max | X | 0.001443 | 0.001426 | 1.012 |
| 12Story-Story12 | DCon4 Min | X | 0.033244 | 0.032594 | 1.02 |
| 12Story-Story11 | DCon4 Min | X | 0.032068 | 0.031446 | 1.02 |
| 12Story-Story10 | DCon4 Min | X | 0.030083 | 0.029514 | 1.019 |
| 12Story-Story9 | DCon4 Min | X | 0.027347 | 0.026852 | 1.018 |
| 12Story-Story8 | DCon4 Min | X | 0.024602 | 0.024178 | 1.018 |
| 12Story-Story7 | DCon4 Min | X | 0.021429 | 0.021089 | 1.016 |
| 12Story-Story6 | DCon4 Min | X | 0.017919 | 0.017692 | 1.013 |
| 12Story-Story5 | DCon4 Min | X | 0.014539 | 0.014387 | 1.011 |
| 12Story-Story4 | DCon4 Min | X | 0.011007 | 0.010896 | 1.01 |
| 12Story-Story3 | DCon4 Min | X | 0.007429 | 0.007377 | 1.007 |
| 12Story-Story2 | DCon4 Min | X | 0.004273 | 0.004236 | 1.009 |
| 12Story-Story1 | DCon4 Min | X | 0.001481 | 0.001465 | 1.011 |
| 12Story-Story12 | DCon5 Max | Y | 0.031621 | 0.02987 | 1.059 |
| 12Story-Story11 | DCon5 Max | Y | 0.030452 | 0.028731 | 1.06 |
| 12Story-Story10 | DCon5 Max | Y | 0.028475 | 0.026808 | 1.062 |
| 12Story-Story9 | DCon5 Max | Y | 0.025747 | 0.024141 | 1.067 |
| 12Story-Story8 | DCon5 Max | Y | 0.023008 | 0.021408 | 1.075 |
| 12Story-Story7 | DCon5 Max | Y | 0.01983 | 0.018264 | 1.086 |
| 12Story-Story6 | DCon5 Max | Y | 0.016266 | 0.014892 | 1.092 |
| 12Story-Story5 | DCon5 Max | Y | 0.012651 | 0.011851 | 1.068 |
| 12Story-Story4 | DCon5 Max | Y | 0.008877 | 0.008721 | 1.018 |
| 12Story-Story3 | DCon5 Max | Y | 0.006023 | 0.005708 | 1.055 |
| 12Story-Story2 | DCon5 Max | Y | 0.003488 | 0.003207 | 1.088 |
| 12Story-Story1 | DCon5 Max | Y | 0.001213 | 0.001099 | 1.104 |
| 12Story-Story12 | DCon5 Min | Y | 0.02785 | 0.02684 | 1.038 |
| 12Story-Story11 | DCon5 Min | Y | 0.026795 | 0.025812 | 1.038 |
| 12Story-Story10 | DCon5 Min | Y | 0.025027 | 0.024093 | 1.039 |
| 12Story-Story9 | DCon5 Min | Y | 0.022624 | 0.021747 | 1.04 |
| 12Story-Story8 | DCon5 Min | Y | 0.020302 | 0.019426 | 1.045 |
| 12Story-Story7 | DCon5 Min | Y | 0.017612 | 0.016755 | 1.051 |
| 12Story-Story6 | DCon5 Min | Y | 0.014575 | 0.013847 | 1.053 |
| 12Story-Story5 | DCon5 Min | Y | 0.011416 | 0.011099 | 1.029 |
| 12Story-Story4 | DCon5 Min | Y | 0.008432 | 0.008267 | 1.02 |
| 12Story-Story3 | DCon5 Min | Y | 0.005913 | 0.005462 | 1.083 |
| 12Story-Story2 | DCon5 Min | Y | 0.003421 | 0.003079 | 1.111 |
| 12Story-Story1 | DCon5 Min | Y | 0.001187 | 0.001055 | 1.125 |
| 12Story-Story12 | DCon6 Max | Y | 0.027963 | 0.026932 | 1.038 |
| 12Story-Story11 | DCon6 Max | Y | 0.026895 | 0.02589 | 1.039 |
| 12Story-Story10 | DCon6 Max | Y | 0.025113 | 0.024159 | 1.04 |
| 12Story-Story9 | DCon6 Max | Y | 0.022718 | 0.02181 | 1.042 |
| 12Story-Story8 | DCon6 Max | Y | 0.020381 | 0.019475 | 1.047 |
| 12Story-Story7 | DCon6 Max | Y | 0.017676 | 0.01679 | 1.053 |
| 12Story-Story6 | DCon6 Max | Y | 0.014615 | 0.01387 | 1.054 |
| 12Story-Story5 | DCon6 Max | Y | 0.01143 | 0.011113 | 1.029 |
| 12Story-Story4 | DCon6 Max | Y | 0.008441 | 0.008272 | 1.02 |
| 12Story-Story3 | DCon6 Max | Y | 0.00592 | 0.005464 | 1.084 |
| 12Story-Story2 | DCon6 Max | Y | 0.00342 | 0.003078 | 1.111 |
| 12Story-Story1 | DCon6 Max | Y | 0.001185 | 0.001054 | 1.125 |
| 12Story-Story12 | DCon6 Min | Y | 0.031755 | 0.029983 | 1.059 |
| 12Story-Story11 | DCon6 Min | Y | 0.030573 | 0.028831 | 1.06 |
| 12Story-Story10 | DCon6 Min | Y | 0.028583 | 0.026895 | 1.063 |
| 12Story-Story9 | DCon6 Min | Y | 0.025841 | 0.024203 | 1.068 |
| 12Story-Story8 | DCon6 Min | Y | 0.023088 | 0.021457 | 1.076 |
| 12Story-Story7 | DCon6 Min | Y | 0.019895 | 0.018299 | 1.087 |
| 12Story-Story6 | DCon6 Min | Y | 0.016306 | 0.014915 | 1.093 |
| 12Story-Story5 | DCon6 Min | Y | 0.012666 | 0.011865 | 1.068 |
| 12Story-Story4 | DCon6 Min | Y | 0.008877 | 0.008726 | 1.017 |
| 12Story-Story3 | DCon6 Min | Y | 0.006031 | 0.00571 | 1.056 |
| 12Story-Story2 | DCon6 Min | Y | 0.003487 | 0.003206 | 1.088 |
| 12Story-Story1 | DCon6 Min | Y | 0.001212 | 0.001098 | 1.103 |
| 12Story-Story12 | DCon7 Max | X | 0.033232 | 0.032566 | 1.02 |
| 12Story-Story11 | DCon7 Max | X | 0.03206 | 0.031423 | 1.02 |
| 12Story-Story10 | DCon7 Max | X | 0.03008 | 0.029495 | 1.02 |
| 12Story-Story9 | DCon7 Max | X | 0.027349 | 0.026837 | 1.019 |
| 12Story-Story8 | DCon7 Max | X | 0.024609 | 0.024168 | 1.018 |
| 12Story-Story7 | DCon7 Max | X | 0.021441 | 0.021086 | 1.017 |
| 12Story-Story6 | DCon7 Max | X | 0.017935 | 0.017699 | 1.013 |
| 12Story-Story5 | DCon7 Max | X | 0.014555 | 0.014402 | 1.011 |
| 12Story-Story4 | DCon7 Max | X | 0.011019 | 0.010912 | 1.01 |
| 12Story-Story3 | DCon7 Max | X | 0.007437 | 0.007388 | 1.007 |
| 12Story-Story2 | DCon7 Max | X | 0.004277 | 0.004239 | 1.009 |
| 12Story-Story1 | DCon7 Max | X | 0.001481 | 0.001465 | 1.011 |
| 12Story-Story12 | DCon7 Min | X | 0.030897 | 0.03027 | 1.021 |
| 12Story-Story11 | DCon7 Min | X | 0.029838 | 0.029238 | 1.021 |
| 12Story-Story10 | DCon7 Min | X | 0.028064 | 0.027515 | 1.02 |
| 12Story-Story9 | DCon7 Min | X | 0.025626 | 0.025148 | 1.019 |
| 12Story-Story8 | DCon7 Min | X | 0.023164 | 0.022755 | 1.018 |
| 12Story-Story7 | DCon7 Min | X | 0.020319 | 0.019993 | 1.016 |
| 12Story-Story6 | DCon7 Min | X | 0.017168 | 0.016952 | 1.013 |
| 12Story-Story5 | DCon7 Min | X | 0.014021 | 0.01388 | 1.01 |
| 12Story-Story4 | DCon7 Min | X | 0.010668 | 0.01057 | 1.009 |
| 12Story-Story3 | DCon7 Min | X | 0.007263 | 0.007219 | 1.006 |
| 12Story-Story2 | DCon7 Min | X | 0.004177 | 0.004138 | 1.009 |
| 12Story-Story1 | DCon7 Min | X | 0.001444 | 0.001427 | 1.011 |
| 12Story-Story12 | DCon8 Max | X | 0.030917 | 0.030301 | 1.02 |
| 12Story-Story11 | DCon8 Max | X | 0.029854 | 0.029265 | 1.02 |
| 12Story-Story10 | DCon8 Max | X | 0.028077 | 0.027539 | 1.02 |
| 12Story-Story9 | DCon8 Max | X | 0.025635 | 0.025169 | 1.019 |
| 12Story-Story8 | DCon8 Max | X | 0.02317 | 0.022772 | 1.017 |
| 12Story-Story7 | DCon8 Max | X | 0.020321 | 0.020005 | 1.016 |
| 12Story-Story6 | DCon8 Max | X | 0.017163 | 0.016954 | 1.012 |
| 12Story-Story5 | DCon8 Max | X | 0.01401 | 0.01387 | 1.01 |
| 12Story-Story4 | DCon8 Max | X | 0.010657 | 0.010557 | 1.01 |
| 12Story-Story3 | DCon8 Max | X | 0.007255 | 0.00721 | 1.006 |
| 12Story-Story2 | DCon8 Max | X | 0.004174 | 0.004135 | 1.009 |
| 12Story-Story1 | DCon8 Max | X | 0.001443 | 0.001427 | 1.012 |
| 12Story-Story12 | DCon8 Min | X | 0.03324 | 0.032585 | 1.02 |
| 12Story-Story11 | DCon8 Min | X | 0.032065 | 0.031439 | 1.02 |
| 12Story-Story10 | DCon8 Min | X | 0.030082 | 0.029508 | 1.019 |
| 12Story-Story9 | DCon8 Min | X | 0.027347 | 0.026847 | 1.019 |
| 12Story-Story8 | DCon8 Min | X | 0.024604 | 0.024175 | 1.018 |
| 12Story-Story7 | DCon8 Min | X | 0.021433 | 0.021088 | 1.016 |
| 12Story-Story6 | DCon8 Min | X | 0.017924 | 0.017694 | 1.013 |
| 12Story-Story5 | DCon8 Min | X | 0.014544 | 0.014391 | 1.011 |
| 12Story-Story4 | DCon8 Min | X | 0.01101 | 0.010901 | 1.01 |
| 12Story-Story3 | DCon8 Min | X | 0.007431 | 0.00738 | 1.007 |
| 12Story-Story2 | DCon8 Min | X | 0.004274 | 0.004237 | 1.009 |
| 12Story-Story1 | DCon8 Min | X | 0.001481 | 0.001465 | 1.011 |
| 12Story-Story12 | DCon9 Max | Y | 0.031651 | 0.029896 | 1.059 |
| 12Story-Story11 | DCon9 Max | Y | 0.030479 | 0.028753 | 1.06 |
| 12Story-Story10 | DCon9 Max | Y | 0.0285 | 0.026827 | 1.062 |
| 12Story-Story9 | DCon9 Max | Y | 0.025769 | 0.024155 | 1.067 |
| 12Story-Story8 | DCon9 Max | Y | 0.023026 | 0.021419 | 1.075 |
| 12Story-Story7 | DCon9 Max | Y | 0.019845 | 0.018272 | 1.086 |
| 12Story-Story6 | DCon9 Max | Y | 0.016275 | 0.014897 | 1.093 |
| 12Story-Story5 | DCon9 Max | Y | 0.012654 | 0.011854 | 1.067 |
| 12Story-Story4 | DCon9 Max | Y | 0.008877 | 0.008722 | 1.018 |
| 12Story-Story3 | DCon9 Max | Y | 0.006025 | 0.005709 | 1.055 |
| 12Story-Story2 | DCon9 Max | Y | 0.003488 | 0.003207 | 1.088 |
| 12Story-Story1 | DCon9 Max | Y | 0.001213 | 0.001099 | 1.104 |
| 12Story-Story12 | DCon9 Min | Y | 0.027875 | 0.026861 | 1.038 |
| 12Story-Story11 | DCon9 Min | Y | 0.026817 | 0.025829 | 1.038 |
| 12Story-Story10 | DCon9 Min | Y | 0.025046 | 0.024108 | 1.039 |
| 12Story-Story9 | DCon9 Min | Y | 0.022645 | 0.021761 | 1.041 |
| 12Story-Story8 | DCon9 Min | Y | 0.02032 | 0.019437 | 1.045 |
| 12Story-Story7 | DCon9 Min | Y | 0.017626 | 0.016763 | 1.052 |
| 12Story-Story6 | DCon9 Min | Y | 0.014584 | 0.013852 | 1.053 |
| 12Story-Story5 | DCon9 Min | Y | 0.011419 | 0.011102 | 1.029 |
| 12Story-Story4 | DCon9 Min | Y | 0.008434 | 0.008268 | 1.02 |
| 12Story-Story3 | DCon9 Min | Y | 0.005915 | 0.005462 | 1.083 |
| 12Story-Story2 | DCon9 Min | Y | 0.003421 | 0.003079 | 1.111 |
| 12Story-Story1 | DCon9 Min | Y | 0.001186 | 0.001054 | 1.125 |
| 12Story-Story12 | DCon10 Max | Y | 0.027938 | 0.026912 | 1.038 |
| 12Story-Story11 | DCon10 Max | Y | 0.026872 | 0.025873 | 1.039 |
| 12Story-Story10 | DCon10 Max | Y | 0.025094 | 0.024145 | 1.039 |
| 12Story-Story9 | DCon10 Max | Y | 0.022697 | 0.021796 | 1.041 |
| 12Story-Story8 | DCon10 Max | Y | 0.020363 | 0.019465 | 1.046 |
| 12Story-Story7 | DCon10 Max | Y | 0.017662 | 0.016783 | 1.052 |
| 12Story-Story6 | DCon10 Max | Y | 0.014606 | 0.013865 | 1.053 |
| 12Story-Story5 | DCon10 Max | Y | 0.011427 | 0.01111 | 1.029 |
| 12Story-Story4 | DCon10 Max | Y | 0.008439 | 0.008271 | 1.02 |
| 12Story-Story3 | DCon10 Max | Y | 0.005919 | 0.005463 | 1.083 |
| 12Story-Story2 | DCon10 Max | Y | 0.00342 | 0.003078 | 1.111 |
| 12Story-Story1 | DCon10 Max | Y | 0.001186 | 0.001054 | 1.125 |
| 12Story-Story12 | DCon10 Min | Y | 0.031725 | 0.029958 | 1.059 |
| 12Story-Story11 | DCon10 Min | Y | 0.030545 | 0.028809 | 1.06 |
| 12Story-Story10 | DCon10 Min | Y | 0.028559 | 0.026875 | 1.063 |
| 12Story-Story9 | DCon10 Min | Y | 0.02582 | 0.024189 | 1.067 |
| 12Story-Story8 | DCon10 Min | Y | 0.02307 | 0.021447 | 1.076 |
| 12Story-Story7 | DCon10 Min | Y | 0.01988 | 0.018292 | 1.087 |
| 12Story-Story6 | DCon10 Min | Y | 0.016297 | 0.01491 | 1.093 |
| 12Story-Story5 | DCon10 Min | Y | 0.012663 | 0.011862 | 1.068 |
| 12Story-Story4 | DCon10 Min | Y | 0.008877 | 0.008725 | 1.017 |
| 12Story-Story3 | DCon10 Min | Y | 0.006029 | 0.00571 | 1.056 |
| 12Story-Story2 | DCon10 Min | Y | 0.003487 | 0.003206 | 1.088 |
| 12Story-Story1 | DCon10 Min | Y | 0.001212 | 0.001098 | 1.103 |

Table 5.5 - Story Drifts

| Story | Load Case/Combo | Direction | Drift | Label | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Story12 | Dead | X | 1E-06 | 66 | 25.5 | 15 | 36 |
| 12Story-Story12 | Dead | Y | 2E-06 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | Live | X | 1.242E-07 | 66 | 25.5 | 15 | 36 |
| 12Story-Story12 | Live | Y | 2.361E-07 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | EX1 1 | X | 0.000363 | 64 | 30.5 | 0 | 36 |
| 12Story-Story12 | EX1 2 | X | 0.00039 | 66 | 25.5 | 15 | 36 |
| 12Story-Story12 | EX1 3 | X | 0.000391 | 64 | 30.5 | 0 | 36 |
| 12Story-Story12 | EY 1 | Y | 0.000364 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | EY 2 | Y | 0.00039 | 63 | 30.5 | 15 | 36 |
| 12Story-Story12 | EY 3 | Y | 0.000392 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | DCon1 | X | 1E-06 | 66 | 25.5 | 15 | 36 |
| 12Story-Story12 | DCon1 | Y | 2E-06 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | DCon2 | X | 1E-06 | 66 | 25.5 | 15 | 36 |
| 12Story-Story12 | DCon2 | Y | 2E-06 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | DCon3 Max | X | 0.00039 | 64 | 30.5 | 0 | 36 |
| 12Story-Story12 | DCon3 Min | X | 0.000353 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon4 Max | X | 0.000355 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon4 Min | X | 0.000392 | 64 | 30.5 | 0 | 36 |
| 12Story-Story12 | DCon5 Max | Y | 0.00039 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | DCon5 Min | Y | 0.000353 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon6 Max | Y | 0.000357 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon6 Min | Y | 0.000394 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | DCon7 Max | X | 0.000391 | 64 | 30.5 | 0 | 36 |
| 12Story-Story12 | DCon7 Min | X | 0.000354 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon8 Max | X | 0.000355 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon8 Min | X | 0.000392 | 64 | 30.5 | 0 | 36 |
| 12Story-Story12 | DCon9 Max | Y | 0.000391 | 62 | 15.5 | 15 | 36 |
| 12Story-Story12 | DCon9 Min | Y | 0.000354 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon10 Max | Y | 0.000356 | 76 | 25.5 | 10 | 36 |
| 12Story-Story12 | DCon10 Min | Y | 0.000393 | 62 | 15.5 | 15 | 36 |
| 12Story-Story11 | Dead | X | 1E-06 | 66 | 25.5 | 15 | 33 |
| 12Story-Story11 | Dead | Y | 2E-06 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | Live | X | 1.254E-07 | 66 | 25.5 | 15 | 33 |
| 12Story-Story11 | Live | Y | 2.383E-07 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | EX1 1 | X | 0.000609 | 70 | 25.5 | 0 | 33 |
| 12Story-Story11 | EX1 2 | X | 0.00066 | 66 | 25.5 | 15 | 33 |
| 12Story-Story11 | EX1 3 | X | 0.000661 | 70 | 25.5 | 0 | 33 |
| 12Story-Story11 | EY 1 | Y | 0.000609 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | EY 2 | Y | 0.000659 | 63 | 30.5 | 15 | 33 |
| 12Story-Story11 | EY 3 | Y | 0.000661 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | DCon1 | X | 1E-06 | 66 | 25.5 | 15 | 33 |
| 12Story-Story11 | DCon1 | Y | 2E-06 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | DCon2 | X | 1E-06 | 66 | 25.5 | 15 | 33 |
| 12Story-Story11 | DCon2 | Y | 2E-06 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | DCon3 Max | X | 0.00066 | 70 | 25.5 | 0 | 33 |
| 12Story-Story11 | DCon3 Min | X | 0.000591 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon4 Max | X | 0.000593 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon4 Min | X | 0.000662 | 70 | 25.5 | 0 | 33 |
| 12Story-Story11 | DCon5 Max | Y | 0.000659 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | DCon5 Min | Y | 0.00059 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon6 Max | Y | 0.000595 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon6 Min | Y | 0.000663 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | DCon7 Max | X | 0.00066 | 70 | 25.5 | 0 | 33 |
| 12Story-Story11 | DCon7 Min | X | 0.000592 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon8 Max | X | 0.000593 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon8 Min | X | 0.000661 | 70 | 25.5 | 0 | 33 |
| 12Story-Story11 | DCon9 Max | Y | 0.00066 | 67 | 15.5 | 10 | 33 |
| 12Story-Story11 | DCon9 Min | Y | 0.000591 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon10 Max | Y | 0.000594 | 76 | 25.5 | 10 | 33 |
| 12Story-Story11 | DCon10 Min | Y | 0.000662 | 67 | 15.5 | 10 | 33 |
| 12Story-Story10 | Dead | X | 1E-06 | 66 | 25.5 | 15 | 30 |
| 12Story-Story10 | Dead | Y | 2E-06 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | Live | X | 1.285E-07 | 66 | 25.5 | 15 | 30 |
| 12Story-Story10 | Live | Y | 2.405E-07 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | EX1 1 | X | 0.000838 | 64 | 30.5 | 0 | 30 |
| 12Story-Story10 | EX1 2 | X | 0.00091 | 66 | 25.5 | 15 | 30 |
| 12Story-Story10 | EX1 3 | X | 0.000911 | 64 | 30.5 | 0 | 30 |
| 12Story-Story10 | EY 1 | Y | 0.000838 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | EY 2 | Y | 0.000909 | 63 | 30.5 | 15 | 30 |
| 12Story-Story10 | EY 3 | Y | 0.000912 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | DCon1 | X | 1E-06 | 66 | 25.5 | 15 | 30 |
| 12Story-Story10 | DCon1 | Y | 2E-06 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | DCon2 | X | 1E-06 | 66 | 25.5 | 15 | 30 |
| 12Story-Story10 | DCon2 | Y | 2E-06 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | DCon3 Max | X | 0.00091 | 64 | 30.5 | 0 | 30 |
| 12Story-Story10 | DCon3 Min | X | 0.000813 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon4 Max | X | 0.000815 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon4 Min | X | 0.000912 | 64 | 30.5 | 0 | 30 |
| 12Story-Story10 | DCon5 Max | Y | 0.000909 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | DCon5 Min | Y | 0.000812 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon6 Max | Y | 0.000816 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon6 Min | Y | 0.000914 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | DCon7 Max | X | 0.00091 | 64 | 30.5 | 0 | 30 |
| 12Story-Story10 | DCon7 Min | X | 0.000813 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon8 Max | X | 0.000814 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon8 Min | X | 0.000912 | 64 | 30.5 | 0 | 30 |
| 12Story-Story10 | DCon9 Max | Y | 0.00091 | 62 | 15.5 | 15 | 30 |
| 12Story-Story10 | DCon9 Min | Y | 0.000813 | 76 | 25.5 | 0 | 30 |
| 12Story-Story10 | DCon10 Max | Y | 0.000815 | 76 | 25.5 | 10 | 30 |
| 12Story-Story10 | DCon10 Min | Y | 0.000913 | 62 | 15.5 | 15 | 30 |
| 12Story-Story9 | Dead | X | 1E-06 | 66 | 25.5 | 15 | 27 |
| 12Story-Story9 | Dead | Y | 2E-06 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | Live | X | 1.457E-07 | 66 | 25.5 | 15 | 27 |
| 12Story-Story9 | Live | Y | 2.505E-07 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | EX1 1 | X | 0.000845 | 70 | 25.5 | 0 | 27 |
| 12Story-Story9 | EX1 2 | X | 0.000912 | 66 | 25.5 | 15 | 27 |
| 12Story-Story9 | EX1 3 | X | 0.000914 | 70 | 25.5 | 0 | 27 |
| 12Story-Story9 | EY 1 | Y | 0.000846 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | EY 2 | Y | 0.00091 | 71 | 30.5 | 10 | 27 |
| 12Story-Story9 | EY 3 | Y | 0.000916 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | DCon1 | X | 1E-06 | 66 | 25.5 | 15 | 27 |
| 12Story-Story9 | DCon1 | Y | 2E-06 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | DCon2 | X | 1E-06 | 66 | 25.5 | 15 | 27 |
| 12Story-Story9 | DCon2 | Y | 2E-06 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | DCon3 Max | X | 0.000913 | 70 | 25.5 | 0 | 27 |
| 12Story-Story9 | DCon3 Min | X | 0.00082 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon4 Max | X | 0.000823 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon4 Min | X | 0.000915 | 70 | 25.5 | 0 | 27 |
| 12Story-Story9 | DCon5 Max | Y | 0.000913 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | DCon5 Min | Y | 0.00082 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon6 Max | Y | 0.000824 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon6 Min | Y | 0.000918 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | DCon7 Max | X | 0.000913 | 70 | 25.5 | 0 | 27 |
| 12Story-Story9 | DCon7 Min | X | 0.000821 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon8 Max | X | 0.000822 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon8 Min | X | 0.000914 | 70 | 25.5 | 0 | 27 |
| 12Story-Story9 | DCon9 Max | Y | 0.000914 | 67 | 15.5 | 10 | 27 |
| 12Story-Story9 | DCon9 Min | Y | 0.000821 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon10 Max | Y | 0.000823 | 76 | 25.5 | 10 | 27 |
| 12Story-Story9 | DCon10 Min | Y | 0.000917 | 67 | 15.5 | 10 | 27 |
| 12Story-Story8 | Dead | X | 1E-06 | 66 | 25.5 | 15 | 24 |
| 12Story-Story8 | Dead | Y | 2E-06 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | Live | X | 2.189E-07 | 66 | 25.5 | 15 | 24 |
| 12Story-Story8 | Live | Y | 2.774E-07 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | EX1 1 | X | 0.000977 | 70 | 25.5 | 0 | 24 |
| 12Story-Story8 | EX1 2 | X | 0.001051 | 66 | 25.5 | 15 | 24 |
| 12Story-Story8 | EX1 3 | X | 0.001057 | 70 | 25.5 | 0 | 24 |
| 12Story-Story8 | EY 1 | Y | 0.00098 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | EY 2 | Y | 0.001039 | 71 | 30.5 | 10 | 24 |
| 12Story-Story8 | EY 3 | Y | 0.001062 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | DCon1 | X | 2E-06 | 66 | 25.5 | 15 | 24 |
| 12Story-Story8 | DCon1 | Y | 2E-06 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | DCon2 | X | 2E-06 | 66 | 25.5 | 15 | 24 |
| 12Story-Story8 | DCon2 | Y | 3E-06 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | DCon3 Max | X | 0.001056 | 70 | 25.5 | 0 | 24 |
| 12Story-Story8 | DCon3 Min | X | 0.000948 | 75 | 25.5 | 5 | 24 |
| 12Story-Story8 | DCon4 Max | X | 0.00095 | 75 | 25.5 | 5 | 24 |
| 12Story-Story8 | DCon4 Min | X | 0.001058 | 70 | 25.5 | 0 | 24 |
| 12Story-Story8 | DCon5 Max | Y | 0.001059 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | DCon5 Min | Y | 0.000943 | 74 | 20.5 | 10 | 24 |
| 12Story-Story8 | DCon6 Max | Y | 0.000948 | 74 | 20.5 | 10 | 24 |
| 12Story-Story8 | DCon6 Min | Y | 0.001064 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | DCon7 Max | X | 0.001056 | 70 | 25.5 | 0 | 24 |
| 12Story-Story8 | DCon7 Min | X | 0.000948 | 75 | 25.5 | 5 | 24 |
| 12Story-Story8 | DCon8 Max | X | 0.00095 | 75 | 25.5 | 5 | 24 |
| 12Story-Story8 | DCon8 Min | X | 0.001057 | 70 | 25.5 | 0 | 24 |
| 12Story-Story8 | DCon9 Max | Y | 0.00106 | 67 | 15.5 | 10 | 24 |
| 12Story-Story8 | DCon9 Min | Y | 0.000945 | 74 | 20.5 | 10 | 24 |
| 12Story-Story8 | DCon10 Max | Y | 0.000947 | 74 | 20.5 | 10 | 24 |
| 12Story-Story8 | DCon10 Min | Y | 0.001063 | 67 | 15.5 | 10 | 24 |
| 12Story-Story7 | Dead | X | 3E-06 | 66 | 25.5 | 15 | 21 |
| 12Story-Story7 | Dead | Y | 3E-06 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | Live | X | 1E-06 | 66 | 25.5 | 15 | 21 |
| 12Story-Story7 | Live | Y | 4.921E-07 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | EX1 1 | X | 0.00109 | 70 | 25.5 | 0 | 21 |
| 12Story-Story7 | EX1 2 | X | 0.001131 | 66 | 25.5 | 15 | 21 |
| 12Story-Story7 | EX1 3 | X | 0.001169 | 70 | 25.5 | 0 | 21 |
| 12Story-Story7 | EY 1 | Y | 0.001104 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | EY 2 | Y | 0.00106 | 71 | 30.5 | 10 | 21 |
| 12Story-Story7 | EY 3 | Y | 0.001192 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | DCon1 | X | 5E-06 | 66 | 25.5 | 15 | 21 |
| 12Story-Story7 | DCon1 | Y | 4E-06 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | DCon2 | X | 5E-06 | 66 | 25.5 | 15 | 21 |
| 12Story-Story7 | DCon2 | Y | 4E-06 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | DCon3 Max | X | 0.001168 | 70 | 25.5 | 0 | 21 |
| 12Story-Story7 | DCon3 Min | X | 0.001049 | 75 | 25.5 | 5 | 21 |
| 12Story-Story7 | DCon4 Max | X | 0.001054 | 75 | 25.5 | 5 | 21 |
| 12Story-Story7 | DCon4 Min | X | 0.00117 | 70 | 25.5 | 0 | 21 |
| 12Story-Story7 | DCon5 Max | Y | 0.001188 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | DCon5 Min | Y | 0.001028 | 74 | 20.5 | 10 | 21 |
| 12Story-Story7 | DCon6 Max | Y | 0.001034 | 74 | 20.5 | 10 | 21 |
| 12Story-Story7 | DCon6 Min | Y | 0.001196 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | DCon7 Max | X | 0.001169 | 70 | 25.5 | 0 | 21 |
| 12Story-Story7 | DCon7 Min | X | 0.00105 | 75 | 25.5 | 5 | 21 |
| 12Story-Story7 | DCon8 Max | X | 0.001053 | 75 | 25.5 | 5 | 21 |
| 12Story-Story7 | DCon8 Min | X | 0.00117 | 70 | 25.5 | 0 | 21 |
| 12Story-Story7 | DCon9 Max | Y | 0.00119 | 67 | 15.5 | 10 | 21 |
| 12Story-Story7 | DCon9 Min | Y | 0.001029 | 74 | 20.5 | 10 | 21 |
| 12Story-Story7 | DCon10 Max | Y | 0.001032 | 74 | 20.5 | 10 | 21 |
| 12Story-Story7 | DCon10 Min | Y | 0.001194 | 67 | 15.5 | 10 | 21 |
| 12Story-Story6 | Dead | X | 5E-06 | 104 | 46 | 15 | 18 |
| 12Story-Story6 | Live | X | 1E-06 | 104 | 46 | 15 | 18 |
| 12Story-Story6 | Live | Y | 4.883E-07 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | EX1 1 | X | 0.001077 | 70 | 25.5 | 0 | 18 |
| 12Story-Story6 | EX1 2 | X | 0.001097 | 66 | 25.5 | 15 | 18 |
| 12Story-Story6 | EX1 3 | X | 0.001127 | 70 | 25.5 | 0 | 18 |
| 12Story-Story6 | EY 1 | Y | 0.001133 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | EY 2 | Y | 0.001057 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | EY 3 | Y | 0.001209 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon1 | X | 7E-06 | 104 | 46 | 15 | 18 |
| 12Story-Story6 | DCon2 | X | 8E-06 | 104 | 46 | 15 | 18 |
| 12Story-Story6 | DCon3 Max | X | 0.001127 | 70 | 25.5 | 0 | 18 |
| 12Story-Story6 | DCon3 Min | X | 0.001048 | 75 | 25.5 | 5 | 18 |
| 12Story-Story6 | DCon4 Max | X | 0.001052 | 75 | 25.5 | 5 | 18 |
| 12Story-Story6 | DCon4 Min | X | 0.001127 | 70 | 25.5 | 0 | 18 |
| 12Story-Story6 | DCon5 Max | Y | 0.001205 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon5 Min | Y | 0.001053 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon6 Max | Y | 0.001061 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon6 Min | Y | 0.001213 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon7 Max | X | 0.001127 | 70 | 25.5 | 0 | 18 |
| 12Story-Story6 | DCon7 Min | X | 0.001049 | 75 | 25.5 | 5 | 18 |
| 12Story-Story6 | DCon8 Max | X | 0.001051 | 75 | 25.5 | 5 | 18 |
| 12Story-Story6 | DCon8 Min | X | 0.001127 | 70 | 25.5 | 0 | 18 |
| 12Story-Story6 | DCon9 Max | Y | 0.001207 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon9 Min | Y | 0.001055 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon10 Max | Y | 0.00106 | 67 | 15.5 | 10 | 18 |
| 12Story-Story6 | DCon10 Min | Y | 0.001212 | 67 | 15.5 | 10 | 18 |
| 12Story-Story5 | Dead | X | 2E-06 | 104 | 46 | 15 | 15 |
| 12Story-Story5 | Dead | Y | 2E-06 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | Live | X | 2.393E-07 | 104 | 46 | 15 | 15 |
| 12Story-Story5 | Live | Y | 2.357E-07 | 61 | 15.5 | 0 | 15 |
| 12Story-Story5 | EX1 1 | X | 0.001135 | 66 | 25.5 | 15 | 15 |
| 12Story-Story5 | EX1 2 | X | 0.001179 | 66 | 25.5 | 15 | 15 |
| 12Story-Story5 | EX1 3 | X | 0.001178 | 70 | 25.5 | 0 | 15 |
| 12Story-Story5 | EY 1 | Y | 0.001184 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | EY 2 | Y | 0.001107 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | EY 3 | Y | 0.00126 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon1 | X | 2E-06 | 104 | 46 | 15 | 15 |
| 12Story-Story5 | DCon1 | Y | 2E-06 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon2 | X | 2E-06 | 104 | 46 | 15 | 15 |
| 12Story-Story5 | DCon2 | Y | 2E-06 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon3 Max | X | 0.001179 | 70 | 25.5 | 0 | 15 |
| 12Story-Story5 | DCon3 Min | X | 0.001118 | 76 | 25.5 | 10 | 15 |
| 12Story-Story5 | DCon4 Max | X | 0.001121 | 76 | 25.5 | 10 | 15 |
| 12Story-Story5 | DCon4 Min | X | 0.001181 | 66 | 25.5 | 15 | 15 |
| 12Story-Story5 | DCon5 Max | Y | 0.001258 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon5 Min | Y | 0.001105 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon6 Max | Y | 0.001109 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon6 Min | Y | 0.001263 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon7 Max | X | 0.001179 | 70 | 25.5 | 0 | 15 |
| 12Story-Story5 | DCon7 Min | X | 0.001119 | 76 | 25.5 | 10 | 15 |
| 12Story-Story5 | DCon8 Max | X | 0.00112 | 76 | 25.5 | 10 | 15 |
| 12Story-Story5 | DCon8 Min | X | 0.00118 | 66 | 25.5 | 15 | 15 |
| 12Story-Story5 | DCon9 Max | Y | 0.001259 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon9 Min | Y | 0.001106 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon10 Max | Y | 0.001108 | 67 | 15.5 | 10 | 15 |
| 12Story-Story5 | DCon10 Min | Y | 0.001262 | 67 | 15.5 | 10 | 15 |
| 12Story-Story4 | Dead | X | 1E-06 | 104 | 46 | 15 | 12 |
| 12Story-Story4 | Dead | Y | 1E-06 | 72 | 30.5 | 5 | 12 |
| 12Story-Story4 | Live | X | 2.036E-07 | 66 | 25.5 | 15 | 12 |
| 12Story-Story4 | Live | Y | 1.423E-07 | 71 | 30.5 | 10 | 12 |
| 12Story-Story4 | EX1 1 | X | 0.001154 | 70 | 25.5 | 0 | 12 |
| 12Story-Story4 | EX1 2 | X | 0.001175 | 66 | 25.5 | 15 | 12 |
| 12Story-Story4 | EX1 3 | X | 0.001194 | 70 | 25.5 | 0 | 12 |
| 12Story-Story4 | EY 1 | Y | 0.001096 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | EY 2 | Y | 0.001031 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | EY 3 | Y | 0.001162 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon1 | X | 1E-06 | 104 | 46 | 15 | 12 |
| 12Story-Story4 | DCon1 | Y | 1E-06 | 72 | 30.5 | 5 | 12 |
| 12Story-Story4 | DCon2 | X | 1E-06 | 104 | 46 | 15 | 12 |
| 12Story-Story4 | DCon2 | Y | 1E-06 | 72 | 30.5 | 5 | 12 |
| 12Story-Story4 | DCon3 Max | X | 0.001195 | 70 | 25.5 | 0 | 12 |
| 12Story-Story4 | DCon3 Min | X | 0.001136 | 75 | 25.5 | 5 | 12 |
| 12Story-Story4 | DCon4 Max | X | 0.001133 | 75 | 25.5 | 5 | 12 |
| 12Story-Story4 | DCon4 Min | X | 0.001193 | 70 | 25.5 | 0 | 12 |
| 12Story-Story4 | DCon5 Max | Y | 0.001161 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon5 Min | Y | 0.00103 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon6 Max | Y | 0.001032 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon6 Min | Y | 0.001162 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon7 Max | X | 0.001194 | 70 | 25.5 | 0 | 12 |
| 12Story-Story4 | DCon7 Min | X | 0.001135 | 75 | 25.5 | 5 | 12 |
| 12Story-Story4 | DCon8 Max | X | 0.001134 | 75 | 25.5 | 5 | 12 |
| 12Story-Story4 | DCon8 Min | X | 0.001193 | 70 | 25.5 | 0 | 12 |
| 12Story-Story4 | DCon9 Max | Y | 0.001161 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon9 Min | Y | 0.001031 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon10 Max | Y | 0.001031 | 67 | 15.5 | 10 | 12 |
| 12Story-Story4 | DCon10 Min | Y | 0.001162 | 67 | 15.5 | 10 | 12 |
| 12Story-Story3 | Dead | X | 3E-06 | 1 | 0 | 15 | 9 |
| 12Story-Story3 | Dead | Y | 2E-06 | 4 | 0 | 0 | 9 |
| 12Story-Story3 | Live | X | 4E-07 | 1 | 0 | 15 | 9 |
| 12Story-Story3 | Live | Y | 2.245E-07 | 1 | 0 | 15 | 9 |
| 12Story-Story3 | EX1 1 | X | 0.001049 | 70 | 25.5 | 0 | 9 |
| 12Story-Story3 | EX1 2 | X | 0.001045 | 66 | 25.5 | 15 | 9 |
| 12Story-Story3 | EX1 3 | X | 0.001069 | 70 | 25.5 | 0 | 9 |
| 12Story-Story3 | EY 1 | Y | 0.000839 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | EY 2 | Y | 0.000846 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | EY 3 | Y | 0.000832 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon1 | X | 5E-06 | 1 | 0 | 15 | 9 |
| 12Story-Story3 | DCon1 | Y | 3E-06 | 4 | 0 | 0 | 9 |
| 12Story-Story3 | DCon2 | X | 5E-06 | 1 | 0 | 15 | 9 |
| 12Story-Story3 | DCon2 | Y | 3E-06 | 1 | 0 | 15 | 9 |
| 12Story-Story3 | DCon3 Max | X | 0.00107 | 70 | 25.5 | 0 | 9 |
| 12Story-Story3 | DCon3 Min | X | 0.001036 | 75 | 25.5 | 5 | 9 |
| 12Story-Story3 | DCon4 Max | X | 0.001033 | 75 | 25.5 | 5 | 9 |
| 12Story-Story3 | DCon4 Min | X | 0.001069 | 70 | 25.5 | 0 | 9 |
| 12Story-Story3 | DCon5 Max | Y | 0.000845 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon5 Min | Y | 0.000831 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon6 Max | Y | 0.000834 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon6 Min | Y | 0.000848 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon7 Max | X | 0.00107 | 70 | 25.5 | 0 | 9 |
| 12Story-Story3 | DCon7 Min | X | 0.001035 | 75 | 25.5 | 5 | 9 |
| 12Story-Story3 | DCon8 Max | X | 0.001033 | 75 | 25.5 | 5 | 9 |
| 12Story-Story3 | DCon8 Min | X | 0.001069 | 70 | 25.5 | 0 | 9 |
| 12Story-Story3 | DCon9 Max | Y | 0.000846 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon9 Min | Y | 0.000831 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon10 Max | Y | 0.000833 | 72 | 30.5 | 5 | 9 |
| 12Story-Story3 | DCon10 Min | Y | 0.000847 | 72 | 30.5 | 5 | 9 |
| 12Story-Story2 | Dead | X | 1E-06 | 4 | 0 | 0 | 6 |
| 12Story-Story2 | Dead | Y | 1.588E-07 | 105 | 46 | 0 | 6 |
| 12Story-Story2 | Live | X | 1.064E-07 | 4 | 0 | 0 | 6 |
| 12Story-Story2 | Live | Y | 6.101E-08 | 4 | 0 | 0 | 6 |
| 12Story-Story2 | EX1 1 | X | 0.000918 | 66 | 25.5 | 15 | 6 |
| 12Story-Story2 | EX1 2 | X | 0.000931 | 66 | 25.5 | 15 | 6 |
| 12Story-Story2 | EX1 3 | X | 0.000924 | 70 | 25.5 | 0 | 6 |
| 12Story-Story2 | EY 1 | Y | 0.000752 | 72 | 30.5 | 5 | 6 |
| 12Story-Story2 | EY 2 | Y | 0.000797 | 105 | 46 | 0 | 6 |
| 12Story-Story2 | EY 3 | Y | 0.000745 | 72 | 30.5 | 5 | 6 |
| 12Story-Story2 | DCon1 | X | 1E-06 | 4 | 0 | 0 | 6 |
| 12Story-Story2 | DCon1 | Y | 2.223E-07 | 105 | 46 | 0 | 6 |
| 12Story-Story2 | DCon2 | X | 1E-06 | 4 | 0 | 0 | 6 |
| 12Story-Story2 | DCon3 Max | X | 0.000932 | 66 | 25.5 | 15 | 6 |
| 12Story-Story2 | DCon3 Min | X | 0.000911 | 76 | 25.5 | 10 | 6 |
| 12Story-Story2 | DCon4 Max | X | 0.00091 | 76 | 25.5 | 10 | 6 |
| 12Story-Story2 | DCon4 Min | X | 0.000931 | 66 | 25.5 | 15 | 6 |
| 12Story-Story2 | DCon5 Max | Y | 0.000796 | 105 | 46 | 0 | 6 |
| 12Story-Story2 | DCon5 Min | Y | 0.000745 | 72 | 30.5 | 5 | 6 |
| 12Story-Story2 | DCon6 Max | Y | 0.000745 | 72 | 30.5 | 5 | 6 |
| 12Story-Story2 | DCon6 Min | Y | 0.000797 | 105 | 46 | 0 | 6 |
| 12Story-Story2 | DCon7 Max | X | 0.000932 | 66 | 25.5 | 15 | 6 |
| 12Story-Story2 | DCon7 Min | X | 0.000911 | 76 | 25.5 | 10 | 6 |
| 12Story-Story2 | DCon8 Max | X | 0.00091 | 76 | 25.5 | 10 | 6 |
| 12Story-Story2 | DCon8 Min | X | 0.000931 | 66 | 25.5 | 15 | 6 |
| 12Story-Story2 | DCon9 Max | Y | 0.000796 | 105 | 46 | 0 | 6 |
| 12Story-Story2 | DCon9 Min | Y | 0.000745 | 72 | 30.5 | 5 | 6 |
| 12Story-Story2 | DCon10 Max | Y | 0.000745 | 72 | 30.5 | 5 | 6 |
| 12Story-Story2 | DCon10 Min | Y | 0.000797 | 105 | 46 | 0 | 6 |
| 12Story-Story1 | Dead | X | 4.03E-07 | 4 | 0 | 0 | 3 |
| 12Story-Story1 | Dead | Y | 2.117E-07 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | Live | X | 4.73E-08 | 4 | 0 | 0 | 3 |
| 12Story-Story1 | Live | Y | 2.793E-08 | 67 | 15.5 | 10 | 3 |
| 12Story-Story1 | EX1 1 | X | 0.000487 | 66 | 25.5 | 15 | 3 |
| 12Story-Story1 | EX1 2 | X | 0.000494 | 66 | 25.5 | 15 | 3 |
| 12Story-Story1 | EX1 3 | X | 0.000485 | 70 | 25.5 | 0 | 3 |
| 12Story-Story1 | EY 1 | Y | 0.000455 | 105 | 46 | 0 | 3 |
| 12Story-Story1 | EY 2 | Y | 0.000505 | 105 | 46 | 0 | 3 |
| 12Story-Story1 | EY 3 | Y | 0.000499 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | DCon1 | X | 1E-06 | 4 | 0 | 0 | 3 |
| 12Story-Story1 | DCon1 | Y | 2.964E-07 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | DCon2 | X | 1E-06 | 4 | 0 | 0 | 3 |
| 12Story-Story1 | DCon3 Max | X | 0.000494 | 66 | 25.5 | 15 | 3 |
| 12Story-Story1 | DCon3 Min | X | 0.000481 | 76 | 25.5 | 10 | 3 |
| 12Story-Story1 | DCon4 Max | X | 0.000481 | 76 | 25.5 | 10 | 3 |
| 12Story-Story1 | DCon4 Min | X | 0.000494 | 66 | 25.5 | 15 | 3 |
| 12Story-Story1 | DCon5 Max | Y | 0.000505 | 105 | 46 | 0 | 3 |
| 12Story-Story1 | DCon5 Min | Y | 0.000406 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | DCon6 Max | Y | 0.000406 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | DCon6 Min | Y | 0.000506 | 105 | 46 | 0 | 3 |
| 12Story-Story1 | DCon7 Max | X | 0.000494 | 66 | 25.5 | 15 | 3 |
| 12Story-Story1 | DCon7 Min | X | 0.000481 | 76 | 25.5 | 10 | 3 |
| 12Story-Story1 | DCon8 Max | X | 0.000481 | 76 | 25.5 | 10 | 3 |
| 12Story-Story1 | DCon8 Min | X | 0.000494 | 66 | 25.5 | 15 | 3 |
| 12Story-Story1 | DCon9 Max | Y | 0.000505 | 105 | 46 | 0 | 3 |
| 12Story-Story1 | DCon9 Min | Y | 0.000406 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | DCon10 Max | Y | 0.000406 | 1 | 0 | 15 | 3 |
| 12Story-Story1 | DCon10 Min | Y | 0.000506 | 105 | 46 | 0 | 3 |

Table 5.6 - Story Forces

| Story | Load Case/Combo | Location | P kgf | VX kgf | VY kgf | T kgf-m | MX kgf-m | MY kgf-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6Story-Story6 | Dead | Top | 212926.25 | 0 | 357.46 | 13754.41 | 1821772.01 | -7966272.75 |
| 6Story-Story6 | Dead | Bottom | 234826.25 | 0 | 357.46 | 13754.41 | 1984949.64 | -8809422.75 |
| 6Story-Story6 | Live | Top | 4882.76 | 0 | 41.8 | 1619.12 | 72919.17 | -150630.4 |
| 6Story-Story6 | Live | Bottom | 4882.76 | 0 | 41.8 | 1619.12 | 72793.78 | -150630.4 |
| 6Story-Story6 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story6 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story6 | EX1 1 | Top | 157340.84 | -124353.04 | -1502.65 | 843135.64 | 2354328.69 | -4929542.62 |
| 6Story-Story6 | EX1 1 | Bottom | 157340.84 | -124353.04 | -1502.65 | 843135.64 | 2358836.64 | -5302601.73 |
| 6Story-Story6 | EX1 2 | Top | 163314.47 | -124353.04 | 23865.93 | 1831754.02 | 2442684.7 | -5118428.12 |
| 6Story-Story6 | EX1 2 | Bottom | 163314.47 | -124353.04 | 23865.93 | 1831754.02 | 2371086.9 | -5491487.23 |
| 6Story-Story6 | EX1 3 | Top | 151367.22 | -124353.04 | -26871.23 | -145482.75 | 2265972.67 | -4740657.12 |
| 6Story-Story6 | EX1 3 | Bottom | 151367.22 | -124353.04 | -26871.23 | -145482.75 | 2346586.38 | -5113716.23 |
| 6Story-Story6 | EY 1 | Top | 52625.05 | 0 | -229573.35 | -8555835.33 | 830180.37 | -1630844.88 |
| 6Story-Story6 | EY 1 | Bottom | 52625.05 | 0 | -229573.35 | -8555835.33 | 1518900.43 | -1630844.88 |
| 6Story-Story6 | EY 2 | Top | 46639.56 | 0 | -255044.4 | -9548015.91 | 741631.86 | -1441585.4 |
| 6Story-Story6 | EY 2 | Bottom | 46639.56 | 0 | -255044.4 | -9548015.91 | 1506765.06 | -1441585.4 |
| 6Story-Story6 | EY 3 | Top | 58610.53 | 0 | -204102.31 | -7563654.76 | 918728.88 | -1820104.37 |
| 6Story-Story6 | EY 3 | Bottom | 58610.53 | 0 | -204102.31 | -7563654.76 | 1531035.81 | -1820104.37 |
| 6Story-Story6 | DCon1 | Top | 298096.75 | 0 | 500.44 | 19256.17 | 2550480.81 | -11152781.85 |
| 6Story-Story6 | DCon1 | Bottom | 328756.75 | 0 | 500.44 | 19256.17 | 2778929.5 | -12333191.85 |
| 6Story-Story6 | DCon2 | Top | 263323.91 | 0 | 495.82 | 19095.88 | 2302797.08 | -9800535.94 |
| 6Story-Story6 | DCon2 | Bottom | 289603.91 | 0 | 495.82 | 19095.88 | 2498409.61 | -10812315.94 |
| 6Story-Story6 | DCon3 Max | Top | 445001.35 | -124353.04 | 24372.42 | 1851253.87 | 4883907.48 | -15247442.1 |
| 6Story-Story6 | DCon3 Max | Bottom | 473471.35 | -124353.04 | 24372.42 | 1851253.87 | 5024315.21 | -16716596.21 |
| 6Story-Story6 | DCon3 Min | Top | 433054.09 | -124353.04 | -26364.74 | -125982.9 | 4707195.45 | -15625213.09 |
| 6Story-Story6 | DCon3 Min | Bottom | 461524.09 | -124353.04 | -26364.74 | -125982.9 | 4999814.68 | -17094367.2 |
| 6Story-Story6 | DCon4 Max | Top | 130319.66 | 124353.04 | 27377.73 | 164982.6 | 175250.11 | -5388356.85 |
| 6Story-Story6 | DCon4 Max | Bottom | 158789.66 | 124353.04 | 27377.73 | 164982.6 | 306641.93 | -6111392.75 |
| 6Story-Story6 | DCon4 Min | Top | 118372.4 | 124353.04 | -23359.44 | -1812254.17 | -1461.92 | -5766127.85 |
| 6Story-Story6 | DCon4 Min | Bottom | 146842.4 | 124353.04 | -23359.44 | -1812254.17 | 282141.41 | -6489163.74 |
| 6Story-Story6 | DCon5 Max | Top | 340297.41 | 0 | -203595.82 | -7544154.91 | 3359951.66 | -11948370.37 |
| 6Story-Story6 | DCon5 Max | Bottom | 368767.41 | 0 | -203595.82 | -7544154.91 | 4184264.12 | -13044465.37 |
| 6Story-Story6 | DCon5 Min | Top | 328326.44 | 0 | -254537.91 | -9528516.06 | 3182854.64 | -12326889.34 |
| 6Story-Story6 | DCon5 Min | Bottom | 356796.44 | 0 | -254537.91 | -9528516.06 | 4159993.36 | -13422984.34 |
| 6Story-Story6 | DCon6 Max | Top | 235047.32 | 0 | 255550.89 | 9567515.76 | 1699590.92 | -8686680.61 |
| 6Story-Story6 | DCon6 Max | Bottom | 263517.32 | 0 | 255550.89 | 9567515.76 | 1146463.25 | -9782775.61 |
| 6Story-Story6 | DCon6 Min | Top | 223076.34 | 0 | 204608.8 | 7583154.6 | 1522493.9 | -9065199.58 |
| 6Story-Story6 | DCon6 Min | Bottom | 251546.34 | 0 | 204608.8 | 7583154.6 | 1122192.5 | -10161294.58 |
| 6Story-Story6 | DCon7 Max | Top | 333655.47 | -124353.04 | 24151.9 | 1842757.54 | 3900102.31 | -11113675.32 |
| 6Story-Story6 | DCon7 Max | Bottom | 351175.47 | -124353.04 | 24151.9 | 1842757.54 | 3959046.61 | -12161254.43 |
| 6Story-Story6 | DCon7 Min | Top | 321708.22 | -124353.04 | -26585.27 | -134479.23 | 3723390.28 | -11491446.32 |
| 6Story-Story6 | DCon7 Min | Bottom | 339228.22 | -124353.04 | -26585.27 | -134479.23 | 3934546.09 | -12539025.43 |
| 6Story-Story6 | DCon8 Max | Top | 18973.78 | 124353.04 | 27157.2 | 156486.27 | -808555.06 | -1254590.08 |
| 6Story-Story6 | DCon8 Max | Bottom | 36493.78 | 124353.04 | 27157.2 | 156486.27 | -758626.66 | -1556050.97 |
| 6Story-Story6 | DCon8 Min | Top | 7026.53 | 124353.04 | -23579.97 | -1820750.5 | -985267.09 | -1632361.08 |
| 6Story-Story6 | DCon8 Min | Bottom | 24546.53 | 124353.04 | -23579.97 | -1820750.5 | -783127.19 | -1933821.97 |
| 6Story-Story6 | DCon9 Max | Top | 228951.53 | 0 | -203816.34 | -7552651.23 | 2376146.49 | -7814603.6 |
| 6Story-Story6 | DCon9 Max | Bottom | 246471.53 | 0 | -203816.34 | -7552651.23 | 3118995.52 | -8489123.6 |
| 6Story-Story6 | DCon9 Min | Top | 216980.56 | 0 | -254758.43 | -9537012.39 | 2199049.47 | -8193122.57 |
| 6Story-Story6 | DCon9 Min | Bottom | 234500.56 | 0 | -254758.43 | -9537012.39 | 3094724.77 | -8867642.57 |
| 6Story-Story6 | DCon10 Max | Top | 123701.44 | 0 | 255330.36 | 9559019.43 | 715785.75 | -4552913.84 |
| 6Story-Story6 | DCon10 Max | Bottom | 141221.44 | 0 | 255330.36 | 9559019.43 | 81194.66 | -5227433.84 |
| 6Story-Story6 | DCon10 Min | Top | 111730.47 | 0 | 204388.28 | 7574658.28 | 538688.73 | -4931432.81 |
| 6Story-Story6 | DCon10 Min | Bottom | 129250.47 | 0 | 204388.28 | 7574658.28 | 56923.9 | -5605952.81 |
| 6Story-Story5 | Dead | Top | 417826.25 | 0 | 357.46 | 13754.41 | 3357449.64 | -15854922.75 |
| 6Story-Story5 | Dead | Bottom | 439726.25 | 0 | 357.46 | 13754.41 | 3520627.27 | -16698072.75 |
| 6Story-Story5 | Live | Top | 4882.76 | 0 | 41.8 | 1619.12 | 72793.78 | -150630.4 |
| 6Story-Story5 | Live | Bottom | 4882.76 | 0 | 41.8 | 1619.12 | 72668.38 | -150630.4 |
| 6Story-Story5 | EX | Top | 0 | 0 | 0 | 0 | 0 |  |
| 6Story-Story5 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story5 | EX1 1 | Top | 157340.84 | -230911.32 | -1502.65 | 1642322.79 | 2358836.64 | -5302601.73 |
| 6Story-Story5 | EX1 1 | Bottom | 157340.84 | -230911.32 | -1502.65 | 1642322.79 | 2363344.59 | -5995335.7 |
| 6Story-Story5 | EX1 2 | Top | 163314.47 | -230911.32 | 23865.93 | 2710859.89 | 2371086.9 | -5491487.23 |
| 6Story-Story5 | EX1 2 | Bottom | 163314.47 | -230911.32 | 23865.93 | 2710859.89 | 2299489.1 | -6184221.2 |
| 6Story-Story5 | EX1 3 | Top | 151367.22 | -230911.32 | -26871.23 | 573785.69 | 2346586.38 | -5113716.23 |
| 6Story-Story5 | EX1 3 | Bottom | 151367.22 | -230911.32 | -26871.23 | 573785.69 | 2427200.08 | -5806450.2 |
| 6Story-Story5 | EY 1 | Top | 52625.05 | 0 | -336310.9 | -12665231.03 | 1518900.43 | -1630844.88 |
| 6Story-Story5 | EY 1 | Bottom | 52625.05 | 0 | -336310.9 | -12665231.03 | 2527833.15 | -1630844.88 |
| 6Story-Story5 | EY 2 | Top | 46639.56 | 0 | -361781.95 | -13737464.77 | 1506765.06 | -1441585.4 |
| 6Story-Story5 | EY 2 | Bottom | 46639.56 | 0 | -361781.95 | -13737464.77 | 2592110.9 | -1441585.4 |
| 6Story-Story5 | EY 3 | Top | 58610.53 | 0 | -310839.86 | -11592997.29 | 1531035.81 | -1820104.37 |
| 6Story-Story5 | EY 3 | Bottom | 58610.53 | 0 | -310839.86 | -11592997.29 | 2463555.39 | -1820104.37 |
| 6Story-Story5 | DCon1 | Top | 584956.75 | 0 | 500.44 | 19256.17 | 4700429.5 | -22196891.85 |
| 6Story-Story5 | DCon1 | Bottom | 615616.75 | 0 | 500.44 | 19256.17 | 4928878.18 | -23377301.85 |
| 6Story-Story5 | DCon2 | Top | 509203.91 | 0 | 495.82 | 19095.88 | 4145409.61 | -19266915.94 |
| 6Story-Story5 | DCon2 | Bottom | 535483.91 | 0 | 495.82 | 19095.88 | 4341022.14 | -20278695.94 |
| 6Story-Story5 | DCon3 Max | Top | 711371.35 | -230911.32 | 24372.42 | 2730359.73 | 6808565.21 | -25875746.21 |
| 6Story-Story5 | DCon3 Max | Bottom | 739841.35 | -230911.32 | 24372.42 | 2730359.73 | 7076683.91 | -27664575.18 |
| 6Story-Story5 | DCon3 Min | Top | 699424.09 | -230911.32 | -26364.74 | 593285.53 | 6784064.68 | -26253517.2 |
| 6Story-Story5 | DCon3 Min | Bottom | 727894.09 | -230911.32 | -26364.74 | 593285.53 | 6948972.94 | -28042346.17 |
| 6Story-Story5 | DCon4 Max | Top | 396689.66 | 230911.32 | 27377.73 | -554285.84 | 2090891.93 | -15270542.75 |
| 6Story-Story5 | DCon4 Max | Bottom | 425159.66 | 230911.32 | 27377.73 | -554285.84 | 2349994.73 | -15673903.78 |
| 6Story-Story5 | DCon4 Min | Top | 384742.4 | 230911.32 | -23359.44 | -2691360.04 | 2066391.41 | -15648313.74 |
| 6Story-Story5 | DCon4 Min | Bottom | 413212.4 | 230911.32 | -23359.44 | -2691360.04 | 2222283.76 | -16051674.77 |
| 6Story-Story5 | DCon5 Max | Top | 606667.41 | 0 | -310333.37 | -11573497.45 | 5968514.12 | -22203615.37 |
| 6Story-Story5 | DCon5 Max | Bottom | 635137.41 | 0 | -310333.37 | -11573497.45 | 7241594.74 | -23299710.37 |
| 6Story-Story5 | DCon5 Min | Top | 594696.44 | 0 | -361275.46 | -13717964.92 | 5944243.36 | -22582134.34 |
| 6Story-Story5 | DCon5 Min | Bottom | 623166.44 | 0 | -361275.46 | -13717964.92 | 7113039.23 | -23678229.34 |
| 6Story-Story5 | DCon6 Max | Top | 501417.32 | 0 | 362288.44 | 13756964.62 | 2930713.25 | -18941925.61 |
| 6Story-Story5 | DCon6 Max | Bottom | 529887.32 | 0 | 362288.44 | 13756964.62 | 2185928.44 | -20038020.61 |
| 6Story-Story5 | DCon6 Min | Top | 489446.34 | 0 | 311346.35 | 11612497.14 | 2906442.5 | -19320444.58 |
| 6Story-Story5 | DCon6 Min | Bottom | 517916.34 | 0 | 311346.35 | 11612497.14 | 2057372.93 | -20416539.58 |
| 6Story-Story5 | DCon7 Max | Top | 497575.47 | -230911.32 | 24151.9 | 2721863.41 | 5057046.61 | -17797654.43 |
| 6Story-Story5 | DCon7 Max | Bottom | 515095.47 | -230911.32 | 24151.9 | 2721863.41 | 5243701.9 | -19164908.41 |
| 6Story-Story5 | DCon7 Min | Top | 485628.22 | -230911.32 | -26585.27 | 584789.21 | 5032546.09 | -18175425.43 |
| 6Story-Story5 | DCon7 Min | Bottom | 503148.22 | -230911.32 | -26585.27 | 584789.21 | 5115990.92 | -19542679.4 |
| 6Story-Story5 | DCon8 Max | Top | 182893.78 | 230911.32 | 27157.2 | -562782.16 | 339373.34 | -7192450.97 |
| 6Story-Story5 | DCon8 Max | Bottom | 200413.78 | 230911.32 | 27157.2 | -562782.16 | 517012.72 | -7174237 |
| 6Story-Story5 | DCon8 Min | Top | 170946.53 | 230911.32 | -23579.97 | -2699856.36 | 314872.81 | -7570221.97 |
| 6Story-Story5 | DCon8 Min | Bottom | 188466.53 | 230911.32 | -23579.97 | -2699856.36 | 389301.74 | -7552008 |
| 6Story-Story5 | DCon9 Max | Top | 392871.53 | 0 | -310553.9 | -11581993.77 | 4216995.52 | -14125523.6 |
| 6Story-Story5 | DCon9 Max | Bottom | 410391.53 | 0 | -310553.9 | -11581993.77 | 5408612.72 | -14800043.6 |
| 6Story-Story5 | DCon9 Min | Top | 380900.56 | 0 | -361495.98 | -13726461.25 | 4192724.77 | -14504042.57 |
| 6Story-Story5 | DCon9 Min | Bottom | 398420.56 | 0 | -361495.98 | -13726461.25 | 5280057.21 | -15178562.57 |
| 6Story-Story5 | DCon10 Max | Top | 287621.44 | 0 | 362067.91 | 13748468.29 | 1179194.66 | -10863833.84 |
| 6Story-Story5 | DCon10 Max | Bottom | 305141.44 | 0 | 362067.91 | 13748468.29 | 352946.42 | -11538353.84 |
| 6Story-Story5 | DCon10 Min | Top | 275650.47 | 0 | 311125.83 | 11604000.82 | 1154923.9 | -11242352.81 |
| 6Story-Story5 | DCon10 Min | Bottom | 293170.47 | 0 | 311125.83 | 11604000.82 | 224390.91 | -11916872.81 |
| 6Story-Story4 | Dead | Top | 622726.25 | 0 | 357.46 | 13754.41 | 4893127.27 | -23743572.75 |
| 6Story-Story4 | Dead | Bottom | 644626.25 | 0 | 357.46 | 13754.41 | 5056304.9 | -24586722.75 |
| 6Story-Story4 | Live | Top | 4882.76 | 0 | 41.8 | 1619.12 | 72668.38 | -150630.4 |
| 6Story-Story4 | Live | Bottom | 4882.76 | 0 | 41.8 | 1619.12 | 72542.99 | -150630.4 |
| 6Story-Story4 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story4 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story4 | EX1 1 | Top | 157340.84 | -315536.38 | -1502.65 | 2277010.69 | 2363344.59 | -5995335.7 |
| 6Story-Story4 | EX1 1 | Bottom | 157340.84 | -315536.38 | -1502.65 | 2277010.69 | 2367852.54 | -6941944.83 |
| 6Story-Story4 | EX1 2 | Top | 163314.47 | -315536.38 | 23865.93 | 3409016.58 | 2299489.1 | -6184221.2 |
| 6Story-Story4 | EX1 2 | Bottom | 163314.47 | -315536.38 | 23865.93 | 3409016.58 | 2227891.3 | -7130830.33 |
| 6Story-Story4 | EX1 3 | Top | 151367.22 | -315536.38 | -26871.23 | 1145004.8 | 2427200.08 | -5806450.2 |
| 6Story-Story4 | EX1 3 | Bottom | 151367.22 | -315536.38 | -26871.23 | 1145004.8 | 2507813.78 | -6753059.33 |
| 6Story-Story4 | EY 1 | Top | 52625.05 | 0 | -421547.86 | -15946853.75 | 2527833.15 | -1630844.88 |
| 6Story-Story4 | EY 1 | Bottom | 52625.05 | 0 | -421547.86 | -15946853.75 | 3792476.72 | -1630844.88 |
| 6Story-Story4 | EY 2 | Top | 46639.56 | 0 | -447018.9 | -17083015.21 | 2592110.9 | -1441585.4 |
| 6Story-Story4 | EY 2 | Bottom | 46639.56 | 0 | -447018.9 | -17083015.21 | 3933167.61 | -1441585.4 |
| 6Story-Story4 | EY 3 | Top | 58610.53 | 0 | -396076.81 | -14810692.3 | 2463555.39 | -1820104.37 |
| 6Story-Story4 | EY 3 | Bottom | 58610.53 | 0 | -396076.81 | -14810692.3 | 3651785.84 | -1820104.37 |
| 6Story-Story4 | DCon1 | Top | 871816.75 | 0 | 500.44 | 19256.17 | 6850378.18 | -33241001.85 |
| 6Story-Story4 | DCon1 | Bottom | 902476.75 | 0 | 500.44 | 19256.17 | 7078826.86 | -34421411.86 |
| 6Story-Story4 | DCon2 | Top | 755083.91 | 0 | 495.82 | 19095.88 | 5988022.14 | -28733295.94 |
| 6Story-Story4 | DCon2 | Bottom | 781363.91 | 0 | 495.82 | 19095.88 | 6183634.67 | -29745075.94 |
| 6Story-Story4 | DCon3 Max | Top | 977741.35 | -315536.38 | 24372.42 | 3428516.42 | 8860933.91 | -36823725.18 |
| 6Story-Story4 | DCon3 Max | Bottom | 1006211.35 | -315536.38 | 24372.42 | 3428516.42 | 9153553.14 | -38866429.31 |
| 6Story-Story4 | DCon3 Min | Top | 965794.09 | -315536.38 | -26364.74 | 1164504.65 | 8733222.94 | -37201496.17 |
| 6Story-Story4 | DCon3 Min | Bottom | 994264.09 | -315536.38 | -26364.74 | 1164504.65 | 8873630.66 | -39244200.31 |
| 6Story-Story4 | DCon4 Max | Top | 663059.66 | 315536.38 | 27377.73 | -1125504.95 | 4134244.73 | -24833053.78 |
| 6Story-Story4 | DCon4 Max | Bottom | 691529.66 | 315536.38 | 27377.73 | -1125504.95 | 4417848.06 | -24982539.65 |
| 6Story-Story4 | DCon4 Min | Top | 651112.4 | 315536.38 | -23359.44 | -3389516.73 | 4006533.76 | -25210824.77 |
| 6Story-Story4 | DCon4 Min | Bottom | 679582.41 | 315536.38 | -23359.44 | -3389516.73 | 4137925.58 | -25360310.64 |
| 6Story-Story4 | DCon5 Max | Top | 873037.41 | 0 | -395570.32 | -14791192.45 | 9025844.74 | -32458860.37 |
| 6Story-Story4 | DCon5 Max | Bottom | 901507.41 | 0 | -395570.32 | -14791192.45 | 10578906.97 | -33554955.37 |
| 6Story-Story4 | DCon5 Min | Top | 861066.44 | 0 | -446512.41 | -17063515.36 | 8897289.23 | -32837379.34 |
| 6Story-Story4 | DCon5 Min | Bottom | 889536.44 | 0 | -446512.41 | -17063515.36 | 10297525.2 | -33933474.34 |
| 6Story-Story4 | DCon6 Max | Top | 767787.32 | 0 | 447525.39 | 17102515.05 | 3970178.44 | -29197170.61 |
| 6Story-Story4 | DCon6 Max | Bottom | 796257.32 | 0 | 447525.39 | 17102515.05 | 2993953.52 | -30293265.61 |
| 6Story-Story4 | DCon6 Min | Top | 755816.34 | 0 | 396583.31 | 14830192.15 | 3841622.93 | -29575689.58 |
| 6Story-Story4 | DCon6 Min | Bottom | 784286.34 | 0 | 396583.31 | 14830192.15 | 2712571.75 | -30671784.58 |
| 6Story-Story4 | DCon7 Max | Top | 661495.47 | -315536.38 | 24151.9 | 3420020.1 | 6341701.9 | -24801308.41 |
| 6Story-Story4 | DCon7 Max | Bottom | 679015.47 | -315536.38 | 24151.9 | 3420020.1 | 6552857.7 | -26422437.54 |
| 6Story-Story4 | DCon7 Min | Top | 649548.22 | -315536.38 | -26585.27 | 1156008.32 | 6213990.92 | -25179079.4 |
| 6Story-Story4 | DCon7 Min | Bottom | 667068.22 | -315536.38 | -26585.27 | 1156008.32 | 6272935.22 | -26800208.53 |
| 6Story-Story4 | DCon8 Max | Top | 346813.78 | 315536.38 | 27157.2 | -1134001.28 | 1615012.72 | -12810637 |
| 6Story-Story4 | DCon8 Max | Bottom | 364333.78 | 315536.38 | 27157.2 | -1134001.28 | 1817152.62 | -12538547.87 |
| 6Story-Story4 | DCon8 Min | Top | 334866.53 | 315536.38 | -23579.97 | -3398013.05 | 1487301.74 | -13188408 |
| 6Story-Story4 | DCon8 Min | Bottom | 352386.53 | 315536.38 | -23579.97 | -3398013.05 | 1537230.14 | -12916318.87 |
| 6Story-Story4 | DCon9 Max | Top | 556791.53 | 0 | -395790.85 | -14799688.78 | 6506612.72 | -20436443.6 |
| 6Story-Story4 | DCon9 Max | Bottom | 574311.53 | 0 | -395790.85 | -14799688.78 | 7978211.53 | -21110963.6 |
| 6Story-Story4 | DCon9 Min | Top | 544820.56 | 0 | -446732.94 | -17072011.68 | 6378057.21 | -20814962.57 |
| 6Story-Story4 | DCon9 Min | Bottom | 562340.56 | 0 | -446732.94 | -17072011.68 | 7696829.76 | -21489482.57 |
| 6Story-Story4 | DCon10 Max | Top | 451541.44 | 0 | 447304.87 | 17094018.73 | 1450946.42 | -17174753.84 |
| 6Story-Story4 | DCon10 Max | Bottom | 469061.44 | 0 | 447304.87 | 17094018.73 | 393258.08 | -17849273.84 |
| 6Story-Story4 | DCon10 Min | Top | 439570.47 | 0 | 396362.78 | 14821695.83 | 1322390.91 | -17553272.81 |
| 6Story-Story4 | DCon10 Min | Bottom | 457090.47 | 0 | 396362.78 | 14821695.83 | 111876.31 | -18227792.81 |
| 6Story-Story3 | Dead | Top | 827626.25 | 0 | 357.46 | 13754.41 | 6428804.9 | -31632222.75 |
| 6Story-Story3 | Dead | Bottom | 860926.25 | 0 | 357.46 | 13754.41 | 6677482.53 | -32914272.75 |
| 6Story-Story3 | Live | Top | 4882.76 | 0 | 41.8 | 1619.12 | 72542.99 | -150630.4 |
| 6Story-Story3 | Live | Bottom | 4882.76 | 0 | 41.8 | 1619.12 | 72417.6 | -150630.4 |
| 6Story-Story3 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story3 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story3 | EX1 1 | Top | 157340.84 | -379258.14 | -1502.65 | 2754923.91 | 2367852.54 | -6941944.83 |
| 6Story-Story3 | EX1 1 | Bottom | 157340.84 | -379258.14 | -1502.65 | 2754923.91 | 2372360.49 | -8079719.25 |
| 6Story-Story3 | EX1 2 | Top | 163314.47 | -379258.14 | 23865.93 | 3934721.12 | 2227891.3 | -7130830.33 |
| 6Story-Story3 | EX1 2 | Bottom | 163314.47 | -379258.14 | 23865.93 | 3934721.12 | 2156293.5 | -8268604.75 |
| 6Story-Story3 | EX1 3 | Top | 151367.22 | -379258.14 | -26871.23 | 1575126.7 | 2507813.78 | -6753059.33 |
| 6Story-Story3 | EX1 3 | Bottom | 151367.22 | -379258.14 | -26871.23 | 1575126.7 | 2588427.48 | -7890833.75 |
| 6Story-Story3 | EY 1 | Top | 52625.05 | 0 | -486189.08 | -18435540.73 | 3792476.72 | -1630844.88 |
| 6Story-Story3 | EY 1 | Bottom | 52625.05 | 0 | -486189.08 | -18435540.73 | 5251043.96 | -1630844.88 |
| 6Story-Story3 | EY 2 | Top | 46639.56 | 0 | -511660.12 | -19620183.1 | 3933167.61 | -1441585.4 |
| 6Story-Story3 | EY 2 | Bottom | 46639.56 | 0 | -511660.12 | -19620183.1 | 5468147.98 | -1441585.4 |
| 6Story-Story3 | EY 3 | Top | 58610.53 | 0 | -460718.03 | -17250898.36 | 3651785.84 | -1820104.37 |
| 6Story-Story3 | EY 3 | Bottom | 58610.53 | 0 | -460718.03 | -17250898.36 | 5033939.94 | -1820104.37 |
| 6Story-Story3 | DCon1 | Top | 1158676.75 | 0 | 500.44 | 19256.17 | 9000326.86 | -44285111.86 |
| 6Story-Story3 | DCon1 | Bottom | 1205296.75 | 0 | 500.44 | 19256.17 | 9348475.54 | -46079981.86 |
| 6Story-Story3 | DCon2 | Top | 1000963.91 | 0 | 495.82 | 19095.88 | 7830634.67 | -38199675.94 |
| 6Story-Story3 | DCon2 | Bottom | 1040923.91 | 0 | 495.82 | 19095.88 | 8128847.2 | -39738135.94 |
| 6Story-Story3 | DCon3 Max | Top | 1244111.35 | -379258.14 | 24372.42 | 3954220.97 | 10937803.14 | -48025579.31 |
| 6Story-Story3 | DCon3 Max | Bottom | 1287401.35 | -379258.14 | 24372.42 | 3954220.97 | 11341572.37 | -50830018.73 |
| 6Story-Story3 | DCon3 Min | Top | 1232164.09 | -379258.14 | -26364.74 | 1594626.54 | 10657880.66 | -48403350.31 |
| 6Story-Story3 | DCon3 Min | Bottom | 1275454.09 | -379258.14 | -26364.74 | 1594626.54 | 10909438.39 | -51207789.72 |
| 6Story-Story3 | DCon4 Max | Top | 929429.66 | 379258.14 | 27377.73 | -1555626.85 | 6202098.06 | -34141689.65 |
| 6Story-Story3 | DCon4 Max | Bottom | 972719.66 | 379258.14 | 27377.73 | -1555626.85 | 6596851.39 | -34670580.23 |
| 6Story-Story3 | DCon4 Min | Top | 917482.41 | 379258.14 | -23359.44 | -3915221.27 | 5922175.58 | -34519460.64 |
| 6Story-Story3 | DCon4 Min | Bottom | 960772.41 | 379258.14 | -23359.44 | -3915221.27 | 6164717.4 | -35048351.22 |
| 6Story-Story3 | DCon5 Max | Top | 1139407.41 | 0 | -460211.54 | -17231398.52 | 12363156.97 | -42714105.37 |
| 6Story-Story3 | DCon5 Max | Bottom | 1182697.41 | 0 | -460211.54 | -17231398.52 | 14221292.87 | -44380770.37 |
| 6Story-Story3 | DCon5 Min | Top | 1127436.44 | 0 | -511153.63 | -19600683.25 | 12081775.2 | -43092624.34 |
| 6Story-Story3 | DCon5 Min | Bottom | 1170726.44 | 0 | -511153.63 | -19600683.25 | 13787084.83 | -44759289.34 |
| 6Story-Story3 | DCon6 Max | Top | 1034157.32 | 0 | 512166.61 | 19639682.94 | 4778203.52 | -39452415.61 |
| 6Story-Story3 | DCon6 Max | Bottom | 1077447.32 | 0 | 512166.61 | 19639682.94 | 3719204.95 | -41119080.61 |
| 6Story-Story3 | DCon6 Min | Top | 1022186.34 | 0 | 461224.53 | 17270398.21 | 4496821.75 | -39830934.58 |
| 6Story-Story3 | DCon6 Min | Bottom | 1065476.34 | 0 | 461224.53 | 17270398.21 | 3284996.91 | -41497599.58 |
| 6Story-Story3 | DCon7 Max | Top | 825415.47 | -379258.14 | 24151.9 | 3945724.64 | 7650857.7 | -32058837.54 |
| 6Story-Story3 | DCon7 Max | Bottom | 852055.47 | -379258.14 | 24151.9 | 3945724.64 | 7930413.51 | -34222251.96 |
| 6Story-Story3 | DCon7 Min | Top | 813468.22 | -379258.14 | -26585.27 | 1586130.22 | 7370935.22 | -32436608.53 |
| 6Story-Story3 | DCon7 Min | Bottom | 840108.22 | -379258.14 | -26585.27 | 1586130.22 | 7498279.52 | -34600022.95 |
| 6Story-Story3 | DCon8 Max | Top | 510733.78 | 379258.14 | 27157.2 | -1564123.17 | 2915152.62 | -18174947.87 |
| 6Story-Story3 | DCon8 Max | Bottom | 537373.78 | 379258.14 | 27157.2 | -1564123.17 | 3185692.52 | -18062813.45 |
| 6Story-Story3 | DCon8 Min | Top | 498786.53 | 379258.14 | -23579.97 | -3923717.59 | 2635230.14 | -18552718.87 |
| 6Story-Story3 | DCon8 Min | Bottom | 525426.53 | 379258.14 | -23579.97 | -3923717.59 | 2753558.54 | -18440584.45 |
| 6Story-Story3 | DCon9 Max | Top | 720711.53 | 0 | -460432.07 | -17239894.84 | 9076211.53 | -26747363.6 |
| 6Story-Story3 | DCon9 Max | Bottom | 747351.53 | 0 | -460432.07 | -17239894.84 | 10810134 | -27773003.6 |
| 6Story-Story3 | DCon9 Min | Top | 708740.56 | 0 | -511374.16 | -19609179.57 | 8794829.76 | -27125882.57 |
| 6Story-Story3 | DCon9 Min | Bottom | 735380.56 | 0 | -511374.16 | -19609179.57 | 10375925.97 | -28151522.57 |
| 6Story-Story3 | DCon10 Max | Top | 615461.44 | 0 | 511946.09 | 19631186.62 | 1491258.08 | -23485673.84 |
| 6Story-Story3 | DCon10 Max | Bottom | 642101.44 | 0 | 511946.09 | 19631186.62 | 308046.08 | -24511313.84 |
| 6Story-Story3 | DCon10 Min | Top | 603490.47 | 0 | 461004 | 17261901.89 | 1209876.31 | -23864192.81 |
| 6Story-Story3 | DCon10 Min | Bottom | 630130.47 | 0 | 461004 | 17261901.89 | -126161.95 | -24889832.81 |
| 6Story-Story2 | Dead | Top | 1043926.25 | 0 | 357.46 | 13754.41 | 8049982.53 | -39959772.75 |
| 6Story-Story2 | Dead | Bottom | 1077226.25 | 0 | 357.46 | 13754.41 | 8298660.16 | -41241822.75 |
| 6Story-Story2 | Live | Top | 4882.76 | 0 | 41.8 | 1619.12 | 72417.6 | -150630.4 |
| 6Story-Story2 | Live | Bottom | 4882.76 | 0 | 41.8 | 1619.12 | 72292.21 | -150630.4 |
| 6Story-Story2 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story2 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story2 | EX1 1 | Top | 157340.84 | -421895.16 | -1502.65 | 3074701.53 | 2372360.49 | -8079719.25 |
| 6Story-Story2 | EX1 1 | Bottom | 157340.84 | -421895.16 | -1502.65 | 3074701.53 | 2376868.44 | -9345404.72 |
| 6Story-Story2 | EX1 2 | Top | 163314.47 | -421895.16 | 23865.93 | 4286476.5 | 2156293.5 | -8268604.75 |
| 6Story-Story2 | EX1 2 | Bottom | 163314.47 | -421895.16 | 23865.93 | 4286476.5 | 2084695.7 | -9534290.21 |
| 6Story-Story2 | EX1 3 | Top | 151367.22 | -421895.16 | -26871.23 | 1862926.55 | 2588427.48 | -7890833.75 |
| 6Story-Story2 | EX1 3 | Bottom | 151367.22 | -421895.16 | -26871.23 | 1862926.55 | 2669041.19 | -9156519.22 |
| 6Story-Story2 | EY 1 | Top | 52625.05 | 0 | -529877.63 | -20117549.88 | 5251043.96 | -1630844.88 |
| 6Story-Story2 | EY 1 | Bottom | 52625.05 | 0 | -529877.63 | -20117549.88 | 6840676.84 | -1630844.88 |
| 6Story-Story2 | EY 2 | Top | 46639.56 | 0 | -555348.67 | -21334958.66 | 5468147.98 | -1441585.4 |
| 6Story-Story2 | EY 2 | Bottom | 46639.56 | 0 | -555348.67 | -21334958.66 | 7134193.99 | -1441585.4 |
| 6Story-Story2 | EY 3 | Top | 58610.53 | 0 | -504406.58 | -18900141.1 | 5033939.94 | -1820104.37 |
| 6Story-Story2 | EY 3 | Bottom | 58610.53 | 0 | -504406.58 | -18900141.1 | 6547159.7 | -1820104.37 |
| 6Story-Story2 | DCon1 | Top | 1461496.75 | 0 | 500.44 | 19256.17 | 11269975.54 | -55943681.86 |
| 6Story-Story2 | DCon1 | Bottom | 1508116.75 | 0 | 500.44 | 19256.17 | 11618124.22 | -57738551.86 |
| 6Story-Story2 | DCon2 | Top | 1260523.91 | 0 | 495.82 | 19095.88 | 9775847.2 | -48192735.94 |
| 6Story-Story2 | DCon2 | Bottom | 1300483.91 | 0 | 495.82 | 19095.88 | 10074059.73 | -49731195.94 |
| 6Story-Story2 | DCon3 Max | Top | 1525301.35 | -421895.16 | 24372.42 | 4305976.35 | 13125822.37 | -59989168.73 |
| 6Story-Story2 | DCon3 Max | Bottom | 1568591.35 | -421895.16 | 24372.42 | 4305976.35 | 13529591.6 | -62921519.19 |
| 6Story-Story2 | DCon3 Min | Top | 1513354.09 | -421895.16 | -26364.74 | 1882426.4 | 12693688.39 | -60366939.72 |
| 6Story-Story2 | DCon3 Min | Bottom | 1556644.09 | -421895.16 | -26364.74 | 1882426.4 | 12945246.12 | -63299290.19 |
| 6Story-Story2 | DCon4 Max | Top | 1210619.66 | 421895.16 | 27377.73 | -1843426.71 | 8381101.39 | -43829730.23 |
| 6Story-Story2 | DCon4 Max | Bottom | 1253909.66 | 421895.16 | 27377.73 | -1843426.71 | 8775854.71 | -44230709.76 |
| 6Story-Story2 | DCon4 Min | Top | 1198672.41 | 421895.16 | -23359.44 | -4266976.65 | 7948967.4 | -44207501.22 |
| 6Story-Story2 | DCon4 Min | Bottom | 1241962.4 | 421895.16 | -23359.44 | -4266976.65 | 8191509.23 | -44608480.76 |
| 6Story-Story2 | DCon5 Max | Top | 1420597.41 | 0 | -503900.09 | -18880641.26 | 16005542.87 | -53539920.37 |
| 6Story-Story2 | DCon5 Max | Bottom | 1463887.41 | 0 | -503900.09 | -18880641.26 | 17994744.41 | -55206585.37 |
| 6Story-Story2 | DCon5 Min | Top | 1408626.44 | 0 | -554842.18 | -21315458.81 | 15571334.83 | -53918439.34 |
| 6Story-Story2 | DCon5 Min | Bottom | 1451916.44 | 0 | -554842.18 | -21315458.81 | 17407710.11 | -55585104.34 |
| 6Story-Story2 | DCon6 Max | Top | 1315347.32 | 0 | 555855.16 | 21354458.51 | 5503454.95 | -50278230.61 |
| 6Story-Story2 | DCon6 Max | Bottom | 1358637.32 | 0 | 555855.16 | 21354458.51 | 4313390.72 | -51944895.61 |
| 6Story-Story2 | DCon6 Min | Top | 1303376.34 | 0 | 504913.08 | 18919640.95 | 5069246.91 | -50656749.58 |
| 6Story-Story2 | DCon6 Min | Bottom | 1346666.34 | 0 | 504913.08 | 18919640.95 | 3726356.42 | -52323414.58 |
| 6Story-Story2 | DCon7 Max | Top | 998455.47 | -421895.16 | 24151.9 | 4297480.02 | 9028413.51 | -39858651.96 |
| 6Story-Story2 | DCon7 Max | Bottom | 1025095.47 | -421895.16 | 24151.9 | 4297480.02 | 9307969.31 | -42149977.42 |
| 6Story-Story2 | DCon7 Min | Top | 986508.22 | -421895.16 | -26585.27 | 1873930.08 | 8596279.52 | -40236422.95 |
| 6Story-Story2 | DCon7 Min | Bottom | 1013148.22 | -421895.16 | -26585.27 | 1873930.08 | 8723623.83 | -42527748.42 |
| 6Story-Story2 | DCon8 Max | Top | 683773.78 | 421895.16 | 27157.2 | -1851923.03 | 4283692.52 | -23699213.45 |
| 6Story-Story2 | DCon8 Max | Bottom | 710413.78 | 421895.16 | 27157.2 | -1851923.03 | 4554232.43 | -23459167.99 |
| 6Story-Story2 | DCon8 Min | Top | 671826.53 | 421895.16 | -23579.97 | -4275472.97 | 3851558.54 | -24076984.45 |
| 6Story-Story2 | DCon8 Min | Bottom | 698466.53 | 421895.16 | -23579.97 | -4275472.97 | 3969886.94 | -23836938.98 |
| 6Story-Story2 | DCon9 Max | Top | 893751.53 | 0 | -504120.62 | -18889137.58 | 11908134 | -33409403.6 |
| 6Story-Story2 | DCon9 Max | Bottom | 920391.53 | 0 | -504120.62 | -18889137.58 | 13773122.12 | -34435043.6 |
| 6Story-Story2 | DCon9 Min | Top | 881780.56 | 0 | -555062.71 | -21323955.14 | 11473925.97 | -33787922.57 |
| 6Story-Story2 | DCon9 Min | Bottom | 908420.56 | 0 | -555062.71 | -21323955.14 | 13186087.82 | -34813562.57 |
| 6Story-Story2 | DCon10 Max | Top | 788501.44 | 0 | 555634.64 | 21345962.19 | 1406046.08 | -30147713.84 |
| 6Story-Story2 | DCon10 Max | Bottom | 815141.44 | 0 | 555634.64 | 21345962.19 | 91768.43 | -31173353.84 |
| 6Story-Story2 | DCon10 Min | Top | 776530.47 | 0 | 504692.55 | 18911144.63 | 971838.05 | -30526232.81 |
| 6Story-Story2 | DCon10 Min | Bottom | 803170.47 | 0 | 504692.55 | 18911144.63 | -495265.87 | -31551872.81 |
| 6Story-Story1 | Dead | Top | 1260226.25 | 0 | 357.46 | 13754.41 | 9671160.16 | -48287322.75 |
| 6Story-Story1 | Dead | Bottom | 1293526.25 | 0 | 357.46 | 13754.41 | 9919837.79 | -49569372.75 |
| 6Story-Story1 | Live | Top | 4882.76 | 0 | 41.8 | 1619.12 | 72292.21 | -150630.4 |
| 6Story-Story1 | Live | Bottom | 4882.76 | 0 | 41.8 | 1619.12 | 72166.82 | -150630.4 |
| 6Story-Story1 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story1 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 6Story-Story1 | EX1 1 | Top | 157340.84 | -442734.51 | -1502.65 | 3230996.67 | 2376868.44 | -9345404.72 |
| 6Story-Story1 | EX1 1 | Bottom | 157340.84 | -442734.51 | -1502.65 | 3230996.67 | 2381376.4 | -10673608.24 |
| 6Story-Story1 | EX1 2 | Top | 163314.47 | -442734.51 | 23865.93 | 4458401.16 | 2084695.7 | -9534290.21 |
| 6Story-Story1 | EX1 2 | Bottom | 163314.47 | -442734.51 | 23865.93 | 4458401.16 | 2013097.9 | -10862493.74 |
| 6Story-Story1 | EX1 3 | Top | 151367.22 | -442734.51 | -26871.23 | 2003592.19 | 2669041.19 | -9156519.22 |
| 6Story-Story1 | EX1 3 | Bottom | 151367.22 | -442734.51 | -26871.23 | 2003592.19 | 2749654.89 | -10484722.74 |
| 6Story-Story1 | EY 1 | Top | 52625.05 | 0 | -551600.48 | -20953879.81 | 6840676.84 | -1630844.88 |
| 6Story-Story1 | EY 1 | Bottom | 52625.05 | 0 | -551600.48 | -20953879.81 | 8495478.29 | -1630844.88 |
| 6Story-Story1 | EY 2 | Top | 46639.56 | 0 | -577071.53 | -22187580.73 | 7134193.99 | -1441585.4 |
| 6Story-Story1 | EY 2 | Bottom | 46639.56 | 0 | -577071.53 | -22187580.73 | 8865408.57 | -1441585.4 |
| 6Story-Story1 | EY 3 | Top | 58610.53 | 0 | -526129.44 | -19720178.88 | 6547159.7 | -1820104.37 |
| 6Story-Story1 | EY 3 | Bottom | 58610.53 | 0 | -526129.44 | -19720178.88 | 8125548.01 | -1820104.37 |
| 6Story-Story1 | DCon1 | Top | 1764316.75 | 0 | 500.44 | 19256.17 | 13539624.22 | -67602251.86 |
| 6Story-Story1 | DCon1 | Bottom | 1810936.75 | 0 | 500.44 | 19256.17 | 13887772.9 | -69397121.86 |
| 6Story-Story1 | DCon2 | Top | 1520083.91 | 0 | 495.82 | 19095.88 | 11721059.73 | -58185795.94 |
| 6Story-Story1 | DCon2 | Bottom | 1560043.91 | 0 | 495.82 | 19095.88 | 12019272.25 | -59724255.94 |
| 6Story-Story1 | DCon3 Max | Top | 1806491.35 | -442734.51 | 24372.42 | 4477901.01 | 15313841.6 | -72080669.19 |
| 6Story-Story1 | DCon3 Max | Bottom | 1849781.35 | -442734.51 | 24372.42 | 4477901.01 | 15717610.83 | -75075537.72 |
| 6Story-Story1 | DCon3 Min | Top | 1794544.09 | -442734.51 | -26364.74 | 2023092.03 | 14729496.12 | -72458440.19 |
| 6Story-Story1 | DCon3 Min | Bottom | 1837834.09 | -442734.51 | -26364.74 | 2023092.03 | 14981053.85 | -75453308.71 |
| 6Story-Story1 | DCon4 Max | Top | 1491809.66 | 442734.51 | 27377.73 | -1984092.34 | 10560104.71 | -53389859.76 |
| 6Story-Story1 | DCon4 Max | Bottom | 1535099.66 | 442734.51 | 27377.73 | -1984092.34 | 10954858.04 | -53728321.24 |
| 6Story-Story1 | DCon4 Min | Top | 1479862.4 | 442734.51 | -23359.44 | -4438901.31 | 9975759.23 | -53767630.76 |
| 6Story-Story1 | DCon4 Min | Bottom | 1523152.4 | 442734.51 | -23359.44 | -4438901.31 | 10218301.05 | -54106092.23 |
| 6Story-Story1 | DCon5 Max | Top | 1701787.41 | 0 | -525622.95 | -19700679.04 | 19778994.41 | -64365735.37 |
| 6Story-Story1 | DCon5 Max | Bottom | 1745077.41 | 0 | -525622.95 | -19700679.04 | 21833364.52 | -66032400.37 |
| 6Story-Story1 | DCon5 Min | Top | 1689816.44 | 0 | -576565.04 | -22168080.88 | 19191960.11 | -64744254.34 |
| 6Story-Story1 | DCon5 Min | Bottom | 1733106.44 | 0 | -576565.04 | -22168080.88 | 21093503.96 | -66410919.34 |
| 6Story-Story1 | DCon6 Max | Top | 1596537.32 | 0 | 577578.02 | 22207080.57 | 6097640.72 | -61104045.61 |
| 6Story-Story1 | DCon6 Max | Bottom | 1639827.32 | 0 | 577578.02 | 22207080.57 | 4842407.93 | -62770710.61 |
| 6Story-Story1 | DCon6 Min | Top | 1584566.34 | 0 | 526635.93 | 19739678.73 | 5510606.42 | -61482564.58 |
| 6Story-Story1 | DCon6 Min | Bottom | 1627856.34 | 0 | 526635.93 | 19739678.73 | 4102547.37 | -63149229.58 |
| 6Story-Story1 | DCon7 Max | Top | 1171495.47 | -442734.51 | 24151.9 | 4469404.68 | 10405969.31 | -47786377.42 |
| 6Story-Story1 | DCon7 Max | Bottom | 1198135.47 | -442734.51 | 24151.9 | 4469404.68 | 10685525.12 | -50140220.95 |
| 6Story-Story1 | DCon7 Min | Top | 1159548.22 | -442734.51 | -26585.27 | 2014595.71 | 9821623.83 | -48164148.42 |
| 6Story-Story1 | DCon7 Min | Bottom | 1186188.22 | -442734.51 | -26585.27 | 2014595.71 | 9948968.13 | -50517991.94 |
| 6Story-Story1 | DCon8 Max | Top | 856813.78 | 442734.51 | 27157.2 | -1992588.66 | 5652232.43 | -29095567.99 |
| 6Story-Story1 | DCon8 Max | Bottom | 883453.78 | 442734.51 | 27157.2 | -1992588.66 | 5922772.33 | -28793004.46 |
| 6Story-Story1 | DCon8 Min | Top | 844866.53 | 442734.51 | -23579.97 | -4447397.63 | 5067886.94 | -29473338.98 |
| 6Story-Story1 | DCon8 Min | Bottom | 871506.53 | 442734.51 | -23579.97 | -4447397.63 | 5186215.34 | -29170775.46 |
| 6Story-Story1 | DCon9 Max | Top | 1066791.53 | 0 | -525843.47 | -19709175.36 | 14871122.12 | -40071443.6 |
| 6Story-Story1 | DCon9 Max | Bottom | 1093431.53 | 0 | -525843.47 | -19709175.36 | 16801278.81 | -41097083.6 |
| 6Story-Story1 | DCon9 Min | Top | 1054820.56 | 0 | -576785.56 | -22176577.2 | 14284087.82 | -40449962.57 |
| 6Story-Story1 | DCon9 Min | Bottom | 1081460.56 | 0 | -576785.56 | -22176577.2 | 16061418.24 | -41475602.57 |
| 6Story-Story1 | DCon10 Max | Top | 961541.44 | 0 | 577357.49 | 22198584.25 | 1189768.43 | -36809753.84 |
| 6Story-Story1 | DCon10 Max | Bottom | 988181.44 | 0 | 577357.49 | 22198584.25 | -189677.78 | -37835393.84 |
| 6Story-Story1 | DCon10 Min | Top | 949570.47 | 0 | 526415.4 | 19731182.41 | 602734.13 | -37188272.81 |
| 6Story-Story1 | DCon10 Min | Bottom | 976210.47 | 0 | 526415.4 | 19731182.41 | -929538.34 | -38213912.81 |
| 3Story-Story3 | Dead | Top | 212068.9 | 0 | 168.86 | 202.09 | 1809569.35 | -1814155.76 |
| 3Story-Story3 | Dead | Bottom | 233968.9 | 0 | 168.86 | 202.09 | 1973312.77 | -1978405.76 |
| 3Story-Story3 | Live | Top | 4069.47 | 0 | -4.19 | -139.37 | 60842.17 | -61493.23 |
| 3Story-Story3 | Live | Bottom | 4069.47 | 0 | -4.19 | -139.37 | 60854.75 | -61493.23 |
| 3Story-Story3 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 3Story-Story3 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 3Story-Story3 | EX1 1 | Top | -192851.05 | -107987.06 | 245.12 | 777869.39 | -2888186.25 | 2822192.64 |
| 3Story-Story3 | EX1 1 | Bottom | -192851.05 | -107987.06 | 245.12 | 777869.39 | -2888921.6 | 2498231.46 |
| 3Story-Story3 | EX1 2 | Top | -195442.72 | -107987.06 | -20711.56 | 639175.24 | -2924926.88 | 2859283.02 |
| 3Story-Story3 | EX1 2 | Bottom | -195442.72 | -107987.06 | -20711.56 | 639175.24 | -2862792.2 | 2535321.84 |
| 3Story-Story3 | EX1 3 | Top | -190259.38 | -107987.06 | 21201.79 | 916563.53 | -2851445.61 | 2785102.27 |
| 3Story-Story3 | EX1 3 | Bottom | -190259.38 | -107987.06 | 21201.79 | 916563.53 | -2915050.99 | 2461141.09 |
| 3Story-Story3 | EY 1 | Top | 49672.63 | 0 | -251955.14 | -2067039.25 | 797216.56 | -753689.62 |
| 3Story-Story3 | EY 1 | Bottom | 49672.63 | 0 | -251955.14 | -2067039.25 | 1553081.99 | -753689.62 |
| 3Story-Story3 | EY 2 | Top | 52279.14 | 0 | -230869.02 | -1927310.34 | 834177.38 | -790992.48 |
| 3Story-Story3 | EY 2 | Bottom | 52279.14 | 0 | -230869.02 | -1927310.34 | 1526784.44 | -790992.48 |
| 3Story-Story3 | EY 3 | Top | 47066.12 | 0 | -273041.27 | -2206768.16 | 760255.73 | -716386.76 |
| 3Story-Story3 | EY 3 | Bottom | 47066.12 | 0 | -273041.27 | -2206768.16 | 1579379.54 | -716386.76 |
| 3Story-Story3 | DCon1 | Top | 296896.47 | 0 | 236.4 | 282.92 | 2533397.08 | -2539818.07 |
| 3Story-Story3 | DCon1 | Bottom | 327556.47 | 0 | 236.4 | 282.92 | 2762637.88 | -2769768.07 |
| 3Story-Story3 | DCon2 | Top | 260993.84 | 0 | 195.92 | 19.52 | 2268830.69 | -2275376.09 |
| 3Story-Story3 | DCon2 | Bottom | 287273.84 | 0 | 195.92 | 19.52 | 2465342.93 | -2472476.09 |
| 3Story-Story3 | DCon3 Max | Top | 89499.67 | -107987.06 | 21417.12 | 916686.88 | -438163.29 | 439387.29 |
| 3Story-Story3 | DCon3 Max | Bottom | 117969.67 | -107987.06 | 21417.12 | 916686.88 | -236630.84 | -98098.89 |
| 3Story-Story3 | DCon3 Min | Top | 84316.32 | -107987.06 | -20496.24 | 639298.58 | -511644.56 | 365206.54 |
| 3Story-Story3 | DCon3 Min | Bottom | 112786.32 | -107987.06 | -20496.24 | 639298.58 | -288889.64 | -172279.64 |
| 3Story-Story3 | DCon4 Max | Top | 475201.77 | 107987.06 | 20926.88 | -639051.89 | 5338209.2 | -5204997.99 |
| 3Story-Story3 | DCon4 Max | Bottom | 503671.77 | 107987.06 | 20926.88 | -639051.89 | 5541212.35 | -5094561.81 |
| 3Story-Story3 | DCon4 Min | Top | 470018.42 | 107987.06 | -20986.47 | -916440.19 | 5264727.93 | -5279178.74 |
| 3Story-Story3 | DCon4 Min | Bottom | 498488.42 | 107987.06 | -20986.47 | -916440.19 | 5488953.56 | -5168742.56 |
| 3Story-Story3 | DCon5 Max | Top | 332038.18 | 0 | -230653.7 | -1927186.99 | 3247459.7 | -3136282.48 |
| 3Story-Story3 | DCon5 Max | Bottom | 360508.18 | 0 | -230653.7 | -1927186.99 | 4205540.9 | -3349807.48 |
| 3Story-Story3 | DCon5 Min | Top | 326825.17 | 0 | -272825.95 | -2206644.81 | 3173538.05 | -3210888.21 |
| 3Story-Story3 | DCon5 Min | Bottom | 355295.17 | 0 | -272825.95 | -2206644.81 | 4152945.79 | -3424413.21 |
| 3Story-Story3 | DCon6 Max | Top | 232692.93 | 0 | 273256.59 | 2206891.51 | 1653026.59 | -1628903.24 |
| 3Story-Story3 | DCon6 Max | Bottom | 261162.93 | 0 | 273256.59 | 2206891.51 | 1099376.92 | -1842428.24 |
| 3Story-Story3 | DCon6 Min | Top | 227479.91 | 0 | 231084.34 | 1927433.69 | 1579104.94 | -1703508.96 |
| 3Story-Story3 | DCon6 Min | Bottom | 255949.91 | 0 | 231084.34 | 1927433.69 | 1046781.82 | -1917033.96 |
| 3Story-Story3 | DCon7 Max | Top | -20604.25 | -107987.06 | 21336.88 | 916725.2 | -1403790.13 | 1407958.4 |
| 3Story-Story3 | DCon7 Max | Bottom | -3084.25 | -107987.06 | 21336.88 | 916725.2 | -1284141.98 | 952597.22 |
| 3Story-Story3 | DCon7 Min | Top | -25787.6 | -107987.06 | -20576.47 | 639336.91 | -1477271.4 | 1333777.66 |
| 3Story-Story3 | DCon7 Min | Bottom | -8267.6 | -107987.06 | -20576.47 | 639336.91 | -1336400.78 | 878416.48 |
| 3Story-Story3 | DCon8 Max | Top | 365097.85 | 107987.06 | 20846.65 | -639013.57 | 4372582.36 | -4236426.88 |
| 3Story-Story3 | DCon8 Max | Bottom | 382617.85 | 107987.06 | 20846.65 | -639013.57 | 4493701.21 | -4043865.7 |
| 3Story-Story3 | DCon8 Min | Top | 359914.5 | 107987.06 | -21066.71 | -916401.86 | 4299101.09 | -4310607.63 |
| 3Story-Story3 | DCon8 Min | Bottom | 377434.5 | 107987.06 | -21066.71 | -916401.86 | 4441442.42 | -4118046.45 |
| 3Story-Story3 | DCon9 Max | Top | 221934.26 | 0 | -230733.93 | -1927148.67 | 2281832.86 | -2167711.37 |
| 3Story-Story3 | DCon9 Max | Bottom | 239454.26 | 0 | -230733.93 | -1927148.67 | 3158029.76 | -2299111.37 |
| 3Story-Story3 | DCon9 Min | Top | 216721.24 | 0 | -272906.18 | -2206606.49 | 2207911.21 | -2242317.1 |
| 3Story-Story3 | DCon9 Min | Bottom | 234241.24 | 0 | -272906.18 | -2206606.49 | 3105434.65 | -2373717.1 |
| 3Story-Story3 | DCon10 Max | Top | 122589 | 0 | 273176.36 | 2206929.83 | 687399.74 | -660332.13 |
| 3Story-Story3 | DCon10 Max | Bottom | 140109 | 0 | 273176.36 | 2206929.83 | 51865.78 | -791732.13 |
| 3Story-Story3 | DCon10 Min | Top | 117375.99 | 0 | 231004.11 | 1927472.01 | 613478.09 | -734937.85 |
| 3Story-Story3 | DCon10 Min | Bottom | 134895.99 | 0 | 231004.11 | 1927472.01 | -729.32 | -866337.85 |
| 3Story-Story2 | Dead | Top | 416968.9 | 0 | 168.86 | 202.09 | 3345812.77 | -3350905.76 |
| 3Story-Story2 | Dead | Bottom | 438868.9 | 0 | 168.86 | 202.09 | 3509556.2 | -3515155.76 |
| 3Story-Story2 | Live | Top | 4069.47 | 0 | -4.19 | -139.37 | 60854.75 | -61493.23 |
| 3Story-Story2 | Live | Bottom | 4069.47 | 0 | -4.19 | -139.37 | 60867.34 | -61493.23 |
| 3Story-Story2 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 3Story-Story2 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 3Story-Story2 | EX1 1 | Top | -192851.05 | -181474.7 | 245.12 | 1329026.66 | -2888921.6 | 2498231.46 |
| 3Story-Story2 | EX1 1 | Bottom | -192851.05 | -181474.7 | 245.12 | 1329026.66 | -2889656.95 | 1953807.38 |
| 3Story-Story2 | EX1 2 | Top | -195442.72 | -181474.7 | -20711.56 | 1245448.24 | -2862792.2 | 2535321.84 |
| 3Story-Story2 | EX1 2 | Bottom | -195442.72 | -181474.7 | -20711.56 | 1245448.24 | -2800657.52 | 1990897.75 |
| 3Story-Story2 | EX1 3 | Top | -190259.38 | -181474.7 | 21201.79 | 1412605.08 | -2915050.99 | 2461141.09 |
| 3Story-Story2 | EX1 3 | Bottom | -190259.38 | -181474.7 | 21201.79 | 1412605.08 | -2978656.37 | 1916717 |
| 3Story-Story2 | EY 1 | Top | 49672.63 | 0 | -326145.43 | -2623466.42 | 1553081.99 | -753689.62 |
| 3Story-Story2 | EY 1 | Bottom | 49672.63 | 0 | -326145.43 | -2623466.42 | 2531518.29 | -753689.62 |
| 3Story-Story2 | EY 2 | Top | 52279.14 | 0 | -305059.31 | -2539380.23 | 1526784.44 | -790992.48 |
| 3Story-Story2 | EY 2 | Bottom | 52279.14 | 0 | -305059.31 | -2539380.23 | 2441962.36 | -790992.48 |
| 3Story-Story2 | EY 3 | Top | 47066.12 | 0 | -347231.56 | -2707552.62 | 1579379.54 | -716386.76 |
| 3Story-Story2 | EY 3 | Bottom | 47066.12 | 0 | -347231.56 | -2707552.62 | 2621074.22 | -716386.76 |
| 3Story-Story2 | DCon1 | Top | 583756.47 | 0 | 236.4 | 282.92 | 4684137.88 | -4691268.07 |
| 3Story-Story2 | DCon1 | Bottom | 614416.47 | 0 | 236.4 | 282.92 | 4913378.67 | -4921218.07 |
| 3Story-Story2 | DCon2 | Top | 506873.84 | 0 | 195.92 | 19.52 | 4112342.93 | -4119476.09 |
| 3Story-Story2 | DCon2 | Bottom | 533153.84 | 0 | 195.92 | 19.52 | 4308855.17 | -4316576.09 |
| 3Story-Story2 | DCon3 Max | Top | 355869.67 | -181474.7 | 21417.12 | 1412728.42 | 1547619.16 | -1882348.89 |
| 3Story-Story2 | DCon3 Max | Bottom | 384339.67 | -181474.7 | 21417.12 | 1412728.42 | 1822632.87 | -2640297.97 |
| 3Story-Story2 | DCon3 Min | Top | 350686.32 | -181474.7 | -20496.24 | 1245571.58 | 1495360.36 | -1956529.64 |
| 3Story-Story2 | DCon3 Min | Bottom | 379156.32 | -181474.7 | -20496.24 | 1245571.58 | 1644634.02 | -2714478.72 |
| 3Story-Story2 | DCon4 Max | Top | 741571.77 | 181474.7 | 20926.88 | -1245324.89 | 7325462.35 | -6878811.81 |
| 3Story-Story2 | DCon4 Max | Bottom | 770041.77 | 181474.7 | 20926.88 | -1245324.89 | 7601946.76 | -6547912.73 |
| 3Story-Story2 | DCon4 Min | Top | 736388.42 | 181474.7 | -20986.47 | -1412481.73 | 7273203.56 | -6952992.56 |
| 3Story-Story2 | DCon4 Min | Bottom | 764858.42 | 181474.7 | -20986.47 | -1412481.73 | 7423947.91 | -6622093.47 |
| 3Story-Story2 | DCon5 Max | Top | 598408.18 | 0 | -304843.99 | -2539256.88 | 5989790.9 | -5134057.48 |
| 3Story-Story2 | DCon5 Max | Bottom | 626878.18 | 0 | -304843.99 | -2539256.88 | 7244364.61 | -5347582.48 |
| 3Story-Story2 | DCon5 Min | Top | 593195.17 | 0 | -347016.24 | -2707429.27 | 5937195.79 | -5208663.21 |
| 3Story-Story2 | DCon5 Min | Bottom | 621665.17 | 0 | -347016.24 | -2707429.27 | 7065252.75 | -5422188.21 |
| 3Story-Story2 | DCon6 Max | Top | 499062.93 | 0 | 347446.88 | 2707675.96 | 2883626.92 | -3626678.24 |
| 3Story-Story2 | DCon6 Max | Bottom | 527532.93 | 0 | 347446.88 | 2707675.96 | 2181328.03 | -3840203.24 |
| 3Story-Story2 | DCon6 Min | Top | 493849.91 | 0 | 305274.63 | 2539503.58 | 2831031.82 | -3701283.96 |
| 3Story-Story2 | DCon6 Min | Bottom | 522319.91 | 0 | 305274.63 | 2539503.58 | 2002216.17 | -3914808.96 |
| 3Story-Story2 | DCon7 Max | Top | 143315.75 | -181474.7 | 21336.88 | 1412766.75 | -186141.98 | -145402.78 |
| 3Story-Story2 | DCon7 Max | Bottom | 160835.75 | -181474.7 | 21336.88 | 1412766.75 | 6987.44 | -821226.86 |
| 3Story-Story2 | DCon7 Min | Top | 138132.4 | -181474.7 | -20576.47 | 1245609.91 | -238400.78 | -219583.52 |
| 3Story-Story2 | DCon7 Min | Bottom | 155652.4 | -181474.7 | -20576.47 | 1245609.91 | -171011.42 | -895407.61 |
| 3Story-Story2 | DCon8 Max | Top | 529017.85 | 181474.7 | 20846.65 | -1245286.56 | 5591701.21 | -5141865.7 |
| 3Story-Story2 | DCon8 Max | Bottom | 546537.85 | 181474.7 | 20846.65 | -1245286.56 | 5786301.33 | -4728841.61 |
| 3Story-Story2 | DCon8 Min | Top | 523834.5 | 181474.7 | -21066.71 | -1412443.41 | 5539442.42 | -5216046.45 |
| 3Story-Story2 | DCon8 Min | Bottom | 541354.5 | 181474.7 | -21066.71 | -1412443.41 | 5608302.48 | -4803022.36 |
| 3Story-Story2 | DCon9 Max | Top | 385854.26 | 0 | -304924.22 | -2539218.56 | 4256029.76 | -3397111.37 |
| 3Story-Story2 | DCon9 Max | Bottom | 403374.26 | 0 | -304924.22 | -2539218.56 | 5428719.17 | -3528511.37 |
| 3Story-Story2 | DCon9 Min | Top | 380641.24 | 0 | -347096.47 | -2707390.95 | 4203434.65 | -3471717.1 |
| 3Story-Story2 | DCon9 Min | Bottom | 398161.24 | 0 | -347096.47 | -2707390.95 | 5249607.32 | -3603117.1 |
| 3Story-Story2 | DCon10 Max | Top | 286509 | 0 | 347366.65 | 2707714.29 | 1149865.78 | -1889732.13 |
| 3Story-Story2 | DCon10 Max | Bottom | 304029 | 0 | 347366.65 | 2707714.29 | 365682.59 | -2021132.13 |
| 3Story-Story2 | DCon10 Min | Top | 281295.99 | 0 | 305194.4 | 2539541.9 | 1097270.68 | -1964337.85 |
| 3Story-Story2 | DCon10 Min | Bottom | 298815.99 | 0 | 305194.4 | 2539541.9 | 186570.74 | -2095737.85 |
| 3Story-Story1 | Dead | Top | 621868.9 | 0 | 168.86 | 202.09 | 4882056.2 | -4887655.76 |
| 3Story-Story1 | Dead | Bottom | 643768.9 | 0 | 168.86 | 202.09 | 5045799.62 | -5051905.77 |
| 3Story-Story1 | Live | Top | 4069.47 | 0 | -4.19 | -139.37 | 60867.34 | -61493.23 |
| 3Story-Story1 | Live | Bottom | 4069.47 | 0 | -4.19 | -139.37 | 60879.92 | -61493.23 |
| 3Story-Story1 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 3Story-Story1 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 3Story-Story1 | EX1 1 | Top | -192851.05 | -217392.66 | 245.12 | 1598411.38 | -2889656.95 | 1953807.38 |
| 3Story-Story1 | EX1 1 | Bottom | -192851.05 | -217392.66 | 245.12 | 1598411.38 | -2890392.3 | 1301629.4 |
| 3Story-Story1 | EX1 2 | Top | -195442.72 | -217392.66 | -20711.56 | 1541771.43 | -2800657.52 | 1990897.75 |
| 3Story-Story1 | EX1 2 | Bottom | -195442.72 | -217392.66 | -20711.56 | 1541771.43 | -2738522.84 | 1338719.77 |
| 3Story-Story1 | EX1 3 | Top | -190259.38 | -217392.66 | 21201.79 | 1655051.33 | -2978656.37 | 1916717 |
| 3Story-Story1 | EX1 3 | Bottom | -190259.38 | -217392.66 | 21201.79 | 1655051.33 | -3042261.75 | 1264539.02 |
| 3Story-Story1 | EY 1 | Top | 49672.63 | 0 | -363034.39 | -2900133.58 | 2531518.29 | -753689.62 |
| 3Story-Story1 | EY 1 | Bottom | 49672.63 | 0 | -363034.39 | -2900133.58 | 3620621.45 | -753689.62 |
| 3Story-Story1 | EY 2 | Top | 52279.14 | 0 | -341948.26 | -2843714.11 | 2441962.36 | -790992.48 |
| 3Story-Story1 | EY 2 | Bottom | 52279.14 | 0 | -341948.26 | -2843714.11 | 3467807.15 | -790992.48 |
| 3Story-Story1 | EY 3 | Top | 47066.12 | 0 | -384120.51 | -2956553.06 | 2621074.22 | -716386.76 |
| 3Story-Story1 | EY 3 | Bottom | 47066.12 | 0 | -384120.51 | -2956553.06 | 3773435.76 | -716386.76 |
| 3Story-Story1 | DCon1 | Top | 870616.47 | 0 | 236.4 | 282.92 | 6834878.67 | -6842718.07 |
| 3Story-Story1 | DCon1 | Bottom | 901276.47 | 0 | 236.4 | 282.92 | 7064119.47 | -7072668.07 |
| 3Story-Story1 | DCon2 | Top | 752753.84 | 0 | 195.92 | 19.52 | 5955855.17 | -5963576.09 |
| 3Story-Story1 | DCon2 | Bottom | 779033.84 | 0 | 195.92 | 19.52 | 6152367.42 | -6160676.09 |
| 3Story-Story1 | DCon3 Max | Top | 622239.67 | -217392.66 | 21417.12 | 1655174.68 | 3606882.87 | -4424547.97 |
| 3Story-Story1 | DCon3 Max | Bottom | 650709.67 | -217392.66 | 21417.12 | 1655174.68 | 3881896.58 | -5290250.95 |
| 3Story-Story1 | DCon3 Min | Top | 617056.32 | -217392.66 | -20496.24 | 1541894.78 | 3428884.02 | -4498728.72 |
| 3Story-Story1 | DCon3 Min | Bottom | 645526.32 | -217392.66 | -20496.24 | 1541894.78 | 3578157.67 | -5364431.7 |
| 3Story-Story1 | DCon4 Max | Top | 1007941.77 | 217392.66 | 20926.88 | -1541648.08 | 9386196.76 | -8332162.73 |
| 3Story-Story1 | DCon4 Max | Bottom | 1036411.77 | 217392.66 | 20926.88 | -1541648.08 | 9662681.18 | -7893509.75 |
| 3Story-Story1 | DCon4 Min | Top | 1002758.42 | 217392.66 | -20986.47 | -1654927.98 | 9208197.91 | -8406343.47 |
| 3Story-Story1 | DCon4 Min | Bottom | 1031228.42 | 217392.66 | -20986.47 | -1654927.98 | 9358942.27 | -7967690.5 |
| 3Story-Story1 | DCon5 Max | Top | 864778.18 | 0 | -341732.94 | -2843590.76 | 9028614.61 | -7131832.48 |
| 3Story-Story1 | DCon5 Max | Bottom | 893248.18 | 0 | -341732.94 | -2843590.76 | 10393855.18 | -7345357.48 |
| 3Story-Story1 | DCon5 Min | Top | 859565.17 | 0 | -383905.19 | -2956429.71 | 8849502.75 | -7206438.21 |
| 3Story-Story1 | DCon5 Min | Bottom | 888035.17 | 0 | -383905.19 | -2956429.71 | 10088226.58 | -7419963.21 |
| 3Story-Story1 | DCon6 Max | Top | 765432.93 | 0 | 384335.84 | 2956676.41 | 3965578.03 | -5624453.24 |
| 3Story-Story1 | DCon6 Max | Bottom | 793902.93 | 0 | 384335.84 | 2956676.41 | 3152612.27 | -5837978.24 |
| 3Story-Story1 | DCon6 Min | Top | 760219.91 | 0 | 342163.58 | 2843837.45 | 3786466.17 | -5699058.96 |
| 3Story-Story1 | DCon6 Min | Bottom | 788689.91 | 0 | 342163.58 | 2843837.45 | 2846983.67 | -5912583.96 |
| 3Story-Story1 | DCon7 Max | Top | 307235.75 | -217392.66 | 21336.88 | 1655213 | 1104987.44 | -1919226.86 |
| 3Story-Story1 | DCon7 Max | Bottom | 324755.75 | -217392.66 | 21336.88 | 1655213 | 1298116.85 | -2702804.84 |
| 3Story-Story1 | DCon7 Min | Top | 302052.4 | -217392.66 | -20576.47 | 1541933.1 | 926988.58 | -1993407.61 |
| 3Story-Story1 | DCon7 Min | Bottom | 319572.4 | -217392.66 | -20576.47 | 1541933.1 | 994377.94 | -2776985.59 |
| 3Story-Story1 | DCon8 Max | Top | 692937.85 | 217392.66 | 20846.65 | -1541609.76 | 6884301.33 | -5826841.61 |
| 3Story-Story1 | DCon8 Max | Bottom | 710457.85 | 217392.66 | 20846.65 | -1541609.76 | 7078901.45 | -5306063.64 |
| 3Story-Story1 | DCon8 Min | Top | 687754.5 | 217392.66 | -21066.71 | -1654889.66 | 6706302.48 | -5901022.36 |
| 3Story-Story1 | DCon8 Min | Bottom | 705274.5 | 217392.66 | -21066.71 | -1654889.66 | 6775162.54 | -5380244.38 |
| 3Story-Story1 | DCon9 Max | Top | 549774.26 | 0 | -341813.18 | -2843552.44 | 6526719.17 | -4626511.37 |
| 3Story-Story1 | DCon9 Max | Bottom | 567294.26 | 0 | -341813.18 | -2843552.44 | 7810075.45 | -4757911.37 |
| 3Story-Story1 | DCon9 Min | Top | 544561.24 | 0 | -383985.43 | -2956391.39 | 6347607.32 | -4701117.1 |
| 3Story-Story1 | DCon9 Min | Bottom | 562081.24 | 0 | -383985.43 | -2956391.39 | 7504446.85 | -4832517.1 |
| 3Story-Story1 | DCon10 Max | Top | 450429 | 0 | 384255.6 | 2956714.73 | 1463682.59 | -3119132.13 |
| 3Story-Story1 | DCon10 Max | Bottom | 467949 | 0 | 384255.6 | 2956714.73 | 568832.54 | -3250532.13 |
| 3Story-Story1 | DCon10 Min | Top | 445215.99 | 0 | 342083.35 | 2843875.78 | 1284570.74 | -3193737.85 |
| 3Story-Story1 | DCon10 Min | Bottom | 462735.99 | 0 | 342083.35 | 2843875.78 | 263203.94 | -3325137.85 |
| 12Story-Story12 | Dead | Top | 301125 | 0 | 0 | -0.0006728 | 2258437.5 | -6925875 |
| 12Story-Story12 | Dead | Bottom | 323025 | 0 | 0 | -0.0006727 | 2422687.5 | -7429575 |
| 12Story-Story12 | Live | Top | 45000 | 0 | 0 | -8.917E-05 | 337500 | -1035000 |
| 12Story-Story12 | Live | Bottom | 45000 | 0 | 0 | -8.917E-05 | 337500 | -1035000 |
| 12Story-Story12 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story12 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story12 | EX1 1 | Top | 0 | -135563.35 | -9.342E-05 | 1016725.16 | 0 | 0 |
| 12Story-Story12 | EX1 1 | Bottom | 0 | -135563.35 | -9.342E-05 | 1016725.16 | 0.0002275 | -406690.06 |
| 12Story-Story12 | EX1 2 | Top | 0 | -135563.35 | 0.0003191 | 1118397.71 | 0 | 0 |
| 12Story-Story12 | EX1 2 | Bottom | 0 | -135563.35 | 0.0003191 | 1118397.71 | -0.001008 | -406690.06 |
| 12Story-Story12 | EX1 3 | Top | 0 | -135563.35 | -0.000506 | 915052.6 | 0 | 0 |
| 12Story-Story12 | EX1 3 | Bottom | 0 | -135563.35 | -0.000506 | 915052.6 | 0.001463 | -406690.06 |
| 12Story-Story12 | EY 1 | Top | 0 | -6.778E-05 | -135005.36 | -3105123.22 | 0 | 0 |
| 12Story-Story12 | EY 1 | Bottom | 0 | -6.778E-05 | -135005.36 | -3105123.22 | 405016.07 | -7.867E-05 |
| 12Story-Story12 | EY 2 | Top | 0 | 0 | -135005.36 | -3206377.27 | 0 |  |
| 12Story-Story12 | EY 2 | Bottom | 0 | 0 | -135005.36 | -3206377.27 | 405016.07 | 0 |
| 12Story-Story12 | EY 3 | Top | 0 | -0.0001098 | -135005.36 | -3003869.17 | 0 | 0 |
| 12Story-Story12 | EY 3 | Bottom | 0 | -0.0001097 | -135005.36 | -3003869.17 | 405016.07 | -0.0001964 |
| 12Story-Story12 | DCon1 | Top | 421575 | 0 | 0 | -0.0009419 | 3161812.5 | -9696225 |
| 12Story-Story12 | DCon1 | Bottom | 452235 | 0 | 0 | -0.0009418 | 3391762.5 | -10401405 |
| 12Story-Story12 | DCon2 | Top | 433350 | 0 | -5.111E-05 | -0.00095 | 3250125 | -9967050 |
| 12Story-Story12 | DCon2 | Bottom | 459630 | 0 | -5.11E-05 | -0.0009499 | 3447225 | -10571490 |
| 12Story-Story12 | DCon3 Max | Top | 436462.5 | -135563.35 | 0.0002676 | 1118397.71 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon3 Max | Bottom | 464932.5 | -135563.35 | 0.0002676 | 1118397.71 | 3486993.75 | -11100137.57 |
| 12Story-Story12 | DCon3 Min | Top | 436462.5 | -135563.35 | -0.0005575 | 915052.6 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon3 Min | Bottom | 464932.5 | -135563.35 | -0.0005575 | 915052.6 | 3486993.75 | -11100137.57 |
| 12Story-Story12 | DCon4 Max | Top | 436462.5 | 135563.35 | 0.0004544 | -915052.6 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon4 Max | Bottom | 464932.5 | 135563.35 | 0.0004544 | -915052.6 | 3486993.75 | -10286757.44 |
| 12Story-Story12 | DCon4 Min | Top | 436462.5 | 135563.35 | -0.0003707 | -1118397.71 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon4 Min | Bottom | 464932.5 | 135563.35 | -0.0003707 | -1118397.71 | 3486993.75 | -10286757.44 |
| 12Story-Story12 | DCon5 Max | Top | 436462.5 | -5.528E-05 | -135005.36 | -3003869.17 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon5 Max | Bottom | 464932.5 | -5.528E-05 | -135005.36 | -3003869.17 | 3892009.82 | -10693447.5 |
| 12Story-Story12 | DCon5 Min | Top | 436462.5 | -0.0001393 | -135005.36 | -3206377.27 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon5 Min | Bottom | 464932.5 | -0.0001392 | -135005.36 | -3206377.27 | 3892009.82 | -10693447.5 |
| 12Story-Story12 | DCon6 Max | Top | 436462.5 | 8.028E-05 | 135005.36 | 3206377.27 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon6 Max | Bottom | 464932.5 | 8.024E-05 | 135005.36 | 3206377.27 | 3081977.68 | -10693447.5 |
| 12Story-Story12 | DCon6 Min | Top | 436462.5 | 0 | 135005.36 | 3003869.17 | 3273468.75 | -10038637.5 |
| 12Story-Story12 | DCon6 Min | Bottom | 464932.5 | 0 | 135005.36 | 3003869.17 | 3081977.68 | -10693447.5 |
| 12Story-Story12 | DCon7 Max | Top | 240900 | -135563.35 | 0.0002906 | 1118397.71 | 1806750 | -5540700 |
| 12Story-Story12 | DCon7 Max | Bottom | 258420 | -135563.35 | 0.0002906 | 1118397.71 | 1938150 | -6350350.06 |
| 12Story-Story12 | DCon7 Min | Top | 240900 | -135563.35 | -0.0005345 | 915052.6 | 1806750 | -5540700 |
| 12Story-Story12 | DCon7 Min | Bottom | 258420 | -135563.35 | -0.0005345 | 915052.6 | 1938150 | -6350350.07 |
| 12Story-Story12 | DCon8 Max | Top | 240900 | 135563.35 | 0.0004774 | -915052.6 | 1806750 | -5540700 |
| 12Story-Story12 | DCon8 Max | Bottom | 258420 | 135563.35 | 0.0004774 | -915052.6 | 1938150 | -5536969.94 |
| 12Story-Story12 | DCon8 Min | Top | 240900 | 135563.35 | -0.0003476 | -1118397.71 | 1806750 | -5540700 |
| 12Story-Story12 | DCon8 Min | Bottom | 258420 | 135563.35 | -0.0003476 | -1118397.71 | 1938150 | -5536969.94 |
| 12Story-Story12 | DCon9 Max | Top | 240900 | 0 | -135005.36 | -3003869.17 | 1806750 | -5540700 |
| 12Story-Story12 | DCon9 Max | Bottom | 258420 | 0 | -135005.36 | -3003869.17 | 2343166.07 | -5943660 |
| 12Story-Story12 | DCon9 Min | Top | 240900 | -0.0001254 | -135005.36 | -3206377.27 | 1806750 | -5540700 |
| 12Story-Story12 | DCon9 Min | Bottom | 258420 | -0.0001254 | -135005.36 | -3206377.27 | 2343166.07 | -5943660 |
| 12Story-Story12 | DCon10 Max | Top | 240900 | 9.413E-05 | 135005.36 | 3206377.27 | 1806750 | -5540700 |
| 12Story-Story12 | DCon10 Max | Bottom | 258420 | 9.409E-05 | 135005.36 | 3206377.27 | 1533133.93 | -5943660 |
| 12Story-Story12 | DCon10 Min | Top | 240900 | 0 | 135005.36 | 3003869.17 | 1806750 | -5540700 |
| 12Story-Story12 | DCon10 Min | Bottom | 258420 | 0 | 135005.36 | 3003869.17 | 1533133.93 | -5943660 |
| 12Story-Story11 | Dead | Top | 624150 | 0 | -7.029E-05 | -0.001341 | 4681125 | -14355450 |
| 12Story-Story11 | Dead | Bottom | 646050 | 0 | -7.029E-05 | -0.001341 | 4845375 | -14859150 |
| 12Story-Story11 | Live | Top | 90000 | 0 | 0 | -0.0001775 | 675000 | -2070000 |
| 12Story-Story11 | Live | Bottom | 90000 | 0 | 0 | -0.0001775 | 675000 | -2070000 |
| 12Story-Story11 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story11 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story11 | EX1 1 | Top | 0 | -263744.26 | -0.0001875 | 1978081.98 | 0.0002274 | -406690.06 |
| 12Story-Story11 | EX1 1 | Bottom | 0 | -263744.26 | -0.0001875 | 1978081.98 | 0.0007425 | -1197922.86 |
| 12Story-Story11 | EX1 2 | Top | 0 | -263744.26 | 0.0006784 | 2175890.25 | -0.001008 | -406690.06 |
| 12Story-Story11 | EX1 2 | Bottom | 0 | -263744.26 | 0.0006784 | 2175890.25 | -0.003088 | -1197922.86 |
| 12Story-Story11 | EX1 3 | Top | 0 | -263744.26 | -0.001053 | 1780273.71 | 0.001463 | -406690.06 |
| 12Story-Story11 | EX1 3 | Bottom | 0 | -263744.26 | -0.001053 | 1780273.71 | 0.004573 | -1197922.86 |
| 12Story-Story11 | EY 1 | Top | 0 | -0.0001316 | -262933.9 | -6047479.79 | 405016.07 | -7.865E-05 |
| 12Story-Story11 | EY 1 | Bottom | 0 | -0.0001316 | -262933.9 | -6047479.79 | 1193817.78 | -0.0003969 |
| 12Story-Story11 | EY 2 | Top | 0 | 0 | -262933.9 | -6244680.28 | 405016.07 | 0 |
| 12Story-Story11 | EY 2 | Bottom | 0 | 0 | -262933.9 | -6244680.28 | 1193817.79 | 0 |
| 12Story-Story11 | EY 3 | Top | 0 | -0.0002177 | -262933.9 | -5850279.3 | 405016.07 | -0.0001964 |
| 12Story-Story11 | EY 3 | Bottom | 0 | -0.0002177 | -262933.9 | -5850279.3 | 1193817.78 | -0.0007662 |
| 12Story-Story11 | DCon1 | Top | 873810 | 0 | -9.841E-05 | -0.001878 | 6553575 | -20097630 |
| 12Story-Story11 | DCon1 | Bottom | 904470 | 0 | -9.841E-05 | -0.001878 | 6783525 | -20802810.01 |
| 12Story-Story11 | DCon2 | Top | 892980 | -5.406E-05 | -0.0001007 | -0.001894 | 6697350 | -20538540 |
| 12Story-Story11 | DCon2 | Bottom | 919260 | -5.406E-05 | -0.0001007 | -0.001894 | 6894450 | -21142980.01 |
| 12Story-Story11 | DCon3 Max | Top | 901395 | -263744.26 | 0.0005768 | 2175890.25 | 6760462.5 | -21138775.07 |
| 12Story-Story11 | DCon3 Max | Bottom | 929865 | -263744.26 | 0.0005768 | 2175890.25 | 6973987.51 | -22584817.86 |
| 12Story-Story11 | DCon3 Min | Top | 901395 | -263744.26 | -0.001155 | 1780273.71 | 6760462.5 | -21138775.07 |
| 12Story-Story11 | DCon3 Min | Bottom | 929865 | -263744.26 | -0.001155 | 1780273.71 | 6973987.5 | -22584817.86 |
| 12Story-Story11 | DCon4 Max | Top | 901395 | 263744.26 | 0.0009519 | -1780273.71 | 6760462.5 | -20325394.94 |
| 12Story-Story11 | DCon4 Max | Bottom | 929865 | 263744.26 | 0.0009518 | -1780273.71 | 6973987.51 | -20188972.15 |
| 12Story-Story11 | DCon4 Min | Top | 901395 | 263744.26 | -0.00078 | -2175890.26 | 6760462.5 | -20325394.94 |
| 12Story-Story11 | DCon4 Min | Bottom | 929865 | 263744.26 | -0.0007799 | -2175890.26 | 6973987.5 | -20188972.15 |
| 12Story-Story11 | DCon5 Max | Top | 901395 | -9.868E-05 | -262933.9 | -5850279.3 | 7165478.57 | -20732085 |
| 12Story-Story11 | DCon5 Max | Bottom | 929865 | -9.868E-05 | -262933.9 | -5850279.3 | 8167805.29 | -21386895.01 |
| 12Story-Story11 | DCon5 Min | Top | 901395 | -0.0002709 | -262933.9 | -6244680.28 | 7165478.57 | -20732085 |
| 12Story-Story11 | DCon5 Min | Bottom | 929865 | -0.0002709 | -262933.9 | -6244680.28 | 8167805.28 | -21386895.01 |
| 12Story-Story11 | DCon6 Max | Top | 901395 | 0.0001646 | 262933.9 | 6244680.28 | 6355446.43 | -20732085 |
| 12Story-Story11 | DCon6 Max | Bottom | 929865 | 0.0001646 | 262933.9 | 6244680.28 | 5780169.72 | -21386895 |
| 12Story-Story11 | DCon6 Min | Top | 901395 | 0 | 262933.9 | 5850279.3 | 6355446.43 | -20732085 |
| 12Story-Story11 | DCon6 Min | Bottom | 929865 | 0 | 262933.9 | 5850279.3 | 5780169.72 | -21386895.01 |
| 12Story-Story11 | DCon7 Max | Top | 499320 | -263744.26 | 0.0006222 | 2175890.25 | 3744900 | -11891050.06 |
| 12Story-Story11 | DCon7 Max | Bottom | 516840 | -263744.26 | 0.0006221 | 2175890.25 | 3876300.01 | -13085242.86 |
| 12Story-Story11 | DCon7 Min | Top | 499320 | -263744.26 | -0.00111 | 1780273.71 | 3744900 | -11891050.07 |
| 12Story-Story11 | DCon7 Min | Bottom | 516840 | -263744.26 | -0.00111 | 1780273.71 | 3876300 | -13085242.86 |
| 12Story-Story11 | DCon8 Max | Top | 499320 | 263744.26 | 0.0009972 | -1780273.71 | 3744900 | -11077669.94 |
| 12Story-Story11 | DCon8 Max | Bottom | 516840 | 263744.26 | 0.0009972 | -1780273.71 | 3876300 | -10689397.15 |
| 12Story-Story11 | DCon8 Min | Top | 499320 | 263744.26 | -0.0007346 | -2175890.26 | 3744900 | -11077669.94 |
| 12Story-Story11 | DCon8 Min | Bottom | 516840 | 263744.26 | -0.0007346 | -2175890.26 | 3876300 | -10689397.15 |
| 12Story-Story11 | DCon9 Max | Top | 499320 | -7.369E-05 | -262933.9 | -5850279.3 | 4149916.07 | -11484360 |
| 12Story-Story11 | DCon9 Max | Bottom | 516840 | -7.369E-05 | -262933.9 | -5850279.3 | 5070117.79 | -11887320 |
| 12Story-Story11 | DCon9 Min | Top | 499320 | -0.0002459 | -262933.9 | -6244680.28 | 4149916.07 | -11484360 |
| 12Story-Story11 | DCon9 Min | Bottom | 516840 | -0.0002459 | -262933.9 | -6244680.28 | 5070117.78 | -11887320 |
| 12Story-Story11 | DCon10 Max | Top | 499320 | 0.0001896 | 262933.9 | 6244680.28 | 3339883.93 | -11484360 |
| 12Story-Story11 | DCon10 Max | Bottom | 516840 | 0.0001896 | 262933.9 | 6244680.28 | 2682482.22 | -11887320 |
| 12Story-Story11 | DCon10 Min | Top | 499320 | 0 | 262933.9 | 5850279.3 | 3339883.93 | -11484360 |
| 12Story-Story11 | DCon10 Min | Bottom | 516840 | 0 | 262933.9 | 5850279.3 | 2682482.21 | -11887320 |
| 12Story-Story10 | Dead | Top | 947175 | -5.168E-05 | -0.0001014 | -0.001949 | 7103812.5 | -21785025 |
| 12Story-Story10 | Dead | Bottom | 969075 | -5.168E-05 | -0.0001014 | -0.001949 | 7268062.5 | -22288725.01 |
| 12Story-Story10 | Live | Top | 135000 | 0 | 0 | -0.0002545 | 1012500 | -3105000 |
| 12Story-Story10 | Live | Bottom | 135000 | 0 | 0 | -0.0002545 | 1012500 | -3105000 |
| 12Story-Story10 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story10 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story10 | EX1 1 | Top | 0 | -379908.68 | -0.0002703 | 2849315.11 | 0.0007421 | -1197922.86 |
| 12Story-Story10 | EX1 1 | Bottom | 0 | -379908.68 | -0.0002703 | 2849315.11 | 0.001502 | -2337648.9 |
| 12Story-Story10 | EX1 2 | Top | 0 | -379908.68 | 0.0009966 | 3134246.73 | -0.003088 | -1197922.86 |
| 12Story-Story10 | EX1 2 | Bottom | 0 | -379908.68 | 0.0009966 | 3134246.73 | -0.01 | -2337648.9 |
| 12Story-Story10 | EX1 3 | Top | 0 | -379908.68 | -0.001537 | 2564383.48 | 0.004572 | -1197922.86 |
| 12Story-Story10 | EX1 3 | Bottom | 0 | -379908.68 | -0.001537 | 2564383.48 | 0.01 | -2337648.9 |
| 12Story-Story10 | EY 1 | Top | 0 | -0.0001963 | -379143.48 | -8720300 | 1193817.78 | -0.0003971 |
| 12Story-Story10 | EY 1 | Bottom | 0 | -0.0001963 | -379143.48 | -8720300 | 2331248.22 | -0.0008835 |
| 12Story-Story10 | EY 2 | Top | 0 | -6.947E-05 | -379143.48 | -9004657.71 | 1193817.79 | 0 |
| 12Story-Story10 | EY 2 | Bottom | 0 | -6.947E-05 | -379143.48 | -9004657.71 | 2331248.23 | -0.0001415 |
| 12Story-Story10 | EY 3 | Top | 0 | -0.0003231 | -379143.48 | -8435942.29 | 1193817.78 | -0.0007663 |
| 12Story-Story10 | EY 3 | Bottom | 0 | -0.0003231 | -379143.48 | -8435942.29 | 2331248.21 | -0.001625 |
| 12Story-Story10 | DCon1 | Top | 1326045 | -7.235E-05 | -0.0001419 | -0.002728 | 9945337.5 | -30499035.01 |
| 12Story-Story10 | DCon1 | Bottom | 1356705 | -7.235E-05 | -0.0001419 | -0.002728 | 10175287.5 | -31204215.01 |
| 12Story-Story10 | DCon2 | Top | 1352610 | -7.957E-05 | -0.000145 | -0.002746 | 10144575 | -31110030.01 |
| 12Story-Story10 | DCon2 | Bottom | 1378890 | -7.957E-05 | -0.000145 | -0.002746 | 10341675 | -31714470.01 |
| 12Story-Story10 | DCon3 Max | Top | 1366327.5 | -379908.68 | 0.0008502 | 3134246.73 | 10247456.26 | -32623455.36 |
| 12Story-Story10 | DCon3 Max | Bottom | 1394797.5 | -379908.68 | 0.0008502 | 3134246.73 | 10460981.26 | -34417991.41 |
| 12Story-Story10 | DCon3 Min | Top | 1366327.5 | -379908.68 | -0.001684 | 2564383.48 | 10247456.25 | -32623455.36 |
| 12Story-Story10 | DCon3 Min | Bottom | 1394797.5 | -379908.68 | -0.001684 | 2564383.48 | 10460981.25 | -34417991.41 |
| 12Story-Story10 | DCon4 Max | Top | 1366327.5 | 379908.68 | 0.001391 | -2564383.48 | 10247456.26 | -30227609.65 |
| 12Story-Story10 | DCon4 Max | Bottom | 1394797.5 | 379908.68 | 0.001391 | -2564383.48 | 10460981.26 | -29742693.61 |
| 12Story-Story10 | DCon4 Min | Top | 1366327.5 | 379908.68 | -0.001143 | -3134246.74 | 10247456.25 | -30227609.65 |
| 12Story-Story10 | DCon4 Min | Bottom | 1394797.5 | 379908.68 | -0.001143 | -3134246.74 | 10460981.24 | -29742693.61 |
| 12Story-Story10 | DCon5 Max | Top | 1366327.5 | -0.0001476 | -379143.48 | -8435942.3 | 11441274.04 | -31425532.51 |
| 12Story-Story10 | DCon5 Max | Bottom | 1394797.5 | -0.0001476 | -379143.48 | -8435942.3 | 12792229.48 | -32080342.51 |
| 12Story-Story10 | DCon5 Min | Top | 1366327.5 | -0.0004012 | -379143.48 | -9004657.71 | 11441274.03 | -31425532.51 |
| 12Story-Story10 | DCon5 Min | Bottom | 1394797.5 | -0.0004013 | -379143.48 | -9004657.71 | 12792229.46 | -32080342.51 |
| 12Story-Story10 | DCon6 Max | Top | 1366327.5 | 0.0002449 | 379143.48 | 9004657.71 | 9053638.47 | -31425532.5 |
| 12Story-Story10 | DCon6 Max | Bottom | 1394797.5 | 0.000245 | 379143.48 | 9004657.71 | 8129733.04 | -32080342.51 |
| 12Story-Story10 | DCon6 Min | Top | 1366327.5 | 0 | 379143.48 | 8435942.29 | 9053638.47 | -31425532.51 |
| 12Story-Story10 | DCon6 Min | Bottom | 1394797.5 | 0 | 379143.48 | 8435942.29 | 8129733.03 | -32080342.51 |
| 12Story-Story10 | DCon7 Max | Top | 757740 | -379908.68 | 0.0009155 | 3134246.73 | 5683050.01 | -18625942.86 |
| 12Story-Story10 | DCon7 Max | Bottom | 775260 | -379908.68 | 0.0009155 | 3134246.73 | 5814450.01 | -20168628.9 |
| 12Story-Story10 | DCon7 Min | Top | 757740 | -379908.68 | -0.001618 | 2564383.48 | 5683050 | -18625942.86 |
| 12Story-Story10 | DCon7 Min | Bottom | 775260 | -379908.68 | -0.001618 | 2564383.48 | 5814450 | -20168628.9 |
| 12Story-Story10 | DCon8 Max | Top | 757740 | 379908.68 | 0.001456 | -2564383.48 | 5683050 | -16230097.15 |
| 12Story-Story10 | DCon8 Max | Bottom | 775260 | 379908.68 | 0.001456 | -2564383.48 | 5814450.01 | -15493331.11 |
| 12Story-Story10 | DCon8 Min | Top | 757740 | 379908.68 | -0.001078 | -3134246.74 | 5683050 | -16230097.15 |
| 12Story-Story10 | DCon8 Min | Bottom | 775260 | 379908.68 | -0.001078 | -3134246.74 | 5814449.99 | -15493331.11 |
| 12Story-Story10 | DCon9 Max | Top | 757740 | -0.0001108 | -379143.48 | -8435942.3 | 6876867.79 | -17428020 |
| 12Story-Story10 | DCon9 Max | Bottom | 775260 | -0.0001108 | -379143.48 | -8435942.3 | 8145698.23 | -17830980 |
| 12Story-Story10 | DCon9 Min | Top | 757740 | -0.0003644 | -379143.48 | -9004657.71 | 6876867.78 | -17428020 |
| 12Story-Story10 | DCon9 Min | Bottom | 775260 | -0.0003645 | -379143.48 | -9004657.71 | 8145698.21 | -17830980.01 |
| 12Story-Story10 | DCon10 Max | Top | 757740 | 0.0002817 | 379143.48 | 9004657.71 | 4489232.22 | -17428020 |
| 12Story-Story10 | DCon10 Max | Bottom | 775260 | 0.0002818 | 379143.48 | 9004657.71 | 3483201.79 | -17830980 |
| 12Story-Story10 | DCon10 Min | Top | 757740 | 0 | 379143.48 | 8435942.29 | 4489232.21 | -17428020 |
| 12Story-Story10 | DCon10 Min | Bottom | 775260 | 0 | 379143.48 | 8435942.29 | 3483201.78 | -17830980 |
| 12Story-Story9 | Dead | Top | 1270200 | -5.881E-05 | -0.000114 | -0.002097 | 9526500 | -29214600.01 |
| 12Story-Story9 | Dead | Bottom | 1303500 | -5.881E-05 | -0.000114 | -0.002097 | 9776250 | -29980500.01 |
| 12Story-Story9 | Live | Top | 180000 | 0 | 0 | -0.0002652 | 1350000 | -4140000 |
| 12Story-Story9 | Live | Bottom | 180000 | 0 | 0 | -0.0002652 | 1350000 | -4140000 |
| 12Story-Story9 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story9 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story9 | EX1 1 | Top | 0 | -485502.89 | -0.0003049 | 3641271.65 | 0.001502 | -2337648.9 |
| 12Story-Story9 | EX1 1 | Bottom | 0 | -485502.89 | -0.0003049 | 3641271.65 | 0.002435 | -3794157.56 |
| 12Story-Story9 | EX1 2 | Top | 0 | -485502.89 | 0.001151 | 4005398.94 | -0.01 | -2337648.9 |
| 12Story-Story9 | EX1 2 | Bottom | 0 | -485502.89 | 0.001151 | 4005398.94 | -0.01 | -3794157.56 |
| 12Story-Story9 | EX1 3 | Top | 0 | -485502.89 | -0.001761 | 3277144.36 | 0.01 | -2337648.9 |
| 12Story-Story9 | EX1 3 | Bottom | 0 | -485502.89 | -0.001761 | 3277144.36 | 0.01 | -3794157.56 |
| 12Story-Story9 | EY 1 | Top | 0 | -0.0002207 | -485054.6 | -11156255.84 | 2331248.22 | -0.0008836 |
| 12Story-Story9 | EY 1 | Bottom | 0 | -0.0002207 | -485054.6 | -11156255.84 | 3786412.02 | -0.001604 |
| 12Story-Story9 | EY 2 | Top | 0 | -8.064E-05 | -485054.6 | -11520046.9 | 2331248.23 | -0.0001415 |
| 12Story-Story9 | EY 2 | Bottom | 0 | -8.064E-05 | -485054.6 | -11520046.9 | 3786412.03 | -0.0004429 |
| 12Story-Story9 | EY 3 | Top | 0 | -0.0003607 | -485054.6 | -10792464.79 | 2331248.21 | -0.001626 |
| 12Story-Story9 | EY 3 | Bottom | 0 | -0.0003608 | -485054.6 | -10792464.79 | 3786412.01 | -0.002765 |
| 12Story-Story9 | DCon1 | Top | 1778280 | -8.233E-05 | -0.0001596 | -0.002935 | 13337100 | -40900440.01 |
| 12Story-Story9 | DCon1 | Bottom | 1824900 | -8.233E-05 | -0.0001596 | -0.002935 | 13686750 | -41972700.01 |
| 12Story-Story9 | DCon2 | Top | 1812240 | -9.07E-05 | -0.0001629 | -0.00294 | 13591800 | -41681520.01 |
| 12Story-Story9 | DCon2 | Bottom | 1852200 | -9.07E-05 | -0.0001629 | -0.00294 | 13891500 | -42600600.01 |
| 12Story-Story9 | DCon3 Max | Top | 1831260 | -485502.89 | 0.0009868 | 4005398.94 | 13734450.01 | -44456628.91 |
| 12Story-Story9 | DCon3 Max | Bottom | 1874550 | -485502.89 | 0.0009869 | 4005398.94 | 14059125.02 | -46908807.56 |
| 12Story-Story9 | DCon3 Min | Top | 1831260 | -485502.89 | -0.001926 | 3277144.36 | 13734450 | -44456628.91 |
| 12Story-Story9 | DCon3 Min | Bottom | 1874550 | -485502.89 | -0.001926 | 3277144.36 | 14059124.99 | -46908807.56 |
| 12Story-Story9 | DCon4 Max | Top | 1831260 | 485502.89 | 0.001597 | -3277144.36 | 13734450.01 | -39781331.11 |
| 12Story-Story9 | DCon4 Max | Bottom | 1874550 | 485502.89 | 0.001597 | -3277144.36 | 14059125.01 | -39320492.45 |
| 12Story-Story9 | DCon4 Min | Top | 1831260 | 485502.89 | -0.001316 | -4005398.94 | 13734449.99 | -39781331.11 |
| 12Story-Story9 | DCon4 Min | Bottom | 1874550 | 485502.89 | -0.001316 | -4005398.94 | 14059124.99 | -39320492.45 |
| 12Story-Story9 | DCon5 Max | Top | 1831260 | -0.0001697 | -485054.6 | -10792464.79 | 16065698.23 | -42118980.01 |
| 12Story-Story9 | DCon5 Max | Bottom | 1874550 | -0.0001697 | -485054.6 | -10792464.79 | 17845537.04 | -43114650.01 |
| 12Story-Story9 | DCon5 Min | Top | 1831260 | -0.0004497 | -485054.6 | -11520046.9 | 16065698.21 | -42118980.01 |
| 12Story-Story9 | DCon5 Min | Bottom | 1874550 | -0.0004498 | -485054.6 | -11520046.9 | 17845537.01 | -43114650.01 |
| 12Story-Story9 | DCon6 Max | Top | 1831260 | 0.0002717 | 485054.6 | 11520046.89 | 11403201.79 | -42118980.01 |
| 12Story-Story9 | DCon6 Max | Bottom | 1874550 | 0.0002717 | 485054.6 | 11520046.89 | 10272712.99 | -43114650 |
| 12Story-Story9 | DCon6 Min | Top | 1831260 | 0 | 485054.6 | 10792464.79 | 11403201.78 | -42118980.01 |
| 12Story-Story9 | DCon6 Min | Bottom | 1874550 | 0 | 485054.6 | 10792464.79 | 10272712.97 | -43114650.01 |
| 12Story-Story9 | DCon7 Max | Top | 1016160 | -485502.89 | 0.00106 | 4005398.94 | 7621200.01 | -25709328.9 |
| 12Story-Story9 | DCon7 Max | Bottom | 1042800 | -485502.89 | 0.00106 | 4005398.94 | 7821000.02 | -27778557.56 |
| 12Story-Story9 | DCon7 Min | Top | 1016160 | -485502.89 | -0.001852 | 3277144.36 | 7621200 | -25709328.9 |
| 12Story-Story9 | DCon7 Min | Bottom | 1042800 | -485502.89 | -0.001852 | 3277144.36 | 7820999.99 | -27778557.56 |
| 12Story-Story9 | DCon8 Max | Top | 1016160 | 485502.89 | 0.00167 | -3277144.36 | 7621200.01 | -21034031.11 |
| 12Story-Story9 | DCon8 Max | Bottom | 1042800 | 485502.89 | 0.00167 | -3277144.36 | 7821000.01 | -20190242.45 |
| 12Story-Story9 | DCon8 Min | Top | 1016160 | 485502.89 | -0.001243 | -4005398.94 | 7621199.99 | -21034031.11 |
| 12Story-Story9 | DCon8 Min | Bottom | 1042800 | 485502.89 | -0.001243 | -4005398.94 | 7820999.99 | -20190242.45 |
| 12Story-Story9 | DCon9 Max | Top | 1016160 | -0.0001277 | -485054.6 | -10792464.79 | 9952448.23 | -23371680 |
| 12Story-Story9 | DCon9 Max | Bottom | 1042800 | -0.0001277 | -485054.6 | -10792464.79 | 11607412.04 | -23984400 |
| 12Story-Story9 | DCon9 Min | Top | 1016160 | -0.0004077 | -485054.6 | -11520046.9 | 9952448.21 | -23371680.01 |
| 12Story-Story9 | DCon9 Min | Bottom | 1042800 | -0.0004078 | -485054.6 | -11520046.9 | 11607412.01 | -23984400.01 |
| 12Story-Story9 | DCon10 Max | Top | 1016160 | 0.0003136 | 485054.6 | 11520046.9 | 5289951.79 | -23371680 |
| 12Story-Story9 | DCon10 Max | Bottom | 1042800 | 0.0003137 | 485054.6 | 11520046.9 | 4034587.99 | -23984400 |
| 12Story-Story9 | DCon10 Min | Top | 1016160 | 0 | 485054.6 | 10792464.79 | 5289951.78 | -23371680 |
| 12Story-Story9 | DCon10 Min | Bottom | 1042800 | 0 | 485054.6 | 10792464.79 | 4034587.97 | -23984400 |
| 12Story-Story8 | Dead | Top | 1604625 | -6.33E-05 | -0.0001219 | -0.002159 | 12034687.5 | -36906375.01 |
| 12Story-Story8 | Dead | Bottom | 1637925 | -6.33E-05 | -0.0001219 | -0.002159 | 12284437.5 | -37672275.01 |
| 12Story-Story8 | Live | Top | 225000 | 0 | 0 | -0.0002649 | 1687500 | -5175000 |
| 12Story-Story8 | Live | Bottom | 225000 | 0 | 0 | -0.0002649 | 1687500 | -5175000 |
| 12Story-Story8 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story8 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story8 | EX1 1 | Top | 0 | -580601.76 | -0.0003281 | 4354513.17 | 0.002435 | -3794157.56 |
| 12Story-Story8 | EX1 1 | Bottom | 0 | -580601.76 | -0.0003281 | 4354513.17 | 0.00348 | -5535962.82 |
| 12Story-Story8 | EX1 2 | Top | 0 | -580601.76 | 0.001281 | 4789964.61 | -0.01 | -3794157.56 |
| 12Story-Story8 | EX1 2 | Bottom | 0 | -580601.76 | 0.001281 | 4789964.61 | -0.01 | -5535962.82 |
| 12Story-Story8 | EX1 3 | Top | 0 | -580601.76 | -0.001937 | 3919061.72 | 0.01 | -3794157.56 |
| 12Story-Story8 | EX1 3 | Bottom | 0 | -580601.76 | -0.001937 | 3919061.72 | 0.02 | -5535962.82 |
| 12Story-Story8 | EY 1 | Top | 0 | -0.0002216 | -580717.4 | -13356500.27 | 3786412.02 | -0.001604 |
| 12Story-Story8 | EY 1 | Bottom | 0 | -0.0002216 | -580717.4 | -13356500.27 | 5528564.23 | -0.002147 |
| 12Story-Story8 | EY 2 | Top | 0 | -8.429E-05 | -580717.4 | -13792038.43 | 3786412.03 | -0.0004429 |
| 12Story-Story8 | EY 2 | Bottom | 0 | -8.427E-05 | -580717.4 | -13792038.43 | 5528564.25 | -0.000571 |
| 12Story-Story8 | EY 3 | Top | 0 | -0.0003589 | -580717.4 | -12920962.12 | 3786412.01 | -0.002765 |
| 12Story-Story8 | EY 3 | Bottom | 0 | -0.0003588 | -580717.4 | -12920962.12 | 5528564.21 | -0.003722 |
| 12Story-Story8 | DCon1 | Top | 2246475 | -8.862E-05 | -0.0001706 | -0.003023 | 16848562.5 | -51668925.01 |
| 12Story-Story8 | DCon1 | Bottom | 2293095 | -8.862E-05 | -0.0001706 | -0.003023 | 17198212.5 | -52741185.01 |
| 12Story-Story8 | DCon2 | Top | 2285550 | -9.78E-05 | -0.000174 | -0.003015 | 17141625 | -52567650.01 |
| 12Story-Story8 | DCon2 | Bottom | 2325510 | -9.78E-05 | -0.000174 | -0.003015 | 17441325 | -53486730.01 |
| 12Story-Story8 | DCon3 Max | Top | 2311012.5 | -580601.76 | 0.001105 | 4789964.61 | 17332593.77 | -56947445.06 |
| 12Story-Story8 | DCon3 Max | Bottom | 2354302.5 | -580601.76 | 0.001105 | 4789964.61 | 17657268.77 | -59684920.33 |
| 12Story-Story8 | DCon3 Min | Top | 2311012.5 | -580601.76 | -0.002113 | 3919061.71 | 17332593.74 | -56947445.06 |
| 12Story-Story8 | DCon3 Min | Bottom | 2354302.5 | -580601.76 | -0.002113 | 3919061.71 | 17657268.74 | -59684920.33 |
| 12Story-Story8 | DCon4 Max | Top | 2311012.5 | 580601.76 | 0.001761 | -3919061.72 | 17332593.76 | -49359129.95 |
| 12Story-Story8 | DCon4 Max | Bottom | 2354302.5 | 580601.76 | 0.001761 | -3919061.72 | 17657268.77 | -48612994.68 |
| 12Story-Story8 | DCon4 Min | Top | 2311012.5 | 580601.76 | -0.001456 | -4789964.62 | 17332593.74 | -49359129.95 |
| 12Story-Story8 | DCon4 Min | Bottom | 2354302.5 | 580601.76 | -0.001456 | -4789964.62 | 17657268.73 | -48612994.69 |
| 12Story-Story8 | DCon5 Max | Top | 2311012.5 | -0.0001802 | -580717.4 | -12920962.12 | 21119005.79 | -53153287.51 |
| 12Story-Story8 | DCon5 Max | Bottom | 2354302.5 | -0.0001802 | -580717.4 | -12920962.12 | 23185833 | -54148957.51 |
| 12Story-Story8 | DCon5 Min | Top | 2311012.5 | -0.0004548 | -580717.4 | -13792038.43 | 21119005.76 | -53153287.51 |
| 12Story-Story8 | DCon5 Min | Bottom | 2354302.5 | -0.0004547 | -580717.4 | -13792038.43 | 23185832.97 | -54148957.51 |
| 12Story-Story8 | DCon6 Max | Top | 2311012.5 | 0.0002629 | 580717.4 | 13792038.43 | 13546181.74 | -53153287.5 |
| 12Story-Story8 | DCon6 Max | Bottom | 2354302.5 | 0.0002629 | 580717.4 | 13792038.43 | 12128704.54 | -54148957.5 |
| 12Story-Story8 | DCon6 Min | Top | 2311012.5 | 0 | 580717.4 | 12920962.11 | 13546181.72 | -53153287.51 |
| 12Story-Story8 | DCon6 Min | Bottom | 2354302.5 | 0 | 580717.4 | 12920962.11 | 12128704.51 | -54148957.51 |
| 12Story-Story8 | DCon7 Max | Top | 1283700 | -580601.76 | 0.001183 | 4789964.61 | 9627750.02 | -33319257.56 |
| 12Story-Story8 | DCon7 Max | Bottom | 1310340 | -580601.76 | 0.001183 | 4789964.61 | 9827550.02 | -35673782.82 |
| 12Story-Story8 | DCon7 Min | Top | 1283700 | -580601.76 | -0.002034 | 3919061.72 | 9627749.99 | -33319257.56 |
| 12Story-Story8 | DCon7 Min | Bottom | 1310340 | -580601.76 | -0.002034 | 3919061.72 | 9827549.99 | -35673782.83 |
| 12Story-Story8 | DCon8 Max | Top | 1283700 | 580601.76 | 0.001839 | -3919061.72 | 9627750.01 | -25730942.45 |
| 12Story-Story8 | DCon8 Max | Bottom | 1310340 | 580601.76 | 0.001839 | -3919061.72 | 9827550.02 | -24601857.18 |
| 12Story-Story8 | DCon8 Min | Top | 1283700 | 580601.76 | -0.001378 | -4789964.62 | 9627749.99 | -25730942.45 |
| 12Story-Story8 | DCon8 Min | Bottom | 1310340 | 580601.76 | -0.001378 | -4789964.62 | 9827549.98 | -24601857.18 |
| 12Story-Story8 | DCon9 Max | Top | 1283700 | -0.0001349 | -580717.4 | -12920962.12 | 13414162.04 | -29525100 |
| 12Story-Story8 | DCon9 Max | Bottom | 1310340 | -0.0001349 | -580717.4 | -12920962.12 | 15356114.25 | -30137820 |
| 12Story-Story8 | DCon9 Min | Top | 1283700 | -0.0004095 | -580717.4 | -13792038.43 | 13414162.01 | -29525100.01 |
| 12Story-Story8 | DCon9 Min | Bottom | 1310340 | -0.0004094 | -580717.4 | -13792038.43 | 15356114.21 | -30137820.01 |
| 12Story-Story8 | DCon10 Max | Top | 1283700 | 0.0003082 | 580717.4 | 13792038.43 | 5841337.99 | -29525100 |
| 12Story-Story8 | DCon10 Max | Bottom | 1310340 | 0.0003082 | 580717.4 | 13792038.43 | 4298985.79 | -30137820 |
| 12Story-Story8 | DCon10 Min | Top | 1283700 | 0 | 580717.4 | 12920962.12 | 5841337.97 | -29525100 |
| 12Story-Story8 | DCon10 Min | Bottom | 1310340 | 0 | 580717.4 | 12920962.12 | 4298985.76 | -30137820 |
| 12Story-Story7 | Dead | Top | 1939050 | -6.619E-05 | -0.0001283 | -0.002204 | 14542875 | -44598150.01 |
| 12Story-Story7 | Dead | Bottom | 1972350 | -6.619E-05 | -0.0001283 | -0.002204 | 14792625 | -45364050 |
| 12Story-Story7 | Live | Top | 270000 | 0 | 0 | -0.0002627 | 2025000 | -6210000 |
| 12Story-Story7 | Live | Bottom | 270000 | 0 | 0 | -0.0002627 | 2025000 | -6210000 |
| 12Story-Story7 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story7 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story7 | EX1 1 | Top | 0 | -663449.65 | -0.0003514 | 4975872.4 | 0.003481 | -5535962.82 |
| 12Story-Story7 | EX1 1 | Bottom | 0 | -663449.65 | -0.0003514 | 4975872.4 | 0.004495 | -7526311.78 |
| 12Story-Story7 | EX1 2 | Top | 0 | -663449.65 | 0.001439 | 5473459.78 | -0.01 | -5535962.82 |
| 12Story-Story7 | EX1 2 | Bottom | 0 | -663449.65 | 0.001439 | 5473459.78 | -0.02 | -7526311.79 |
| 12Story-Story7 | EX1 3 | Top | 0 | -663449.65 | -0.002142 | 4478285.03 | 0.02 | -5535962.82 |
| 12Story-Story7 | EX1 3 | Bottom | 0 | -663449.65 | -0.002142 | 4478285.03 | 0.03 | -7526311.78 |
| 12Story-Story7 | EY 1 | Top | 0 | -0.0002374 | -664332.52 | -15279647.97 | 5528564.23 | -0.002147 |
| 12Story-Story7 | EY 1 | Bottom | 0 | -0.0002373 | -664332.52 | -15279647.97 | 7521561.79 | -0.003052 |
| 12Story-Story7 | EY 2 | Top | 0 | -8.953E-05 | -664332.52 | -15777897.47 | 5528564.25 | -0.0005712 |
| 12Story-Story7 | EY 2 | Bottom | 0 | -8.942E-05 | -664332.52 | -15777897.47 | 7521561.81 | -0.001031 |
| 12Story-Story7 | EY 3 | Top | 0 | -0.0003852 | -664332.52 | -14781398.47 | 5528564.21 | -0.003722 |
| 12Story-Story7 | EY 3 | Bottom | 0 | -0.0003852 | -664332.52 | -14781398.47 | 7521561.76 | -0.01 |
| 12Story-Story7 | DCon1 | Top | 2714670 | -9.267E-05 | -0.0001796 | -0.003086 | 20360025 | -62437410.01 |
| 12Story-Story7 | DCon1 | Bottom | 2761290 | -9.267E-05 | -0.0001796 | -0.003086 | 20709675 | -63509670.01 |
| 12Story-Story7 | DCon2 | Top | 2758860 | -0.0001025 | -0.000183 | -0.003066 | 20691450 | -63453780.01 |
| 12Story-Story7 | DCon2 | Bottom | 2798820 | -0.0001025 | -0.000183 | -0.003066 | 20991150 | -64372860.01 |
| 12Story-Story7 | DCon3 Max | Top | 2790765 | -663449.65 | 0.001254 | 5473459.78 | 20930737.52 | -69723557.83 |
| 12Story-Story7 | DCon3 Max | Bottom | 2834055 | -663449.65 | 0.001254 | 5473459.78 | 21255412.53 | -72709576.79 |
| 12Story-Story7 | DCon3 Min | Top | 2790765 | -663449.65 | -0.002327 | 4478285.02 | 20930737.49 | -69723557.83 |
| 12Story-Story7 | DCon3 Min | Bottom | 2834055 | -663449.65 | -0.002327 | 4478285.02 | 21255412.49 | -72709576.79 |
| 12Story-Story7 | DCon4 Max | Top | 2790765 | 663449.65 | 0.001957 | -4478285.03 | 20930737.52 | -58651632.18 |
| 12Story-Story7 | DCon4 Max | Bottom | 2834055 | 663449.65 | 0.001957 | -4478285.03 | 21255412.52 | -57656953.22 |
| 12Story-Story7 | DCon4 Min | Top | 2790765 | 663449.65 | -0.001624 | -5473459.79 | 20930737.48 | -58651632.19 |
| 12Story-Story7 | DCon4 Min | Bottom | 2834055 | 663449.65 | -0.001624 | -5473459.79 | 21255412.48 | -57656953.22 |
| 12Story-Story7 | DCon5 Max | Top | 2790765 | -0.00019 | -664332.52 | -14781398.48 | 26459301.75 | -64187595.01 |
| 12Story-Story7 | DCon5 Max | Bottom | 2834055 | -0.0001899 | -664332.52 | -14781398.48 | 28776974.31 | -65183265.01 |
| 12Story-Story7 | DCon5 Min | Top | 2790765 | -0.0004857 | -664332.52 | -15777897.48 | 26459301.72 | -64187595.01 |
| 12Story-Story7 | DCon5 Min | Bottom | 2834055 | -0.0004856 | -664332.52 | -15777897.48 | 28776974.27 | -65183265.01 |
| 12Story-Story7 | DCon6 Max | Top | 2790765 | 0.0002847 | 664332.52 | 15777897.47 | 15402173.29 | -64187595 |
| 12Story-Story7 | DCon6 Max | Bottom | 2834055 | 0.0002847 | 664332.52 | 15777897.47 | 13733850.74 | -65183265 |
| 12Story-Story7 | DCon6 Min | Top | 2790765 | 0 | 664332.52 | 14781398.47 | 15402173.26 | -64187595.01 |
| 12Story-Story7 | DCon6 Min | Bottom | 2834055 | 0 | 664332.52 | 14781398.47 | 13733850.7 | -65183265.01 |
| 12Story-Story7 | DCon7 Max | Top | 1551240 | -663449.65 | 0.001336 | 5473459.78 | 11634300.02 | -41214482.82 |
| 12Story-Story7 | DCon7 Max | Bottom | 1577880 | -663449.65 | 0.001336 | 5473459.78 | 11834100.03 | -43817551.79 |
| 12Story-Story7 | DCon7 Min | Top | 1551240 | -663449.65 | -0.002245 | 4478285.02 | 11634299.99 | -41214482.83 |
| 12Story-Story7 | DCon7 Min | Bottom | 1577880 | -663449.65 | -0.002245 | 4478285.02 | 11834099.98 | -43817551.79 |
| 12Story-Story7 | DCon8 Max | Top | 1551240 | 663449.65 | 0.002039 | -4478285.03 | 11634300.02 | -30142557.18 |
| 12Story-Story7 | DCon8 Max | Bottom | 1577880 | 663449.65 | 0.002039 | -4478285.03 | 11834100.02 | -28764928.22 |
| 12Story-Story7 | DCon8 Min | Top | 1551240 | 663449.65 | -0.001542 | -5473459.79 | 11634299.98 | -30142557.18 |
| 12Story-Story7 | DCon8 Min | Bottom | 1577880 | 663449.65 | -0.001542 | -5473459.79 | 11834099.98 | -28764928.22 |
| 12Story-Story7 | DCon9 Max | Top | 1551240 | -0.0001425 | -664332.52 | -14781398.48 | 17162864.25 | -35678520 |
| 12Story-Story7 | DCon9 Max | Bottom | 1577880 | -0.0001424 | -664332.52 | -14781398.48 | 19355661.81 | -36291240 |
| 12Story-Story7 | DCon9 Min | Top | 1551240 | -0.0004381 | -664332.52 | -15777897.47 | 17162864.21 | -35678520.01 |
| 12Story-Story7 | DCon9 Min | Bottom | 1577880 | -0.0004381 | -664332.52 | -15777897.47 | 19355661.77 | -36291240.01 |
| 12Story-Story7 | DCon10 Max | Top | 1551240 | 0.0003322 | 664332.52 | 15777897.47 | 6105735.79 | -35678520 |
| 12Story-Story7 | DCon10 Max | Bottom | 1577880 | 0.0003322 | 664332.52 | 15777897.47 | 4312538.24 | -36291240 |
| 12Story-Story7 | DCon10 Min | Top | 1551240 | 0 | 664332.52 | 14781398.47 | 6105735.76 | -35678520 |
| 12Story-Story7 | DCon10 Min | Bottom | 1577880 | 0 | 664332.52 | 14781398.47 | 4312538.19 | -36291240 |
| 12Story-Story6 | Dead | Top | 2243548.75 | -6.699E-05 | -357.46 | -13754.41 | 16601790.49 | -51369152.25 |
| 12Story-Story6 | Dead | Bottom | 2287348.75 | -6.699E-05 | -357.46 | -13754.41 | 16931362.86 | -52376552.25 |
| 12Story-Story6 | Live | Top | 310117.24 | 0 | -41.8 | -1619.12 | 2289580.83 | -7094369.6 |
| 12Story-Story6 | Live | Bottom | 310117.24 | 0 | -41.8 | -1619.12 | 2289706.22 | -7094369.6 |
| 12Story-Story6 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story6 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story6 | EX1 1 | Top | -157340.84 | -734979.54 | 1502.65 | 5601858.7 | -2354328.68 | -2596769.16 |
| 12Story-Story6 | EX1 1 | Bottom | -157340.84 | -734979.54 | 1502.65 | 5601858.7 | -2358836.63 | -4801707.79 |
| 12Story-Story6 | EX1 2 | Top | -163314.47 | -734979.54 | -23865.93 | 5257739.9 | -2442684.72 | -2407883.67 |
| 12Story-Story6 | EX1 2 | Bottom | -163314.47 | -734979.54 | -23865.93 | 5257739.9 | -2371086.92 | -4612822.29 |
| 12Story-Story6 | EX1 3 | Top | -151367.22 | -734979.54 | 26871.23 | 5945977.5 | -2265972.65 | -2785654.66 |
| 12Story-Story6 | EX1 3 | Bottom | -151367.22 | -734979.54 | 26871.23 | 5945977.5 | -2346586.34 | -4990593.28 |
| 12Story-Story6 | EY 1 | Top | -52625.05 | -0.000225 | -631228.75 | -13164633.61 | 6691381.42 | 1630844.88 |
| 12Story-Story6 | EY 1 | Bottom | -52625.05 | -0.000225 | -631228.75 | -13164633.61 | 8585067.67 | 1630844.88 |
| 12Story-Story6 | EY 2 | Top | -46639.56 | -8.255E-05 | -605757.71 | -12818054.76 | 6779929.95 | 1441585.39 |
| 12Story-Story6 | EY 2 | Bottom | -46639.56 | -8.257E-05 | -605757.71 | -12818054.76 | 8597203.07 | 1441585.39 |
| 12Story-Story6 | EY 3 | Top | -58610.53 | -0.0003675 | -656699.79 | -13511212.46 | 6602832.89 | 1820104.36 |
| 12Story-Story6 | EY 3 | Bottom | -58610.53 | -0.0003675 | -656699.79 | -13511212.46 | 8572932.26 | 1820104.36 |
| 12Story-Story6 | DCon1 | Top | 3140968.26 | -9.378E-05 | -500.44 | -19256.17 | 23242506.69 | -71916813.15 |
| 12Story-Story6 | DCon1 | Bottom | 3202288.25 | -9.378E-05 | -500.44 | -19256.17 | 23703908.01 | -73327173.15 |
| 12Story-Story6 | DCon2 | Top | 3188446.09 | -0.0001034 | -495.82 | -19095.88 | 23585477.92 | -72993974.07 |
| 12Story-Story6 | DCon2 | Bottom | 3241006.09 | -0.0001034 | -495.82 | -19095.88 | 23981165.4 | -74202854.07 |
| 12Story-Story6 | DCon3 Max | Top | 3075363.41 | -734979.54 | 26364.74 | 5926477.65 | 21605935.83 | -76282151.2 |
| 12Story-Story6 | DCon3 Max | Bottom | 3132303.41 | -734979.54 | 26364.74 | 5926477.65 | 21953891.61 | -79796709.83 |
| 12Story-Story6 | DCon3 Min | Top | 3063416.15 | -734979.54 | -24372.42 | 5238240.05 | 21429223.76 | -76659922.19 |
| 12Story-Story6 | DCon3 Min | Bottom | 3120356.15 | -734979.54 | -24372.42 | 5238240.05 | 21929391.02 | -80174480.82 |
| 12Story-Story6 | DCon4 Max | Top | 3390045.1 | 734979.54 | 23359.44 | -5277239.75 | 26314593.19 | -71088612.87 |
| 12Story-Story6 | DCon4 Max | Bottom | 3446985.1 | 734979.54 | 23359.44 | -5277239.75 | 26671564.87 | -70193294.25 |
| 12Story-Story6 | DCon4 Min | Top | 3378097.84 | 734979.54 | -27377.72 | -5965477.35 | 26137881.12 | -71466383.87 |
| 12Story-Story6 | DCon4 Min | Bottom | 3435037.84 | 734979.54 | -27377.72 | -5965477.35 | 26647064.29 | -70571065.24 |
| 12Story-Story6 | DCon5 Max | Top | 3180091.06 | -0.000184 | -606264.2 | -12837554.61 | 30651838.42 | -72054163.17 |
| 12Story-Story6 | DCon5 Max | Bottom | 3237031.06 | -0.000184 | -606264.2 | -12837554.61 | 32897681.02 | -73363783.17 |
| 12Story-Story6 | DCon5 Min | Top | 3168120.09 | -0.000469 | -657206.28 | -13530712.31 | 30474741.36 | -72432682.14 |
| 12Story-Story6 | DCon5 Min | Bottom | 3225060.09 | -0.000469 | -657206.28 | -13530712.31 | 32873410.21 | -73742302.14 |
| 12Story-Story6 | DCon6 Max | Top | 3285341.16 | 0.000266 | 656193.3 | 13491712.61 | 17269075.59 | -75315852.93 |
| 12Story-Story6 | DCon6 Max | Bottom | 3342281.16 | 0.000266 | 656193.3 | 13491712.61 | 15727545.69 | -76625472.93 |
| 12Story-Story6 | DCon6 Min | Top | 3273370.18 | 0 | 605251.22 | 12798554.91 | 17091978.53 | -75694371.89 |
| 12Story-Story6 | DCon6 Min | Bottom | 3330310.18 | 0 | 605251.22 | 12798554.91 | 15703274.87 | -77003991.89 |
| 12Story-Story6 | DCon7 Max | Top | 1643471.79 | -734979.54 | 26585.27 | 5934973.97 | 11015459.75 | -43503205.47 |
| 12Story-Story6 | DCon7 Max | Bottom | 1678511.79 | -734979.54 | 26585.27 | 5934973.97 | 11198503.95 | -46514064.09 |
| 12Story-Story6 | DCon7 Min | Top | 1631524.53 | -734979.54 | -24151.9 | 5246736.37 | 10838747.68 | -43880976.46 |
| 12Story-Story6 | DCon7 Min | Bottom | 1666564.53 | -734979.54 | -24151.9 | 5246736.37 | 11174003.37 | -46891835.08 |
| 12Story-Story6 | DCon8 Max | Top | 1958153.47 | 734979.54 | 23579.97 | -5268743.43 | 15724117.11 | -38309667.14 |
| 12Story-Story6 | DCon8 Max | Bottom | 1993193.47 | 734979.54 | 23579.97 | -5268743.43 | 15916177.21 | -36910648.52 |
| 12Story-Story6 | DCon8 Min | Top | 1946206.22 | 734979.54 | -27157.2 | -5956981.03 | 15547405.04 | -38687438.14 |
| 12Story-Story6 | DCon8 Min | Bottom | 1981246.22 | 734979.54 | -27157.2 | -5956981.03 | 15891676.63 | -37288419.51 |
| 12Story-Story6 | DCon9 Max | Top | 1748199.44 | -0.0001361 | -606043.67 | -12829058.28 | 20061362.34 | -39275217.44 |
| 12Story-Story6 | DCon9 Max | Bottom | 1783239.44 | -0.0001362 | -606043.67 | -12829058.28 | 22142293.36 | -40081137.44 |
| 12Story-Story6 | DCon9 Min | Top | 1736228.47 | -0.0004211 | -656985.76 | -13522215.99 | 19884265.28 | -39653736.41 |
| 12Story-Story6 | DCon9 Min | Bottom | 1771268.47 | -0.0004211 | -656985.76 | -13522215.99 | 22118022.55 | -40459656.41 |
| 12Story-Story6 | DCon10 Max | Top | 1853449.53 | 0.0003139 | 656413.83 | 13500208.93 | 6678599.51 | -42536907.2 |
| 12Story-Story6 | DCon10 Max | Bottom | 1888489.53 | 0.0003139 | 656413.83 | 13500208.94 | 4972158.03 | -43342827.2 |
| 12Story-Story6 | DCon10 Min | Top | 1841478.56 | 0 | 605471.74 | 12807051.23 | 6501502.45 | -42915426.16 |
| 12Story-Story6 | DCon10 Min | Bottom | 1876518.56 | 0 | 605471.74 | 12807051.23 | 4947887.22 | -43721346.16 |
| 12Story-Story5 | Dead | Top | 2588473.75 | -7.146E-05 | -357.46 | -13754.41 | 19189800.36 | -59302427.25 |
| 12Story-Story5 | Dead | Bottom | 2632273.75 | -7.146E-05 | -357.46 | -13754.41 | 19519372.73 | -60309827.25 |
| 12Story-Story5 | Live | Top | 355117.24 | 0 | -41.8 | -1619.12 | 2627206.22 | -8129369.6 |
| 12Story-Story5 | Live | Bottom | 355117.24 | 0 | -41.8 | -1619.12 | 2627331.62 | -8129369.6 |
| 12Story-Story5 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story5 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story5 | EX1 1 | Top | -157340.84 | -795138.94 | 1502.65 | 6053054.22 | -2358836.63 | -4801707.79 |
| 12Story-Story5 | EX1 1 | Bottom | -157340.84 | -795138.94 | 1502.65 | 6053054.22 | -2363344.58 | -7187124.62 |
| 12Story-Story5 | EX1 2 | Top | -163314.47 | -795138.94 | -23865.93 | 5754054.96 | -2371086.92 | -4612822.29 |
| 12Story-Story5 | EX1 2 | Bottom | -163314.47 | -795138.94 | -23865.93 | 5754054.96 | -2299489.13 | -6998239.13 |
| 12Story-Story5 | EX1 3 | Top | -151367.22 | -795138.94 | 26871.23 | 6352053.48 | -2346586.34 | -4990593.28 |
| 12Story-Story5 | EX1 3 | Bottom | -151367.22 | -795138.94 | 26871.23 | 6352053.48 | -2427200.03 | -7376010.12 |
| 12Story-Story5 | EY 1 | Top | -52625.05 | -0.0002288 | -692453.09 | -14572793.41 | 8585067.67 | 1630844.88 |
| 12Story-Story5 | EY 1 | Bottom | -52625.05 | -0.0002289 | -692453.09 | -14572793.41 | 10662426.93 | 1630844.88 |
| 12Story-Story5 | EY 2 | Top | -46639.56 | -9.259E-05 | -666982.05 | -14272132.81 | 8597203.07 | 1441585.39 |
| 12Story-Story5 | EY 2 | Bottom | -46639.56 | -9.259E-05 | -666982.05 | -14272132.81 | 10598149.22 | 1441585.39 |
| 12Story-Story5 | EY 3 | Top | -58610.53 | -0.0003651 | -717924.13 | -14873454.02 | 8572932.26 | 1820104.36 |
| 12Story-Story5 | EY 3 | Bottom | -58610.53 | -0.0003651 | -717924.13 | -14873454.02 | 10726704.65 | 1820104.36 |
| 12Story-Story5 | DCon1 | Top | 3623863.25 | -0.0001 | -500.44 | -19256.17 | 26865720.51 | -83023398.15 |
| 12Story-Story5 | DCon1 | Bottom | 3685183.25 | -0.0001 | -500.44 | -19256.17 | 27327121.83 | -84433758.15 |
| 12Story-Story5 | DCon2 | Top | 3674356.09 | -0.0001099 | -495.82 | -19095.88 | 27231290.4 | -84169904.07 |
| 12Story-Story5 | DCon2 | Bottom | 3726916.09 | -0.0001099 | -495.82 | -19095.88 | 27626977.87 | -85378784.07 |
| 12Story-Story5 | DCon3 Max | Top | 3568765.91 | -795138.94 | 26364.74 | 6332553.63 | 25227360.36 | -89835347.33 |
| 12Story-Story5 | DCon3 Max | Bottom | 3625705.91 | -795138.94 | 26364.74 | 6332553.63 | 25703027.04 | -93530384.16 |
| 12Story-Story5 | DCon3 Min | Top | 3556818.65 | -795138.95 | -24372.42 | 5734555.11 | 25202859.77 | -90213118.32 |
| 12Story-Story5 | DCon3 Min | Bottom | 3613758.65 | -795138.95 | -24372.42 | 5734555.11 | 25575316.14 | -93908155.15 |
| 12Story-Story5 | DCon4 Max | Top | 3883447.6 | 795138.94 | 23359.44 | -5773554.81 | 29945033.62 | -80231931.75 |
| 12Story-Story5 | DCon4 Max | Bottom | 3940387.6 | 795138.94 | 23359.44 | -5773554.81 | 30429716.2 | -79156134.92 |
| 12Story-Story5 | DCon4 Min | Top | 3871500.34 | 795138.94 | -27377.72 | -6371553.33 | 29920533.04 | -80609702.74 |
| 12Story-Story5 | DCon4 Min | Bottom | 3928440.34 | 795138.94 | -27377.72 | -6371553.33 | 30302005.3 | -79533905.91 |
| 12Story-Story5 | DCon5 Max | Top | 3673493.56 | -0.0002006 | -667488.54 | -14291632.66 | 36171149.77 | -83402420.67 |
| 12Story-Story5 | DCon5 Max | Bottom | 3730433.56 | -0.0002006 | -667488.54 | -14291632.66 | 38729220.82 | -84712040.67 |
| 12Story-Story5 | DCon5 Min | Top | 3661522.59 | -0.0004731 | -718430.62 | -14892953.87 | 36146878.96 | -83780939.64 |
| 12Story-Story5 | DCon5 Min | Bottom | 3718462.59 | -0.0004731 | -718430.62 | -14892953.87 | 38600665.39 | -85090559.64 |
| 12Story-Story5 | DCon6 Max | Top | 3778743.66 | 0.0002571 | 717417.64 | 14853954.17 | 19001014.44 | -86664110.43 |
| 12Story-Story5 | DCon6 Max | Bottom | 3835683.66 | 0.0002571 | 717417.64 | 14853954.17 | 17404366.95 | -87973730.43 |
| 12Story-Story5 | DCon6 Min | Top | 3766772.68 | 0 | 666475.56 | 14252632.96 | 18976743.62 | -87042629.39 |
| 12Story-Story5 | DCon6 Min | Bottom | 3823712.68 | 0 | 666475.56 | 14252632.96 | 17275811.52 | -88352249.39 |
| 12Story-Story5 | DCon7 Max | Top | 1919411.79 | -795138.94 | 26585.27 | 6341049.96 | 13005253.95 | -52054764.09 |
| 12Story-Story5 | DCon7 Max | Bottom | 1954451.79 | -795138.94 | 26585.27 | 6341049.96 | 13316009.06 | -55246100.93 |
| 12Story-Story5 | DCon7 Min | Top | 1907464.53 | -795138.94 | -24151.9 | 5743051.44 | 12980753.37 | -52432535.08 |
| 12Story-Story5 | DCon7 Min | Bottom | 1942504.53 | -795138.94 | -24151.9 | 5743051.44 | 13188298.15 | -55623871.92 |
| 12Story-Story5 | DCon8 Max | Top | 2234093.47 | 795138.94 | 23579.97 | -5765058.49 | 17722927.21 | -42451348.52 |
| 12Story-Story5 | DCon8 Max | Bottom | 2269133.47 | 795138.94 | 23579.97 | -5765058.49 | 18042698.22 | -40871851.68 |
| 12Story-Story5 | DCon8 Min | Top | 2222146.22 | 795138.94 | -27157.2 | -6363057.01 | 17698426.63 | -42829119.51 |
| 12Story-Story5 | DCon8 Min | Bottom | 2257186.22 | 795138.94 | -27157.2 | -6363057.01 | 17914987.32 | -41249622.67 |
| 12Story-Story5 | DCon9 Max | Top | 2024139.44 | -0.0001498 | -667268.01 | -14283136.33 | 23949043.36 | -45621837.44 |
| 12Story-Story5 | DCon9 Max | Bottom | 2059179.44 | -0.0001498 | -667268.01 | -14283136.33 | 26342202.84 | -46427757.44 |
| 12Story-Story5 | DCon9 Min | Top | 2012168.47 | -0.0004223 | -718210.1 | -14884457.55 | 23924772.55 | -46000356.41 |
| 12Story-Story5 | DCon9 Min | Bottom | 2047208.47 | -0.0004223 | -718210.1 | -14884457.55 | 26213647.4 | -46806276.41 |
| 12Story-Story5 | DCon10 Max | Top | 2129389.53 | 0.0003079 | 717638.16 | 14862450.5 | 6778908.03 | -48883527.2 |
| 12Story-Story5 | DCon10 Max | Bottom | 2164429.53 | 0.0003079 | 717638.16 | 14862450.5 | 5017348.97 | -49689447.2 |
| 12Story-Story5 | DCon10 Min | Top | 2117418.56 | 0 | 666696.08 | 14261129.28 | 6754637.22 | -49262046.16 |
| 12Story-Story5 | DCon10 Min | Bottom | 2152458.56 | 0 | 666696.08 | 14261129.28 | 4888793.54 | -50067966.16 |
| 12Story-Story4 | Dead | Top | 2933398.75 | -7.609E-05 | -357.46 | -13754.41 | 21777810.23 | -67235702.25 |
| 12Story-Story4 | Dead | Bottom | 2977198.75 | -7.609E-05 | -357.46 | -13754.41 | 22107382.6 | -68243102.25 |
| 12Story-Story4 | Live | Top | 400117.24 | 0 | -41.8 | -1619.12 | 2964831.62 | -9164369.6 |
| 12Story-Story4 | Live | Bottom | 400117.24 | 0 | -41.8 | -1619.12 | 2964957.01 | -9164369.6 |
| 12Story-Story4 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story4 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story4 | EX1 1 | Top | -157340.84 | -842915.54 | 1502.65 | 6411378.72 | -2363344.58 | -7187124.62 |
| 12Story-Story4 | EX1 1 | Bottom | -157340.84 | -842915.54 | 1502.65 | 6411378.72 | -2367852.53 | -9715871.25 |
| 12Story-Story4 | EX1 2 | Top | -163314.47 | -842915.54 | -23865.93 | 6148211.9 | -2299489.13 | -6998239.13 |
| 12Story-Story4 | EX1 2 | Bottom | -163314.47 | -842915.54 | -23865.93 | 6148211.9 | -2227891.34 | -9526985.76 |
| 12Story-Story4 | EX1 3 | Top | -151367.22 | -842915.54 | 26871.23 | 6674545.54 | -2427200.03 | -7376010.12 |
| 12Story-Story4 | EX1 3 | Bottom | -151367.22 | -842915.54 | 26871.23 | 6674545.54 | -2507813.73 | -9904756.75 |
| 12Story-Story4 | EY 1 | Top | -52625.05 | -0.0002367 | -741344.75 | -15697301.62 | 10662426.93 | 1630844.88 |
| 12Story-Story4 | EY 1 | Bottom | -52625.05 | -0.0002367 | -741344.75 | -15697301.62 | 12886461.18 | 1630844.88 |
| 12Story-Story4 | EY 2 | Top | -46639.56 | -0.0001022 | -715873.71 | -15433309.76 | 10598149.22 | 1441585.39 |
| 12Story-Story4 | EY 2 | Bottom | -46639.56 | -0.0001022 | -715873.71 | -15433309.76 | 12745770.34 | 1441585.39 |
| 12Story-Story4 | EY 3 | Top | -58610.53 | -0.0003713 | -766815.79 | -15961293.49 | 10726704.65 | 1820104.36 |
| 12Story-Story4 | EY 3 | Bottom | -58610.53 | -0.0003714 | -766815.79 | -15961293.49 | 13027152.02 | 1820104.36 |
| 12Story-Story4 | DCon1 | Top | 4106758.25 | -0.0001065 | -500.44 | -19256.17 | 30488934.33 | -94129983.15 |
| 12Story-Story4 | DCon1 | Bottom | 4168078.25 | -0.0001065 | -500.44 | -19256.17 | 30950335.65 | -95540343.15 |
| 12Story-Story4 | DCon2 | Top | 4160266.09 | -0.0001167 | -495.82 | -19095.88 | 30877102.87 | -95345834.07 |
| 12Story-Story4 | DCon2 | Bottom | 4212826.09 | -0.0001167 | -495.82 | -19095.88 | 31272790.34 | -96554714.07 |
| 12Story-Story4 | DCon3 Max | Top | 4062168.41 | -842915.54 | 26364.74 | 6655045.69 | 28976495.79 | -103569022 |
| 12Story-Story4 | DCon3 Max | Bottom | 4119108.41 | -842915.54 | 26364.74 | 6655045.69 | 29476663.06 | -107407388 |
| 12Story-Story4 | DCon3 Min | Top | 4050221.15 | -842915.54 | -24372.42 | 6128712.05 | 28848784.89 | -103946793 |
| 12Story-Story4 | DCon3 Min | Bottom | 4107161.15 | -842915.54 | -24372.42 | 6128712.05 | 29196740.67 | -107785159 |
| 12Story-Story4 | DCon4 Max | Top | 4376850.1 | 842915.54 | 23359.44 | -6167711.75 | 33703184.95 | -89194772.42 |
| 12Story-Story4 | DCon4 Max | Bottom | 4433790.1 | 842915.54 | 23359.44 | -6167711.75 | 34212368.12 | -87975645.78 |
| 12Story-Story4 | DCon4 Min | Top | 4364902.84 | 842915.54 | -27377.72 | -6694045.39 | 33575474.05 | -89572543.41 |
| 12Story-Story4 | DCon4 Min | Bottom | 4421842.84 | 842915.54 | -27377.72 | -6694045.39 | 33932445.73 | -88353416.77 |
| 12Story-Story4 | DCon5 Max | Top | 4166896.06 | -0.0002169 | -716380.2 | -15452809.61 | 42002689.57 | -94750678.17 |
| 12Story-Story4 | DCon5 Max | Bottom | 4223836.06 | -0.000217 | -716380.2 | -15452809.61 | 44731706.42 | -96060298.18 |
| 12Story-Story4 | DCon5 Min | Top | 4154925.09 | -0.0004861 | -767322.28 | -15980793.34 | 41874134.14 | -95129197.14 |
| 12Story-Story4 | DCon5 Min | Bottom | 4211865.09 | -0.0004861 | -767322.28 | -15980793.34 | 44450324.74 | -96438817.14 |
| 12Story-Story4 | DCon6 Max | Top | 4272146.16 | 0.0002565 | 766309.3 | 15941793.64 | 20677835.7 | -98012367.93 |
| 12Story-Story4 | DCon6 Max | Bottom | 4329086.16 | 0.0002566 | 766309.3 | 15941793.64 | 18958784.05 | -99321987.93 |
| 12Story-Story4 | DCon6 Min | Top | 4260175.18 | 0 | 715367.22 | 15413809.9 | 20549280.27 | -98390886.89 |
| 12Story-Story4 | DCon6 Min | Bottom | 4317115.18 | 0 | 715367.22 | 15413809.9 | 18677402.37 | -99700506.89 |
| 12Story-Story4 | DCon7 Max | Top | 2195351.79 | -842915.54 | 26585.27 | 6663542.01 | 15122759.06 | -60786800.93 |
| 12Story-Story4 | DCon7 Max | Bottom | 2230391.79 | -842915.54 | 26585.27 | 6663542.01 | 15458014.75 | -64121467.56 |
| 12Story-Story4 | DCon7 Min | Top | 2183404.53 | -842915.54 | -24151.9 | 6137208.37 | 14995048.15 | -61164571.92 |
| 12Story-Story4 | DCon7 Min | Bottom | 2218444.53 | -842915.54 | -24151.9 | 6137208.37 | 15178092.36 | -64499238.55 |
| 12Story-Story4 | DCon8 Max | Top | 2510033.47 | 842915.54 | 23579.97 | -6159215.43 | 19849448.22 | -46412551.68 |
| 12Story-Story4 | DCon8 Max | Bottom | 2545073.47 | 842915.54 | 23579.97 | -6159215.43 | 20193719.81 | -44689725.05 |
| 12Story-Story4 | DCon8 Min | Top | 2498086.22 | 842915.54 | -27157.2 | -6685549.06 | 19721737.32 | -46790322.67 |
| 12Story-Story4 | DCon8 Min | Bottom | 2533126.22 | 842915.54 | -27157.2 | -6685549.06 | 19913797.42 | -45067496.04 |
| 12Story-Story4 | DCon9 Max | Top | 2300079.44 | -0.000163 | -716159.67 | -15444313.28 | 28148952.84 | -51968457.44 |
| 12Story-Story4 | DCon9 Max | Bottom | 2335119.44 | -0.0001631 | -716159.67 | -15444313.28 | 30713058.11 | -52774377.44 |
| 12Story-Story4 | DCon9 Min | Top | 2288108.47 | -0.0004322 | -767101.76 | -15972297.02 | 28020397.4 | -52346976.41 |
| 12Story-Story4 | DCon9 Min | Bottom | 2323148.47 | -0.0004322 | -767101.76 | -15972297.02 | 30431676.43 | -53152896.41 |
| 12Story-Story4 | DCon10 Max | Top | 2405329.53 | 0.0003105 | 766529.83 | 15950289.97 | 6824098.97 | -55230147.2 |
| 12Story-Story4 | DCon10 Max | Bottom | 2440369.53 | 0.0003105 | 766529.83 | 15950289.97 | 4940135.74 | -56036067.2 |
| 12Story-Story4 | DCon10 Min | Top | 2393358.56 | 0 | 715587.74 | 15422306.23 | 6695543.54 | -55608666.16 |
| 12Story-Story4 | DCon10 Min | Bottom | 2428398.56 | 0 | 715587.74 | 15422306.23 | 4658754.06 | -56414586.16 |
| 12Story-Story3 | Dead | Top | 3249254.85 | -7.841E-05 | -526.32 | -13956.5 | 23928750.76 | -74727321.49 |
| 12Story-Story3 | Dead | Bottom | 3308654.85 | -7.841E-05 | -526.32 | -13956.5 | 24375829.7 | -76093521.49 |
| 12Story-Story3 | Live | Top | 441047.77 | 0 | -37.6 | -1479.75 | 3241614.84 | -10137876.38 |
| 12Story-Story3 | Live | Bottom | 441047.77 | 0 | -37.6 | -1479.75 | 3241727.65 | -10137876.38 |
| 12Story-Story3 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story3 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story3 | EX1 1 | Top | 35510.21 | -879077.81 | 1257.53 | 6714629.29 | 520333.71 | -12538063.9 |
| 12Story-Story3 | EX1 1 | Bottom | 35510.21 | -879077.81 | 1257.53 | 6714629.29 | 516561.11 | -15175297.33 |
| 12Story-Story3 | EX1 2 | Top | 32128.25 | -879077.81 | -3154.37 | 6698268.61 | 697035.54 | -12386268.77 |
| 12Story-Story3 | EX1 2 | Bottom | 32128.25 | -879077.81 | -3154.37 | 6698268.61 | 706498.66 | -15023502.21 |
| 12Story-Story3 | EX1 3 | Top | 38892.16 | -879077.81 | 5669.44 | 6730989.97 | 343631.88 | -12689859.02 |
| 12Story-Story3 | EX1 3 | Bottom | 38892.16 | -879077.81 | 5669.44 | 6730989.97 | 326623.57 | -15327092.45 |
| 12Story-Story3 | EY 1 | Top | -102297.67 | -0.0002356 | -634591.16 | -15296970.52 | 12089244.63 | 2384534.5 |
| 12Story-Story3 | EY 1 | Bottom | -102297.67 | -0.0002356 | -634591.16 | -15296970.52 | 13993018.11 | 2384534.5 |
| 12Story-Story3 | EY 2 | Top | -98918.7 | -0.0001043 | -630206.25 | -15281608.73 | 11911592.96 | 2232577.88 |
| 12Story-Story3 | EY 2 | Bottom | -98918.7 | -0.0001043 | -630206.25 | -15281608.73 | 13802211.7 | 2232577.88 |
| 12Story-Story3 | EY 3 | Top | -105676.65 | -0.0003668 | -638976.08 | -15312332.32 | 12266896.29 | 2536491.12 |
| 12Story-Story3 | EY 3 | Bottom | -105676.65 | -0.0003668 | -638976.08 | -15312332.32 | 14183824.53 | 2536491.12 |
| 12Story-Story3 | DCon1 | Top | 4548956.79 | -0.0001098 | -736.84 | -19539.09 | 33500251.06 | -104618250 |
| 12Story-Story3 | DCon1 | Bottom | 4632116.79 | -0.0001098 | -736.84 | -19539.09 | 34126161.59 | -106530930 |
| 12Story-Story3 | DCon2 | Top | 4604782.26 | -0.0001201 | -691.74 | -19115.4 | 33901084.65 | -105893388 |
| 12Story-Story3 | DCon2 | Bottom | 4676062.26 | -0.0001201 | -691.74 | -19115.4 | 34437759.88 | -107532828 |
| 12Story-Story3 | DCon3 Max | Top | 4703971.24 | -879077.81 | 4947.63 | 6711366.78 | 35046026.37 | -119669663 |
| 12Story-Story3 | DCon3 Max | Bottom | 4781191.24 | -879077.81 | 4947.63 | 6711366.78 | 35636804.92 | -124082957 |
| 12Story-Story3 | DCon3 Min | Top | 4697207.33 | -879077.81 | -3876.18 | 6678645.42 | 34692622.71 | -119973253 |
| 12Story-Story3 | DCon3 Min | Bottom | 4774427.33 | -879077.81 | -3876.18 | 6678645.42 | 35256929.83 | -124386547 |
| 12Story-Story3 | DCon4 Max | Top | 4632950.83 | 879077.81 | 2432.56 | -6717891.81 | 34005358.94 | -94593535.29 |
| 12Story-Story3 | DCon4 Max | Bottom | 4710170.83 | 879077.81 | 2432.56 | -6717891.81 | 34603682.69 | -93732361.86 |
| 12Story-Story3 | DCon4 Min | Top | 4626186.92 | 879077.81 | -6391.25 | -6750613.17 | 33651955.28 | -94897125.53 |
| 12Story-Story3 | DCon4 Min | Bottom | 4703406.92 | 879077.81 | -6391.25 | -6750613.17 | 34223807.61 | -94035952.1 |
| 12Story-Story3 | DCon5 Max | Top | 4566160.38 | -0.0002225 | -630928.06 | -15301231.92 | 46615887.12 | -104746903 |
| 12Story-Story3 | DCon5 Max | Bottom | 4643380.38 | -0.0002225 | -630928.06 | -15301231.92 | 49114130.79 | -106522963 |
| 12Story-Story3 | DCon5 Min | Top | 4559402.43 | -0.000485 | -639697.89 | -15331955.52 | 46260583.78 | -105050816 |
| 12Story-Story3 | DCon5 Min | Bottom | 4636622.43 | -0.000485 | -639697.89 | -15331955.52 | 48732517.96 | -106826876 |
| 12Story-Story3 | DCon6 Max | Top | 4770755.73 | 0.0002487 | 638254.27 | 15292709.12 | 22437397.86 | -109515972 |
| 12Story-Story3 | DCon6 Max | Bottom | 4847975.73 | 0.0002487 | 638254.27 | 15292709.12 | 21128094.56 | -111292032 |
| 12Story-Story3 | DCon6 Min | Top | 4763997.77 | 0 | 629484.43 | 15261985.53 | 22082094.53 | -109819885 |
| 12Story-Story3 | DCon6 Min | Bottom | 4841217.77 | 0 | 629484.43 | 15261985.53 | 20746481.73 | -111595945 |
| 12Story-Story3 | DCon7 Max | Top | 2638296.04 | -879077.81 | 5248.39 | 6719824.78 | 19840036.15 | -72168125.96 |
| 12Story-Story3 | DCon7 Max | Bottom | 2685816.04 | -879077.81 | 5248.39 | 6719824.78 | 20207162.42 | -75898319.4 |
| 12Story-Story3 | DCon7 Min | Top | 2631532.13 | -879077.81 | -3575.42 | 6687103.42 | 19486632.49 | -72471716.21 |
| 12Story-Story3 | DCon7 Min | Bottom | 2679052.13 | -879077.81 | -3575.42 | 6687103.42 | 19827287.33 | -76201909.64 |
| 12Story-Story3 | DCon8 Max | Top | 2567275.63 | 879077.81 | 2733.32 | -6709433.81 | 18799368.72 | -47091998.17 |
| 12Story-Story3 | DCon8 Max | Bottom | 2614795.63 | 879077.81 | 2733.32 | -6709433.81 | 19174040.19 | -45547724.74 |
| 12Story-Story3 | DCon8 Min | Top | 2560511.72 | 879077.81 | -6090.49 | -6742155.17 | 18445965.06 | -47395588.42 |
| 12Story-Story3 | DCon8 Min | Bottom | 2608031.72 | 879077.81 | -6090.49 | -6742155.17 | 18794165.11 | -45851314.98 |
| 12Story-Story3 | DCon9 Max | Top | 2500485.18 | -0.000167 | -630627.3 | -15292773.92 | 31409896.9 | -57245366.07 |
| 12Story-Story3 | DCon9 Max | Bottom | 2548005.18 | -0.000167 | -630627.3 | -15292773.92 | 33684488.29 | -58338326.07 |
| 12Story-Story3 | DCon9 Min | Top | 2493727.23 | -0.0004296 | -639397.13 | -15323497.52 | 31054593.57 | -57549279.31 |
| 12Story-Story3 | DCon9 Min | Bottom | 2541247.23 | -0.0004296 | -639397.13 | -15323497.52 | 33302875.46 | -58642239.31 |
| 12Story-Story3 | DCon10 Max | Top | 2705080.53 | 0.0003041 | 638555.03 | 15301167.12 | 7231407.65 | -62014435.07 |
| 12Story-Story3 | DCon10 Max | Bottom | 2752600.53 | 0.0003041 | 638555.03 | 15301167.12 | 5698452.06 | -63107395.07 |
| 12Story-Story3 | DCon10 Min | Top | 2698322.58 | 0 | 629785.19 | 15270443.53 | 6876104.31 | -62318348.31 |
| 12Story-Story3 | DCon10 Min | Bottom | 2745842.58 | 0 | 629785.19 | 15270443.53 | 5316839.23 | -63411308.31 |
| 12Story-Story2 | Dead | Top | 3609779.85 | -7.91E-05 | -526.32 | -13956.5 | 26634267.2 | -83019396.49 |
| 12Story-Story2 | Dead | Bottom | 3669179.85 | -7.91E-05 | -526.32 | -13956.5 | 27081346.15 | -84385596.49 |
| 12Story-Story2 | Live | Top | 486047.77 | 0 | -37.6 | -1479.75 | 3579227.65 | -11172876.38 |
| 12Story-Story2 | Live | Bottom | 486047.77 | 0 | -37.6 | -1479.75 | 3579340.46 | -11172876.38 |
| 12Story-Story2 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story2 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story2 | EX1 1 | Top | 35510.21 | -903390.32 | 1257.53 | 6896973.07 | 516561.11 | -15175297.33 |
| 12Story-Story2 | EX1 1 | Bottom | 35510.21 | -903390.32 | 1257.53 | 6896973.07 | 512788.51 | -17885468.28 |
| 12Story-Story2 | EX1 2 | Top | 32128.25 | -903390.32 | -3154.37 | 6898846.77 | 706498.66 | -15023502.21 |
| 12Story-Story2 | EX1 2 | Bottom | 32128.25 | -903390.32 | -3154.37 | 6898846.77 | 715961.77 | -17733673.16 |
| 12Story-Story2 | EX1 3 | Top | 38892.16 | -903390.32 | 5669.44 | 6895099.38 | 326623.57 | -15327092.45 |
| 12Story-Story2 | EX1 3 | Bottom | 38892.16 | -903390.32 | 5669.44 | 6895099.38 | 309615.26 | -18037263.4 |
| 12Story-Story2 | EY 1 | Top | -102297.67 | -0.0002364 | -659901.69 | -15879112.54 | 13993018.11 | 2384534.5 |
| 12Story-Story2 | EY 1 | Bottom | -102297.67 | -0.0002364 | -659901.69 | -15879112.54 | 15972723.17 | 2384534.5 |
| 12Story-Story2 | EY 2 | Top | -98918.7 | -0.0001054 | -655516.77 | -15882733.63 | 13802211.7 | 2232577.88 |
| 12Story-Story2 | EY 2 | Bottom | -98918.7 | -0.0001054 | -655516.77 | -15882733.63 | 15768762.01 | 2232577.88 |
| 12Story-Story2 | EY 3 | Top | -105676.65 | -0.0003673 | -664286.6 | -15875491.44 | 14183824.53 | 2536491.12 |
| 12Story-Story2 | EY 3 | Bottom | -105676.65 | -0.0003673 | -664286.6 | -15875491.44 | 16176684.33 | 2536491.12 |
| 12Story-Story2 | DCon1 | Top | 5053691.79 | -0.0001107 | -736.84 | -19539.09 | 37287974.09 | -116227155 |
| 12Story-Story2 | DCon1 | Bottom | 5136851.79 | -0.0001107 | -736.84 | -19539.09 | 37913884.61 | -118139835 |
| 12Story-Story2 | DCon2 | Top | 5109412.26 | -0.0001211 | -691.74 | -19115.4 | 37687884.88 | -117499878 |
| 12Story-Story2 | DCon2 | Bottom | 5180692.26 | -0.0001211 | -691.74 | -19115.4 | 38224560.11 | -119139318 |
| 12Story-Story2 | DCon3 Max | Top | 5217653.74 | -903390.32 | 4947.63 | 6879223.57 | 38910273.67 | -134121594 |
| 12Story-Story2 | DCon3 Max | Bottom | 5294873.74 | -903390.32 | 4947.63 | 6879223.57 | 39501052.22 | -138607825 |
| 12Story-Story2 | DCon3 Min | Top | 5210889.83 | -903390.32 | -3876.18 | 6875476.18 | 38530398.58 | -134425184 |
| 12Story-Story2 | DCon3 Min | Bottom | 5288109.83 | -903390.32 | -3876.18 | 6875476.18 | 39094705.71 | -138911415 |
| 12Story-Story2 | DCon4 Max | Top | 5146633.33 | 903390.32 | 2432.56 | -6914722.57 | 37877151.44 | -103770999 |
| 12Story-Story2 | DCon4 Max | Bottom | 5223853.33 | 903390.32 | 2432.56 | -6914722.57 | 38475475.2 | -102836888 |
| 12Story-Story2 | DCon4 Min | Top | 5139869.42 | 903390.32 | -6391.25 | -6918469.97 | 37497276.36 | -104074590 |
| 12Story-Story2 | DCon4 Min | Bottom | 5217089.42 | 903390.32 | -6391.25 | -6918469.97 | 38069128.68 | -103140479 |
| 12Story-Story2 | DCon5 Max | Top | 5079842.88 | -0.0002246 | -656238.58 | -15895114.64 | 52387599.54 | -116561601 |
| 12Story-Story2 | DCon5 Max | Bottom | 5157062.88 | -0.0002246 | -656238.58 | -15895114.64 | 54961774.78 | -118337661 |
| 12Story-Story2 | DCon5 Min | Top | 5073084.93 | -0.0004865 | -665008.41 | -15902356.83 | 52005986.71 | -116865514 |
| 12Story-Story2 | DCon5 Min | Bottom | 5150304.93 | -0.0004865 | -665008.41 | -15902356.83 | 54553852.46 | -118641574 |
| 12Story-Story2 | DCon6 Max | Top | 5284438.23 | 0.0002481 | 663564.79 | 15863110.43 | 24401563.31 | -121330670 |
| 12Story-Story2 | DCon6 Max | Bottom | 5361658.23 | 0.0002481 | 663564.79 | 15863110.43 | 23016328.45 | -123106730 |
| 12Story-Story2 | DCon6 Min | Top | 5277680.27 | 0 | 654794.96 | 15855868.25 | 24019950.48 | -121634583 |
| 12Story-Story2 | DCon6 Min | Bottom | 5354900.27 | 0 | 654794.96 | 15855868.25 | 22608406.12 | -123410643 |
| 12Story-Story2 | DCon7 Max | Top | 2926716.04 | -903390.32 | 5248.39 | 6887681.57 | 22013912.42 | -81439019.4 |
| 12Story-Story2 | DCon7 Max | Bottom | 2974236.04 | -903390.32 | 5248.39 | 6887681.57 | 22381038.69 | -85242150.35 |
| 12Story-Story2 | DCon7 Min | Top | 2919952.13 | -903390.32 | -3575.42 | 6883934.18 | 21634037.33 | -81742609.64 |
| 12Story-Story2 | DCon7 Min | Bottom | 2967472.13 | -903390.32 | -3575.42 | 6883934.18 | 21974692.18 | -85545740.59 |
| 12Story-Story2 | DCon8 Max | Top | 2855695.63 | 903390.32 | 2733.32 | -6906264.57 | 20980790.19 | -51088424.74 |
| 12Story-Story2 | DCon8 Max | Bottom | 2903215.63 | 903390.32 | 2733.32 | -6906264.57 | 21355461.67 | -49471213.79 |
| 12Story-Story2 | DCon8 Min | Top | 2848931.72 | 903390.32 | -6090.49 | -6910011.97 | 20600915.11 | -51392014.98 |
| 12Story-Story2 | DCon8 Min | Bottom | 2896451.72 | 903390.32 | -6090.49 | -6910011.97 | 20949115.15 | -49774804.03 |
| 12Story-Story2 | DCon9 Max | Top | 2788905.18 | -0.0001687 | -655937.82 | -15886656.64 | 35491238.29 | -63879026.07 |
| 12Story-Story2 | DCon9 Max | Bottom | 2836425.18 | -0.0001687 | -655937.82 | -15886656.64 | 37841761.25 | -64971986.08 |
| 12Story-Story2 | DCon9 Min | Top | 2782147.23 | -0.0004306 | -664707.65 | -15893898.83 | 35109625.46 | -64182939.31 |
| 12Story-Story2 | DCon9 Min | Bottom | 2829667.23 | -0.0004306 | -664707.65 | -15893898.83 | 37433838.93 | -65275899.32 |
| 12Story-Story2 | DCon10 Max | Top | 2993500.53 | 0.0003041 | 663865.55 | 15871568.43 | 7505202.06 | -68648095.07 |
| 12Story-Story2 | DCon10 Max | Bottom | 3041020.53 | 0.0003041 | 663865.55 | 15871568.43 | 5896314.91 | -69741055.07 |
| 12Story-Story2 | DCon10 Min | Top | 2986742.58 | 0 | 655095.72 | 15864326.25 | 7123589.23 | -68952008.31 |
| 12Story-Story2 | DCon10 Min | Bottom | 3034262.58 | 0 | 655095.72 | 15864326.25 | 5488392.59 | -70044968.31 |
| 12Story-Story1 | Dead | Top | 3970304.85 | -7.924E-05 | -526.32 | -13956.5 | 29339783.65 | -91311471.49 |
| 12Story-Story1 | Dead | Bottom | 4029704.85 | -7.924E-05 | -526.32 | -13956.5 | 29786862.6 | -92677671.49 |
| 12Story-Story1 | Live | Top | 531047.77 | 0 | -37.6 | -1479.75 | 3916840.46 | -12207876.38 |
| 12Story-Story1 | Live | Bottom | 531047.77 | 0 | -37.6 | -1479.75 | 3916953.26 | -12207876.38 |
| 12Story-Story1 | EX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story1 | EX | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Story1 | EX1 1 | Top | 35510.21 | -915273.34 | 1257.53 | 6986095.78 | 512788.51 | -17885468.28 |
| 12Story-Story1 | EX1 1 | Bottom | 35510.21 | -915273.34 | 1257.53 | 6986095.78 | 509015.91 | -20631288.31 |
| 12Story-Story1 | EX1 2 | Top | 32128.25 | -915273.34 | -3154.37 | 6996881.74 | 715961.77 | -17733673.16 |
| 12Story-Story1 | EX1 2 | Bottom | 32128.25 | -915273.34 | -3154.37 | 6996881.74 | 725424.89 | -20479493.19 |
| 12Story-Story1 | EX1 3 | Top | 38892.16 | -915273.34 | 5669.44 | 6975309.81 | 309615.26 | -18037263.4 |
| 12Story-Story1 | EX1 3 | Bottom | 38892.16 | -915273.34 | 5669.44 | 6975309.81 | 292606.94 | -20783083.43 |
| 12Story-Story1 | EY 1 | Top | -102297.67 | -0.0002361 | -672486.6 | -16168565.65 | 15972723.17 | 2384534.5 |
| 12Story-Story1 | EY 1 | Bottom | -102297.67 | -0.0002361 | -672486.6 | -16168565.65 | 17990182.98 | 2384534.5 |
| 12Story-Story1 | EY 2 | Top | -98918.7 | -0.0001051 | -668101.69 | -16181625.43 | 15768762.01 | 2232577.88 |
| 12Story-Story1 | EY 2 | Bottom | -98918.7 | -0.0001051 | -668101.69 | -16181625.43 | 17773067.07 | 2232577.88 |
| 12Story-Story1 | EY 3 | Top | -105676.65 | -0.000367 | -676871.52 | -16155505.87 | 16176684.33 | 2536491.12 |
| 12Story-Story1 | EY 3 | Bottom | -105676.65 | -0.000367 | -676871.52 | -16155505.87 | 18207298.89 | 2536491.11 |
| 12Story-Story1 | DCon1 | Top | 5558426.79 | -0.0001109 | -736.84 | -19539.09 | 41075697.11 | -127836060 |
| 12Story-Story1 | DCon1 | Bottom | 5641586.79 | -0.0001109 | -736.84 | -19539.09 | 41701607.64 | -129748740 |
| 12Story-Story1 | DCon2 | Top | 5614042.26 | -0.0001213 | -691.74 | -19115.4 | 41474685.11 | -129106368 |
| 12Story-Story1 | DCon2 | Bottom | 5685322.26 | -0.0001213 | -691.74 | -19115.4 | 42011360.34 | -130745808 |
| 12Story-Story1 | DCon3 Max | Top | 5731336.24 | -915273.34 | 4947.63 | 6977258.55 | 42774520.97 | -148646462 |
| 12Story-Story1 | DCon3 Max | Bottom | 5808556.24 | -915273.34 | 4947.63 | 6977258.55 | 43365299.53 | -153168343 |
| 12Story-Story1 | DCon3 Min | Top | 5724572.33 | -915273.34 | -3876.18 | 6955686.61 | 42368174.46 | -148950053 |
| 12Story-Story1 | DCon3 Min | Bottom | 5801792.33 | -915273.34 | -3876.18 | 6955686.61 | 42932481.58 | -153471933 |
| 12Story-Story1 | DCon4 Max | Top | 5660315.83 | 915273.34 | 2432.56 | -6994933.01 | 41748943.95 | -112875526 |
| 12Story-Story1 | DCon4 Max | Bottom | 5737535.83 | 915273.34 | 2432.56 | -6994933.01 | 42347267.7 | -111905766 |
| 12Story-Story1 | DCon4 Min | Top | 5653551.92 | 915273.34 | -6391.25 | -7016504.94 | 41342597.43 | -113179116 |
| 12Story-Story1 | DCon4 Min | Bottom | 5730771.92 | 915273.34 | -6391.25 | -7016504.94 | 41914449.75 | -112209356 |
| 12Story-Story1 | DCon5 Max | Top | 5593525.38 | -0.0002245 | -668823.5 | -16175129.06 | 58235243.53 | -128376298 |
| 12Story-Story1 | DCon5 Max | Bottom | 5670745.38 | -0.0002245 | -668823.5 | -16175129.06 | 60847173.53 | -130152358 |
| 12Story-Story1 | DCon5 Min | Top | 5586767.43 | -0.0004864 | -677593.33 | -16201248.63 | 57827321.21 | -128680211 |
| 12Story-Story1 | DCon5 Min | Bottom | 5663987.43 | -0.0004864 | -677593.33 | -16201248.63 | 60412941.71 | -130456271 |
| 12Story-Story1 | DCon6 Max | Top | 5798120.73 | 0.0002476 | 676149.71 | 16162002.23 | 26289797.2 | -133145367 |
| 12Story-Story1 | DCon6 Max | Bottom | 5875340.73 | 0.0002476 | 676149.71 | 16162002.23 | 24866807.57 | -134921427 |
| 12Story-Story1 | DCon6 Min | Top | 5791362.77 | 0 | 667379.87 | 16135882.67 | 25881874.87 | -133449280 |
| 12Story-Story1 | DCon6 Min | Bottom | 5868582.77 | 0 | 667379.87 | 16135882.67 | 24432575.75 | -135225340 |
| 12Story-Story1 | DCon7 Max | Top | 3215136.04 | -915273.34 | 5248.39 | 6985716.55 | 24187788.69 | -90782850.35 |
| 12Story-Story1 | DCon7 Max | Bottom | 3262656.04 | -915273.34 | 5248.39 | 6985716.55 | 24554914.96 | -94621630.38 |
| 12Story-Story1 | DCon7 Min | Top | 3208372.13 | -915273.34 | -3575.42 | 6964144.61 | 23781442.18 | -91086440.59 |
| 12Story-Story1 | DCon7 Min | Bottom | 3255892.13 | -915273.34 | -3575.42 | 6964144.61 | 24122097.02 | -94925220.62 |
| 12Story-Story1 | DCon8 Max | Top | 3144115.63 | 915273.34 | 2733.32 | -6986475.01 | 23162211.67 | -55011913.79 |
| 12Story-Story1 | DCon8 Max | Bottom | 3191635.63 | 915273.34 | 2733.32 | -6986475.01 | 23536883.14 | -53359053.76 |
| 12Story-Story1 | DCon8 Min | Top | 3137351.72 | 915273.34 | -6090.49 | -7008046.94 | 22755865.15 | -55315504.03 |
| 12Story-Story1 | DCon8 Min | Bottom | 3184871.72 | 915273.34 | -6090.49 | -7008046.94 | 23104065.19 | -53662644 |
| 12Story-Story1 | DCon9 Max | Top | 3077325.18 | -0.0001685 | -668522.74 | -16166671.06 | 39648511.25 | -70512686.08 |
| 12Story-Story1 | DCon9 Max | Bottom | 3124845.18 | -0.0001685 | -668522.74 | -16166671.06 | 42036788.97 | -71605646.08 |
| 12Story-Story1 | DCon9 Min | Top | 3070567.23 | -0.0004304 | -677292.57 | -16192790.63 | 39240588.93 | -70816599.32 |
| 12Story-Story1 | DCon9 Min | Bottom | 3118087.23 | -0.0004304 | -677292.57 | -16192790.63 | 41602557.14 | -71909559.32 |
| 12Story-Story1 | DCon10 Max | Top | 3281920.53 | 0.0003036 | 676450.47 | 16170460.23 | 7703064.91 | -75281755.07 |
| 12Story-Story1 | DCon10 Max | Bottom | 3329440.53 | 0.0003036 | 676450.47 | 16170460.23 | 6056423.01 | -76374715.07 |
| 12Story-Story1 | DCon10 Min | Top | 3275162.58 | 0 | 667680.63 | 16144340.67 | 7295142.59 | -75585668.31 |
| 12Story-Story1 | DCon10 Min | Bottom | 3322682.58 | 0 | 667680.63 | 16144340.67 | 5622191.19 | -76678628.31 |

## 5.3 Point Results

Table 5.7 - Joint Reactions

| Story | Joint Label | Unique Name | Load Case/Combo | FX kgf | FY kgf | FZ kgf | MX kgf-m | MY kgf-m | MZ kgf-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12Story-Base | 1 | 354 | Dead | 607.02 | -603.6 | 25272.08 | 574.67 | 582.03 | -0.87 |
| 12Story-Base | 1 | 354 | Live | -0.51 | -0.34 | -4.28 | 0.68 | -0.78 | -0.08 |
| 12Story-Base | 1 | 354 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 1 | 354 | EX1 1 | -9285.48 | 213.9 | -18713.58 | -389.73 | -15632.58 | -28.79 |
| 12Story-Base | 1 | 354 | EX1 2 | -9900.71 | -1306.94 | -16343.97 | 2185.58 | -16640.31 | 54.05 |
| 12Story-Base | 1 | 354 | EX1 3 | -8670.25 | 1734.75 | -21083.18 | -2965.04 | -14624.85 | -111.64 |
| 12Story-Base | 1 | 354 | EY 1 | 1092.99 | -14660.54 | 34702.9 | 25028.27 | 1830.51 | -156.87 |
| 12Story-Base | 1 | 354 | EY 2 | 1715.67 | -13126.66 | 32318.74 | 22431.56 | 2849.96 | -240.62 |
| 12Story-Base | 1 | 354 | EY 3 | 470.31 | -16194.42 | 37087.05 | 27624.98 | 811.05 | -73.12 |
| 12Story-Base | 1 | 354 | DCon1 | 849.82 | -845.04 | 35380.92 | 804.54 | 814.85 | -1.21 |
| 12Story-Base | 1 | 354 | DCon2 | 727.6 | -724.86 | 30319.66 | 690.69 | 697.19 | -1.17 |
| 12Story-Base | 1 | 354 | DCon3 Max | -7881.64 | 949.73 | 16505.46 | 2933.33 | -13868.99 | 52.84 |
| 12Story-Base | 1 | 354 | DCon3 Min | -9112.1 | -2091.96 | 11766.26 | -2217.28 | -15884.45 | -112.85 |
| 12Story-Base | 1 | 354 | DCon4 Max | 10689.32 | 521.92 | 53932.61 | 3712.79 | 17396.18 | 110.43 |
| 12Story-Base | 1 | 354 | DCon4 Min | 9458.86 | -2519.77 | 49193.41 | -1437.83 | 15380.71 | -55.26 |
| 12Story-Base | 1 | 354 | DCon5 Max | 2504.28 | -13911.69 | 69936.49 | 28372.73 | 3605.82 | -74.33 |
| 12Story-Base | 1 | 354 | DCon5 Min | 1258.92 | -16979.45 | 65168.17 | 23179.32 | 1566.91 | -241.83 |
| 12Story-Base | 1 | 354 | DCon6 Max | 318.3 | 15409.4 | 530.69 | -21683.81 | -55.19 | 239.41 |
| 12Story-Base | 1 | 354 | DCon6 Min | -927.06 | 12341.64 | -4237.62 | -26877.23 | -2094.1 | 71.91 |
| 12Story-Base | 1 | 354 | DCon7 Max | -8184.64 | 1251.87 | 3873.69 | 2645.31 | -14159.23 | 53.36 |
| 12Story-Base | 1 | 354 | DCon7 Min | -9415.09 | -1789.82 | -865.51 | -2505.3 | -16174.69 | -112.33 |
| 12Story-Base | 1 | 354 | DCon8 Max | 10386.32 | 824.06 | 41300.84 | 3424.77 | 17105.94 | 110.94 |
| 12Story-Base | 1 | 354 | DCon8 Min | 9155.86 | -2217.63 | 36561.64 | -1725.84 | 15090.48 | -54.75 |
| 12Story-Base | 1 | 354 | DCon9 Max | 2201.28 | -13609.55 | 57304.72 | 28084.72 | 3315.59 | -73.81 |
| 12Story-Base | 1 | 354 | DCon9 Min | 955.93 | -16677.31 | 52536.41 | 22891.3 | 1276.68 | -241.31 |
| 12Story-Base | 1 | 354 | DCon10 Max | 15.3 | 15711.54 | -12101.08 | -21971.83 | -345.42 | 239.93 |
| 12Story-Base | 1 | 354 | DCon10 Min | -1230.05 | 12643.78 | -16869.39 | -27165.25 | -2384.34 | 72.42 |
| 12Story-Base | 2 | 360 | Dead | -499.44 | -546.29 | 53872.07 | 528.33 | -480.78 | -0.87 |
| 12Story-Base | 2 | 360 | Live | 11.83 | 4.48 | 3929.7 | -3.1 | 11.07 | -0.08 |
| 12Story-Base | 2 | 360 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 2 | 360 | EX1 1 | -8871.4 | -438.52 | -159360.8 | 526.79 | -15234.84 | -28.79 |
| 12Story-Base | 2 | 360 | EX1 2 | -9473.48 | -710.75 | -159076.97 | 1068.75 | -16229.93 | 54.05 |
| 12Story-Base | 2 | 360 | EX1 3 | -8269.32 | -166.29 | -159644.63 | -15.17 | -14239.74 | -111.64 |
| 12Story-Base | 2 | 360 | EY 1 | 1259.19 | -16198.41 | 88179.18 | 28084.66 | 1990.15 | -156.87 |
| 12Story-Base | 2 | 360 | EY 2 | 1868.64 | -15928.04 | 87893.68 | 27544.75 | 2996.91 | -240.62 |
| 12Story-Base | 2 | 360 | EY 3 | 649.73 | -16468.78 | 88464.68 | 28624.57 | 983.39 | -73.12 |
| 12Story-Base | 2 | 360 | DCon1 | -699.21 | -764.81 | 75420.9 | 739.67 | -673.09 | -1.21 |
| 12Story-Base | 2 | 360 | DCon2 | -580.4 | -648.38 | 70934 | 629.05 | -559.23 | -1.17 |
| 12Story-Base | 2 | 360 | DCon3 Max | -8906.76 | -871.99 | -85113.58 | 1752.49 | -14853.68 | 52.84 |
| 12Story-Base | 2 | 360 | DCon3 Min | -10110.92 | -1416.45 | -85681.24 | 668.57 | -16843.88 | -112.85 |
| 12Story-Base | 2 | 360 | DCon4 Max | 8836.03 | 5.05 | 233608.03 | 698.9 | 15615.99 | 110.43 |
| 12Story-Base | 2 | 360 | DCon4 Min | 7631.88 | -539.41 | 233040.37 | -385.01 | 13625.79 | -55.26 |
| 12Story-Base | 2 | 360 | DCon5 Max | 1231.2 | -16633.74 | 162428.08 | 29308.3 | 2382.96 | -74.33 |
| 12Story-Base | 2 | 360 | DCon5 Min | 12.29 | -17174.48 | 161857.07 | 28228.49 | 369.45 | -241.83 |
| 12Story-Base | 2 | 360 | DCon6 Max | -1287.18 | 15763.08 | -13930.29 | -26861.01 | -1597.34 | 239.41 |
| 12Story-Base | 2 | 360 | DCon6 Min | -2506.09 | 15222.33 | -14501.29 | -27940.83 | -3610.85 | 71.91 |
| 12Story-Base | 2 | 360 | DCon7 Max | -8668.87 | -603.32 | -115979.32 | 1491.42 | -14624.36 | 53.36 |
| 12Story-Base | 2 | 360 | DCon7 Min | -9873.03 | -1147.78 | -116546.98 | 407.5 | -16614.56 | -112.33 |
| 12Story-Base | 2 | 360 | DCon8 Max | 9073.93 | 273.71 | 202742.29 | 437.83 | 15845.31 | 110.94 |
| 12Story-Base | 2 | 360 | DCon8 Min | 7869.77 | -270.75 | 202174.63 | -646.08 | 13855.11 | -54.75 |
| 12Story-Base | 2 | 360 | DCon9 Max | 1469.09 | -16365.07 | 131562.34 | 29047.23 | 2612.28 | -73.81 |
| 12Story-Base | 2 | 360 | DCon9 Min | 250.18 | -16905.81 | 130991.34 | 27967.42 | 598.77 | -241.31 |
| 12Story-Base | 2 | 360 | DCon10 Max | -1049.28 | 16031.74 | -44796.02 | -27122.08 | -1368.02 | 239.93 |
| 12Story-Base | 2 | 360 | DCon10 Min | -2268.19 | 15491 | -45367.03 | -28201.9 | -3381.53 | 72.42 |
| 12Story-Base | 3 | 362 | Dead | -621.09 | 609.32 | 25393.21 | -581.7 | -606.35 | -0.87 |
| 12Story-Base | 3 | 362 | Live | -1.08 | -0.88 | 6.55 | 2.05 | -2.19 | -0.08 |
| 12Story-Base | 3 | 362 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 3 | 362 | EX1 1 | -9606.29 | -131.6 | 18499.23 | 231.98 | -16230.57 | -28.79 |
| 12Story-Base | 3 | 362 | EX1 2 | -8990.52 | -422.56 | 16123.18 | 791.93 | -15221.87 | 54.05 |
| 12Story-Base | 3 | 362 | EX1 3 | -10222.06 | 159.35 | 20875.28 | -327.96 | -17239.27 | -111.64 |
| 12Story-Base | 3 | 362 | EY 1 | -1088.82 | -16857.47 | -34745.88 | 28717.73 | -1844.42 | -156.87 |
| 12Story-Base | 3 | 362 | EY 2 | -1712.04 | -16568.37 | -32355.25 | 28159.83 | -2864.85 | -240.62 |
| 12Story-Base | 3 | 362 | EY 3 | -465.59 | -17146.57 | -37136.51 | 29275.62 | -823.99 | -73.12 |
| 12Story-Base | 3 | 362 | DCon1 | -869.53 | 853.04 | 35550.49 | -814.37 | -848.89 | -1.21 |
| 12Story-Base | 3 | 362 | DCon2 | -747.05 | 729.77 | 30482.33 | -694.75 | -731.12 | -1.17 |
| 12Story-Base | 3 | 362 | DCon3 Max | -9799.02 | 950.58 | 53892.99 | 37.78 | -16012.31 | 52.84 |
| 12Story-Base | 3 | 362 | DCon3 Min | -11030.57 | 368.67 | 49140.9 | -1082.11 | -18029.71 | -112.85 |
| 12Story-Base | 3 | 362 | DCon4 Max | 9413.56 | 1213.79 | 16894.54 | -426.19 | 16448.83 | 110.43 |
| 12Story-Base | 3 | 362 | DCon4 Min | 8182.01 | 631.88 | 12142.44 | -1546.07 | 14431.43 | -55.26 |
| 12Story-Base | 3 | 362 | DCon5 Max | -1274.1 | -15777.15 | 662.47 | 28521.47 | -1614.43 | -74.33 |
| 12Story-Base | 3 | 362 | DCon5 Min | -2520.55 | -16355.34 | -4118.79 | 27405.68 | -3655.29 | -241.83 |
| 12Story-Base | 3 | 362 | DCon6 Max | 903.53 | 17937.8 | 70154.23 | -28913.98 | 2074.41 | 239.41 |
| 12Story-Base | 3 | 362 | DCon6 Min | -342.91 | 17359.6 | 65372.97 | -30029.77 | 33.55 | 71.91 |
| 12Story-Base | 3 | 362 | DCon7 Max | -9487.39 | 646.8 | 41189.84 | 326.57 | -15706.95 | 53.36 |
| 12Story-Base | 3 | 362 | DCon7 Min | -10718.94 | 64.9 | 36437.75 | -793.32 | -17724.35 | -112.33 |
| 12Story-Base | 3 | 362 | DCon8 Max | 9725.19 | 910.01 | 4191.39 | -137.39 | 16754.19 | 110.94 |
| 12Story-Base | 3 | 362 | DCon8 Min | 8493.64 | 328.1 | -560.71 | -1257.28 | 14736.79 | -54.75 |
| 12Story-Base | 3 | 362 | DCon9 Max | -962.47 | -16080.92 | -12040.69 | 28810.26 | -1309.07 | -73.81 |
| 12Story-Base | 3 | 362 | DCon9 Min | -2208.92 | -16659.11 | -16821.94 | 27694.48 | -3349.93 | -241.31 |
| 12Story-Base | 3 | 362 | DCon10 Max | 1215.16 | 17634.02 | 57451.08 | -28625.19 | 2379.77 | 239.93 |
| 12Story-Base | 3 | 362 | DCon10 Min | -31.28 | 17055.83 | 52669.82 | -29740.98 | 338.91 | 72.42 |
| 12Story-Base | 4 | 348 | Dead | 599.83 | 617.37 | 25212.7 | -598.14 | 566.42 | -0.87 |
| 12Story-Base | 4 | 348 | Live | -1.1 | -0.34 | -13.55 | 0.68 | -2.2 | -0.08 |
| 12Story-Base | 4 | 348 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 4 | 348 | EX1 1 | -9607.27 | 199.9 | -18060.71 | -376.28 | -16231.51 | -28.79 |
| 12Story-Base | 4 | 348 | EX1 2 | -8993.36 | -1320.99 | -20456.06 | 2199.07 | -15224.6 | 54.05 |
| 12Story-Base | 4 | 348 | EX1 3 | -10221.17 | 1720.78 | -15665.36 | -2951.62 | -17238.42 | -111.64 |
| 12Story-Base | 4 | 348 | EY 1 | -1115.82 | -14661.63 | -34971.11 | 25029.32 | -1870.36 | -156.87 |
| 12Story-Base | 4 | 348 | EY 2 | -1737.17 | -13127.71 | -32561.07 | 22432.57 | -2888.99 | -240.62 |
| 12Story-Base | 4 | 348 | EY 3 | -494.48 | -16195.56 | -37381.16 | 27626.07 | -851.73 | -73.12 |
| 12Story-Base | 4 | 348 | DCon1 | 839.76 | 864.32 | 35297.78 | -837.4 | 792.98 | -1.21 |
| 12Story-Base | 4 | 348 | DCon2 | 718.04 | 740.29 | 30233.57 | -716.67 | 676.18 | -1.17 |
| 12Story-Base | 4 | 348 | DCon3 Max | -8214.68 | 2523.02 | 17097.6 | 1422.17 | -14490.46 | 52.84 |
| 12Story-Base | 4 | 348 | DCon3 Min | -9442.5 | -518.75 | 12306.9 | -3728.52 | -16504.28 | -112.85 |
| 12Story-Base | 4 | 348 | DCon4 Max | 10999.85 | 2123.22 | 53219.02 | 2174.73 | 17972.56 | 110.43 |
| 12Story-Base | 4 | 348 | DCon4 Min | 9772.04 | -918.55 | 48428.33 | -2975.97 | 15958.75 | -55.26 |
| 12Story-Base | 4 | 348 | DCon5 Max | 284.2 | -12325.48 | 201.9 | 26849.17 | -117.59 | -74.33 |
| 12Story-Base | 4 | 348 | DCon5 Min | -958.49 | -15393.32 | -4618.2 | 21655.67 | -2154.85 | -241.83 |
| 12Story-Base | 4 | 348 | DCon6 Max | 2515.85 | 16997.79 | 70144.13 | -23209.47 | 3623.13 | 239.41 |
| 12Story-Base | 4 | 348 | DCon6 Min | 1273.15 | 13929.95 | 65324.03 | -28402.97 | 1585.88 | 71.91 |
| 12Story-Base | 4 | 348 | DCon7 Max | -8513.5 | 2214.68 | 4504.79 | 1720.56 | -14771.47 | 53.36 |
| 12Story-Base | 4 | 348 | DCon7 Min | -9741.31 | -827.09 | -285.9 | -3430.14 | -16785.29 | -112.33 |
| 12Story-Base | 4 | 348 | DCon8 Max | 10701.04 | 1814.88 | 40626.22 | 2473.11 | 17691.55 | 110.94 |
| 12Story-Base | 4 | 348 | DCon8 Min | 9473.22 | -1226.89 | 35835.52 | -2677.58 | 15677.74 | -54.75 |
| 12Story-Base | 4 | 348 | DCon9 Max | -14.61 | -12633.82 | -12390.91 | 27147.56 | -398.6 | -73.81 |
| 12Story-Base | 4 | 348 | DCon9 Min | -1257.31 | -15701.66 | -17211 | 21954.06 | -2435.86 | -241.31 |
| 12Story-Base | 4 | 348 | DCon10 Max | 2217.03 | 16689.45 | 57551.32 | -22911.08 | 3342.12 | 239.93 |
| 12Story-Base | 4 | 348 | DCon10 Min | 974.34 | 13621.61 | 52731.23 | -28104.59 | 1304.87 | 72.42 |
| 12Story-Base | 5 | 356 | Dead | -62.53 | -564.3 | 37535.74 | 539.82 | -61.11 | -0.87 |
| 12Story-Base | 5 | 356 | Live | -0.52 | -0.64 | -2.24 | 1.25 | -0.79 | -0.08 |
| 12Story-Base | 5 | 356 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 5 | 356 | EX1 1 | -12255.86 | 108.39 | 4233.45 | -191.77 | -18485.8 | -28.79 |
| 12Story-Base | 5 | 356 | EX1 2 | -13053.03 | -1057.47 | 7536.58 | 1764.56 | -19668.3 | 54.05 |
| 12Story-Base | 5 | 356 | EX1 3 | -11458.69 | 1274.25 | 930.32 | -2148.09 | -17303.31 | -111.64 |
| 12Story-Base | 5 | 356 | EY 1 | 1441.53 | -16232.78 | 39551.66 | 27064.89 | 2165.3 | -156.87 |
| 12Story-Base | 5 | 356 | EY 2 | 2247.98 | -15058.49 | 36227.81 | 25094.63 | 3361.28 | -240.62 |
| 12Story-Base | 5 | 356 | EY 3 | 635.08 | -17407.07 | 42875.51 | 29035.15 | 969.32 | -73.12 |
| 12Story-Base | 5 | 356 | DCon1 | -87.54 | -790.02 | 52550.04 | 755.75 | -85.55 | -1.21 |
| 12Story-Base | 5 | 356 | DCon2 | -75.88 | -678.18 | 45039.32 | 649.79 | -74.6 | -1.17 |
| 12Story-Base | 5 | 356 | DCon3 Max | -11540.5 | 540.02 | 56330.81 | 2467.58 | -17383.54 | 52.84 |
| 12Story-Base | 5 | 356 | DCon3 Min | -13134.85 | -1791.69 | 49724.55 | -1445.07 | -19748.53 | -112.85 |
| 12Story-Base | 5 | 356 | DCon4 Max | 12971.22 | 323.24 | 47863.91 | 2851.11 | 19588.07 | 110.43 |
| 12Story-Base | 5 | 356 | DCon4 Min | 11376.87 | -2008.47 | 41257.65 | -1061.54 | 17223.07 | -55.26 |
| 12Story-Base | 5 | 356 | DCon5 Max | 2166.17 | -15792.71 | 91669.74 | 29738.17 | 3281.05 | -74.33 |
| 12Story-Base | 5 | 356 | DCon5 Min | 553.27 | -18141.3 | 85022.04 | 25797.65 | 889.09 | -241.83 |
| 12Story-Base | 5 | 356 | DCon6 Max | -716.89 | 16672.84 | 12566.42 | -24391.6 | -1049.55 | 239.41 |
| 12Story-Base | 5 | 356 | DCon6 Min | -2329.79 | 14324.26 | 5918.72 | -28332.13 | -3441.51 | 71.91 |
| 12Story-Base | 5 | 356 | DCon7 Max | -11508.71 | 822.8 | 37565.17 | 2196.42 | -17352.19 | 53.36 |
| 12Story-Base | 5 | 356 | DCon7 Min | -13103.06 | -1508.91 | 30958.92 | -1716.23 | -19717.19 | -112.33 |
| 12Story-Base | 5 | 356 | DCon8 Max | 13003.01 | 606.02 | 29098.27 | 2579.95 | 19619.42 | 110.94 |
| 12Story-Base | 5 | 356 | DCon8 Min | 11408.66 | -1725.69 | 22492.02 | -1332.7 | 17254.42 | -54.75 |
| 12Story-Base | 5 | 356 | DCon9 Max | 2197.95 | -15509.93 | 72904.11 | 29467.01 | 3312.4 | -73.81 |
| 12Story-Base | 5 | 356 | DCon9 Min | 585.06 | -17858.51 | 66256.4 | 25526.48 | 920.43 | -241.31 |
| 12Story-Base | 5 | 356 | DCon10 Max | -685.1 | 16955.63 | -6199.21 | -24662.77 | -1018.2 | 239.93 |
| 12Story-Base | 5 | 356 | DCon10 Min | -2298 | 14607.04 | -12846.92 | -28603.29 | -3410.16 | 72.42 |
| 12Story-Base | 6 | 358 | Dead | 85.73 | -563.4 | 37688.26 | 541.86 | 81.31 | -0.87 |
| 12Story-Base | 6 | 358 | Live | 4.07 | -0.76 | 56.05 | 1.65 | 3.62 | -0.08 |
| 12Story-Base | 6 | 358 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 6 | 358 | EX1 1 | -12830.48 | -58.39 | -15420.2 | 65.04 | -19037.76 | -28.79 |
| 12Story-Base | 6 | 358 | EX1 2 | -13639.86 | -802.51 | -13281.89 | 1338.28 | -20231.98 | 54.05 |
| 12Story-Base | 6 | 358 | EX1 3 | -12021.1 | 685.74 | -17558.52 | -1208.19 | -17843.53 | -111.64 |
| 12Story-Base | 6 | 358 | EY 1 | 1470.96 | -16895.63 | 43548.69 | 28227.99 | 2193.57 | -156.87 |
| 12Story-Base | 6 | 358 | EY 2 | 2289.69 | -16148.14 | 41397.67 | 26948.73 | 3401.34 | -240.62 |
| 12Story-Base | 6 | 358 | EY 3 | 652.23 | -17643.13 | 45699.71 | 29507.25 | 985.79 | -73.12 |
| 12Story-Base | 6 | 358 | DCon1 | 120.02 | -788.76 | 52763.57 | 758.61 | 113.83 | -1.21 |
| 12Story-Base | 6 | 358 | DCon2 | 109.4 | -677.3 | 45315.59 | 652.88 | 103.37 | -1.17 |
| 12Story-Base | 6 | 358 | DCon3 Max | -11905.57 | -47.45 | 35768.9 | 2044.36 | -17734.21 | 52.84 |
| 12Story-Base | 6 | 358 | DCon3 Min | -13524.33 | -1535.7 | 31492.26 | -502.12 | -20122.66 | -112.85 |
| 12Story-Base | 6 | 358 | DCon4 Max | 13755.38 | 69.33 | 66609.31 | 1914.27 | 20341.3 | 110.43 |
| 12Story-Base | 6 | 358 | DCon4 Min | 12136.62 | -1418.92 | 62332.67 | -632.2 | 17952.85 | -55.26 |
| 12Story-Base | 6 | 358 | DCon5 Max | 2405.21 | -16881.32 | 94750.5 | 30213.33 | 3510.67 | -74.33 |
| 12Story-Base | 6 | 358 | DCon5 Min | 767.75 | -18376.32 | 90448.46 | 27654.81 | 1095.12 | -241.83 |
| 12Story-Base | 6 | 358 | DCon6 Max | -536.71 | 16909.95 | 7653.11 | -26242.66 | -876.47 | 239.41 |
| 12Story-Base | 6 | 358 | DCon6 Min | -2174.16 | 15414.95 | 3351.07 | -28801.17 | -3292.02 | 71.91 |
| 12Story-Base | 6 | 358 | DCon7 Max | -11952.51 | 235.02 | 16868.72 | 1771.77 | -17778.49 | 53.36 |
| 12Story-Base | 6 | 358 | DCon7 Min | -13571.27 | -1253.24 | 12592.09 | -774.7 | -20166.93 | -112.33 |
| 12Story-Base | 6 | 358 | DCon8 Max | 13708.44 | 351.79 | 47709.13 | 1641.68 | 20297.03 | 110.94 |
| 12Story-Base | 6 | 358 | DCon8 Min | 12089.68 | -1136.46 | 43432.5 | -904.79 | 17908.58 | -54.75 |
| 12Story-Base | 6 | 358 | DCon9 Max | 2358.27 | -16598.86 | 75850.32 | 29940.74 | 3466.39 | -73.81 |
| 12Story-Base | 6 | 358 | DCon9 Min | 720.81 | -18093.85 | 71548.28 | 27382.23 | 1050.84 | -241.31 |
| 12Story-Base | 6 | 358 | DCon10 Max | -583.65 | 17192.41 | -11247.07 | -26515.24 | -920.75 | 239.93 |
| 12Story-Base | 6 | 358 | DCon10 Min | -2221.1 | 15697.41 | -15549.1 | -29073.76 | -3336.3 | 72.42 |
| 12Story-Base | 7 | 350 | Dead | 560.73 | -51.88 | 37436.16 | 44.71 | 531.76 | -0.87 |
| 12Story-Base | 7 | 350 | Live | -0.93 | -0.44 | -8.39 | 0.78 | -1.75 | -0.08 |
| 12Story-Base | 7 | 350 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 7 | 350 | EX1 1 | -9997.85 | 305.19 | -21672.4 | -477.41 | -16510.08 | -28.79 |
| 12Story-Base | 7 | 350 | EX1 2 | -9789.49 | -1728.27 | -20867.48 | 2590.29 | -16170.71 | 54.05 |
| 12Story-Base | 7 | 350 | EX1 3 | -10206.21 | 2338.64 | -22477.33 | -3545.11 | -16849.44 | -111.64 |
| 12Story-Base | 7 | 350 | EY 1 | -396.43 | -19756.34 | 3673.87 | 29923.07 | -652.95 | -156.87 |
| 12Story-Base | 7 | 350 | EY 2 | -607.32 | -17705.97 | 2863.53 | 26830.25 | -996.26 | -240.62 |
| 12Story-Base | 7 | 350 | EY 3 | -185.54 | -21806.7 | 4484.21 | 33015.9 | -309.63 | -73.12 |
| 12Story-Base | 7 | 350 | DCon1 | 785.02 | -72.64 | 52410.62 | 62.6 | 744.47 | -1.21 |
| 12Story-Base | 7 | 350 | DCon2 | 671.39 | -62.97 | 44909.96 | 54.9 | 635.32 | -1.17 |
| 12Story-Base | 7 | 350 | DCon3 Max | -9061.47 | 2270.76 | 27791.13 | 2649.19 | -15481.17 | 52.84 |
| 12Story-Base | 7 | 350 | DCon3 Min | -9478.19 | -1796.16 | 26181.28 | -3486.21 | -16159.9 | -112.85 |
| 12Story-Base | 7 | 350 | DCon4 Max | 10934.23 | 1660.38 | 71135.94 | 3604.02 | 17538.99 | 110.43 |
| 12Story-Base | 7 | 350 | DCon4 Min | 10517.51 | -2406.53 | 69526.09 | -2531.38 | 16860.25 | -55.26 |
| 12Story-Base | 7 | 350 | DCon5 Max | 542.48 | -17773.86 | 53142.82 | 33074.8 | 379.91 | -74.33 |
| 12Story-Base | 7 | 350 | DCon5 Min | 120.7 | -21874.59 | 51522.14 | 26889.15 | -306.72 | -241.83 |
| 12Story-Base | 7 | 350 | DCon6 Max | 1335.33 | 21738.82 | 45795.08 | -26771.35 | 1685.81 | 239.41 |
| 12Story-Base | 7 | 350 | DCon6 Min | 913.56 | 17638.08 | 44174.4 | -32956.99 | 999.17 | 71.91 |
| 12Story-Base | 7 | 350 | DCon7 Max | -9340.9 | 2297.14 | 9081.45 | 2626.06 | -15745.3 | 53.36 |
| 12Story-Base | 7 | 350 | DCon7 Min | -9757.63 | -1769.78 | 7471.6 | -3509.34 | -16424.03 | -112.33 |
| 12Story-Base | 7 | 350 | DCon8 Max | 10654.8 | 1686.76 | 52426.26 | 3580.88 | 17274.85 | 110.94 |
| 12Story-Base | 7 | 350 | DCon8 Min | 10238.07 | -2380.15 | 50816.4 | -2554.52 | 16596.12 | -54.75 |
| 12Story-Base | 7 | 350 | DCon9 Max | 263.04 | -17747.48 | 34433.14 | 33051.67 | 115.78 | -73.81 |
| 12Story-Base | 7 | 350 | DCon9 Min | -158.73 | -21848.21 | 32812.46 | 26866.02 | -570.85 | -241.31 |
| 12Story-Base | 7 | 350 | DCon10 Max | 1055.9 | 21765.2 | 27085.39 | -26794.48 | 1421.67 | 239.93 |
| 12Story-Base | 7 | 350 | DCon10 Min | 634.12 | 17664.47 | 25464.72 | -32980.13 | 735.04 | 72.42 |
| 12Story-Base | 8 | 352 | Dead | 563.51 | 72.51 | 37403.46 | -74.77 | 537.34 | -0.87 |
| 12Story-Base | 8 | 352 | Live | -0.69 | -0.43 | -13.66 | 0.77 | -1.24 | -0.08 |
| 12Story-Base | 8 | 352 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 8 | 352 | EX1 1 | -9882.75 | 316.85 | -21646.92 | -488.61 | -16302.91 | -28.79 |
| 12Story-Base | 8 | 352 | EX1 2 | -10091.85 | -1716.62 | -22479.48 | 2579.1 | -16642.54 | 54.05 |
| 12Story-Base | 8 | 352 | EX1 3 | -9673.65 | 2350.32 | -20814.37 | -3556.33 | -15963.28 | -111.64 |
| 12Story-Base | 8 | 352 | EY 1 | 374.31 | -19756.67 | -4003.4 | 29923.4 | 613.78 | -156.87 |
| 12Story-Base | 8 | 352 | EY 2 | 585.94 | -17706.29 | -3165.27 | 26830.56 | 957.36 | -240.62 |
| 12Story-Base | 8 | 352 | EY 3 | 162.67 | -21807.05 | -4841.52 | 33016.23 | 270.2 | -73.12 |
| 12Story-Base | 8 | 352 | DCon1 | 788.92 | 101.51 | 52364.85 | -104.68 | 752.28 | -1.21 |
| 12Story-Base | 8 | 352 | DCon2 | 675.11 | 86.32 | 44862.3 | -88.5 | 642.83 | -1.17 |
| 12Story-Base | 8 | 352 | DCon3 Max | -8941.77 | 2444.15 | 27796.47 | 2482.67 | -15265.97 | 52.84 |
| 12Story-Base | 8 | 352 | DCon3 Min | -9359.98 | -1622.8 | 26131.36 | -3652.76 | -15945.23 | -112.85 |
| 12Story-Base | 8 | 352 | DCon4 Max | 10823.73 | 1810.45 | 71090.32 | 3459.89 | 17339.84 | 110.43 |
| 12Story-Base | 8 | 352 | DCon4 Min | 10405.52 | -2256.49 | 69425.21 | -2675.54 | 16660.58 | -55.26 |
| 12Story-Base | 8 | 352 | DCon5 Max | 1317.82 | -17612.46 | 45445.57 | 32919.8 | 1654.67 | -74.33 |
| 12Story-Base | 8 | 352 | DCon5 Min | 894.55 | -21713.22 | 43769.32 | 26734.12 | 967.5 | -241.83 |
| 12Story-Base | 8 | 352 | DCon6 Max | 569.2 | 21900.88 | 53452.37 | -26926.99 | 427.11 | 239.41 |
| 12Story-Base | 8 | 352 | DCon6 Min | 145.93 | 17800.12 | 51776.12 | -33112.67 | -260.06 | 71.91 |
| 12Story-Base | 8 | 352 | DCon7 Max | -9222.83 | 2408.32 | 9108.4 | 2519.29 | -15533.4 | 53.36 |
| 12Story-Base | 8 | 352 | DCon7 Min | -9641.04 | -1658.62 | 7443.29 | -3616.14 | -16212.66 | -112.33 |
| 12Story-Base | 8 | 352 | DCon8 Max | 10542.66 | 1774.63 | 52402.25 | 3496.51 | 17072.41 | 110.94 |
| 12Story-Base | 8 | 352 | DCon8 Min | 10124.46 | -2292.31 | 50737.14 | -2638.92 | 16393.15 | -54.75 |
| 12Story-Base | 8 | 352 | DCon9 Max | 1036.75 | -17648.29 | 26757.5 | 32956.41 | 1387.23 | -73.81 |
| 12Story-Base | 8 | 352 | DCon9 Min | 613.48 | -21749.05 | 25081.24 | 26770.74 | 700.07 | -241.31 |
| 12Story-Base | 8 | 352 | DCon10 Max | 288.14 | 21865.06 | 34764.29 | -26890.38 | 159.68 | 239.93 |
| 12Story-Base | 8 | 352 | DCon10 Min | -135.13 | 17764.3 | 33088.04 | -33076.05 | -527.49 | 72.42 |
| 12Story-Base | 9 | 368 | Dead | -77.51 | 573.26 | 37491.12 | -552.86 | -84.2 | -0.87 |
| 12Story-Base | 9 | 368 | Live | -1.73 | -0.61 | -5.54 | 1.22 | -2.8 | -0.08 |
| 12Story-Base | 9 | 368 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 9 | 368 | EX1 1 | -12833.3 | 90.56 | 3129.63 | -174.64 | -19330.3 | -28.79 |
| 12Story-Base | 9 | 368 | EX1 2 | -12034.37 | -1075.72 | -136.57 | 1782.09 | -18145.66 | 54.05 |
| 12Story-Base | 9 | 368 | EX1 3 | -13632.23 | 1256.83 | 6395.84 | -2131.37 | -20514.93 | -111.64 |
| 12Story-Base | 9 | 368 | EY 1 | -1468.18 | -16242.14 | -39593.58 | 27073.88 | -2208.82 | -156.87 |
| 12Story-Base | 9 | 368 | EY 2 | -2276.4 | -15067.42 | -36306.85 | 25103.21 | -3406.95 | -240.62 |
| 12Story-Base | 9 | 368 | EY 3 | -659.96 | -17416.85 | -42880.3 | 29044.54 | -1010.69 | -73.12 |
| 12Story-Base | 9 | 368 | DCon1 | -108.51 | 802.56 | 52487.57 | -774.01 | -117.88 | -1.21 |
| 12Story-Base | 9 | 368 | DCon2 | -95.77 | 686.93 | 44980.48 | -661.48 | -105.53 | -1.17 |
| 12Story-Base | 9 | 368 | DCon3 Max | -12136.86 | 2001.46 | 55128.76 | 1064.59 | -18257.93 | 52.84 |
| 12Story-Base | 9 | 368 | DCon3 Min | -13734.71 | -331.1 | 48596.34 | -2848.87 | -20627.19 | -112.85 |
| 12Story-Base | 9 | 368 | DCon4 Max | 13529.74 | 1820.34 | 48869.49 | 1413.87 | 20402.66 | 110.43 |
| 12Story-Base | 9 | 368 | DCon4 Min | 11931.88 | -512.21 | 42337.07 | -2499.59 | 18033.4 | -55.26 |
| 12Story-Base | 9 | 368 | DCon5 Max | -762.45 | -14322.8 | 12426.07 | 28327.04 | -1122.96 | -74.33 |
| 12Story-Base | 9 | 368 | DCon5 Min | -2378.88 | -16672.23 | 5852.61 | 24385.71 | -3519.21 | -241.83 |
| 12Story-Base | 9 | 368 | DCon6 Max | 2173.91 | 18161.48 | 91613.22 | -25820.71 | 3294.68 | 239.41 |
| 12Story-Base | 9 | 368 | DCon6 Min | 557.48 | 15812.05 | 85039.76 | -29762.04 | 898.43 | 71.91 |
| 12Story-Base | 9 | 368 | DCon7 Max | -12096.38 | 1715.44 | 36388.74 | 1339.8 | -18213.03 | 53.36 |
| 12Story-Base | 9 | 368 | DCon7 Min | -13694.23 | -617.12 | 29856.32 | -2573.66 | -20582.29 | -112.33 |
| 12Story-Base | 9 | 368 | DCon8 Max | 13570.22 | 1534.32 | 30129.47 | 1689.08 | 20447.57 | 110.94 |
| 12Story-Base | 9 | 368 | DCon8 Min | 11972.36 | -798.23 | 23597.06 | -2224.39 | 18078.3 | -54.75 |
| 12Story-Base | 9 | 368 | DCon9 Max | -721.97 | -14608.82 | -6313.95 | 28602.25 | -1078.06 | -73.81 |
| 12Story-Base | 9 | 368 | DCon9 Min | -2338.4 | -16958.25 | -12887.41 | 24660.92 | -3474.31 | -241.31 |
| 12Story-Base | 9 | 368 | DCon10 Max | 2214.39 | 17875.46 | 72873.2 | -25545.5 | 3339.58 | 239.93 |
| 12Story-Base | 9 | 368 | DCon10 Min | 597.96 | 15526.03 | 66299.75 | -29486.84 | 943.33 | 72.42 |
| 12Story-Base | 10 | 370 | Dead | 46.82 | 570.36 | 37486.27 | -547.18 | 35.22 | -0.87 |
| 12Story-Base | 10 | 370 | Live | -1.72 | -0.83 | -4.49 | 1.72 | -2.8 | -0.08 |
| 12Story-Base | 10 | 370 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 10 | 370 | EX1 1 | -12834.11 | -13.54 | -2539.81 | 21.96 | -19331.08 | -28.79 |
| 12Story-Base | 10 | 370 | EX1 2 | -12033.66 | -760.52 | -4918.4 | 1297.95 | -18144.99 | 54.05 |
| 12Story-Base | 10 | 370 | EX1 3 | -13634.57 | 733.45 | -161.23 | -1254.02 | -20517.18 | -111.64 |
| 12Story-Base | 10 | 370 | EY 1 | -1445.76 | -16986.06 | -42830.82 | 28314.85 | -2187.28 | -156.87 |
| 12Story-Base | 10 | 370 | EY 2 | -2255.51 | -16235.7 | -40438.1 | 27032.85 | -3386.88 | -240.62 |
| 12Story-Base | 10 | 370 | EY 3 | -636.01 | -17736.42 | -45223.54 | 29596.86 | -987.69 | -73.12 |
| 12Story-Base | 10 | 370 | DCon1 | 65.54 | 798.5 | 52480.78 | -766.05 | 49.3 | -1.21 |
| 12Story-Base | 10 | 370 | DCon2 | 53.42 | 683.1 | 44976.34 | -653.86 | 37.78 | -1.17 |
| 12Story-Base | 10 | 370 | DCon3 Max | -11974.53 | 1474.09 | 48566.44 | 588.33 | -18102 | 52.84 |
| 12Story-Base | 10 | 370 | DCon3 Min | -13575.43 | -19.89 | 43809.27 | -1963.64 | -20474.19 | -112.85 |
| 12Story-Base | 10 | 370 | DCon4 Max | 13693.7 | 1501.16 | 53646.06 | 544.41 | 20560.16 | 110.43 |
| 12Story-Base | 10 | 370 | DCon4 Min | 12092.8 | 7.18 | 48888.89 | -2007.56 | 18187.97 | -55.26 |
| 12Story-Base | 10 | 370 | DCon5 Max | -576.87 | -15495.07 | 8289.57 | 28887.25 | -944.7 | -74.33 |
| 12Story-Base | 10 | 370 | DCon5 Min | -2196.37 | -16995.78 | 3504.13 | 26323.23 | -3343.9 | -241.83 |
| 12Story-Base | 10 | 370 | DCon6 Max | 2314.64 | 18477.06 | 93951.2 | -27742.46 | 3429.86 | 239.41 |
| 12Story-Base | 10 | 370 | DCon6 Min | 695.15 | 16976.34 | 89165.76 | -30306.47 | 1030.67 | 71.91 |
| 12Story-Base | 10 | 370 | DCon7 Max | -11996.21 | 1189.74 | 29827.79 | 860.2 | -18116.81 | 53.36 |
| 12Story-Base | 10 | 370 | DCon7 Min | -13597.11 | -304.24 | 25070.62 | -1691.77 | -20489 | -112.33 |
| 12Story-Base | 10 | 370 | DCon8 Max | 13672.02 | 1216.81 | 34907.41 | 816.28 | 20545.35 | 110.94 |
| 12Story-Base | 10 | 370 | DCon8 Min | 12071.11 | -277.17 | 30150.24 | -1735.69 | 18173.16 | -54.75 |
| 12Story-Base | 10 | 370 | DCon9 Max | -598.56 | -15779.42 | -10449.08 | 29159.12 | -959.51 | -73.81 |
| 12Story-Base | 10 | 370 | DCon9 Min | -2218.05 | -17280.14 | -15234.52 | 26595.1 | -3358.71 | -241.31 |
| 12Story-Base | 10 | 370 | DCon10 Max | 2292.96 | 18192.71 | 75212.55 | -27470.59 | 3415.06 | 239.93 |
| 12Story-Base | 10 | 370 | DCon10 Min | 673.46 | 16691.99 | 70427.12 | -30034.6 | 1015.86 | 72.42 |
| 12Story-Base | 11 | 366 | Dead | -561.74 | 97.7 | 38305.91 | -90.26 | -543.52 | -0.87 |
| 12Story-Base | 11 | 366 | Live | 0.58 | 4.81 | 140.14 | -3.42 | -0.02 | -0.08 |
| 12Story-Base | 11 | 366 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 11 | 366 | EX1 1 | -9790.12 | -487.17 | 16891.13 | 573.52 | -16213.94 | -28.79 |
| 12Story-Base | 11 | 366 | EX1 2 | -9999.01 | -931.8 | 16702.8 | 1281.08 | -16553.35 | 54.05 |
| 12Story-Base | 11 | 366 | EX1 3 | -9581.24 | -42.53 | 17079.45 | -134.04 | -15874.52 | -111.64 |
| 12Story-Base | 11 | 366 | EY 1 | 355.14 | -22736.44 | -10991.02 | 34364.81 | 595.37 | -156.87 |
| 12Story-Base | 11 | 366 | EY 2 | 566.55 | -22293.45 | -10803.14 | 33659.09 | 938.74 | -240.62 |
| 12Story-Base | 11 | 366 | EY 3 | 143.73 | -23179.43 | -11178.9 | 35070.53 | 252 | -73.12 |
| 12Story-Base | 11 | 366 | DCon1 | -786.43 | 136.78 | 53628.28 | -126.37 | -760.93 | -1.21 |
| 12Story-Base | 11 | 366 | DCon2 | -673.15 | 124.95 | 46191.32 | -113.78 | -652.25 | -1.17 |
| 12Story-Base | 11 | 366 | DCon3 Max | -10310.91 | 89.29 | 67017.28 | 1160.33 | -16581.11 | 52.84 |
| 12Story-Base | 11 | 366 | DCon3 Min | -10728.68 | -799.97 | 66640.62 | -254.8 | -17259.95 | -112.85 |
| 12Story-Base | 11 | 366 | DCon4 Max | 9269.34 | 1063.63 | 33235.03 | 13.28 | 15846.76 | 110.43 |
| 12Story-Base | 11 | 366 | DCon4 Min | 8851.57 | 174.36 | 32858.37 | -1401.84 | 15167.92 | -55.26 |
| 12Story-Base | 11 | 366 | DCon5 Max | -163.12 | -22161.62 | 39134.68 | 34949.77 | 232.14 | -74.33 |
| 12Story-Base | 11 | 366 | DCon5 Min | -585.94 | -23047.6 | 38758.93 | 33538.34 | -454.6 | -241.83 |
| 12Story-Base | 11 | 366 | DCon6 Max | -873.4 | 23311.26 | 61116.73 | -33779.85 | -958.6 | 239.41 |
| 12Story-Base | 11 | 366 | DCon6 Min | -1296.23 | 22425.28 | 60740.97 | -35191.29 | -1645.33 | 71.91 |
| 12Story-Base | 11 | 366 | DCon7 Max | -10030.63 | 35.63 | 47724.18 | 1208.87 | -16309.33 | 53.36 |
| 12Story-Base | 11 | 366 | DCon7 Min | -10448.4 | -853.64 | 47347.53 | -206.25 | -16988.17 | -112.33 |
| 12Story-Base | 11 | 366 | DCon8 Max | 9549.62 | 1009.96 | 13941.93 | 61.83 | 16118.54 | 110.94 |
| 12Story-Base | 11 | 366 | DCon8 Min | 9131.85 | 120.7 | 13565.28 | -1353.29 | 15439.7 | -54.75 |
| 12Story-Base | 11 | 366 | DCon9 Max | 117.17 | -22215.29 | 19841.59 | 34998.32 | 503.92 | -73.81 |
| 12Story-Base | 11 | 366 | DCon9 Min | -305.66 | -23101.27 | 19465.83 | 33586.88 | -182.82 | -241.31 |
| 12Story-Base | 11 | 366 | DCon10 Max | -593.12 | 23257.59 | 41823.63 | -33731.3 | -686.82 | 239.93 |
| 12Story-Base | 11 | 366 | DCon10 Min | -1015.94 | 22371.61 | 41447.87 | -35142.74 | -1373.56 | 72.42 |
| 12Story-Base | 12 | 364 | Dead | -576.14 | -68.93 | 37514.92 | 69.8 | -560.27 | -0.87 |
| 12Story-Base | 12 | 364 | Live | -0.85 | -2.4 | -9.15 | 3.51 | -1.68 | -0.08 |
| 12Story-Base | 12 | 364 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 12 | 364 | EX1 1 | -9985.12 | -165.43 | 22436.53 | 264.47 | -16497.85 | -28.79 |
| 12Story-Base | 12 | 364 | EX1 2 | -9774.4 | -597.98 | 22414.14 | 960.43 | -16156.22 | 54.05 |
| 12Story-Base | 12 | 364 | EX1 3 | -10195.85 | 267.13 | 22458.93 | -431.49 | -16839.49 | -111.64 |
| 12Story-Base | 12 | 364 | EY 1 | -364.78 | -22613.61 | 7639.92 | 34246.83 | -622.55 | -156.87 |
| 12Story-Base | 12 | 364 | EY 2 | -578.04 | -22182.73 | 7663.07 | 33552.74 | -968.15 | -240.62 |
| 12Story-Base | 12 | 364 | EY 3 | -151.51 | -23044.49 | 7616.78 | 34940.91 | -276.95 | -73.12 |
| 12Story-Base | 12 | 364 | DCon1 | -806.6 | -96.5 | 52520.89 | 97.72 | -784.37 | -1.21 |
| 12Story-Base | 12 | 364 | DCon2 | -692.74 | -86.55 | 45003.27 | 89.37 | -675.01 | -1.17 |
| 12Story-Base | 12 | 364 | DCon3 Max | -10524.24 | 175.12 | 71219.17 | 1054.68 | -16886.24 | 52.84 |
| 12Story-Base | 12 | 364 | DCon3 Min | -10945.69 | -689.99 | 71174.38 | -337.24 | -17569.51 | -112.85 |
| 12Story-Base | 12 | 364 | DCon4 Max | 9446.01 | 505.98 | 26346.11 | 525.74 | 16109.46 | 110.43 |
| 12Story-Base | 12 | 364 | DCon4 Min | 9024.56 | -359.13 | 26301.32 | -866.19 | 15426.19 | -55.26 |
| 12Story-Base | 12 | 364 | DCon5 Max | -901.35 | -22274.74 | 56423.32 | 35035.16 | -1006.97 | -74.33 |
| 12Story-Base | 12 | 364 | DCon5 Min | -1327.88 | -23136.5 | 56377.03 | 33646.99 | -1698.17 | -241.83 |
| 12Story-Base | 12 | 364 | DCon6 Max | -171.8 | 22952.49 | 41143.47 | -33458.49 | 238.12 | 239.41 |
| 12Story-Base | 12 | 364 | DCon6 Min | -598.32 | 22090.73 | 41097.18 | -34846.67 | -453.08 | 71.91 |
| 12Story-Base | 12 | 364 | DCon7 Max | -10235.31 | 211.98 | 52470.86 | 1016.27 | -16604.43 | 53.36 |
| 12Story-Base | 12 | 364 | DCon7 Min | -10656.76 | -653.13 | 52426.07 | -375.65 | -17287.7 | -112.33 |
| 12Story-Base | 12 | 364 | DCon8 Max | 9734.93 | 542.84 | 7597.8 | 487.33 | 16391.27 | 110.94 |
| 12Story-Base | 12 | 364 | DCon8 Min | 9313.48 | -322.27 | 7553.01 | -904.59 | 15708.01 | -54.75 |
| 12Story-Base | 12 | 364 | DCon9 Max | -612.43 | -22237.88 | 37675 | 34996.75 | -725.16 | -73.81 |
| 12Story-Base | 12 | 364 | DCon9 Min | -1038.96 | -23099.64 | 37628.71 | 33608.58 | -1416.36 | -241.31 |
| 12Story-Base | 12 | 364 | DCon10 Max | 117.13 | 22989.35 | 22395.16 | -33496.9 | 519.94 | 239.93 |
| 12Story-Base | 12 | 364 | DCon10 Min | -309.4 | 22127.59 | 22348.86 | -34885.08 | -171.26 | 72.42 |
| 12Story-Base | 13 | 407 | Dead | -148.2 | -119.87 | 53293.05 | 108.65 | -157.74 | -2.11 |
| 12Story-Base | 13 | 407 | Live | -2.06 | -1.32 | -1.05 | 2.81 | -4.06 | -0.21 |
| 12Story-Base | 13 | 407 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 13 | 407 | EX1 1 | -22513.47 | 208.77 | -1364.35 | -412.65 | -38284.22 | -70.29 |
| 12Story-Base | 13 | 407 | EX1 2 | -22034.13 | -2418.05 | -1549.71 | 4129 | -37488.22 | 131.97 |
| 12Story-Base | 13 | 407 | EX1 3 | -22992.8 | 2835.59 | -1178.99 | -4954.3 | -39080.22 | -272.55 |
| 12Story-Base | 13 | 407 | EY 1 | -891.45 | -36495.83 | -2671.43 | 62735.99 | -1512.7 | -382.98 |
| 12Story-Base | 13 | 407 | EY 2 | -1376.62 | -33849.92 | -2484.94 | 58161.93 | -2317.98 | -587.46 |
| 12Story-Base | 13 | 407 | EY 3 | -406.27 | -39141.75 | -2857.93 | 67310.05 | -707.41 | -178.51 |
| 12Story-Base | 13 | 407 | DCon1 | -207.48 | -167.82 | 74610.27 | 152.1 | -220.83 | -2.96 |
| 12Story-Base | 13 | 407 | DCon2 | -181.13 | -145.96 | 63949.98 | 134.88 | -195.77 | -2.87 |
| 12Story-Base | 13 | 407 | DCon3 Max | -22228.85 | 2678.44 | 68100.92 | 4273.05 | -37697.33 | 129.01 |
| 12Story-Base | 13 | 407 | DCon3 Min | -23187.52 | -2575.2 | 67730.21 | -4810.25 | -39289.33 | -275.5 |
| 12Story-Base | 13 | 407 | DCon4 Max | 22798.08 | 2260.89 | 70829.62 | 5098.35 | 38871.1 | 269.59 |
| 12Story-Base | 13 | 407 | DCon4 Min | 21839.42 | -2992.74 | 70458.9 | -3984.95 | 37279.1 | -134.92 |
| 12Story-Base | 13 | 407 | DCon5 Max | -600.99 | -34007.08 | 66794.98 | 67454.1 | -916.53 | -181.46 |
| 12Story-Base | 13 | 407 | DCon5 Min | -1571.34 | -39298.9 | 66421.98 | 58305.98 | -2527.09 | -590.41 |
| 12Story-Base | 13 | 407 | DCon6 Max | 1181.91 | 38984.59 | 72137.84 | -58017.88 | 2108.86 | 584.5 |
| 12Story-Base | 13 | 407 | DCon6 Min | 211.56 | 33692.77 | 71764.85 | -67165.99 | 498.3 | 175.55 |
| 12Story-Base | 13 | 407 | DCon7 Max | -22152.69 | 2739.69 | 41455.45 | 4215.92 | -37614.41 | 130.28 |
| 12Story-Base | 13 | 407 | DCon7 Min | -23111.36 | -2513.94 | 41084.73 | -4867.38 | -39206.41 | -274.24 |
| 12Story-Base | 13 | 407 | DCon8 Max | 22874.24 | 2322.15 | 44184.15 | 5041.21 | 38954.03 | 270.86 |
| 12Story-Base | 13 | 407 | DCon8 Min | 21915.57 | -2931.49 | 43813.43 | -4042.09 | 37362.03 | -133.66 |
| 12Story-Base | 13 | 407 | DCon9 Max | -524.83 | -33945.82 | 40149.5 | 67396.96 | -833.6 | -180.2 |
| 12Story-Base | 13 | 407 | DCon9 Min | -1495.18 | -39237.65 | 39776.51 | 58248.85 | -2444.17 | -589.15 |
| 12Story-Base | 13 | 407 | DCon10 Max | 1258.06 | 39045.85 | 45492.37 | -58075.02 | 2191.79 | 585.77 |
| 12Story-Base | 13 | 407 | DCon10 Min | 287.71 | 33754.02 | 45119.38 | -67223.13 | 581.22 | 176.82 |
| 12Story-Base | 14 | 408 | Dead | -140.86 | 139.33 | 53297.42 | -137.99 | -143.66 | -2.11 |
| 12Story-Base | 14 | 408 | Live | -1.5 | -1.3 | -0.78 | 2.8 | -2.83 | -0.21 |
| 12Story-Base | 14 | 408 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 14 | 408 | EX1 1 | -22228.44 | 228.49 | -1264.74 | -431.41 | -37777.13 | -70.29 |
| 12Story-Base | 14 | 408 | EX1 2 | -22709.22 | -2398.56 | -1078.74 | 4110.46 | -38573.42 | 131.97 |
| 12Story-Base | 14 | 408 | EX1 3 | -21747.65 | 2855.54 | -1450.74 | -4973.28 | -36980.85 | -272.55 |
| 12Story-Base | 14 | 408 | EY 1 | 843.25 | -36503.3 | 2637.17 | 62743.09 | 1423.08 | -382.98 |
| 12Story-Base | 14 | 408 | EY 2 | 1329.88 | -33857.16 | 2450.03 | 58168.82 | 2228.65 | -587.46 |
| 12Story-Base | 14 | 408 | EY 3 | 356.62 | -39149.44 | 2824.32 | 67317.37 | 617.51 | -178.51 |
| 12Story-Base | 14 | 408 | DCon1 | -197.2 | 195.06 | 74616.39 | -193.19 | -201.13 | -2.96 |
| 12Story-Base | 14 | 408 | DCon2 | -171.43 | 165.11 | 63955.67 | -161.12 | -176.93 | -2.87 |
| 12Story-Base | 14 | 408 | DCon3 Max | -21932.27 | 3035.36 | 68207.13 | 3933.86 | -37170.44 | 129.01 |
| 12Story-Base | 14 | 408 | DCon3 Min | -22893.83 | -2218.74 | 67835.13 | -5149.88 | -38763.01 | -275.5 |
| 12Story-Base | 14 | 408 | DCon4 Max | 22524.6 | 2578.38 | 70736.62 | 4796.69 | 38383.82 | 269.59 |
| 12Story-Base | 14 | 408 | DCon4 Min | 21563.04 | -2675.72 | 70364.62 | -4287.05 | 36791.25 | -134.92 |
| 12Story-Base | 14 | 408 | DCon5 Max | 1145.26 | -33677.33 | 72110.19 | 67140.78 | 2039.05 | -181.46 |
| 12Story-Base | 14 | 408 | DCon5 Min | 172 | -38969.62 | 71735.9 | 57992.22 | 427.91 | -590.41 |
| 12Story-Base | 14 | 408 | DCon6 Max | -541.24 | 39329.27 | 66835.84 | -58345.41 | -807.1 | 584.5 |
| 12Story-Base | 14 | 408 | DCon6 Min | -1514.5 | 34036.98 | 66461.56 | -67493.96 | -2418.24 | 175.55 |
| 12Story-Base | 14 | 408 | DCon7 Max | -21860.34 | 2967 | 41559.19 | 4000.06 | -37095.78 | 130.28 |
| 12Story-Base | 14 | 408 | DCon7 Min | -22821.9 | -2287.1 | 41187.19 | -5083.68 | -38688.35 | -274.24 |
| 12Story-Base | 14 | 408 | DCon8 Max | 22596.53 | 2510.02 | 44088.68 | 4862.89 | 38458.49 | 270.86 |
| 12Story-Base | 14 | 408 | DCon8 Min | 21634.97 | -2744.08 | 43716.68 | -4220.85 | 36865.92 | -133.66 |
| 12Story-Base | 14 | 408 | DCon9 Max | 1217.19 | -33745.7 | 45462.25 | 67206.97 | 2113.72 | -180.2 |
| 12Story-Base | 14 | 408 | DCon9 Min | 243.93 | -39037.98 | 45087.97 | 58058.42 | 502.58 | -589.15 |
| 12Story-Base | 14 | 408 | DCon10 Max | -469.31 | 39260.91 | 40187.91 | -58279.21 | -732.44 | 585.77 |
| 12Story-Base | 14 | 408 | DCon10 Min | -1442.57 | 33968.62 | 39813.62 | -67427.76 | -2343.58 | 176.82 |
| 12Story-Base | 15 | 409 | Dead | 110.18 | -126.28 | 53299.58 | 121.83 | 88.12 | -2.11 |
| 12Story-Base | 15 | 409 | Live | -2.15 | -1.91 | -0.96 | 4.07 | -4.15 | -0.21 |
| 12Story-Base | 15 | 409 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 15 | 409 | EX1 1 | -22522.19 | -36.01 | 1440.95 | 56.14 | -38292.52 | -70.29 |
| 12Story-Base | 15 | 409 | EX1 2 | -22040.8 | -1699.46 | 1260.45 | 3002.4 | -37494.56 | 131.97 |
| 12Story-Base | 15 | 409 | EX1 3 | -23003.57 | 1627.44 | 1621.44 | -2890.13 | -39090.47 | -272.55 |
| 12Story-Base | 15 | 409 | EY 1 | -859.09 | -38184.41 | -2596.21 | 65627.88 | -1481.91 | -382.98 |
| 12Story-Base | 15 | 409 | EY 2 | -1346.33 | -36513.58 | -2414.59 | 62667.79 | -2289.16 | -587.46 |
| 12Story-Base | 15 | 409 | EY 3 | -371.86 | -39855.24 | -2777.83 | 68587.96 | -674.67 | -178.51 |
| 12Story-Base | 15 | 409 | DCon1 | 154.26 | -176.8 | 74619.42 | 170.57 | 123.37 | -2.96 |
| 12Story-Base | 15 | 409 | DCon2 | 128.78 | -154.6 | 63957.96 | 152.71 | 99.11 | -2.87 |
| 12Story-Base | 15 | 409 | DCon3 Max | -21899.72 | 1461.36 | 70909.94 | 3164.86 | -37384.15 | 129.01 |
| 12Story-Base | 15 | 409 | DCon3 Min | -22862.49 | -1865.54 | 70548.95 | -2727.67 | -38980.05 | -275.5 |
| 12Story-Base | 15 | 409 | DCon4 Max | 23144.66 | 1533.38 | 68028.04 | 3052.58 | 39200.88 | 269.59 |
| 12Story-Base | 15 | 409 | DCon4 Min | 22181.89 | -1793.52 | 67667.05 | -2839.95 | 37604.98 | -134.92 |
| 12Story-Base | 15 | 409 | DCon5 Max | -230.77 | -36679.66 | 66873.9 | 68750.42 | -564.25 | -181.46 |
| 12Story-Base | 15 | 409 | DCon5 Min | -1205.25 | -40021.32 | 66510.67 | 62830.24 | -2178.74 | -590.41 |
| 12Story-Base | 15 | 409 | DCon6 Max | 1487.42 | 39689.16 | 72066.32 | -62505.33 | 2399.57 | 584.5 |
| 12Story-Base | 15 | 409 | DCon6 Min | 512.94 | 36347.5 | 71703.09 | -68425.51 | 785.08 | 175.55 |
| 12Story-Base | 15 | 409 | DCon7 Max | -21952.66 | 1526.41 | 44261.11 | 3099.87 | -37424.07 | 130.28 |
| 12Story-Base | 15 | 409 | DCon7 Min | -22915.43 | -1800.48 | 43900.12 | -2792.66 | -39019.97 | -274.24 |
| 12Story-Base | 15 | 409 | DCon8 Max | 23091.72 | 1598.43 | 41379.21 | 2987.6 | 39160.96 | 270.86 |
| 12Story-Base | 15 | 409 | DCon8 Min | 22128.95 | -1728.46 | 41018.22 | -2904.93 | 37565.06 | -133.66 |
| 12Story-Base | 15 | 409 | DCon9 Max | -283.71 | -36614.6 | 40225.07 | 68685.43 | -604.17 | -180.2 |
| 12Story-Base | 15 | 409 | DCon9 Min | -1258.19 | -39956.27 | 39861.84 | 62765.25 | -2218.66 | -589.15 |
| 12Story-Base | 15 | 409 | DCon10 Max | 1434.48 | 39754.22 | 45417.49 | -62570.32 | 2359.65 | 585.77 |
| 12Story-Base | 15 | 409 | DCon10 Min | 460 | 36412.55 | 45054.26 | -68490.5 | 745.16 | 176.82 |
| 12Story-Base | 16 | 410 | Dead | 113.69 | 133.59 | 53266.94 | -125.44 | 98.55 | -2.11 |
| 12Story-Base | 16 | 410 | Live | -1.63 | -1.28 | 1.12 | 3.47 | -2.96 | -0.21 |
| 12Story-Base | 16 | 410 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 16 | 410 | EX1 1 | -22348.54 | -96.28 | 561.56 | 113.48 | -37891.41 | -70.29 |
| 12Story-Base | 16 | 410 | EX1 2 | -22834.77 | -1763.37 | 709.41 | 3063.22 | -38692.89 | 131.97 |
| 12Story-Base | 16 | 410 | EX1 3 | -21862.3 | 1570.81 | 413.71 | -2836.25 | -37089.94 | -272.55 |
| 12Story-Base | 16 | 410 | EY 1 | 792.96 | -38253.11 | 2142.67 | 65693.24 | 1375.22 | -382.98 |
| 12Story-Base | 16 | 410 | EY 2 | 1285.07 | -36578.62 | 1993.81 | 62729.68 | 2186.01 | -587.46 |
| 12Story-Base | 16 | 410 | EY 3 | 300.84 | -39927.59 | 2291.54 | 68656.8 | 564.43 | -178.51 |
| 12Story-Base | 16 | 410 | DCon1 | 159.17 | 187.02 | 74573.71 | -175.62 | 137.98 | -2.96 |
| 12Story-Base | 16 | 410 | DCon2 | 133.82 | 158.25 | 63922.12 | -144.97 | 113.53 | -2.87 |
| 12Story-Base | 16 | 410 | DCon3 Max | -21716.13 | 1743.19 | 69957.55 | 2903.61 | -36964.78 | 129.01 |
| 12Story-Base | 16 | 410 | DCon3 Min | -22688.6 | -1590.99 | 69661.85 | -2995.85 | -38567.73 | -275.5 |
| 12Story-Base | 16 | 410 | DCon4 Max | 22980.94 | 1935.74 | 68834.43 | 2676.65 | 38818.05 | 269.59 |
| 12Story-Base | 16 | 410 | DCon4 Min | 22008.47 | -1398.43 | 68538.72 | -3222.82 | 37215.1 | -134.92 |
| 12Story-Base | 16 | 410 | DCon5 Max | 1431.24 | -36406.24 | 71539.68 | 68497.2 | 2311.17 | -181.46 |
| 12Story-Base | 16 | 410 | DCon5 Min | 447.01 | -39755.21 | 71241.95 | 62570.08 | 689.6 | -590.41 |
| 12Story-Base | 16 | 410 | DCon6 Max | -154.67 | 40099.97 | 67254.33 | -62889.28 | -439.27 | 584.5 |
| 12Story-Base | 16 | 410 | DCon6 Min | -1138.9 | 36751 | 66956.6 | -68816.4 | -2060.85 | 175.55 |
| 12Story-Base | 16 | 410 | DCon7 Max | -21771.35 | 1677.68 | 43322.96 | 2962.86 | -37011.09 | 130.28 |
| 12Story-Base | 16 | 410 | DCon7 Min | -22743.82 | -1656.5 | 43027.26 | -2936.6 | -38614.05 | -274.24 |
| 12Story-Base | 16 | 410 | DCon8 Max | 22925.73 | 1870.24 | 42199.84 | 2735.89 | 38771.73 | 270.86 |
| 12Story-Base | 16 | 410 | DCon8 Min | 21953.26 | -1463.94 | 41904.14 | -3163.57 | 37168.78 | -133.66 |
| 12Story-Base | 16 | 410 | DCon9 Max | 1376.03 | -36471.75 | 44905.09 | 68556.45 | 2264.86 | -180.2 |
| 12Story-Base | 16 | 410 | DCon9 Min | 391.8 | -39820.72 | 44607.36 | 62629.33 | 643.28 | -589.15 |
| 12Story-Base | 16 | 410 | DCon10 Max | -209.89 | 40034.46 | 40619.74 | -62830.03 | -485.59 | 585.77 |
| 12Story-Base | 16 | 410 | DCon10 Min | -1194.12 | 36685.49 | 40322.01 | -68757.16 | -2107.17 | 176.82 |
| 12Story-Base | 20 | 237 | Dead | 691.78 | -675.68 | 82008.89 | 631.5 | 666.5 | -0.03 |
| 12Story-Base | 20 | 237 | Live | -5.86 | 7.61 | 4401.5 | -8.17 | -4.32 | 0.01 |
| 12Story-Base | 20 | 237 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 20 | 237 | EX1 1 | -19964.07 | 315.54 | 59751.43 | -388.02 | -41695.84 | -41.43 |
| 12Story-Base | 20 | 237 | EX1 2 | -21475.52 | -40.97 | 58331.46 | 210.25 | -44742.92 | 278.48 |
| 12Story-Base | 20 | 237 | EX1 3 | -18452.62 | 672.05 | 61171.4 | -986.3 | -38648.76 | -361.34 |
| 12Story-Base | 20 | 237 | EY 1 | -1729.02 | -26487.11 | 153753.09 | 55816.89 | -3500.41 | 371.27 |
| 12Story-Base | 20 | 237 | EY 2 | -203.17 | -26120.85 | 155187.21 | 55200.95 | -425.78 | 48.61 |
| 12Story-Base | 20 | 237 | EY 3 | -3254.87 | -26853.38 | 152318.98 | 56432.84 | -6575.04 | 693.94 |
| 12Story-Base | 20 | 237 | DCon1 | 968.5 | -945.95 | 114812.45 | 884.1 | 933.1 | -0.04 |
| 12Story-Base | 20 | 237 | DCon2 | 820.77 | -798.64 | 105453.08 | 744.72 | 792.88 | -0.02 |
| 12Story-Base | 20 | 237 | DCon3 Max | -17559.16 | -198.72 | 172184.46 | 1023.02 | -37786.63 | 278.45 |
| 12Story-Base | 20 | 237 | DCon3 Min | -20582.06 | -911.74 | 169344.53 | -173.52 | -43880.79 | -361.37 |
| 12Story-Base | 20 | 237 | DCon4 Max | 22368.98 | -829.8 | 52681.6 | 1799.07 | 45605.05 | 361.32 |
| 12Story-Base | 20 | 237 | DCon4 Min | 19346.08 | -1542.82 | 49841.67 | 602.53 | 39510.88 | -278.51 |
| 12Story-Base | 20 | 237 | DCon5 Max | 690.29 | -26991.62 | 266200.27 | 57245.62 | 436.35 | 693.91 |
| 12Story-Base | 20 | 237 | DCon5 Min | -2361.41 | -27724.15 | 263332.05 | 56013.72 | -5712.92 | 48.58 |
| 12Story-Base | 20 | 237 | DCon6 Max | 4148.33 | 25982.61 | -41305.92 | -54388.17 | 7437.17 | -48.63 |
| 12Story-Base | 20 | 237 | DCon6 Min | 1096.63 | 25250.08 | -44174.14 | -55620.07 | 1287.91 | -693.96 |
| 12Story-Base | 20 | 237 | DCon7 Max | -17899.2 | 131.51 | 126778.51 | 715.45 | -38115.56 | 278.46 |
| 12Story-Base | 20 | 237 | DCon7 Min | -20922.1 | -581.51 | 123938.58 | -481.1 | -44209.72 | -361.37 |
| 12Story-Base | 20 | 237 | DCon8 Max | 22028.95 | -499.58 | 7275.65 | 1491.49 | 45276.12 | 361.32 |
| 12Story-Base | 20 | 237 | DCon8 Min | 19006.05 | -1212.59 | 4435.72 | 294.95 | 39181.96 | -278.5 |
| 12Story-Base | 20 | 237 | DCon9 Max | 350.26 | -26661.39 | 220794.32 | 56938.04 | 107.42 | 693.91 |
| 12Story-Base | 20 | 237 | DCon9 Min | -2701.44 | -27393.92 | 217926.1 | 55706.14 | -6041.84 | 48.58 |
| 12Story-Base | 20 | 237 | DCon10 Max | 3808.3 | 26312.83 | -86711.87 | -54695.75 | 7108.25 | -48.63 |
| 12Story-Base | 20 | 237 | DCon10 Min | 756.6 | 25580.31 | -89580.09 | -55927.64 | 958.98 | -693.96 |
| 12Story-Base | 21 | 235 | Dead | 731.13 | 740.25 | 54768.48 | -715.82 | 703.66 | -0.03 |
| 12Story-Base | 21 | 235 | Live | 0.61 | 1.21 | 20.1 | -2.08 | 1.94 | 0.01 |
| 12Story-Base | 21 | 235 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 21 | 235 | EX1 1 | -20144.76 | 87.09 | -77062 | -170.65 | -42284.87 | -41.43 |
| 12Story-Base | 21 | 235 | EX1 2 | -18639.19 | -276.71 | -70763.18 | 434.56 | -39240.63 | 278.48 |
| 12Story-Base | 21 | 235 | EX1 3 | -21650.33 | 450.9 | -83360.83 | -775.86 | -45329.1 | -361.34 |
| 12Story-Base | 21 | 235 | EY 1 | 1668.23 | -26558 | -103192.77 | 55884.34 | 3469.73 | 371.27 |
| 12Story-Base | 21 | 235 | EY 2 | 148.27 | -26184.42 | -109516.93 | 55261.44 | 397.95 | 48.61 |
| 12Story-Base | 21 | 235 | EY 3 | 3188.18 | -26931.57 | -96868.61 | 56507.25 | 6541.51 | 693.94 |
| 12Story-Base | 21 | 235 | DCon1 | 1023.59 | 1036.35 | 76675.87 | -1002.14 | 985.12 | -0.04 |
| 12Story-Base | 21 | 235 | DCon2 | 878.34 | 890.24 | 65754.33 | -862.31 | 847.49 | -0.02 |
| 12Story-Base | 21 | 235 | DCon3 Max | -17688.1 | 1414.44 | 455.94 | -498.08 | -38323.94 | 278.45 |
| 12Story-Base | 21 | 235 | DCon3 Min | -20699.24 | 686.83 | -12141.71 | -1708.5 | -44412.41 | -361.37 |
| 12Story-Base | 21 | 235 | DCon4 Max | 22601.42 | 1240.25 | 154579.95 | -156.78 | 46245.8 | 361.32 |
| 12Story-Base | 21 | 235 | DCon4 Min | 19590.28 | 512.64 | 141982.3 | -1367.21 | 40157.33 | -278.51 |
| 12Story-Base | 21 | 235 | DCon5 Max | 4139.27 | -25220.88 | -25649.49 | 55574.6 | 7458.2 | 693.91 |
| 12Story-Base | 21 | 235 | DCon5 Min | 1099.36 | -25968.03 | -38297.81 | 54328.79 | 1314.65 | 48.58 |
| 12Story-Base | 21 | 235 | DCon6 Max | 802.82 | 27895.11 | 180736.05 | -56194.08 | 518.74 | -48.63 |
| 12Story-Base | 21 | 235 | DCon6 Min | -2237.09 | 27147.96 | 168087.73 | -57439.89 | -5624.81 | -693.96 |
| 12Story-Base | 21 | 235 | DCon7 Max | -18054.28 | 1043.1 | -26948.39 | -138.09 | -38677.71 | 278.46 |
| 12Story-Base | 21 | 235 | DCon7 Min | -21065.43 | 315.49 | -39546.04 | -1348.51 | -44766.18 | -361.37 |
| 12Story-Base | 21 | 235 | DCon8 Max | 22235.24 | 868.91 | 127175.61 | 203.21 | 45892.03 | 361.32 |
| 12Story-Base | 21 | 235 | DCon8 Min | 19224.1 | 141.3 | 114577.96 | -1007.22 | 39803.56 | -278.5 |
| 12Story-Base | 21 | 235 | DCon9 Max | 3773.09 | -25592.22 | -53053.83 | 55934.59 | 7104.44 | 693.91 |
| 12Story-Base | 21 | 235 | DCon9 Min | 733.18 | -26339.37 | -65702.15 | 54688.78 | 960.88 | 48.58 |
| 12Story-Base | 21 | 235 | DCon10 Max | 436.64 | 27523.77 | 153331.71 | -55834.09 | 164.97 | -48.63 |
| 12Story-Base | 21 | 235 | DCon10 Min | -2603.27 | 26776.62 | 140683.39 | -57079.9 | -5978.58 | -693.96 |
| 12Story-Base | 28 | 279 | Dead | 682.23 | 76.31 | 78612 | -84.05 | 657.31 | -0.03 |
| 12Story-Base | 28 | 279 | Live | -0.02 | 7.63 | 357.68 | -8.19 | 1.27 | 0.01 |
| 12Story-Base | 28 | 279 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 28 | 279 | EX1 1 | -20556.37 | 333.19 | -75780.13 | -404.82 | -42398.46 | -41.43 |
| 12Story-Base | 28 | 279 | EX1 2 | -21059.88 | -103.54 | -76855.49 | 269.79 | -43412.96 | 278.48 |
| 12Story-Base | 28 | 279 | EX1 3 | -20052.85 | 769.92 | -74704.78 | -1079.42 | -41383.97 | -361.34 |
| 12Story-Base | 28 | 279 | EY 1 | -534.85 | -37124.04 | -10954.7 | 65938.35 | -1118.27 | 371.27 |
| 12Story-Base | 28 | 279 | EY 2 | -26.52 | -36674.85 | -9873.06 | 65243.49 | -94.58 | 48.61 |
| 12Story-Base | 28 | 279 | EY 3 | -1043.18 | -37573.23 | -12036.34 | 66633.21 | -2141.96 | 693.94 |
| 12Story-Base | 28 | 279 | DCon1 | 955.12 | 106.84 | 110056.8 | -117.67 | 920.24 | -0.04 |
| 12Story-Base | 28 | 279 | DCon2 | 818.65 | 103.78 | 94906.68 | -113.96 | 790.81 | -0.02 |
| 12Story-Base | 28 | 279 | DCon3 Max | -19165.98 | 876.75 | 27848.5 | 152.33 | -40528.2 | 278.45 |
| 12Story-Base | 28 | 279 | DCon3 Min | -20173 | 3.29 | 25697.79 | -1196.88 | -42557.18 | -361.37 |
| 12Story-Base | 28 | 279 | DCon4 Max | 21946.76 | 210.38 | 179408.76 | 961.97 | 44268.73 | 361.32 |
| 12Story-Base | 28 | 279 | DCon4 Min | 20939.73 | -663.08 | 177258.05 | -387.25 | 42239.75 | -278.51 |
| 12Story-Base | 28 | 279 | DCon5 Max | 860.36 | -36568.01 | 92680.22 | 66515.75 | 761.19 | 693.91 |
| 12Story-Base | 28 | 279 | DCon5 Min | -156.3 | -37466.39 | 90516.94 | 65126.04 | -1286.18 | 48.58 |
| 12Story-Base | 28 | 279 | DCon6 Max | 1930.06 | 37680.06 | 114589.61 | -65360.95 | 2997.73 | -48.63 |
| 12Story-Base | 28 | 279 | DCon6 Min | 913.4 | 36781.68 | 112426.33 | -66750.66 | 950.36 | -693.96 |
| 12Story-Base | 28 | 279 | DCon7 Max | -19507.07 | 830.97 | -11815.18 | 202.55 | -40858.12 | 278.46 |
| 12Story-Base | 28 | 279 | DCon7 Min | -20514.1 | -42.49 | -13965.89 | -1146.66 | -42887.11 | -361.37 |
| 12Story-Base | 28 | 279 | DCon8 Max | 21605.67 | 164.59 | 139745.09 | 1012.18 | 43938.81 | 361.32 |
| 12Story-Base | 28 | 279 | DCon8 Min | 20598.64 | -708.87 | 137594.38 | -337.03 | 41909.82 | -278.5 |
| 12Story-Base | 28 | 279 | DCon9 Max | 519.26 | -36613.8 | 53016.54 | 66565.97 | 431.27 | 693.91 |
| 12Story-Base | 28 | 279 | DCon9 Min | -497.39 | -37512.18 | 50853.26 | 65176.25 | -1616.1 | 48.58 |
| 12Story-Base | 28 | 279 | DCon10 Max | 1588.96 | 37634.28 | 74925.94 | -65310.73 | 2667.81 | -48.63 |
| 12Story-Base | 28 | 279 | DCon10 Min | 572.3 | 36735.89 | 72762.66 | -66700.45 | 620.43 | -693.96 |
| 12Story-Base | 29 | 280 | Dead | 685.68 | -4.84 | 76603.98 | -6.83 | 660.51 | -0.03 |
| 12Story-Base | 29 | 280 | Live | 0.64 | 1.71 | -1.87 | -2.56 | 1.93 | 0.01 |
| 12Story-Base | 29 | 280 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 29 | 280 | EX1 1 | -20663.69 | 120.79 | -86338.2 | -202.71 | -42639.62 | -41.43 |
| 12Story-Base | 29 | 280 | EX1 2 | -20159.58 | -322.42 | -84897.79 | 478.06 | -41621.81 | 278.48 |
| 12Story-Base | 29 | 280 | EX1 3 | -21167.81 | 564.01 | -87778.61 | -883.49 | -43657.43 | -361.34 |
| 12Story-Base | 29 | 280 | EY 1 | 546.63 | -37202.22 | 10935.75 | 66012.74 | 1156.64 | 371.27 |
| 12Story-Base | 29 | 280 | EY 2 | 37.7 | -36746.52 | 9489.71 | 65311.7 | 129.64 | 48.61 |
| 12Story-Base | 29 | 280 | EY 3 | 1055.56 | -37657.91 | 12381.8 | 66713.79 | 2183.65 | 693.94 |
| 12Story-Base | 29 | 280 | DCon1 | 959.96 | -6.78 | 107245.57 | -9.56 | 924.71 | -0.04 |
| 12Story-Base | 29 | 280 | DCon2 | 823.85 | -3.07 | 91921.78 | -12.29 | 795.7 | -0.02 |
| 12Story-Base | 29 | 280 | DCon3 Max | -19267.55 | 559.42 | 14685.51 | 466.63 | -40761.23 | 278.45 |
| 12Story-Base | 29 | 280 | DCon3 Min | -20275.77 | -327.01 | 11804.69 | -894.93 | -42796.84 | -361.37 |
| 12Story-Base | 29 | 280 | DCon4 Max | 22059.84 | 317.84 | 187361.91 | 872.06 | 44518.01 | 361.32 |
| 12Story-Base | 29 | 280 | DCon4 Min | 21051.61 | -568.59 | 184481.09 | -489.5 | 42482.4 | -278.51 |
| 12Story-Base | 29 | 280 | DCon5 Max | 1947.59 | -36751.11 | 111965.1 | 66702.35 | 3044.24 | 693.91 |
| 12Story-Base | 29 | 280 | DCon5 Min | 929.73 | -37662.5 | 109073.01 | 65300.26 | 990.22 | 48.58 |
| 12Story-Base | 29 | 280 | DCon6 Max | 854.33 | 37653.33 | 90093.59 | -65323.13 | 730.95 | -48.63 |
| 12Story-Base | 29 | 280 | DCon6 Min | -163.53 | 36741.94 | 87201.5 | -66725.22 | -1323.07 | -693.96 |
| 12Story-Base | 29 | 280 | DCon7 Max | -19611.03 | 560.14 | -23614.61 | 472.6 | -41093.41 | 278.46 |
| 12Story-Base | 29 | 280 | DCon7 Min | -20619.26 | -326.3 | -26495.42 | -888.96 | -43129.02 | -361.37 |
| 12Story-Base | 29 | 280 | DCon8 Max | 21716.35 | 318.55 | 149061.79 | 878.03 | 44185.83 | 361.32 |
| 12Story-Base | 29 | 280 | DCon8 Min | 20708.13 | -567.88 | 146180.98 | -483.53 | 42150.22 | -278.5 |
| 12Story-Base | 29 | 280 | DCon9 Max | 1604.11 | -36750.4 | 73664.98 | 66708.33 | 2712.06 | 693.91 |
| 12Story-Base | 29 | 280 | DCon9 Min | 586.25 | -37661.79 | 70772.89 | 65306.23 | 658.04 | 48.58 |
| 12Story-Base | 29 | 280 | DCon10 Max | 510.85 | 37654.04 | 51793.47 | -65317.16 | 398.77 | -48.63 |
| 12Story-Base | 29 | 280 | DCon10 Min | -507.01 | 36742.65 | 48901.38 | -66719.25 | -1655.25 | -693.96 |
| 12Story-Base | 61 | 9 | Dead | 1160.42 | 1160.8 | 156199.07 | -1088.1 | 1070.41 | -1.56 |
| 12Story-Base | 61 | 9 | Live | 157.79 | 161.54 | 16146.97 | -155.35 | 143.21 | -0.62 |
| 12Story-Base | 61 | 9 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 61 | 9 | EX1 1 | -31967.97 | -222.66 | -293988.66 | 679.2 | -88563.92 | 108.88 |
| 12Story-Base | 61 | 9 | EX1 2 | -31435.38 | -911.85 | -297532.22 | 2591.75 | -87160.09 | 286.6 |
| 12Story-Base | 61 | 9 | EX1 3 | -32500.56 | 466.53 | -290445.11 | -1233.36 | -89967.75 | -68.84 |
| 12Story-Base | 61 | 9 | EY 1 | -3318.21 | -20444.33 | -261554.95 | 58159.66 | -8159.61 | -996.57 |
| 12Story-Base | 61 | 9 | EY 2 | -3858.73 | -19748.16 | -258001.21 | 56231.17 | -9581.56 | -1176.4 |
| 12Story-Base | 61 | 9 | EY 3 | -2777.69 | -21140.5 | -265108.7 | 60088.15 | -6737.67 | -816.73 |
| 12Story-Base | 61 | 9 | DCon1 | 1624.59 | 1625.12 | 218678.7 | -1523.33 | 1498.57 | -2.18 |
| 12Story-Base | 61 | 9 | DCon2 | 1644.97 | 1651.42 | 213274.03 | -1554.28 | 1513.63 | -2.86 |
| 12Story-Base | 61 | 9 | DCon3 Max | -29769.04 | 2137.1 | -71239.35 | 1021.88 | -85625.35 | 283.96 |
| 12Story-Base | 61 | 9 | DCon3 Min | -30834.23 | 758.73 | -78326.46 | -2803.23 | -88433.01 | -71.48 |
| 12Story-Base | 61 | 9 | DCon4 Max | 34166.9 | 2582.43 | 516737.98 | -336.52 | 91502.5 | 66.2 |
| 12Story-Base | 61 | 9 | DCon4 Min | 33101.72 | 1204.05 | 509650.87 | -4161.62 | 88694.84 | -289.24 |
| 12Story-Base | 61 | 9 | DCon5 Max | -1111.35 | -18077.59 | -38795.45 | 58518.28 | -5202.92 | -819.38 |
| 12Story-Base | 61 | 9 | DCon5 Min | -2192.39 | -19469.93 | -45902.94 | 54661.3 | -8046.81 | -1179.04 |
| 12Story-Base | 61 | 9 | DCon6 Max | 5525.06 | 22811.08 | 484314.46 | -57801.05 | 11116.3 | 1173.75 |
| 12Story-Base | 61 | 9 | DCon6 Min | 4444.03 | 21418.74 | 477206.97 | -61658.03 | 8272.42 | 814.09 |
| 12Story-Base | 61 | 9 | DCon7 Max | -30507.04 | 1395.17 | -165485.85 | 1721.27 | -86303.76 | 285.36 |
| 12Story-Base | 61 | 9 | DCon7 Min | -31572.23 | 16.79 | -172572.96 | -2103.83 | -89111.43 | -70.09 |
| 12Story-Base | 61 | 9 | DCon8 Max | 33428.9 | 1840.49 | 422491.47 | 362.88 | 90824.08 | 67.6 |
| 12Story-Base | 61 | 9 | DCon8 Min | 32363.71 | 462.11 | 415404.36 | -3462.23 | 88016.42 | -287.85 |
| 12Story-Base | 61 | 9 | DCon9 Max | -1849.35 | -18819.52 | -133041.95 | 59217.68 | -5881.34 | -817.98 |
| 12Story-Base | 61 | 9 | DCon9 Min | -2930.39 | -20211.86 | -140149.44 | 55360.69 | -8725.23 | -1177.64 |
| 12Story-Base | 61 | 9 | DCon10 Max | 4787.06 | 22069.15 | 390067.96 | -57101.65 | 10437.88 | 1175.15 |
| 12Story-Base | 61 | 9 | DCon10 Min | 3706.02 | 20676.8 | 382960.46 | -60958.63 | 7594 | 815.49 |
| 12Story-Base | 62 | 11 | Dead | 1395.39 | -1234.99 | 129470.15 | 1165.19 | 1307.08 | -1.56 |
| 12Story-Base | 62 | 11 | Live | 200.49 | -159.74 | 12403.02 | 146.82 | 189.58 | -0.62 |
| 12Story-Base | 62 | 11 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 62 | 11 | EX1 1 | -36499.98 | -217.24 | -119995.52 | 674.1 | -93922.45 | 108.88 |
| 12Story-Base | 62 | 11 | EX1 2 | -37097.41 | -950.39 | -113750.97 | 2627.99 | -95370.52 | 286.6 |
| 12Story-Base | 62 | 11 | EX1 3 | -35902.54 | 515.9 | -126240.07 | -1279.8 | -92474.37 | -68.84 |
| 12Story-Base | 62 | 11 | EY 1 | 3708.33 | -21647.27 | 216478.7 | 59291.04 | 8481.25 | -996.57 |
| 12Story-Base | 62 | 11 | EY 2 | 4314.06 | -20907.11 | 210209.32 | 57321.18 | 9947.71 | -1176.4 |
| 12Story-Base | 62 | 11 | EY 3 | 3102.6 | -22387.43 | 222748.08 | 61260.91 | 7014.78 | -816.73 |
| 12Story-Base | 62 | 11 | DCon1 | 1953.54 | -1728.98 | 181258.21 | 1631.26 | 1829.91 | -2.18 |
| 12Story-Base | 62 | 11 | DCon2 | 1995.25 | -1737.58 | 175209.02 | 1633.14 | 1871.83 | -2.86 |
| 12Story-Base | 62 | 11 | DCon3 Max | -33888.05 | -1249.32 | 66963.25 | 4289.56 | -90585.59 | 283.96 |
| 12Story-Base | 62 | 11 | DCon3 Min | -35082.92 | -2715.61 | 54474.15 | 381.77 | -93481.74 | -71.48 |
| 12Story-Base | 62 | 11 | DCon4 Max | 39111.9 | -814.84 | 306954.28 | 2941.36 | 97259.31 | 66.2 |
| 12Story-Base | 62 | 11 | DCon4 Min | 37917.03 | -2281.13 | 294465.19 | -966.43 | 94363.16 | -289.24 |
| 12Story-Base | 62 | 11 | DCon5 Max | 6328.56 | -22672.33 | 403462.3 | 62922.48 | 11836.49 | -819.38 |
| 12Story-Base | 62 | 11 | DCon5 Min | 5117.09 | -24152.65 | 390923.54 | 58982.74 | 8903.57 | -1179.04 |
| 12Story-Base | 62 | 11 | DCon6 Max | -1088.11 | 20622.2 | -29495.1 | -55659.61 | -5126 | 1173.75 |
| 12Story-Base | 62 | 11 | DCon6 Min | -2299.57 | 19141.88 | -42033.86 | -59599.34 | -8058.92 | 814.09 |
| 12Story-Base | 62 | 11 | DCon7 Max | -34786.23 | -472.09 | -10174.85 | 3560.15 | -91428.71 | 285.36 |
| 12Story-Base | 62 | 11 | DCon7 Min | -35981.1 | -1938.38 | -22663.94 | -347.64 | -94324.86 | -70.09 |
| 12Story-Base | 62 | 11 | DCon8 Max | 38213.72 | -37.6 | 229816.19 | 2211.95 | 96416.18 | 67.6 |
| 12Story-Base | 62 | 11 | DCon8 Min | 37018.85 | -1503.89 | 217327.09 | -1695.84 | 93520.03 | -287.85 |
| 12Story-Base | 62 | 11 | DCon9 Max | 5430.38 | -21895.09 | 326324.2 | 62193.06 | 10993.37 | -817.98 |
| 12Story-Base | 62 | 11 | DCon9 Min | 4218.91 | -23375.42 | 313785.44 | 58253.33 | 8060.45 | -1177.64 |
| 12Story-Base | 62 | 11 | DCon10 Max | -1986.29 | 21399.44 | -106633.2 | -56389.03 | -5969.12 | 1175.15 |
| 12Story-Base | 62 | 11 | DCon10 Min | -3197.75 | 19919.12 | -119171.96 | -60328.76 | -8902.05 | 815.49 |
| 12Story-Base | 63 | 13 | Dead | -1199.11 | -1213.84 | 131418.04 | 1160.97 | -1133.09 | -1.56 |
| 12Story-Base | 63 | 13 | Live | -164.06 | -167.53 | 12102.19 | 160.36 | -153.28 | -0.62 |
| 12Story-Base | 63 | 13 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 63 | 13 | EX1 1 | -32721.96 | 272.86 | 165837.1 | -882.94 | -90369.15 | 108.88 |
| 12Story-Base | 63 | 13 | EX1 2 | -33251.17 | 635.72 | 164498.26 | -1748.95 | -91753.06 | 286.6 |
| 12Story-Base | 63 | 13 | EX1 3 | -32192.75 | -90 | 167175.94 | -16.92 | -88985.24 | -68.84 |
| 12Story-Base | 63 | 13 | EY 1 | 3349.09 | -27194.9 | 218080.49 | 74540.97 | 8143.38 | -996.57 |
| 12Story-Base | 63 | 13 | EY 2 | 3886.21 | -27566.6 | 219419.25 | 75427.15 | 9545.3 | -1176.4 |
| 12Story-Base | 63 | 13 | EY 3 | 2811.98 | -26823.21 | 216741.73 | 73654.78 | 6741.45 | -816.73 |
| 12Story-Base | 63 | 13 | DCon1 | -1678.75 | -1699.37 | 183985.25 | 1625.36 | -1586.33 | -2.18 |
| 12Story-Base | 63 | 13 | DCon2 | -1701.42 | -1724.65 | 177065.15 | 1649.74 | -1604.96 | -2.86 |
| 12Story-Base | 63 | 13 | DCon3 Max | -33915.64 | -1109.79 | 350121.58 | 1652.7 | -90611.54 | 283.96 |
| 12Story-Base | 63 | 13 | DCon3 Min | -34974.07 | -1835.52 | 347443.9 | -79.33 | -93379.36 | -71.48 |
| 12Story-Base | 63 | 13 | DCon4 Max | 31528.27 | -1655.51 | 18447.38 | 3418.57 | 90126.76 | 66.2 |
| 12Story-Base | 63 | 13 | DCon4 Min | 30469.85 | -2381.24 | 15769.7 | 1686.54 | 87358.94 | -289.24 |
| 12Story-Base | 63 | 13 | DCon5 Max | 2163.31 | -28568.73 | 402364.89 | 77096.77 | 7919 | -819.38 |
| 12Story-Base | 63 | 13 | DCon5 Min | 1089.08 | -29312.11 | 399687.37 | 75324.4 | 5115.15 | -1179.04 |
| 12Story-Base | 63 | 13 | DCon6 Max | -4534.88 | 25821.08 | -33796.09 | -71985.16 | -8367.76 | 1173.75 |
| 12Story-Base | 63 | 13 | DCon6 Min | -5609.11 | 25077.69 | -36473.6 | -73757.53 | -11171.6 | 814.09 |
| 12Story-Base | 63 | 13 | DCon7 Max | -33152.03 | -335.35 | 272310.37 | 911.85 | -89891.71 | 285.36 |
| 12Story-Base | 63 | 13 | DCon7 Min | -34210.46 | -1061.07 | 269632.69 | -820.18 | -92659.54 | -70.09 |
| 12Story-Base | 63 | 13 | DCon8 Max | 32291.89 | -881.07 | -59363.83 | 2677.73 | 90846.58 | 67.6 |
| 12Story-Base | 63 | 13 | DCon8 Min | 31233.46 | -1606.79 | -62041.51 | 945.7 | 88078.76 | -287.85 |
| 12Story-Base | 63 | 13 | DCon9 Max | 2926.92 | -27794.28 | 324553.67 | 76355.93 | 8638.82 | -817.98 |
| 12Story-Base | 63 | 13 | DCon9 Min | 1852.7 | -28537.66 | 321876.16 | 74583.55 | 5834.98 | -1177.64 |
| 12Story-Base | 63 | 13 | DCon10 Max | -3771.26 | 26595.53 | -111607.3 | -72726 | -7647.93 | 1175.15 |
| 12Story-Base | 63 | 13 | DCon10 Min | -4845.49 | 25852.14 | -114284.82 | -74498.38 | -10451.78 | 815.49 |
| 12Story-Base | 64 | 15 | Dead | -1180 | 1154.23 | 155981.29 | -1066.24 | -1130.8 | -1.56 |
| 12Story-Base | 64 | 15 | Live | -163.32 | 158.2 | 16099.2 | -146 | -158.8 | -0.62 |
| 12Story-Base | 64 | 15 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 64 | 15 | EX1 1 | -31967.6 | 309.62 | 295603.24 | -917.51 | -88563.57 | 108.88 |
| 12Story-Base | 64 | 15 | EX1 2 | -31436.38 | 678.52 | 291694.13 | -1789.2 | -87161.04 | 286.6 |
| 12Story-Base | 64 | 15 | EX1 3 | -32498.82 | -59.28 | 299512.36 | -45.82 | -89966.11 | -68.84 |
| 12Story-Base | 64 | 15 | EY 1 | -3415.95 | -27155.93 | -262230.8 | 74504.31 | -8251.54 | -996.57 |
| 12Story-Base | 64 | 15 | EY 2 | -3955.09 | -27533.67 | -258310.42 | 75396.19 | -9672.18 | -1176.4 |
| 12Story-Base | 64 | 15 | EY 3 | -2876.81 | -26778.2 | -266151.18 | 73612.44 | -6830.89 | -816.73 |
| 12Story-Base | 64 | 15 | DCon1 | -1652 | 1615.92 | 218373.8 | -1492.73 | -1583.11 | -2.18 |
| 12Story-Base | 64 | 15 | DCon2 | -1677.31 | 1638.19 | 212936.27 | -1513.08 | -1611.04 | -2.86 |
| 12Story-Base | 64 | 15 | DCon3 Max | -33133.7 | 2337.21 | 518387.23 | -1577.92 | -88789.87 | 283.96 |
| 12Story-Base | 64 | 15 | DCon3 Min | -34196.13 | 1599.41 | 510569 | -3321.31 | -91594.95 | -71.48 |
| 12Story-Base | 64 | 15 | DCon4 Max | 30801.5 | 1717.98 | -72819.25 | 257.09 | 88337.28 | 66.2 |
| 12Story-Base | 64 | 15 | DCon4 Min | 29739.07 | 980.18 | -80637.48 | -1486.29 | 85532.2 | -289.24 |
| 12Story-Base | 64 | 15 | DCon5 Max | -4574.12 | -25119.5 | -39435.55 | 73864.08 | -8459.73 | -819.38 |
| 12Story-Base | 64 | 15 | DCon5 Min | -5652.4 | -25874.97 | -47276.31 | 72080.34 | -11301.02 | -1179.04 |
| 12Story-Base | 64 | 15 | DCon6 Max | 2257.77 | 29192.37 | 485026.06 | -75144.55 | 8043.35 | 1173.75 |
| 12Story-Base | 64 | 15 | DCon6 Min | 1179.49 | 28436.89 | 477185.3 | -76928.29 | 5202.06 | 814.09 |
| 12Story-Base | 64 | 15 | DCon7 Max | -32380.38 | 1601.9 | 424297.39 | -898.81 | -88065.67 | 285.36 |
| 12Story-Base | 64 | 15 | DCon7 Min | -33442.82 | 864.1 | 416479.16 | -2642.19 | -90870.75 | -70.09 |
| 12Story-Base | 64 | 15 | DCon8 Max | 31554.82 | 982.66 | -166909.1 | 936.21 | 89061.47 | 67.6 |
| 12Story-Base | 64 | 15 | DCon8 Min | 30492.39 | 244.86 | -174727.33 | -807.17 | 86256.4 | -287.85 |
| 12Story-Base | 64 | 15 | DCon9 Max | -3820.8 | -25854.82 | -133525.39 | 74543.19 | -7735.53 | -817.98 |
| 12Story-Base | 64 | 15 | DCon9 Min | -4899.08 | -26610.29 | -141366.15 | 72759.45 | -10576.82 | -1177.64 |
| 12Story-Base | 64 | 15 | DCon10 Max | 3011.09 | 28457.05 | 390936.21 | -74465.43 | 8767.55 | 1175.15 |
| 12Story-Base | 64 | 15 | DCon10 Min | 1932.81 | 27701.58 | 383095.45 | -76249.18 | 5926.26 | 815.49 |
| 12Story-Base | 65 | 49 | Dead | -46.5 | -1677.03 | 242347.37 | 1571.89 | -52.98 | -2.88 |
| 12Story-Base | 65 | 49 | Live | -1.76 | -332.02 | 30001.12 | 305.45 | 0.26 | -1.14 |
| 12Story-Base | 65 | 49 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 65 | 49 | EX1 1 | -62191.22 | -82.43 | -18066.2 | 269.9 | -168086.38 | 201.72 |
| 12Story-Base | 65 | 49 | EX1 2 | -63179.58 | -557.47 | -9019.37 | 1948.03 | -170644.84 | 530.97 |
| 12Story-Base | 65 | 49 | EX1 3 | -61202.85 | 392.6 | -27113.02 | -1408.23 | -165527.93 | -127.54 |
| 12Story-Base | 65 | 49 | EY 1 | 6248.42 | -33515.41 | 305442.07 | 109405.88 | 15046.44 | -1846.26 |
| 12Story-Base | 65 | 49 | EY 2 | 7251.5 | -33037.82 | 296378.1 | 107721.13 | 17638.14 | -2179.42 |
| 12Story-Base | 65 | 49 | EY 3 | 5245.35 | -33993.01 | 314506.04 | 111090.64 | 12454.73 | -1513.1 |
| 12Story-Base | 65 | 49 | DCon1 | -65.11 | -2347.84 | 339286.32 | 2200.65 | -74.17 | -4.04 |
| 12Story-Base | 65 | 49 | DCon2 | -58.63 | -2543.67 | 338818.64 | 2374.99 | -63.16 | -5.29 |
| 12Story-Base | 65 | 49 | DCon3 Max | -61265.07 | -2119.56 | 336033.34 | 4296.94 | -165596.54 | 526.07 |
| 12Story-Base | 65 | 49 | DCon3 Min | -63241.8 | -3069.62 | 317939.69 | 940.68 | -170713.45 | -132.43 |
| 12Story-Base | 65 | 49 | DCon4 Max | 63117.36 | -1954.69 | 372165.73 | 3757.14 | 170576.23 | 122.64 |
| 12Story-Base | 65 | 49 | DCon4 Min | 61140.63 | -2904.75 | 354072.08 | 400.88 | 165459.32 | -535.86 |
| 12Story-Base | 65 | 49 | DCon5 Max | 7189.28 | -35549.97 | 659558.74 | 113439.55 | 17569.53 | -1517.99 |
| 12Story-Base | 65 | 49 | DCon5 Min | 5183.13 | -36505.17 | 641430.81 | 110070.04 | 12386.12 | -2184.31 |
| 12Story-Base | 65 | 49 | DCon6 Max | -5307.57 | 31480.86 | 48674.61 | -105372.22 | -12523.34 | 2174.53 |
| 12Story-Base | 65 | 49 | DCon6 Min | -7313.72 | 30525.66 | 30546.67 | -108741.73 | -17706.75 | 1508.21 |
| 12Story-Base | 65 | 49 | DCon7 Max | -61240.05 | -949.03 | 184858.53 | 3205.55 | -165570.31 | 528.66 |
| 12Story-Base | 65 | 49 | DCon7 Min | -63216.79 | -1899.09 | 166764.88 | -150.71 | -170687.22 | -129.84 |
| 12Story-Base | 65 | 49 | DCon8 Max | 63142.38 | -784.16 | 220990.92 | 2665.74 | 170602.46 | 125.23 |
| 12Story-Base | 65 | 49 | DCon8 Min | 61165.65 | -1734.22 | 202897.27 | -690.52 | 165485.55 | -533.27 |
| 12Story-Base | 65 | 49 | DCon9 Max | 7214.3 | -34379.44 | 508383.93 | 112348.16 | 17595.76 | -1515.41 |
| 12Story-Base | 65 | 49 | DCon9 Min | 5208.14 | -35334.64 | 490256 | 108978.64 | 12412.35 | -2181.73 |
| 12Story-Base | 65 | 49 | DCon10 Max | -5282.55 | 32651.39 | -102500.2 | -106463.61 | -12497.11 | 2177.11 |
| 12Story-Base | 65 | 49 | DCon10 Min | -7288.71 | 31696.19 | -120628.14 | -109833.13 | -17680.52 | 1510.79 |
| 12Story-Base | 66 | 50 | Dead | 5.91 | -1678.99 | 241071.82 | 1583.39 | -4.36 | -2.88 |
| 12Story-Base | 66 | 50 | Live | -1.83 | -333.88 | 29768.35 | 311.01 | 0.2 | -1.14 |
| 12Story-Base | 66 | 50 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 66 | 50 | EX1 1 | -62851.24 | 203.41 | 10864.9 | -672.1 | -168698.55 | 201.72 |
| 12Story-Base | 66 | 50 | EX1 2 | -63855.23 | 234.83 | 10161.95 | -568.54 | -171271.5 | 530.97 |
| 12Story-Base | 66 | 50 | EX1 3 | -61847.26 | 171.99 | 11567.84 | -775.66 | -166125.61 | -127.54 |
| 12Story-Base | 66 | 50 | EY 1 | 6303.06 | -36852.24 | 296623.85 | 118696.11 | 15097.11 | -1846.26 |
| 12Story-Base | 66 | 50 | EY 2 | 7321.82 | -36889.16 | 297319.03 | 118606.52 | 17703.36 | -2179.42 |
| 12Story-Base | 66 | 50 | EY 3 | 5284.29 | -36815.33 | 295928.68 | 118785.71 | 12490.85 | -1513.1 |
| 12Story-Base | 66 | 50 | DCon1 | 8.27 | -2350.59 | 337500.54 | 2216.75 | -6.11 | -4.04 |
| 12Story-Base | 66 | 50 | DCon2 | 4.16 | -2548.99 | 336915.55 | 2397.69 | -4.92 | -5.29 |
| 12Story-Base | 66 | 50 | DCon3 Max | -61841.4 | -2281.73 | 354729.56 | 1800.88 | -166131.09 | 526.07 |
| 12Story-Base | 66 | 50 | DCon3 Min | -63849.38 | -2344.57 | 353323.67 | 1593.76 | -171276.97 | -132.43 |
| 12Story-Base | 66 | 50 | DCon4 Max | 63861.08 | -2688.56 | 332999.76 | 3145.08 | 171266.02 | 122.64 |
| 12Story-Base | 66 | 50 | DCon4 Min | 61853.11 | -2751.4 | 331593.87 | 2937.95 | 166120.14 | -535.86 |
| 12Story-Base | 66 | 50 | DCon5 Max | 7327.67 | -39331.9 | 640480.74 | 121155.13 | 17697.89 | -1517.99 |
| 12Story-Base | 66 | 50 | DCon5 Min | 5290.14 | -39405.72 | 639090.4 | 120975.93 | 12485.38 | -2184.31 |
| 12Story-Base | 66 | 50 | DCon6 Max | -5278.44 | 34372.59 | 47233.04 | -116237.1 | -12496.33 | 2174.53 |
| 12Story-Base | 66 | 50 | DCon6 Min | -7315.97 | 34298.77 | 45842.69 | -116416.29 | -17708.84 | 1508.21 |
| 12Story-Base | 66 | 50 | DCon7 Max | -61842.53 | -1108.36 | 204425.3 | 698.18 | -166129.1 | 528.66 |
| 12Story-Base | 66 | 50 | DCon7 Min | -63850.5 | -1171.2 | 203019.41 | 491.06 | -171274.99 | -129.84 |
| 12Story-Base | 66 | 50 | DCon8 Max | 63859.96 | -1515.19 | 182695.5 | 2042.37 | 171268.01 | 125.23 |
| 12Story-Base | 66 | 50 | DCon8 Min | 61851.98 | -1578.02 | 181289.61 | 1835.25 | 166122.12 | -533.27 |
| 12Story-Base | 66 | 50 | DCon9 Max | 7326.55 | -38158.53 | 490176.48 | 120052.43 | 17699.87 | -1515.41 |
| 12Story-Base | 66 | 50 | DCon9 Min | 5289.02 | -38232.35 | 488786.13 | 119873.23 | 12487.36 | -2181.73 |
| 12Story-Base | 66 | 50 | DCon10 Max | -5279.56 | 35545.96 | -103071.23 | -117339.8 | -12494.34 | 2177.11 |
| 12Story-Base | 66 | 50 | DCon10 Min | -7317.1 | 35472.14 | -104461.57 | -117519 | -17706.85 | 1510.79 |
| 12Story-Base | 67 | 51 | Dead | 1657.4 | -7.42 | 242715.44 | 13.66 | 1517.71 | -2.88 |
| 12Story-Base | 67 | 51 | Live | 332.47 | -1.95 | 30051.74 | -4.53 | 306.42 | -1.14 |
| 12Story-Base | 67 | 51 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 67 | 51 | EX1 1 | -48115.1 | -357.8 | -331293.21 | 1202.18 | -154353.98 | 201.72 |
| 12Story-Base | 67 | 51 | EX1 2 | -48367.11 | -1657.69 | -335188.93 | 4750.2 | -155124.63 | 530.97 |
| 12Story-Base | 67 | 51 | EX1 3 | -47863.08 | 942.09 | -327397.49 | -2345.83 | -153583.32 | -127.54 |
| 12Story-Base | 67 | 51 | EY 1 | 1700.7 | -39247.19 | 16083.85 | 108526.74 | 4633.11 | -1846.26 |
| 12Story-Base | 67 | 51 | EY 2 | 1956.74 | -37934.31 | 19981 | 104949.31 | 5413.99 | -2179.42 |
| 12Story-Base | 67 | 51 | EY 3 | 1444.66 | -40560.07 | 12186.69 | 112104.17 | 3852.23 | -1513.1 |
| 12Story-Base | 67 | 51 | DCon1 | 2320.37 | -10.39 | 339801.61 | 19.13 | 2124.8 | -4.04 |
| 12Story-Base | 67 | 51 | DCon2 | 2520.84 | -12.02 | 339341.3 | 9.15 | 2311.53 | -5.29 |
| 12Story-Base | 67 | 51 | DCon3 Max | -45375.98 | 930.49 | 18184.32 | 4763.43 | -151303.87 | 526.07 |
| 12Story-Base | 67 | 51 | DCon3 Min | -45880.01 | -1669.29 | 10392.87 | -2332.6 | -152845.18 | -132.43 |
| 12Story-Base | 67 | 51 | DCon4 Max | 50854.21 | 1646.09 | 680770.74 | 2359.07 | 157404.08 | 122.64 |
| 12Story-Base | 67 | 51 | DCon4 Min | 50350.18 | -953.68 | 672979.29 | -4736.97 | 155862.77 | -535.86 |
| 12Story-Base | 67 | 51 | DCon5 Max | 4443.84 | -37945.91 | 365562.81 | 112117.41 | 7693.44 | -1517.99 |
| 12Story-Base | 67 | 51 | DCon5 Min | 3931.76 | -40571.67 | 357768.5 | 104962.54 | 6131.68 | -2184.31 |
| 12Story-Base | 67 | 51 | DCon6 Max | 1042.44 | 40548.47 | 333395.11 | -104936.08 | -1572.78 | 2174.53 |
| 12Story-Base | 67 | 51 | DCon6 Min | 530.36 | 37922.72 | 325600.8 | -112090.94 | -3134.54 | 1508.21 |
| 12Story-Base | 67 | 51 | DCon7 Max | -46537.16 | 936.15 | -133225.14 | 4761.13 | -152369.15 | 528.66 |
| 12Story-Base | 67 | 51 | DCon7 Min | -47041.19 | -1663.62 | -141016.58 | -2334.9 | -153910.46 | -129.84 |
| 12Story-Base | 67 | 51 | DCon8 Max | 49693.04 | 1651.75 | 529361.28 | 2356.76 | 156338.8 | 125.23 |
| 12Story-Base | 67 | 51 | DCon8 Min | 49189.01 | -948.02 | 521569.84 | -4739.27 | 154797.49 | -533.27 |
| 12Story-Base | 67 | 51 | DCon9 Max | 3282.67 | -37940.25 | 214153.35 | 112115.1 | 6628.16 | -1515.41 |
| 12Story-Base | 67 | 51 | DCon9 Min | 2770.58 | -40566.01 | 206359.04 | 104960.24 | 5066.4 | -2181.73 |
| 12Story-Base | 67 | 51 | DCon10 Max | -118.73 | 40554.13 | 181985.66 | -104938.38 | -2638.06 | 2177.11 |
| 12Story-Base | 67 | 51 | DCon10 Min | -630.82 | 37928.38 | 174191.35 | -112093.24 | -4199.82 | 1510.79 |
| 12Story-Base | 68 | 52 | Dead | 1643.89 | -55.77 | 244096.51 | 58.51 | 1495.5 | -2.88 |
| 12Story-Base | 68 | 52 | Live | 329.07 | 0.81 | 30249.67 | -7.09 | 299.43 | -1.14 |
| 12Story-Base | 68 | 52 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 68 | 52 | EX1 1 | -47618.68 | -482.74 | -341602.97 | 1318.06 | -153216.68 | 201.72 |
| 12Story-Base | 68 | 52 | EX1 2 | -47362.34 | -1794.61 | -337099.67 | 4877.2 | -152410.99 | 530.97 |
| 12Story-Base | 68 | 52 | EX1 3 | -47875.03 | 829.13 | -346106.26 | -2241.07 | -154022.36 | -127.54 |
| 12Story-Base | 68 | 52 | EY 1 | -1717.24 | -39410.68 | -16610.85 | 108678.38 | -4732.35 | -1846.26 |
| 12Story-Base | 68 | 52 | EY 2 | -1977.64 | -38085.79 | -21117.63 | 105089.81 | -5548.42 | -2179.42 |
| 12Story-Base | 68 | 52 | EY 3 | -1456.84 | -40735.58 | -12104.06 | 112266.96 | -3916.27 | -1513.1 |
| 12Story-Base | 68 | 52 | DCon1 | 2301.45 | -78.07 | 341735.11 | 81.91 | 2093.71 | -4.04 |
| 12Story-Base | 68 | 52 | DCon2 | 2499.19 | -65.63 | 341315.29 | 58.86 | 2273.69 | -5.29 |
| 12Story-Base | 68 | 52 | DCon3 Max | -44896.2 | 757.45 | 10475.46 | 4946.16 | -150167.4 | 526.07 |
| 12Story-Base | 68 | 52 | DCon3 Min | -45408.89 | -1866.3 | 1468.88 | -2172.11 | -151778.78 | -132.43 |
| 12Story-Base | 68 | 52 | DCon4 Max | 50341.17 | 1722.92 | 693681.4 | 2310.04 | 156265.95 | 122.64 |
| 12Story-Base | 68 | 52 | DCon4 Min | 49828.47 | -900.82 | 684674.81 | -4808.23 | 154654.57 | -535.86 |
| 12Story-Base | 68 | 52 | DCon5 Max | 1009.3 | -38157.48 | 335471.08 | 112335.92 | -1672.69 | -1517.99 |
| 12Story-Base | 68 | 52 | DCon5 Min | 488.5 | -40807.26 | 326457.51 | 105158.78 | -3304.83 | -2184.31 |
| 12Story-Base | 68 | 52 | DCon6 Max | 4443.77 | 40663.89 | 368692.77 | -105020.84 | 7792 | 2174.53 |
| 12Story-Base | 68 | 52 | DCon6 Min | 3922.98 | 38014.1 | 359679.2 | -112197.99 | 6159.86 | 1508.21 |
| 12Story-Base | 68 | 52 | DCon7 Max | -46047.22 | 784.52 | -141822.47 | 4924 | -151214.58 | 528.66 |
| 12Story-Base | 68 | 52 | DCon7 Min | -46559.92 | -1839.23 | -150829.05 | -2194.27 | -152825.96 | -129.84 |
| 12Story-Base | 68 | 52 | DCon8 Max | 49190.15 | 1750 | 541383.47 | 2287.88 | 155218.77 | 125.23 |
| 12Story-Base | 68 | 52 | DCon8 Min | 48677.45 | -873.75 | 532376.88 | -4830.39 | 153607.39 | -533.27 |
| 12Story-Base | 68 | 52 | DCon9 Max | -141.73 | -38130.41 | 183173.15 | 112313.76 | -2719.87 | -1515.41 |
| 12Story-Base | 68 | 52 | DCon9 Min | -662.52 | -40780.19 | 174159.58 | 105136.61 | -4352.02 | -2181.73 |
| 12Story-Base | 68 | 52 | DCon10 Max | 3292.75 | 40690.96 | 216394.84 | -105043.01 | 6744.82 | 2177.11 |
| 12Story-Base | 68 | 52 | DCon10 Min | 2771.96 | 38041.18 | 207381.27 | -112220.15 | 5112.68 | 1510.79 |
| 12Story-Base | 69 | 53 | Dead | -56.83 | 1635.2 | 244370.98 | -1500.18 | -91.59 | -2.88 |
| 12Story-Base | 69 | 53 | Live | -6.59 | 330.89 | 30282.92 | -309.4 | -15.73 | -1.14 |
| 12Story-Base | 69 | 53 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 69 | 53 | EX1 1 | -61377.08 | -86.8 | -21190.04 | 273.95 | -165300.64 | 201.72 |
| 12Story-Base | 69 | 53 | EX1 2 | -60368.66 | -559.5 | -30146.43 | 1949.92 | -162692.57 | 530.97 |
| 12Story-Base | 69 | 53 | EX1 3 | -62385.5 | 385.9 | -12233.66 | -1402.01 | -167908.71 | -127.54 |
| 12Story-Base | 69 | 53 | EY 1 | -6298.58 | -33454.29 | -307566.8 | 109349.2 | -15176.85 | -1846.26 |
| 12Story-Base | 69 | 53 | EY 2 | -7321.82 | -32979.03 | -298593.71 | 107666.6 | -17818.41 | -2179.42 |
| 12Story-Base | 69 | 53 | EY 3 | -5275.35 | -33929.56 | -316539.89 | 111031.79 | -12535.3 | -1513.1 |
| 12Story-Base | 69 | 53 | DCon1 | -79.56 | 2289.28 | 342119.38 | -2100.25 | -128.22 | -4.04 |
| 12Story-Base | 69 | 53 | DCon2 | -78.73 | 2491.66 | 341697.86 | -2295.25 | -135.08 | -5.29 |
| 12Story-Base | 69 | 53 | DCon3 Max | -60449.12 | 2842.55 | 335731.55 | -309.72 | -162827.37 | 526.07 |
| 12Story-Base | 69 | 53 | DCon3 Min | -62465.96 | 1897.15 | 317818.77 | -3661.65 | -168043.5 | -132.43 |
| 12Story-Base | 69 | 53 | DCon4 Max | 62305.04 | 3016.14 | 378111.63 | -857.62 | 167773.92 | 122.64 |
| 12Story-Base | 69 | 53 | DCon4 Min | 60288.2 | 2070.75 | 360198.86 | -4209.55 | 162557.78 | -535.86 |
| 12Story-Base | 69 | 53 | DCon5 Max | -5355.81 | -30522.38 | 49371.5 | 108772.16 | -12670.09 | -1517.99 |
| 12Story-Base | 69 | 53 | DCon5 Min | -7402.28 | -31472.91 | 31425.32 | 105406.97 | -17953.2 | -2184.31 |
| 12Story-Base | 69 | 53 | DCon6 Max | 7241.36 | 36386.2 | 664505.09 | -109926.24 | 17683.62 | 2174.53 |
| 12Story-Base | 69 | 53 | DCon6 Min | 5194.88 | 35435.68 | 646558.91 | -113291.42 | 12400.5 | 1508.21 |
| 12Story-Base | 69 | 53 | DCon7 Max | -60414.12 | 1694.06 | 183263.13 | 749.77 | -162765.84 | 528.66 |
| 12Story-Base | 69 | 53 | DCon7 Min | -62430.96 | 748.66 | 165350.36 | -2602.16 | -167981.98 | -129.84 |
| 12Story-Base | 69 | 53 | DCon8 Max | 62340.04 | 1867.66 | 225643.22 | 201.87 | 167835.44 | 125.23 |
| 12Story-Base | 69 | 53 | DCon8 Min | 60323.2 | 922.26 | 207730.45 | -3150.06 | 162619.3 | -533.27 |
| 12Story-Base | 69 | 53 | DCon9 Max | -5320.81 | -31670.87 | -103096.92 | 109831.64 | -12608.57 | -1515.41 |
| 12Story-Base | 69 | 53 | DCon9 Min | -7367.28 | -32621.4 | -121043.1 | 106466.46 | -17891.68 | -2181.73 |
| 12Story-Base | 69 | 53 | DCon10 Max | 7276.36 | 35237.72 | 512036.67 | -108866.75 | 17745.14 | 2177.11 |
| 12Story-Base | 69 | 53 | DCon10 Min | 5229.88 | 34287.19 | 494090.5 | -112231.93 | 12462.03 | 1510.79 |
| 12Story-Base | 70 | 54 | Dead | 19.69 | 1633.04 | 244291.37 | -1488.5 | -20.62 | -2.88 |
| 12Story-Base | 70 | 54 | Live | -3.95 | 329.45 | 30267.13 | -304.23 | -13.28 | -1.14 |
| 12Story-Base | 70 | 54 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 70 | 54 | EX1 1 | -61376.8 | 216.98 | 23066.5 | -684.68 | -165300.38 | 201.72 |
| 12Story-Base | 70 | 54 | EX1 2 | -60369.76 | 248.86 | 23358.75 | -581.55 | -162693.59 | 530.97 |
| 12Story-Base | 70 | 54 | EX1 3 | -62383.84 | 185.09 | 22774.25 | -787.81 | -167907.17 | -127.54 |
| 12Story-Base | 70 | 54 | EY 1 | -6396.4 | -36848.83 | -301058.51 | 118692.95 | -15267.58 | -1846.26 |
| 12Story-Base | 70 | 54 | EY 2 | -7418.25 | -36886.21 | -301342.08 | 118603.78 | -17907.85 | -2179.42 |
| 12Story-Base | 70 | 54 | EY 3 | -5374.55 | -36811.46 | -300774.95 | 118782.11 | -12627.31 | -1513.1 |
| 12Story-Base | 70 | 54 | DCon1 | 27.56 | 2286.26 | 342007.92 | -2083.9 | -28.87 | -4.04 |
| 12Story-Base | 70 | 54 | DCon2 | 17.31 | 2486.78 | 341577.05 | -2272.96 | -46 | -5.29 |
| 12Story-Base | 70 | 54 | DCon3 Max | -60348.11 | 2701.27 | 371204.66 | -2820.82 | -162733.68 | 526.07 |
| 12Story-Base | 70 | 54 | DCon3 Min | -62362.19 | 2637.5 | 370620.16 | -3027.09 | -167947.26 | -132.43 |
| 12Story-Base | 70 | 54 | DCon4 Max | 62405.48 | 2267.32 | 325071.66 | -1451.47 | 167867.08 | 122.64 |
| 12Story-Base | 70 | 54 | DCon4 Min | 60391.4 | 2203.55 | 324487.16 | -1657.73 | 162653.5 | -535.86 |
| 12Story-Base | 70 | 54 | DCon5 Max | -5352.9 | -34359.05 | 47070.96 | 116542.84 | -12667.4 | -1517.99 |
| 12Story-Base | 70 | 54 | DCon5 Min | -7396.61 | -34433.8 | 46503.83 | 116364.5 | -17947.94 | -2184.31 |
| 12Story-Base | 70 | 54 | DCon6 Max | 7439.9 | 39338.62 | 649187.99 | -120843.06 | 17867.76 | 2174.53 |
| 12Story-Base | 70 | 54 | DCon6 Min | 5396.19 | 39263.86 | 648620.86 | -121021.39 | 12587.22 | 1508.21 |
| 12Story-Base | 70 | 54 | DCon7 Max | -60354.01 | 1555.29 | 218791.84 | -1772.35 | -162710.08 | 528.66 |
| 12Story-Base | 70 | 54 | DCon7 Min | -62368.09 | 1491.53 | 218207.34 | -1978.61 | -167923.66 | -129.84 |
| 12Story-Base | 70 | 54 | DCon8 Max | 62399.59 | 1121.34 | 172658.85 | -402.99 | 167890.67 | 125.23 |
| 12Story-Base | 70 | 54 | DCon8 Min | 60385.51 | 1057.58 | 172074.35 | -609.26 | 162677.09 | -533.27 |
| 12Story-Base | 70 | 54 | DCon9 Max | -5358.8 | -35505.02 | -105341.85 | 117591.31 | -12643.8 | -1515.41 |
| 12Story-Base | 70 | 54 | DCon9 Min | -7402.5 | -35579.77 | -105908.98 | 117412.98 | -17924.35 | -2181.73 |
| 12Story-Base | 70 | 54 | DCon10 Max | 7434 | 38192.64 | 496775.17 | -119794.58 | 17891.36 | 2177.11 |
| 12Story-Base | 70 | 54 | DCon10 Min | 5390.29 | 38117.89 | 496208.04 | -119972.92 | 12610.81 | 1510.79 |
| 12Story-Base | 71 | 55 | Dead | -1666.06 | -22.32 | 241017.39 | 56.52 | -1564.78 | -2.88 |
| 12Story-Base | 71 | 55 | Live | -332.83 | -8.03 | 29722.62 | 12.63 | -310.65 | -1.14 |
| 12Story-Base | 71 | 55 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 71 | 55 | EX1 1 | -47924.26 | 606.29 | 325843.27 | -1722.65 | -154176.97 | 201.72 |
| 12Story-Base | 71 | 55 | EX1 2 | -48172.69 | 1293.65 | 330019.67 | -3332.3 | -154944.3 | 530.97 |
| 12Story-Base | 71 | 55 | EX1 3 | -47675.83 | -81.06 | 321666.87 | -112.99 | -153409.64 | -127.54 |
| 12Story-Base | 71 | 55 | EY 1 | 1674.25 | -52108.82 | 19259.22 | 139041.85 | 4608.58 | -1846.26 |
| 12Story-Base | 71 | 55 | EY 2 | 1926.69 | -52812.72 | 15078.96 | 140688.83 | 5386.11 | -2179.42 |
| 12Story-Base | 71 | 55 | EY 3 | 1421.81 | -51404.92 | 23439.48 | 137394.86 | 3831.04 | -1513.1 |
| 12Story-Base | 71 | 55 | DCon1 | -2332.48 | -31.25 | 337424.35 | 79.12 | -2190.7 | -4.04 |
| 12Story-Base | 71 | 55 | DCon2 | -2531.8 | -39.63 | 336777.06 | 88.03 | -2374.77 | -5.29 |
| 12Story-Base | 71 | 55 | DCon3 Max | -50174.54 | 1256.6 | 673064.9 | -26.89 | -155754.51 | 526.07 |
| 12Story-Base | 71 | 55 | DCon3 Min | -50671.4 | -118.11 | 664712.1 | -3246.2 | -157289.17 | -132.43 |
| 12Story-Base | 71 | 55 | DCon4 Max | 45673.98 | 44.01 | 21378.36 | 3418.4 | 152599.44 | 122.64 |
| 12Story-Base | 71 | 55 | DCon4 Min | 45177.12 | -1330.7 | 13025.55 | 199.09 | 151064.78 | -535.86 |
| 12Story-Base | 71 | 55 | DCon5 Max | -572.02 | -51441.97 | 366484.71 | 140774.93 | 3041.25 | -1517.99 |
| 12Story-Base | 71 | 55 | DCon5 Min | -1076.89 | -52849.76 | 358124.19 | 137480.96 | 1486.18 | -2184.31 |
| 12Story-Base | 71 | 55 | DCon6 Max | -3920.52 | 52775.67 | 327966.27 | -137308.76 | -6175.91 | 2174.53 |
| 12Story-Base | 71 | 55 | DCon6 Min | -4425.4 | 51367.88 | 319605.74 | -140602.73 | -7730.98 | 1508.21 |
| 12Story-Base | 71 | 55 | DCon7 Max | -49008.67 | 1275.79 | 522833.59 | -67.78 | -154661.47 | 528.66 |
| 12Story-Base | 71 | 55 | DCon7 Min | -49505.54 | -98.91 | 514480.78 | -3287.09 | -156196.13 | -129.84 |
| 12Story-Base | 71 | 55 | DCon8 Max | 46839.84 | 63.2 | -128852.96 | 3377.51 | 153692.48 | 125.23 |
| 12Story-Base | 71 | 55 | DCon8 Min | 46342.98 | -1311.5 | -137205.76 | 158.21 | 152157.82 | -533.27 |
| 12Story-Base | 71 | 55 | DCon9 Max | 593.84 | -51422.78 | 216253.4 | 140734.04 | 4134.29 | -1515.41 |
| 12Story-Base | 71 | 55 | DCon9 Min | 88.97 | -52830.57 | 207892.87 | 137440.08 | 2579.22 | -2181.73 |
| 12Story-Base | 71 | 55 | DCon10 Max | -2754.66 | 52794.86 | 177734.95 | -137349.65 | -5082.87 | 2177.11 |
| 12Story-Base | 71 | 55 | DCon10 Min | -3259.54 | 51387.07 | 169374.43 | -140643.61 | -6637.94 | 1510.79 |
| 12Story-Base | 72 | 56 | Dead | -1665.98 | -71.04 | 243848.13 | 101.71 | -1574.39 | -2.88 |
| 12Story-Base | 72 | 56 | Live | -333.91 | -6.21 | 30195.24 | 10.94 | -315.48 | -1.14 |
| 12Story-Base | 72 | 56 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 72 | 56 | EX1 1 | -47614.78 | 640.06 | 341607.3 | -1753.97 | -153213.06 | 201.72 |
| 12Story-Base | 72 | 56 | EX1 2 | -47358.54 | 1332.87 | 336387.72 | -3368.68 | -152407.47 | 530.97 |
| 12Story-Base | 72 | 56 | EX1 3 | -47871.02 | -52.74 | 346826.88 | -139.26 | -154018.64 | -127.54 |
| 12Story-Base | 72 | 56 | EY 1 | -1713.56 | -52051.02 | -24033.75 | 138988.24 | -4728.94 | -1846.26 |
| 12Story-Base | 72 | 56 | EY 2 | -1973.85 | -52760.38 | -18808.3 | 140640.29 | -5544.91 | -2179.42 |
| 12Story-Base | 72 | 56 | EY 3 | -1453.27 | -51341.66 | -29259.2 | 137336.19 | -3912.96 | -1513.1 |
| 12Story-Base | 72 | 56 | DCon1 | -2332.37 | -99.46 | 341387.38 | 142.39 | -2204.14 | -4.04 |
| 12Story-Base | 72 | 56 | DCon2 | -2533.43 | -95.19 | 340930.13 | 139.55 | -2394.04 | -5.29 |
| 12Story-Base | 72 | 56 | DCon3 Max | -49858.22 | 1234.3 | 694024.68 | 3.9 | -154769.65 | 526.07 |
| 12Story-Base | 72 | 56 | DCon3 Min | -50370.7 | -151.31 | 683585.53 | -3225.52 | -156380.83 | -132.43 |
| 12Story-Base | 72 | 56 | DCon4 Max | 45371.34 | -45.83 | 10810.08 | 3511.84 | 151656.46 | 122.64 |
| 12Story-Base | 72 | 56 | DCon4 Min | 44858.86 | -1431.43 | 370.93 | 282.42 | 150045.28 | -535.86 |
| 12Story-Base | 72 | 56 | DCon5 Max | -3952.95 | -51440.23 | 328389.5 | 140783.45 | -6275.15 | -1517.99 |
| 12Story-Base | 72 | 56 | DCon5 Min | -4473.53 | -52858.95 | 317938.6 | 137479.35 | -7907.1 | -2184.31 |
| 12Story-Base | 72 | 56 | DCon6 Max | -525.83 | 52661.82 | 376457 | -137193.03 | 3182.72 | 2174.53 |
| 12Story-Base | 72 | 56 | DCon6 Min | -1046.41 | 51243.09 | 366006.1 | -140497.13 | 1550.78 | 1508.21 |
| 12Story-Base | 72 | 56 | DCon7 Max | -48691.32 | 1276.03 | 541905.38 | -57.89 | -153666.98 | 528.66 |
| 12Story-Base | 72 | 56 | DCon7 Min | -49203.8 | -109.58 | 531466.22 | -3287.31 | -155278.15 | -129.84 |
| 12Story-Base | 72 | 56 | DCon8 Max | 46538.24 | -4.1 | -141309.22 | 3450.04 | 152759.14 | 125.23 |
| 12Story-Base | 72 | 56 | DCon8 Min | 46025.76 | -1389.7 | -151748.38 | 220.63 | 151147.96 | -533.27 |
| 12Story-Base | 72 | 56 | DCon9 Max | -2786.05 | -51398.5 | 176270.2 | 140721.65 | -5172.47 | -1515.41 |
| 12Story-Base | 72 | 56 | DCon9 Min | -3306.64 | -52817.22 | 165819.3 | 137417.55 | -6804.42 | -2181.73 |
| 12Story-Base | 72 | 56 | DCon10 Max | 641.07 | 52703.55 | 224337.7 | -137254.82 | 4285.4 | 2177.11 |
| 12Story-Base | 72 | 56 | DCon10 Min | 120.49 | 51284.82 | 213886.8 | -140558.92 | 2653.45 | 1510.79 |
| 12Story-Base | 73 | 58 | Dead | -37.03 | -51.67 | 378472.71 | 75.23 | -83.6 | -4.92 |
| 12Story-Base | 73 | 58 | Live | -2.19 | 1.3 | 58479.61 | -5.45 | -11.86 | -1.95 |
| 12Story-Base | 73 | 58 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 73 | 58 | EX1 1 | -85479.1 | -165.8 | -31803.64 | 481.29 | -264032.33 | 344.12 |
| 12Story-Base | 73 | 58 | EX1 2 | -85020.64 | -1018.46 | -32131.14 | 3370.51 | -262645.15 | 905.8 |
| 12Story-Base | 73 | 58 | EX1 3 | -85937.56 | 686.87 | -31476.14 | -2407.92 | -265419.52 | -217.57 |
| 12Story-Base | 73 | 58 | EY 1 | -3040.31 | -60131.19 | -29810.34 | 188479.04 | -8130.23 | -3149.64 |
| 12Story-Base | 73 | 58 | EY 2 | -3505.88 | -59274.05 | -29481.71 | 185578.49 | -9535.21 | -3717.99 |
| 12Story-Base | 73 | 58 | EY 3 | -2574.74 | -60988.33 | -30138.96 | 191379.59 | -6725.25 | -2581.28 |
| 12Story-Base | 73 | 58 | DCon1 | -51.84 | -72.34 | 529861.79 | 105.32 | -117.04 | -6.89 |
| 12Story-Base | 73 | 58 | DCon2 | -47.94 | -59.93 | 547734.63 | 81.55 | -119.31 | -9.03 |
| 12Story-Base | 73 | 58 | DCon3 Max | -85070.97 | 620.99 | 519017.99 | 3462.85 | -262765.69 | 897.46 |
| 12Story-Base | 73 | 58 | DCon3 Min | -85987.89 | -1084.33 | 518362.99 | -2315.58 | -265540.06 | -225.92 |
| 12Story-Base | 73 | 58 | DCon4 Max | 85887.23 | 952.58 | 582625.27 | 2500.27 | 265298.97 | 209.22 |
| 12Story-Base | 73 | 58 | DCon4 Min | 84970.32 | -752.74 | 581970.27 | -3278.16 | 262524.6 | -914.15 |
| 12Story-Base | 73 | 58 | DCon5 Max | -2625.07 | -59339.92 | 521012.42 | 191471.94 | -6845.8 | -2589.63 |
| 12Story-Base | 73 | 58 | DCon5 Min | -3556.2 | -61054.2 | 520355.17 | 185670.84 | -9655.76 | -3726.34 |
| 12Story-Base | 73 | 58 | DCon6 Max | 3455.55 | 60922.46 | 580633.09 | -185486.15 | 9414.66 | 3709.65 |
| 12Story-Base | 73 | 58 | DCon6 Min | 2524.41 | 59208.17 | 579975.85 | -191287.25 | 6604.7 | 2572.93 |
| 12Story-Base | 73 | 58 | DCon7 Max | -85050.27 | 645.53 | 271302.02 | 3430.69 | -262712.03 | 901.87 |
| 12Story-Base | 73 | 58 | DCon7 Min | -85967.18 | -1059.79 | 270647.03 | -2347.74 | -265486.4 | -221.51 |
| 12Story-Base | 73 | 58 | DCon8 Max | 85907.93 | 977.12 | 334909.3 | 2468.1 | 265352.63 | 213.63 |
| 12Story-Base | 73 | 58 | DCon8 Min | 84991.02 | -728.2 | 334254.31 | -3310.33 | 262578.26 | -909.74 |
| 12Story-Base | 73 | 58 | DCon9 Max | -2604.37 | -59315.38 | 273296.45 | 191439.77 | -6792.13 | -2585.22 |
| 12Story-Base | 73 | 58 | DCon9 Min | -3535.5 | -61029.67 | 272639.21 | 185638.68 | -9602.09 | -3721.93 |
| 12Story-Base | 73 | 58 | DCon10 Max | 3476.25 | 60946.99 | 332917.12 | -185518.31 | 9468.33 | 3714.06 |
| 12Story-Base | 73 | 58 | DCon10 Min | 2545.12 | 59232.71 | 332259.88 | -191319.41 | 6658.37 | 2577.35 |
| 12Story-Base | 74 | 60 | Dead | -32.09 | -16.48 | 378153.94 | 43.12 | -62.58 | -4.92 |
| 12Story-Base | 74 | 60 | Live | 0.58 | -2.9 | 58434.18 | -1.62 | -2.79 | -1.95 |
| 12Story-Base | 74 | 60 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 74 | 60 | EX1 1 | -86026.43 | -156.1 | -30796.94 | 472.44 | -265686.48 | 344.12 |
| 12Story-Base | 74 | 60 | EX1 2 | -86470.57 | -1008.34 | -30409.5 | 3361.27 | -267007.69 | 905.8 |
| 12Story-Base | 74 | 60 | EX1 3 | -85582.29 | 696.14 | -31184.37 | -2416.39 | -264365.26 | -217.57 |
| 12Story-Base | 74 | 60 | EY 1 | 2979.58 | -60124.45 | 29546.75 | 188472.9 | 7931.69 | -3149.64 |
| 12Story-Base | 74 | 60 | EY 2 | 3430.76 | -59267.74 | 29157.98 | 185572.74 | 9270.39 | -3717.99 |
| 12Story-Base | 74 | 60 | EY 3 | 2528.4 | -60981.17 | 29935.52 | 191373.06 | 6592.99 | -2581.28 |
| 12Story-Base | 74 | 60 | DCon1 | -44.93 | -23.07 | 529415.52 | 60.36 | -87.62 | -6.89 |
| 12Story-Base | 74 | 60 | DCon2 | -37.58 | -24.41 | 547279.41 | 49.14 | -79.57 | -9.03 |
| 12Story-Base | 74 | 60 | DCon3 Max | -85623.43 | 671.82 | 519624.8 | 3415.7 | -264449.41 | 897.46 |
| 12Story-Base | 74 | 60 | DCon3 Min | -86511.71 | -1032.66 | 518849.93 | -2361.96 | -267091.84 | -225.92 |
| 12Story-Base | 74 | 60 | DCon4 Max | 86429.43 | 984.02 | 581218.67 | 2470.81 | 266923.54 | 209.22 |
| 12Story-Base | 74 | 60 | DCon4 Min | 85541.15 | -720.46 | 580443.81 | -3306.84 | 264281.11 | -914.15 |
| 12Story-Base | 74 | 60 | DCon5 Max | 3389.62 | -59292.05 | 579969.82 | 191427.48 | 9186.24 | -2589.63 |
| 12Story-Base | 74 | 60 | DCon5 Min | 2487.26 | -61005.49 | 579192.28 | 185627.16 | 6508.84 | -3726.34 |
| 12Story-Base | 74 | 60 | DCon6 Max | -2569.54 | 60956.85 | 520876.33 | -185518.31 | -6677.14 | 3709.65 |
| 12Story-Base | 74 | 60 | DCon6 Min | -3471.9 | 59243.42 | 520098.78 | -191318.63 | -9354.54 | 2572.93 |
| 12Story-Base | 74 | 60 | DCon7 Max | -85607.96 | 682.96 | 272113.65 | 3395.76 | -264415.33 | 901.87 |
| 12Story-Base | 74 | 60 | DCon7 Min | -86496.25 | -1021.52 | 271338.78 | -2381.89 | -267057.76 | -221.51 |
| 12Story-Base | 74 | 60 | DCon8 Max | 86444.9 | 995.15 | 333707.52 | 2450.88 | 266957.62 | 213.63 |
| 12Story-Base | 74 | 60 | DCon8 Min | 85556.61 | -709.32 | 332932.66 | -3326.78 | 264315.19 | -909.74 |
| 12Story-Base | 74 | 60 | DCon9 Max | 3405.08 | -59280.92 | 332458.67 | 191407.55 | 9220.32 | -2585.22 |
| 12Story-Base | 74 | 60 | DCon9 Min | 2502.73 | -60994.35 | 331681.13 | 185607.23 | 6542.92 | -3721.93 |
| 12Story-Base | 74 | 60 | DCon10 Max | -2554.07 | 60967.99 | 273365.18 | -185538.24 | -6643.05 | 3714.06 |
| 12Story-Base | 74 | 60 | DCon10 Min | -3456.43 | 59254.55 | 272587.63 | -191338.56 | -9320.46 | 2577.35 |
| 12Story-Base | 75 | 62 | Dead | -0.8 | -57.02 | 378411.67 | 96.61 | -50.54 | -4.92 |
| 12Story-Base | 75 | 62 | Live | -6.18 | -1.59 | 58467.61 | 3.74 | -15.51 | -1.95 |
| 12Story-Base | 75 | 62 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 75 | 62 | EX1 1 | -85479.87 | 396.43 | 31950.01 | -1186.44 | -264033.03 | 344.12 |
| 12Story-Base | 75 | 62 | EX1 2 | -85021.61 | 446.38 | 31573.74 | -1005.64 | -262646.03 | 905.8 |
| 12Story-Base | 75 | 62 | EX1 3 | -85938.13 | 346.48 | 32326.28 | -1367.25 | -265420.04 | -217.57 |
| 12Story-Base | 75 | 62 | EY 1 | -3035.81 | -66147.78 | -29948.32 | 204537.95 | -8126.12 | -3149.64 |
| 12Story-Base | 75 | 62 | EY 2 | -3501.18 | -66207.4 | -29570.8 | 204381.1 | -9530.92 | -3717.99 |
| 12Story-Base | 75 | 62 | EY 3 | -2570.44 | -66088.16 | -30325.84 | 204694.81 | -6721.33 | -2581.28 |
| 12Story-Base | 75 | 62 | DCon1 | -1.12 | -79.82 | 529776.33 | 135.26 | -70.76 | -6.89 |
| 12Story-Base | 75 | 62 | DCon2 | -10.85 | -70.96 | 547642.18 | 121.92 | -85.47 | -9.03 |
| 12Story-Base | 75 | 62 | DCon3 Max | -85028.83 | 370.67 | 582729.06 | -876.3 | -262727.25 | 897.46 |
| 12Story-Base | 75 | 62 | DCon3 Min | -85945.35 | 270.76 | 581976.51 | -1237.91 | -265501.25 | -225.92 |
| 12Story-Base | 75 | 62 | DCon4 Max | 85930.91 | -422.19 | 518829.04 | 1496.58 | 265338.82 | 209.22 |
| 12Story-Base | 75 | 62 | DCon4 Min | 85014.39 | -522.09 | 518076.5 | 1134.97 | 262564.82 | -914.15 |
| 12Story-Base | 75 | 62 | DCon5 Max | -2577.66 | -66163.87 | 520831.98 | 204824.14 | -6802.54 | -2589.63 |
| 12Story-Base | 75 | 62 | DCon5 Min | -3508.4 | -66283.11 | 520076.94 | 204510.44 | -9612.13 | -3726.34 |
| 12Story-Base | 75 | 62 | DCon6 Max | 3493.96 | 66131.69 | 580728.61 | -204251.76 | 9449.71 | 3709.65 |
| 12Story-Base | 75 | 62 | DCon6 Min | 2563.22 | 66012.45 | 579973.57 | -204565.47 | 6640.11 | 2572.93 |
| 12Story-Base | 75 | 62 | DCon7 Max | -85022.25 | 400.77 | 335055.61 | -928.35 | -262686.46 | 901.87 |
| 12Story-Base | 75 | 62 | DCon7 Min | -85938.77 | 300.86 | 334303.07 | -1289.96 | -265460.47 | -221.51 |
| 12Story-Base | 75 | 62 | DCon8 Max | 85937.49 | -392.09 | 271155.6 | 1444.54 | 265379.6 | 213.63 |
| 12Story-Base | 75 | 62 | DCon8 Min | 85020.97 | -491.99 | 270403.05 | 1082.93 | 262605.6 | -909.74 |
| 12Story-Base | 75 | 62 | DCon9 Max | -2571.08 | -66133.78 | 273158.53 | 204772.1 | -6761.76 | -2585.22 |
| 12Story-Base | 75 | 62 | DCon9 Min | -3501.82 | -66253.01 | 272403.5 | 204458.39 | -9571.35 | -3721.93 |
| 12Story-Base | 75 | 62 | DCon10 Max | 3500.54 | 66161.79 | 333055.17 | -204303.81 | 9490.49 | 3714.06 |
| 12Story-Base | 75 | 62 | DCon10 Min | 2569.8 | 66042.55 | 332300.13 | -204617.52 | 6680.89 | 2577.35 |
| 12Story-Base | 76 | 64 | Dead | 1.69 | -23.03 | 377838.98 | 65.6 | -31.76 | -4.92 |
| 12Story-Base | 76 | 64 | Live | -3.79 | -5.94 | 58376.19 | 7.7 | -6.78 | -1.95 |
| 12Story-Base | 76 | 64 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 76 | 64 | EX1 1 | -86061.27 | 383.46 | 29475.06 | -1174.61 | -265718.27 | 344.12 |
| 12Story-Base | 76 | 64 | EX1 2 | -86506.26 | 433.1 | 29712.26 | -993.52 | -267040.25 | 905.8 |
| 12Story-Base | 76 | 64 | EX1 3 | -85616.29 | 333.81 | 29237.85 | -1355.69 | -264396.29 | -217.57 |
| 12Story-Base | 76 | 64 | EY 1 | 2972.61 | -66152.25 | 29001.71 | 204542.03 | 7925.33 | -3149.64 |
| 12Story-Base | 76 | 64 | EY 2 | 3424.64 | -66211.56 | 28763.53 | 204384.89 | 9264.8 | -3717.99 |
| 12Story-Base | 76 | 64 | EY 3 | 2520.59 | -66092.93 | 29239.9 | 204699.16 | 6585.86 | -2581.28 |
| 12Story-Base | 76 | 64 | DCon1 | 2.37 | -32.24 | 528974.57 | 91.84 | -44.46 | -6.89 |
| 12Story-Base | 76 | 64 | DCon2 | -4.03 | -37.13 | 546808.68 | 91.05 | -48.95 | -9.03 |
| 12Story-Base | 76 | 64 | DCon3 Max | -85617.88 | 397.23 | 579279.13 | -900.54 | -264444.35 | 897.46 |
| 12Story-Base | 76 | 64 | DCon3 Min | -86507.85 | 297.93 | 578804.72 | -1262.7 | -267088.31 | -225.92 |
| 12Story-Base | 76 | 64 | DCon4 Max | 86504.67 | -369.68 | 520329.01 | 1448.67 | 266992.19 | 209.22 |
| 12Story-Base | 76 | 64 | DCon4 Min | 85614.7 | -468.98 | 519854.6 | 1086.51 | 264348.23 | -914.15 |
| 12Story-Base | 76 | 64 | DCon5 Max | 3423.05 | -66128.81 | 578806.77 | 204792.14 | 9216.74 | -2589.63 |
| 12Story-Base | 76 | 64 | DCon5 Min | 2519.01 | -66247.43 | 578330.39 | 204477.88 | 6537.8 | -3726.34 |
| 12Story-Base | 76 | 64 | DCon6 Max | -2522.18 | 66175.69 | 520803.34 | -204291.91 | -6633.93 | 3709.65 |
| 12Story-Base | 76 | 64 | DCon6 Min | -3426.22 | 66057.06 | 520326.96 | -204606.17 | -9312.87 | 2572.93 |
| 12Story-Base | 76 | 64 | DCon7 Max | -85614.94 | 414.68 | 331983.44 | -941.04 | -264421.7 | 901.87 |
| 12Story-Base | 76 | 64 | DCon7 Min | -86504.9 | 315.39 | 331509.04 | -1303.21 | -267065.66 | -221.51 |
| 12Story-Base | 76 | 64 | DCon8 Max | 86507.61 | -352.23 | 273033.33 | 1408.17 | 267014.84 | 213.63 |
| 12Story-Base | 76 | 64 | DCon8 Min | 85617.64 | -451.52 | 272558.92 | 1046 | 264370.88 | -909.74 |
| 12Story-Base | 76 | 64 | DCon9 Max | 3425.99 | -66111.35 | 331511.08 | 204751.64 | 9239.4 | -2585.22 |
| 12Story-Base | 76 | 64 | DCon9 Min | 2521.95 | -66229.98 | 331034.71 | 204437.38 | 6560.46 | -3721.93 |
| 12Story-Base | 76 | 64 | DCon10 Max | -2519.24 | 66193.14 | 273507.66 | -204332.41 | -6611.27 | 3714.06 |
| 12Story-Base | 76 | 64 | DCon10 Min | -3423.28 | 66074.51 | 273031.28 | -204646.68 | -9290.21 | 2577.35 |
| 12Story-Base | 102 | 275 | Dead | -53.54 | -666.47 | 77740.08 | 622.83 | -42.71 | -0.03 |
| 12Story-Base | 102 | 275 | Live | -5.15 | 1.78 | 222.23 | -2.66 | -3.65 | 0.01 |
| 12Story-Base | 102 | 275 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 102 | 275 | EX1 1 | -27832.61 | 12.88 | 19582.35 | 39 | -49183.07 | -41.43 |
| 12Story-Base | 102 | 275 | EX1 2 | -29893.96 | 689.88 | 15036.43 | -1419.65 | -52753.4 | 278.48 |
| 12Story-Base | 102 | 275 | EX1 3 | -25771.26 | -664.11 | 24128.28 | 1497.65 | -45612.73 | -361.34 |
| 12Story-Base | 102 | 275 | EY 1 | -2370.85 | -26240.77 | 123518.07 | 54336.65 | -4111.14 | 371.27 |
| 12Story-Base | 102 | 275 | EY 2 | -290.5 | -26917.72 | 128083.91 | 55796.09 | -508.87 | 48.61 |
| 12Story-Base | 102 | 275 | EY 3 | -4451.21 | -25563.82 | 118952.22 | 52877.2 | -7713.41 | 693.94 |
| 12Story-Base | 102 | 275 | DCon1 | -74.96 | -933.05 | 108836.12 | 871.96 | -59.79 | -0.04 |
| 12Story-Base | 102 | 275 | DCon2 | -72.49 | -796.91 | 93643.67 | 743.14 | -57.09 | -0.02 |
| 12Story-Base | 102 | 275 | DCon3 Max | -25846.02 | -174.75 | 125412.62 | 2304.67 | -45671.9 | 278.45 |
| 12Story-Base | 102 | 275 | DCon3 Min | -29968.72 | -1528.74 | 116320.77 | -612.63 | -52812.57 | -361.37 |
| 12Story-Base | 102 | 275 | DCon4 Max | 29819.21 | -200.51 | 86247.91 | 2226.67 | 52694.23 | 361.32 |
| 12Story-Base | 102 | 275 | DCon4 Min | 25696.51 | -1554.51 | 77156.06 | -690.63 | 45553.56 | -278.51 |
| 12Story-Base | 102 | 275 | DCon5 Max | -365.25 | -26428.45 | 229368.25 | 56603.11 | -568.04 | 693.91 |
| 12Story-Base | 102 | 275 | DCon5 Min | -4525.97 | -27782.35 | 220236.56 | 53684.22 | -7772.58 | 48.58 |
| 12Story-Base | 102 | 275 | DCon6 Max | 4376.46 | 26053.09 | -17667.88 | -52070.18 | 7654.24 | -48.63 |
| 12Story-Base | 102 | 275 | DCon6 Min | 215.74 | 24699.19 | -26799.57 | -54989.07 | 449.71 | -693.96 |
| 12Story-Base | 102 | 275 | DCon7 Max | -25814.1 | 156.71 | 86320.35 | 1995.91 | -45646.9 | 278.46 |
| 12Story-Base | 102 | 275 | DCon7 Min | -29936.8 | -1197.29 | 77228.49 | -921.39 | -52787.57 | -361.37 |
| 12Story-Base | 102 | 275 | DCon8 Max | 29851.13 | 130.94 | 47155.64 | 1917.91 | 52719.23 | 361.32 |
| 12Story-Base | 102 | 275 | DCon8 Min | 25728.43 | -1223.05 | 38063.79 | -999.39 | 45578.57 | -278.5 |
| 12Story-Base | 102 | 275 | DCon9 Max | -333.33 | -26097 | 190275.98 | 56294.35 | -543.04 | 693.91 |
| 12Story-Base | 102 | 275 | DCon9 Min | -4494.05 | -27450.89 | 181144.29 | 53375.46 | -7747.58 | 48.58 |
| 12Story-Base | 102 | 275 | DCon10 Max | 4408.38 | 26384.54 | -56760.16 | -52378.94 | 7679.25 | -48.63 |
| 12Story-Base | 102 | 275 | DCon10 Min | 247.66 | 25030.65 | -65891.84 | -55297.83 | 474.71 | -693.96 |
| 12Story-Base | 103 | 276 | Dead | 29.23 | -668.9 | 76536.55 | 625.24 | 36.05 | -0.03 |
| 12Story-Base | 103 | 276 | Live | 1.03 | 1.37 | -8.85 | -2.3 | 2.23 | 0.01 |
| 12Story-Base | 103 | 276 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 103 | 276 | EX1 1 | -27659.19 | -167.35 | -4759.11 | 349.53 | -49018.05 | -41.43 |
| 12Story-Base | 103 | 276 | EX1 2 | -29712.15 | 1512.6 | -13876.71 | -3136.97 | -52580.4 | 278.48 |
| 12Story-Base | 103 | 276 | EX1 3 | -25606.24 | -1847.3 | 4358.48 | 3836.03 | -45455.71 | -361.34 |
| 12Story-Base | 103 | 276 | EY 1 | -2340.55 | -25125.79 | 111933.33 | 52029.85 | -4082.3 | 371.27 |
| 12Story-Base | 103 | 276 | EY 2 | -268.61 | -26815.31 | 121087.07 | 55535.54 | -488.05 | 48.61 |
| 12Story-Base | 103 | 276 | EY 3 | -4412.48 | -23436.26 | 102779.59 | 48524.17 | -7676.56 | 693.94 |
| 12Story-Base | 103 | 276 | DCon1 | 40.92 | -936.46 | 107151.17 | 875.33 | 50.47 | -0.04 |
| 12Story-Base | 103 | 276 | DCon2 | 36.72 | -800.48 | 91829.7 | 746.6 | 46.83 | -0.02 |
| 12Story-Base | 103 | 276 | DCon3 Max | -25567.21 | 644.4 | 103847.14 | 4646.54 | -45406.61 | 278.45 |
| 12Story-Base | 103 | 276 | DCon3 Min | -29673.13 | -2715.5 | 85611.96 | -2326.46 | -52531.3 | -361.37 |
| 12Story-Base | 103 | 276 | DCon4 Max | 29751.18 | 979.11 | 113365.37 | 3947.48 | 52629.5 | 361.32 |
| 12Story-Base | 103 | 276 | DCon4 Min | 25645.26 | -2380.8 | 95130.19 | -3025.53 | 45504.81 | -278.51 |
| 12Story-Base | 103 | 276 | DCon5 Max | -229.58 | -24304.46 | 220575.73 | 56346.04 | -438.95 | 693.91 |
| 12Story-Base | 103 | 276 | DCon5 Min | -4373.46 | -27683.5 | 202268.26 | 49334.67 | -7627.46 | 48.58 |
| 12Story-Base | 103 | 276 | DCon6 Max | 4451.51 | 25947.11 | -3290.93 | -47713.66 | 7725.66 | -48.63 |
| 12Story-Base | 103 | 276 | DCon6 Min | 307.63 | 22568.07 | -21598.4 | -54725.03 | 537.14 | -693.96 |
| 12Story-Base | 103 | 276 | DCon7 Max | -25582.86 | 977.48 | 65587.72 | 4336.22 | -45426.87 | 278.46 |
| 12Story-Base | 103 | 276 | DCon7 Min | -29688.77 | -2382.42 | 47352.53 | -2636.78 | -52551.56 | -361.37 |
| 12Story-Base | 103 | 276 | DCon8 Max | 29735.53 | 1312.18 | 75105.95 | 3637.16 | 52609.24 | 361.32 |
| 12Story-Base | 103 | 276 | DCon8 Min | 25629.62 | -2047.72 | 56870.76 | -3335.84 | 45484.55 | -278.5 |
| 12Story-Base | 103 | 276 | DCon9 Max | -245.23 | -23971.38 | 182316.31 | 56035.72 | -459.2 | 693.91 |
| 12Story-Base | 103 | 276 | DCon9 Min | -4389.1 | -27350.43 | 164008.83 | 49024.36 | -7647.72 | 48.58 |
| 12Story-Base | 103 | 276 | DCon10 Max | 4435.87 | 26280.19 | -41550.35 | -48023.98 | 7705.4 | -48.63 |
| 12Story-Base | 103 | 276 | DCon10 Min | 291.99 | 22901.14 | -59857.83 | -55035.35 | 516.89 | -693.96 |
| 12Story-Base | 104 | 239 | Dead | -724.41 | -715 | 54474.26 | 669.19 | -681.06 | -0.03 |
| 12Story-Base | 104 | 239 | Live | 0.5 | 1.41 | -19.43 | -2.37 | 1.73 | 0.01 |
| 12Story-Base | 104 | 239 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 104 | 239 | EX1 1 | -19763.55 | -289.11 | 77106.93 | 604.42 | -41505.03 | -41.43 |
| 12Story-Base | 104 | 239 | EX1 2 | -21264.9 | 2354.29 | 70810.72 | -4872.34 | -44542.5 | 278.48 |
| 12Story-Base | 104 | 239 | EX1 3 | -18262.2 | -2932.51 | 83403.14 | 6081.19 | -38467.56 | -361.34 |
| 12Story-Base | 104 | 239 | EY 1 | -1697.45 | -23192.64 | 103187.8 | 48944.55 | -3470.37 | 371.27 |
| 12Story-Base | 104 | 239 | EY 2 | -181.73 | -25855.03 | 109509.35 | 54458.68 | -405.37 | 48.61 |
| 12Story-Base | 104 | 239 | EY 3 | -3213.17 | -20530.26 | 96866.26 | 43430.41 | -6535.37 | 693.94 |
| 12Story-Base | 104 | 239 | DCon1 | -1014.17 | -1000.99 | 76263.97 | 936.87 | -953.49 | -0.04 |
| 12Story-Base | 104 | 239 | DCon2 | -868.49 | -855.74 | 65338.03 | 799.24 | -814.52 | -0.02 |
| 12Story-Base | 104 | 239 | DCon3 Max | -19203.43 | 1426.2 | 154200.25 | 6948.77 | -39351.22 | 278.45 |
| 12Story-Base | 104 | 239 | DCon3 Min | -22206.13 | -3860.6 | 141607.83 | -4004.76 | -45426.16 | -361.37 |
| 12Story-Base | 104 | 239 | DCon4 Max | 20323.66 | 2004.43 | -13.6 | 5739.92 | 43658.84 | 361.32 |
| 12Story-Base | 104 | 239 | DCon4 Min | 17320.96 | -3282.38 | -12606.02 | -5213.61 | 37583.9 | -278.51 |
| 12Story-Base | 104 | 239 | DCon5 Max | -1122.96 | -21458.35 | 180306.46 | 55326.27 | -1289.03 | 693.91 |
| 12Story-Base | 104 | 239 | DCon5 Min | -4154.4 | -26783.11 | 167663.37 | 44297.99 | -7419.02 | 48.58 |
| 12Story-Base | 104 | 239 | DCon6 Max | 2271.93 | 24926.94 | -26069.14 | -42562.83 | 5651.71 | -48.63 |
| 12Story-Base | 104 | 239 | DCon6 Min | -759.51 | 19602.17 | -38712.24 | -53591.1 | -478.28 | -693.96 |
| 12Story-Base | 104 | 239 | DCon7 Max | -18841.72 | 1782.29 | 126982.55 | 6616.54 | -39012.41 | 278.46 |
| 12Story-Base | 104 | 239 | DCon7 Min | -21844.43 | -3504.51 | 114390.13 | -4336.98 | -45087.35 | -361.37 |
| 12Story-Base | 104 | 239 | DCon8 Max | 20685.37 | 2360.52 | -27231.3 | 5407.69 | 43997.65 | 361.32 |
| 12Story-Base | 104 | 239 | DCon8 Min | 17682.67 | -2926.29 | -39823.72 | -5545.83 | 37922.71 | -278.5 |
| 12Story-Base | 104 | 239 | DCon9 Max | -761.25 | -21102.26 | 153088.76 | 54994.04 | -950.22 | 693.91 |
| 12Story-Base | 104 | 239 | DCon9 Min | -3792.7 | -26427.02 | 140445.67 | 43965.77 | -7080.22 | 48.58 |
| 12Story-Base | 104 | 239 | DCon10 Max | 2633.64 | 25283.03 | -53286.84 | -42895.05 | 5990.51 | -48.63 |
| 12Story-Base | 104 | 239 | DCon10 Min | -397.8 | 19958.26 | -65929.94 | -53923.33 | -139.48 | -693.96 |
| 12Story-Base | 105 | 241 | Dead | -724.42 | 740.49 | 54409 | -715.76 | -681.36 | -0.03 |
| 12Story-Base | 105 | 241 | Live | 0.62 | 1.4 | -31.89 | -2.36 | 1.94 | 0.01 |
| 12Story-Base | 105 | 241 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 105 | 241 | EX1 1 | -20144.29 | -259.29 | 75171.07 | 576.05 | -42284.42 | -41.43 |
| 12Story-Base | 105 | 241 | EX1 2 | -18641.41 | 2384.11 | 81485.17 | -4900.72 | -39242.74 | 278.48 |
| 12Story-Base | 105 | 241 | EX1 3 | -21647.18 | -2902.7 | 68856.98 | 6052.82 | -45326.1 | -361.34 |
| 12Story-Base | 105 | 241 | EY 1 | 1709.67 | -23192.71 | -103604.9 | 48944.61 | 3509.17 | 371.27 |
| 12Story-Base | 105 | 241 | EY 2 | 192.41 | -25855.1 | -109944.35 | 54458.76 | 439.95 | 48.61 |
| 12Story-Base | 105 | 241 | EY 3 | 3226.93 | -20530.32 | -97265.45 | 43430.47 | 6578.38 | 693.94 |
| 12Story-Base | 105 | 241 | DCon1 | -1014.19 | 1036.68 | 76172.6 | -1002.06 | -953.91 | -0.04 |
| 12Story-Base | 105 | 241 | DCon2 | -868.32 | 890.82 | 65239.78 | -862.68 | -814.53 | -0.02 |
| 12Story-Base | 105 | 241 | DCon3 Max | -19582.54 | 3348.14 | 152184.98 | 5119.98 | -40126.57 | 278.45 |
| 12Story-Base | 105 | 241 | DCon3 Min | -22588.31 | -1938.67 | 139556.8 | -5833.56 | -46209.93 | -361.37 |
| 12Story-Base | 105 | 241 | DCon4 Max | 20706.05 | 3866.73 | 1842.83 | 3967.87 | 44442.27 | 361.32 |
| 12Story-Base | 105 | 241 | DCon4 Min | 17700.27 | -1420.08 | -10785.35 | -6985.66 | 38358.91 | -278.51 |
| 12Story-Base | 105 | 241 | DCon5 Max | 2285.8 | -19566.3 | -26565.63 | 53525.92 | 5694.55 | 693.91 |
| 12Story-Base | 105 | 241 | DCon5 Min | -748.72 | -24891.07 | -39244.54 | 42497.63 | -443.87 | 48.58 |
| 12Story-Base | 105 | 241 | DCon6 Max | -1133.54 | 26819.13 | 180644.17 | -44363.31 | -1323.78 | -48.63 |
| 12Story-Base | 105 | 241 | DCon6 Min | -4168.06 | 21494.35 | 167965.27 | -55391.6 | -7462.21 | -693.96 |
| 12Story-Base | 105 | 241 | DCon7 Max | -19220.94 | 2976.5 | 125012.37 | 5480.21 | -39787.83 | 278.46 |
| 12Story-Base | 105 | 241 | DCon7 Min | -22226.72 | -2310.31 | 112384.18 | -5473.32 | -45871.19 | -361.37 |
| 12Story-Base | 105 | 241 | DCon8 Max | 21067.64 | 3495.09 | -25329.78 | 4328.11 | 44781.01 | 361.32 |
| 12Story-Base | 105 | 241 | DCon8 Min | 18061.87 | -1791.72 | -37957.96 | -6625.42 | 38697.65 | -278.5 |
| 12Story-Base | 105 | 241 | DCon9 Max | 2647.39 | -19937.94 | -53738.25 | 53886.15 | 6033.29 | 693.91 |
| 12Story-Base | 105 | 241 | DCon9 Min | -387.13 | -25262.71 | -66417.15 | 42857.87 | -105.13 | 48.58 |
| 12Story-Base | 105 | 241 | DCon10 Max | -771.95 | 26447.49 | 153471.55 | -44003.08 | -985.04 | -48.63 |
| 12Story-Base | 105 | 241 | DCon10 Min | -3806.47 | 21122.71 | 140792.65 | -55031.36 | -7123.47 | -693.96 |
| 12Story-Base | 106 | 281 | Dead | -678.29 | -5.63 | 76397.44 | -5.8 | -637.37 | -0.03 |
| 12Story-Base | 106 | 281 | Live | 0.61 | 1.71 | -25.5 | -2.66 | 1.9 | 0.01 |
| 12Story-Base | 106 | 281 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 106 | 281 | EX1 1 | -20663.99 | -374.67 | 85580.09 | 685.83 | -42639.9 | -41.43 |
| 12Story-Base | 106 | 281 | EX1 2 | -20162.51 | 3291.24 | 83234.87 | -5763.88 | -41624.6 | 278.48 |
| 12Story-Base | 106 | 281 | EX1 3 | -21165.47 | -4040.57 | 87925.3 | 7135.55 | -43655.21 | -361.34 |
| 12Story-Base | 106 | 281 | EY 1 | 586.7 | -32533.74 | 2615.06 | 57832.97 | 1194.78 | 371.27 |
| 12Story-Base | 106 | 281 | EY 2 | 80.41 | -36225.14 | 4969.35 | 64326.26 | 170.28 | 48.61 |
| 12Story-Base | 106 | 281 | EY 3 | 1092.99 | -28842.34 | 260.77 | 51339.69 | 2219.27 | 693.94 |
| 12Story-Base | 106 | 281 | DCon1 | -949.6 | -7.88 | 106956.42 | -8.12 | -892.32 | -0.04 |
| 12Story-Base | 106 | 281 | DCon2 | -812.97 | -4.02 | 91636.13 | -11.21 | -761.8 | -0.02 |
| 12Story-Base | 106 | 281 | DCon3 Max | -21043.68 | 3285.63 | 187216.48 | 7125.35 | -42451.28 | 278.45 |
| 12Story-Base | 106 | 281 | DCon3 Min | -22046.64 | -4046.18 | 182526.05 | -5774.07 | -44481.89 | -361.37 |
| 12Story-Base | 106 | 281 | DCon4 Max | 20284.31 | 4034.96 | 16056.3 | 5753.69 | 42828.53 | 361.32 |
| 12Story-Base | 106 | 281 | DCon4 Min | 19281.34 | -3296.84 | 11365.88 | -7145.74 | 40797.92 | -278.51 |
| 12Story-Base | 106 | 281 | DCon5 Max | 211.83 | -28847.95 | 104260.53 | 64316.07 | 1392.59 | 693.91 |
| 12Story-Base | 106 | 281 | DCon5 Min | -800.75 | -36230.75 | 99551.95 | 51329.49 | -656.4 | 48.58 |
| 12Story-Base | 106 | 281 | DCon6 Max | -961.58 | 36219.53 | 99030.41 | -51349.88 | -996.96 | -48.63 |
| 12Story-Base | 106 | 281 | DCon6 Min | -1974.16 | 28836.73 | 94321.82 | -64336.45 | -3045.95 | -693.96 |
| 12Story-Base | 106 | 281 | DCon7 Max | -20705.14 | 3286.73 | 149043.25 | 7130.91 | -42134.5 | 278.46 |
| 12Story-Base | 106 | 281 | DCon7 Min | -21708.11 | -4045.07 | 144352.83 | -5768.52 | -44165.1 | -361.37 |
| 12Story-Base | 106 | 281 | DCon8 Max | 20622.84 | 4036.07 | -22116.92 | 5759.24 | 43145.31 | 361.32 |
| 12Story-Base | 106 | 281 | DCon8 Min | 19619.88 | -3295.74 | -26807.34 | -7140.18 | 41114.71 | -278.5 |
| 12Story-Base | 106 | 281 | DCon9 Max | 550.36 | -28846.84 | 66087.31 | 64321.62 | 1709.38 | 693.91 |
| 12Story-Base | 106 | 281 | DCon9 Min | -462.22 | -36229.64 | 61378.73 | 51335.05 | -339.62 | 48.58 |
| 12Story-Base | 106 | 281 | DCon10 Max | -623.04 | 36220.64 | 60857.19 | -51344.32 | -680.17 | -48.63 |
| 12Story-Base | 106 | 281 | DCon10 Min | -1635.62 | 28837.84 | 56148.6 | -64330.9 | -2729.17 | -693.96 |
| 12Story-Base | 107 | 282 | Dead | -678.36 | 38.28 | 76341.66 | -47.58 | -637.35 | -0.03 |
| 12Story-Base | 107 | 282 | Live | 0.55 | 1.72 | -34.09 | -2.67 | 1.81 | 0.01 |
| 12Story-Base | 107 | 282 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 107 | 282 | EX1 1 | -20537.85 | -402.31 | 84948.06 | 712.13 | -42380.84 | -41.43 |
| 12Story-Base | 107 | 282 | EX1 2 | -21037.89 | 3263.59 | 87314.35 | -5737.57 | -43392.03 | 278.48 |
| 12Story-Base | 107 | 282 | EX1 3 | -20037.81 | -4068.2 | 82581.77 | 7161.84 | -41369.66 | -361.34 |
| 12Story-Base | 107 | 282 | EY 1 | -574.21 | -32533.62 | -3100.85 | 57832.86 | -1155.72 | 371.27 |
| 12Story-Base | 107 | 282 | EY 2 | -69.37 | -36225.02 | -5476.24 | 64326.14 | -135.35 | 48.61 |
| 12Story-Base | 107 | 282 | EY 3 | -1079.06 | -28842.23 | -725.46 | 51339.58 | -2176.09 | 693.94 |
| 12Story-Base | 107 | 282 | DCon1 | -949.71 | 53.59 | 106878.32 | -66.61 | -892.28 | -0.04 |
| 12Story-Base | 107 | 282 | DCon2 | -813.15 | 48.69 | 91555.44 | -61.36 | -761.91 | -0.02 |
| 12Story-Base | 107 | 282 | DCon3 Max | -20919.13 | 3315.08 | 186524.41 | 7097.32 | -42196.39 | 278.45 |
| 12Story-Base | 107 | 282 | DCon3 Min | -21919.21 | -4016.72 | 181791.83 | -5802.09 | -44218.76 | -361.37 |
| 12Story-Base | 107 | 282 | DCon4 Max | 20156.57 | 4119.69 | 16628.29 | 5673.05 | 42565.29 | 361.32 |
| 12Story-Base | 107 | 282 | DCon4 Min | 19156.49 | -3212.1 | 11895.72 | -7226.36 | 40542.92 | -278.51 |
| 12Story-Base | 107 | 282 | DCon5 Max | -950.69 | -28790.74 | 98484.6 | 64261.62 | -962.09 | 693.91 |
| 12Story-Base | 107 | 282 | DCon5 Min | -1960.38 | -36173.53 | 93733.82 | 51275.06 | -3002.83 | 48.58 |
| 12Story-Base | 107 | 282 | DCon6 Max | 197.74 | 36276.5 | 104686.3 | -51404.1 | 1349.36 | -48.63 |
| 12Story-Base | 107 | 282 | DCon6 Min | -811.95 | 28893.72 | 99935.52 | -64390.66 | -691.38 | -693.96 |
| 12Story-Base | 107 | 282 | DCon7 Max | -20580.5 | 3294.22 | 148387.67 | 7123.78 | -41879.53 | 278.46 |
| 12Story-Base | 107 | 282 | DCon7 Min | -21580.58 | -4037.58 | 143655.1 | -5775.64 | -43901.9 | -361.37 |
| 12Story-Base | 107 | 282 | DCon8 Max | 20495.2 | 4098.83 | -21508.45 | 5699.51 | 42882.15 | 361.32 |
| 12Story-Base | 107 | 282 | DCon8 Min | 19495.11 | -3232.97 | -26241.02 | -7199.9 | 40859.78 | -278.5 |
| 12Story-Base | 107 | 282 | DCon9 Max | -612.06 | -28811.61 | 60347.86 | 64288.08 | -645.23 | 693.91 |
| 12Story-Base | 107 | 282 | DCon9 Min | -1621.75 | -36194.39 | 55597.09 | 51301.52 | -2685.97 | 48.58 |
| 12Story-Base | 107 | 282 | DCon10 Max | 536.36 | 36255.64 | 66549.56 | -51377.64 | 1666.22 | -48.63 |
| 12Story-Base | 107 | 282 | DCon10 Min | -473.32 | 28872.86 | 61798.79 | -64364.21 | -374.52 | -693.96 |
| 12Story-Base | 108 | 277 | Dead | -15.67 | 694.93 | 76547.83 | -672.6 | -6.95 | -0.03 |
| 12Story-Base | 108 | 277 | Live | 1.1 | 1.34 | -5.36 | -2.23 | 2.4 | 0.01 |
| 12Story-Base | 108 | 277 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 108 | 277 | EX1 1 | -28169.36 | -40.11 | 4089.72 | 89.42 | -49920.6 | -41.43 |
| 12Story-Base | 108 | 277 | EX1 2 | -26112.29 | 635.73 | 9305.25 | -1368.13 | -46351.59 | 278.48 |
| 12Story-Base | 108 | 277 | EX1 3 | -30226.44 | -715.95 | -1125.81 | 1546.98 | -53489.61 | -361.34 |
| 12Story-Base | 108 | 277 | EY 1 | 2323.01 | -26245.96 | -120079.3 | 54341.59 | 4092.78 | 371.27 |
| 12Story-Base | 108 | 277 | EY 2 | 246.94 | -26921.75 | -125316.16 | 55799.93 | 491.84 | 48.61 |
| 12Story-Base | 108 | 277 | EY 3 | 4399.08 | -25570.17 | -114842.45 | 52883.24 | 7693.72 | 693.94 |
| 12Story-Base | 108 | 277 | DCon1 | -21.93 | 972.91 | 107166.96 | -941.64 | -9.73 | -0.04 |
| 12Story-Base | 108 | 277 | DCon2 | -17.04 | 836.06 | 91848.81 | -810.69 | -4.5 | -0.02 |
| 12Story-Base | 108 | 277 | DCon3 Max | -26131.55 | 1540.48 | 108812.06 | 670.36 | -46358.22 | 278.45 |
| 12Story-Base | 108 | 277 | DCon3 Min | -30245.7 | 188.79 | 98381.01 | -2244.74 | -53496.24 | -361.37 |
| 12Story-Base | 108 | 277 | DCon4 Max | 30207.17 | 1620.7 | 100632.62 | 491.52 | 53482.97 | 361.32 |
| 12Story-Base | 108 | 277 | DCon4 Min | 26093.02 | 269.01 | 90201.57 | -2423.59 | 46344.95 | -278.51 |
| 12Story-Base | 108 | 277 | DCon5 Max | 4379.81 | -24665.42 | -15335.63 | 54923.32 | 7687.09 | 693.91 |
| 12Story-Base | 108 | 277 | DCon5 Min | 227.68 | -26017.01 | -25809.34 | 52006.63 | 485.21 | 48.58 |
| 12Story-Base | 108 | 277 | DCon6 Max | -266.2 | 27826.5 | 224822.97 | -53759.85 | -498.48 | -48.63 |
| 12Story-Base | 108 | 277 | DCon6 Min | -4418.34 | 26474.92 | 214349.26 | -56676.54 | -7700.36 | -693.96 |
| 12Story-Base | 108 | 277 | DCon7 Max | -26124.82 | 1191.68 | 70543.51 | 1008.9 | -46357.15 | 278.46 |
| 12Story-Base | 108 | 277 | DCon7 Min | -30238.97 | -160.01 | 60112.46 | -1906.21 | -53495.17 | -361.37 |
| 12Story-Base | 108 | 277 | DCon8 Max | 30213.9 | 1271.9 | 62364.07 | 830.05 | 53484.05 | 361.32 |
| 12Story-Base | 108 | 277 | DCon8 Min | 26099.76 | -79.79 | 51933.01 | -2085.06 | 46346.02 | -278.5 |
| 12Story-Base | 108 | 277 | DCon9 Max | 4386.54 | -25014.22 | -53604.19 | 55261.85 | 7688.16 | 693.91 |
| 12Story-Base | 108 | 277 | DCon9 Min | 234.41 | -26365.81 | -64077.89 | 52345.16 | 486.28 | 48.58 |
| 12Story-Base | 108 | 277 | DCon10 Max | -259.47 | 27477.7 | 186554.42 | -53421.32 | -497.4 | -48.63 |
| 12Story-Base | 108 | 277 | DCon10 Min | -4411.61 | 26126.11 | 176080.71 | -56338.01 | -7699.28 | -693.96 |
| 12Story-Base | 109 | 278 | Dead | 28.18 | 694.93 | 76527.8 | -672.5 | 34.77 | -0.03 |
| 12Story-Base | 109 | 278 | Live | 1.11 | 1.38 | -8.92 | -2.31 | 2.41 | 0.01 |
| 12Story-Base | 109 | 278 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 109 | 278 | EX1 1 | -28168.98 | -137.23 | -6260.02 | 320.87 | -49920.23 | -41.43 |
| 12Story-Base | 109 | 278 | EX1 2 | -26114.4 | 1542.79 | 2799.58 | -3165.69 | -46353.6 | 278.48 |
| 12Story-Base | 109 | 278 | EX1 3 | -30223.56 | -1817.24 | -15319.61 | 3807.43 | -53486.87 | -361.34 |
| 12Story-Base | 109 | 278 | EY 1 | 2361.45 | -25125.36 | -112177.43 | 52029.44 | 4129.36 | 371.27 |
| 12Story-Base | 109 | 278 | EY 2 | 287.89 | -26814.94 | -121273.07 | 55535.18 | 530.8 | 48.61 |
| 12Story-Base | 109 | 278 | EY 3 | 4435.01 | -23435.77 | -103081.8 | 48523.7 | 7727.92 | 693.94 |
| 12Story-Base | 109 | 278 | DCon1 | 39.46 | 972.9 | 107138.92 | -941.5 | 48.68 | -0.04 |
| 12Story-Base | 109 | 278 | DCon2 | 35.59 | 836.12 | 91819.08 | -810.7 | 45.58 | -0.02 |
| 12Story-Base | 109 | 278 | DCon3 Max | -26076.66 | 2447.57 | 102276.79 | 2930.87 | -46305.99 | 278.45 |
| 12Story-Base | 109 | 278 | DCon3 Min | -30185.81 | -912.45 | 84157.6 | -4042.25 | -53439.26 | -361.37 |
| 12Story-Base | 109 | 278 | DCon4 Max | 30261.3 | 2722.03 | 114796.82 | 2289.13 | 53534.48 | 361.32 |
| 12Story-Base | 109 | 278 | DCon4 Min | 26152.14 | -638 | 96677.64 | -4683.99 | 46401.21 | -278.51 |
| 12Story-Base | 109 | 278 | DCon5 Max | 4472.75 | -22530.99 | -3604.59 | 54658.62 | 7775.53 | 693.91 |
| 12Story-Base | 109 | 278 | DCon5 Min | 325.63 | -25910.15 | -21795.85 | 47647.14 | 578.41 | 48.58 |
| 12Story-Base | 109 | 278 | DCon6 Max | -250.14 | 27719.72 | 220750.28 | -49400.26 | -483.19 | -48.63 |
| 12Story-Base | 109 | 278 | DCon6 Min | -4397.27 | 24340.56 | 202559.01 | -56411.74 | -7680.31 | -693.96 |
| 12Story-Base | 109 | 278 | DCon7 Max | -26091.85 | 2098.73 | 64021.81 | 3269.43 | -46325.78 | 278.46 |
| 12Story-Base | 109 | 278 | DCon7 Min | -30201.01 | -1261.3 | 45902.62 | -3703.69 | -53459.05 | -361.37 |
| 12Story-Base | 109 | 278 | DCon8 Max | 30246.1 | 2373.18 | 76541.85 | 2627.69 | 53514.69 | 361.32 |
| 12Story-Base | 109 | 278 | DCon8 Min | 26136.95 | -986.85 | 58422.66 | -4345.43 | 46381.41 | -278.5 |
| 12Story-Base | 109 | 278 | DCon9 Max | 4457.56 | -22879.83 | -41859.56 | 54997.19 | 7755.73 | 693.91 |
| 12Story-Base | 109 | 278 | DCon9 Min | 310.43 | -26259 | -60050.83 | 47985.7 | 558.62 | 48.58 |
| 12Story-Base | 109 | 278 | DCon10 Max | -265.34 | 27370.88 | 182495.3 | -49061.7 | -502.98 | -48.63 |
| 12Story-Base | 109 | 278 | DCon10 Min | -4412.46 | 23991.71 | 164304.04 | -56073.18 | -7700.1 | -693.96 |
| 12Story-Base | 110 | 284 | Dead | -64.47 | -45.48 | 108121.56 | 19.25 | -43.94 | -0.06 |
| 12Story-Base | 110 | 284 | Live | 1.3 | 2.75 | -1.31 | -4.58 | 3.96 | 0.02 |
| 12Story-Base | 110 | 284 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 110 | 284 | EX1 1 | -42240.85 | -65.52 | -5725.77 | 167.91 | -87374.04 | -85.92 |
| 12Story-Base | 110 | 284 | EX1 2 | -41203.69 | 1309.32 | -5198.43 | -2814.01 | -85282.73 | 577.45 |
| 12Story-Base | 110 | 284 | EX1 3 | -43278 | -1440.36 | -6253.11 | 3149.84 | -89465.36 | -749.28 |
| 12Story-Base | 110 | 284 | EY 1 | 1149.03 | -53669.01 | -7831.84 | 111373.2 | 2400.54 | 769.87 |
| 12Story-Base | 110 | 284 | EY 2 | 101.98 | -55043.69 | -8361.32 | 114356.72 | 290.33 | 100.79 |
| 12Story-Base | 110 | 284 | EY 3 | 2196.08 | -52294.34 | -7302.36 | 108389.68 | 4510.75 | 1438.94 |
| 12Story-Base | 110 | 284 | DCon1 | -90.26 | -63.67 | 151370.19 | 26.95 | -61.52 | -0.08 |
| 12Story-Base | 110 | 284 | DCon2 | -75.29 | -50.17 | 129743.77 | 15.77 | -46.4 | -0.04 |
| 12Story-Base | 110 | 284 | DCon3 Max | -41286.21 | 1252.95 | 135358.29 | 3170.28 | -85335.9 | 577.4 |
| 12Story-Base | 110 | 284 | DCon3 Min | -43360.52 | -1496.73 | 134303.61 | -2793.57 | -89518.53 | -749.34 |
| 12Story-Base | 110 | 284 | DCon4 Max | 43195.48 | 1383.98 | 146809.82 | 2834.46 | 89412.19 | 749.23 |
| 12Story-Base | 110 | 284 | DCon4 Min | 41121.18 | -1365.69 | 145755.14 | -3129.39 | 85229.56 | -577.51 |
| 12Story-Base | 110 | 284 | DCon5 Max | 2113.57 | -52350.71 | 133254.36 | 114377.17 | 4457.58 | 1438.89 |
| 12Story-Base | 110 | 284 | DCon5 Min | 19.46 | -55100.06 | 132195.4 | 108410.13 | 237.16 | 100.74 |
| 12Story-Base | 110 | 284 | DCon6 Max | -184.49 | 54987.32 | 148918.03 | -108369.23 | -343.5 | -100.85 |
| 12Story-Base | 110 | 284 | DCon6 Min | -2278.6 | 52237.96 | 147859.07 | -114336.28 | -4563.92 | -1439 |
| 12Story-Base | 110 | 284 | DCon7 Max | -41255.27 | 1272.94 | 81298.82 | 3165.24 | -85317.88 | 577.41 |
| 12Story-Base | 110 | 284 | DCon7 Min | -43329.58 | -1476.74 | 80244.14 | -2798.61 | -89500.51 | -749.33 |
| 12Story-Base | 110 | 284 | DCon8 Max | 43226.42 | 1403.97 | 92750.35 | 2829.42 | 89430.2 | 749.24 |
| 12Story-Base | 110 | 284 | DCon8 Min | 41152.12 | -1345.7 | 91695.67 | -3134.43 | 85247.57 | -577.5 |
| 12Story-Base | 110 | 284 | DCon9 Max | 2144.51 | -52330.72 | 79194.89 | 114372.13 | 4475.59 | 1438.9 |
| 12Story-Base | 110 | 284 | DCon9 Min | 50.4 | -55080.07 | 78135.93 | 108405.08 | 255.18 | 100.74 |
| 12Story-Base | 110 | 284 | DCon10 Max | -153.55 | 55007.31 | 94858.57 | -108374.28 | -325.49 | -100.84 |
| 12Story-Base | 110 | 284 | DCon10 Min | -2247.66 | 52257.95 | 93799.61 | -114341.32 | -4545.9 | -1438.99 |
| 12Story-Base | 111 | 286 | Dead | -68.41 | 101.2 | 108234.06 | -118.7 | -47.45 | -0.06 |
| 12Story-Base | 111 | 286 | Live | 0.52 | 3.17 | 25.96 | -4.97 | 3.16 | 0.02 |
| 12Story-Base | 111 | 286 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 111 | 286 | EX1 1 | -41998.46 | -11.94 | -3944.58 | 117.52 | -86857.78 | -85.92 |
| 12Story-Base | 111 | 286 | EX1 2 | -43033.37 | 1363.95 | -4389.3 | -2865.4 | -88941.28 | 577.45 |
| 12Story-Base | 111 | 286 | EX1 3 | -40963.56 | -1387.83 | -3499.86 | 3100.43 | -84774.27 | -749.28 |
| 12Story-Base | 111 | 286 | EY 1 | -1123.76 | -53660.08 | 7708.81 | 111364.8 | -2320.44 | 769.87 |
| 12Story-Base | 111 | 286 | EY 2 | -78.96 | -55035.81 | 8155.69 | 114349.31 | -218.06 | 100.79 |
| 12Story-Base | 111 | 286 | EY 3 | -2168.56 | -52284.35 | 7261.92 | 108380.28 | -4422.82 | 1438.94 |
| 12Story-Base | 111 | 286 | DCon1 | -95.78 | 141.68 | 151527.69 | -166.18 | -66.43 | -0.08 |
| 12Story-Base | 111 | 286 | DCon2 | -81.26 | 126.51 | 129922.41 | -150.4 | -51.89 | -0.04 |
| 12Story-Base | 111 | 286 | DCon3 Max | -41051.97 | 1498.68 | 137230.38 | 2941.15 | -84832.8 | 577.4 |
| 12Story-Base | 111 | 286 | DCon3 Min | -43121.78 | -1253.1 | 136340.93 | -3024.68 | -88999.81 | -749.34 |
| 12Story-Base | 111 | 286 | DCon4 Max | 42944.96 | 1522.55 | 145119.54 | 2706.12 | 88882.75 | 749.23 |
| 12Story-Base | 111 | 286 | DCon4 Min | 40875.15 | -1229.23 | 144230.09 | -3259.72 | 84715.74 | -577.51 |
| 12Story-Base | 111 | 286 | DCon5 Max | -167.37 | -52149.62 | 148885.93 | 114190.03 | -276.59 | 1438.89 |
| 12Story-Base | 111 | 286 | DCon5 Min | -2256.97 | -54901.09 | 147992.16 | 108221 | -4481.35 | 100.74 |
| 12Story-Base | 111 | 286 | DCon6 Max | 2080.15 | 55170.54 | 133468.32 | -108539.57 | 4364.29 | -100.85 |
| 12Story-Base | 111 | 286 | DCon6 Min | -9.45 | 52419.07 | 132574.54 | -114508.6 | 159.53 | -1439 |
| 12Story-Base | 111 | 286 | DCon7 Max | -41018.29 | 1444.91 | 83087.39 | 3005.47 | -84812.23 | 577.41 |
| 12Story-Base | 111 | 286 | DCon7 Min | -43088.1 | -1306.87 | 82197.95 | -2960.36 | -88979.25 | -749.33 |
| 12Story-Base | 111 | 286 | DCon8 Max | 42978.64 | 1468.79 | 90976.55 | 2770.44 | 88903.32 | 749.24 |
| 12Story-Base | 111 | 286 | DCon8 Min | 40908.83 | -1282.99 | 90087.11 | -3195.39 | 84736.31 | -577.5 |
| 12Story-Base | 111 | 286 | DCon9 Max | -133.69 | -52203.39 | 94742.94 | 114254.35 | -256.02 | 1438.9 |
| 12Story-Base | 111 | 286 | DCon9 Min | -2223.29 | -54954.85 | 93849.17 | 108285.32 | -4460.78 | 100.74 |
| 12Story-Base | 111 | 286 | DCon10 Max | 2113.83 | 55116.77 | 79325.33 | -108475.25 | 4384.86 | -100.84 |
| 12Story-Base | 111 | 286 | DCon10 Min | 24.23 | 52365.3 | 78431.56 | -114444.27 | 180.1 | -1438.99 |
| 12Story-Base | 112 | 288 | Dead | 79.65 | -45.57 | 108101.9 | 19.53 | 91.6 | -0.06 |
| 12Story-Base | 112 | 288 | Live | 1.27 | 2.82 | -3.47 | -4.71 | 3.93 | 0.02 |
| 12Story-Base | 112 | 288 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 112 | 288 | EX1 1 | -42241.95 | -296.66 | 5468.96 | 673.61 | -87375.08 | -85.92 |
| 12Story-Base | 112 | 288 | EX1 2 | -41207.55 | 3146.73 | 6002.61 | -6479.85 | -85286.36 | 577.45 |
| 12Story-Base | 112 | 288 | EX1 3 | -43276.34 | -3740.06 | 4935.32 | 7827.06 | -89463.8 | -749.28 |
| 12Story-Base | 112 | 288 | EY 1 | 1190.29 | -51354.72 | -7881.6 | 106613.19 | 2439.35 | 769.87 |
| 12Story-Base | 112 | 288 | EY 2 | 146.01 | -54817.74 | -8417.38 | 113805.99 | 331.74 | 100.79 |
| 12Story-Base | 112 | 288 | EY 3 | 2234.58 | -47891.7 | -7345.82 | 99420.38 | 4546.95 | 1438.94 |
| 12Story-Base | 112 | 288 | DCon1 | 111.5 | -63.79 | 151342.67 | 27.35 | 128.24 | -0.08 |
| 12Story-Base | 112 | 288 | DCon2 | 97.6 | -50.18 | 129716.73 | 15.9 | 116.21 | -0.04 |
| 12Story-Base | 112 | 288 | DCon3 Max | -41102.75 | 3090.31 | 146531.61 | 7847.74 | -85163.35 | 577.4 |
| 12Story-Base | 112 | 288 | DCon3 Min | -43171.54 | -3796.48 | 145464.32 | -6459.17 | -89340.79 | -749.34 |
| 12Story-Base | 112 | 288 | DCon4 Max | 43381.15 | 3683.63 | 135593.68 | 6500.53 | 89586.81 | 749.23 |
| 12Story-Base | 112 | 288 | DCon4 Min | 41312.36 | -3203.15 | 134526.4 | -7806.38 | 85409.37 | -577.51 |
| 12Story-Base | 112 | 288 | DCon5 Max | 2339.38 | -47948.13 | 133183.19 | 113826.67 | 4669.96 | 1438.89 |
| 12Story-Base | 112 | 288 | DCon5 Min | 250.81 | -54874.16 | 132111.63 | 99441.06 | 454.75 | 100.74 |
| 12Story-Base | 112 | 288 | DCon6 Max | -41.2 | 54761.32 | 148946.38 | -99399.7 | -208.73 | -100.85 |
| 12Story-Base | 112 | 288 | DCon6 Min | -2129.77 | 47835.28 | 147874.82 | -113785.31 | -4423.94 | -1439 |
| 12Story-Base | 112 | 288 | DCon7 Max | -41143.83 | 3110.27 | 92484.13 | 7842.68 | -85213.08 | 577.41 |
| 12Story-Base | 112 | 288 | DCon7 Min | -43212.63 | -3776.51 | 91416.84 | -6464.22 | -89390.52 | -749.33 |
| 12Story-Base | 112 | 288 | DCon8 Max | 43340.06 | 3703.6 | 81546.2 | 6495.47 | 89537.08 | 749.24 |
| 12Story-Base | 112 | 288 | DCon8 Min | 41271.27 | -3183.18 | 80478.91 | -7811.43 | 85359.64 | -577.5 |
| 12Story-Base | 112 | 288 | DCon9 Max | 2298.29 | -47928.16 | 79135.71 | 113821.62 | 4620.23 | 1438.9 |
| 12Story-Base | 112 | 288 | DCon9 Min | 209.72 | -54854.19 | 78064.15 | 99436.01 | 405.03 | 100.74 |
| 12Story-Base | 112 | 288 | DCon10 Max | -82.29 | 54781.28 | 94898.9 | -99404.75 | -258.46 | -100.84 |
| 12Story-Base | 112 | 288 | DCon10 Min | -2170.86 | 47855.25 | 93827.34 | -113790.36 | -4473.67 | -1438.99 |
| 12Story-Base | 113 | 290 | Dead | 79.69 | 98.63 | 108100.74 | -116.08 | 91.84 | -0.06 |
| 12Story-Base | 113 | 290 | Live | 1.17 | 2.8 | -4 | -4.7 | 3.77 | 0.02 |
| 12Story-Base | 113 | 290 | EX | 0 | 0 | 0 | 0 | 0 | 0 |
| 12Story-Base | 113 | 290 | EX1 1 | -41984.53 | -327.97 | 5512.04 | 703.05 | -86844.67 | -85.92 |
| 12Story-Base | 113 | 290 | EX1 2 | -43016.21 | 3115.34 | 4974.94 | -6450.32 | -88925.15 | 577.45 |
| 12Story-Base | 113 | 290 | EX1 3 | -40952.84 | -3771.27 | 6049.14 | 7856.42 | -84764.2 | -749.28 |
| 12Story-Base | 113 | 290 | EY 1 | -1164.32 | -51354.71 | 7796.51 | 106613.18 | -2358.58 | 769.87 |
| 12Story-Base | 113 | 290 | EY 2 | -122.75 | -54817.64 | 8335.76 | 113805.9 | -259.24 | 100.79 |
| 12Story-Base | 113 | 290 | EY 3 | -2205.88 | -47891.78 | 7257.26 | 99420.46 | -4457.93 | 1438.94 |
| 12Story-Base | 113 | 290 | DCon1 | 111.56 | 138.08 | 151341.04 | -162.52 | 128.57 | -0.08 |
| 12Story-Base | 113 | 290 | DCon2 | 97.49 | 122.83 | 129714.49 | -146.82 | 116.23 | -0.04 |
| 12Story-Base | 113 | 290 | DCon3 Max | -40848.08 | 3246.35 | 146576.1 | 7700.81 | -84641.04 | 577.4 |
| 12Story-Base | 113 | 290 | DCon3 Min | -42911.45 | -3640.26 | 145501.91 | -6605.93 | -88802 | -749.34 |
| 12Story-Base | 113 | 290 | DCon4 Max | 43120.97 | 3902.28 | 135552.02 | 6294.72 | 89048.3 | 749.23 |
| 12Story-Base | 113 | 290 | DCon4 Min | 41057.6 | -2984.33 | 134477.82 | -8012.02 | 84887.35 | -577.51 |
| 12Story-Base | 113 | 290 | DCon5 Max | -17.99 | -47760.77 | 148862.72 | 113650.3 | -136.09 | 1438.89 |
| 12Story-Base | 113 | 290 | DCon5 Min | -2101.12 | -54686.63 | 147784.23 | 99264.85 | -4334.78 | 100.74 |
| 12Story-Base | 113 | 290 | DCon6 Max | 2310.64 | 54948.66 | 133269.7 | -99576.06 | 4581.08 | -100.85 |
| 12Story-Base | 113 | 290 | DCon6 Min | 227.51 | 48022.8 | 132191.21 | -113961.51 | 382.39 | -1439 |
| 12Story-Base | 113 | 290 | DCon7 Max | -40889.1 | 3194.24 | 92529.74 | 7763.55 | -84690.73 | 577.41 |
| 12Story-Base | 113 | 290 | DCon7 Min | -42952.46 | -3692.37 | 91455.54 | -6543.19 | -88851.68 | -749.33 |
| 12Story-Base | 113 | 290 | DCon8 Max | 43079.96 | 3850.17 | 81505.65 | 6357.45 | 88998.62 | 749.24 |
| 12Story-Base | 113 | 290 | DCon8 Min | 41016.59 | -3036.44 | 80431.46 | -7949.28 | 84837.66 | -577.5 |
| 12Story-Base | 113 | 290 | DCon9 Max | -59 | -47812.88 | 94816.36 | 113713.04 | -185.77 | 1438.9 |
| 12Story-Base | 113 | 290 | DCon9 Min | -2142.14 | -54738.74 | 93737.86 | 99327.59 | -4384.46 | 100.74 |
| 12Story-Base | 113 | 290 | DCon10 Max | 2269.63 | 54896.54 | 79223.33 | -99513.32 | 4531.4 | -100.84 |
| 12Story-Base | 113 | 290 | DCon10 Min | 186.5 | 47970.69 | 78144.84 | -113898.77 | 332.71 | -1438.99 |

## 5.4 Modal Results

Table 5.8 - Modal Periods and Frequencies

| Case | Mode | Period sec | Frequency cyc/sec | Circular Frequency rad/sec | Eigenvalue rad²/sec² |
| --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.566 | 1.768 | 11.109 | 123.4108 |
| Modal | 2 | 0.516 | 1.938 | 12.1748 | 148.2248 |
| Modal | 3 | 0.376 | 2.661 | 16.7194 | 279.5382 |
| Modal | 4 | 0.313 | 3.197 | 20.0845 | 403.387 |
| Modal | 5 | 0.243 | 4.12 | 25.8842 | 669.991 |
| Modal | 6 | 0.198 | 5.055 | 31.7646 | 1008.9903 |
| Modal | 7 | 0.196 | 5.1 | 32.0417 | 1026.6704 |
| Modal | 8 | 0.177 | 5.664 | 35.5864 | 1266.3889 |
| Modal | 9 | 0.141 | 7.094 | 44.574 | 1986.8396 |
| Modal | 10 | 0.127 | 7.884 | 49.5349 | 2453.7077 |
| Modal | 11 | 0.114 | 8.737 | 54.8945 | 3013.4111 |
| Modal | 12 | 0.114 | 8.802 | 55.3049 | 3058.6338 |
| Modal | 13 | 0.11 | 9.092 | 57.1275 | 3263.5495 |
| Modal | 14 | 0.105 | 9.531 | 59.8873 | 3586.4834 |
| Modal | 15 | 0.091 | 11.003 | 69.1336 | 4779.4498 |
| Modal | 16 | 0.082 | 12.176 | 76.5032 | 5852.7454 |
| Modal | 17 | 0.076 | 13.091 | 82.251 | 6765.2349 |
| Modal | 18 | 0.063 | 15.82 | 99.3986 | 9880.0849 |
| Modal | 19 | 0.063 | 15.956 | 100.2516 | 10050.3831 |
| Modal | 20 | 0.059 | 16.826 | 105.7214 | 11177.0242 |
| Modal | 21 | 0.058 | 17.125 | 107.5971 | 11577.1345 |
| Modal | 22 | 0.058 | 17.186 | 107.9802 | 11659.7148 |
| Modal | 23 | 0.058 | 17.335 | 108.919 | 11863.3418 |
| Modal | 24 | 0.057 | 17.682 | 111.0985 | 12342.8662 |
| Modal | 25 | 0.055 | 18.16 | 114.1016 | 13019.1848 |
| Modal | 26 | 0.054 | 18.354 | 115.3221 | 13299.1897 |
| Modal | 27 | 0.044 | 22.59 | 141.9365 | 20145.9771 |
| Modal | 28 | 0.044 | 22.973 | 144.3421 | 20834.6506 |
| Modal | 29 | 0.043 | 23.257 | 146.1262 | 21352.8809 |
| Modal | 30 | 0.04 | 25.244 | 158.6118 | 25157.7095 |
| Modal | 31 | 0.039 | 25.876 | 162.5858 | 26434.1343 |
| Modal | 32 | 0.038 | 26.504 | 166.5274 | 27731.3716 |
| Modal | 33 | 0.037 | 26.941 | 169.2737 | 28653.59 |
| Modal | 34 | 0.035 | 28.7 | 180.3279 | 32518.1414 |
| Modal | 35 | 0.035 | 28.811 | 181.0221 | 32768.9867 |
| Modal | 36 | 0.033 | 30.546 | 191.9271 | 36835.9942 |

Table 5.9 - Modal Participating Mass Ratios (Part 1 of 2)

| Case | Mode | Period sec | UX | UY | UZ | Sum UX | Sum UY | Sum UZ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.566 | 0.4393 | 0.0001 | 0 | 0.4393 | 0.0001 | 0 |
| Modal | 2 | 0.516 | 0.0001 | 0.5553 | 0 | 0.4394 | 0.5554 | 0 |
| Modal | 3 | 0.376 | 3.269E-05 | 0.0576 | 0 | 0.4395 | 0.613 | 0 |
| Modal | 4 | 0.313 | 0.2235 | 1.023E-06 | 0 | 0.663 | 0.613 | 0 |
| Modal | 5 | 0.243 | 2.708E-06 | 0.0935 | 0 | 0.663 | 0.7064 | 0 |
| Modal | 6 | 0.198 | 0.0652 | 0.0011 | 0 | 0.7281 | 0.7076 | 0 |
| Modal | 7 | 0.196 | 0.001 | 0.0686 | 0 | 0.7291 | 0.7762 | 0 |
| Modal | 8 | 0.177 | 0.1182 | 0 | 0 | 0.8473 | 0.7762 | 0 |
| Modal | 9 | 0.141 | 0 | 0.05 | 0 | 0.8473 | 0.8262 | 0 |
| Modal | 10 | 0.127 | 1.176E-06 | 0.0197 | 0 | 0.8473 | 0.8458 | 0 |
| Modal | 11 | 0.114 | 0.0004 | 0.0001 | 0 | 0.8477 | 0.8459 | 0 |
| Modal | 12 | 0.114 | 0.0263 | 2.368E-05 | 0 | 0.874 | 0.8459 | 0 |
| Modal | 13 | 0.11 | 1.662E-05 | 0.0169 | 0 | 0.874 | 0.8628 | 0 |
| Modal | 14 | 0.105 | 0.0325 | 0 | 0 | 0.9065 | 0.8628 | 0 |
| Modal | 15 | 0.091 | 0 | 0.0236 | 0 | 0.9065 | 0.8864 | 0 |
| Modal | 16 | 0.082 | 0 | 0.0132 | 0 | 0.9065 | 0.8997 | 0 |
| Modal | 17 | 0.076 | 0.0144 | 0 | 0 | 0.9209 | 0.8997 | 0 |
| Modal | 18 | 0.063 | 2.224E-06 | 0.0092 | 0 | 0.9209 | 0.9088 | 0 |
| Modal | 19 | 0.063 | 2.073E-06 | 0.0056 | 0 | 0.9209 | 0.9144 | 0 |
| Modal | 20 | 0.059 | 0.0001 | 0.0035 | 0 | 0.921 | 0.9179 | 0 |
| Modal | 21 | 0.058 | 0.0099 | 0.001 | 0 | 0.9309 | 0.919 | 0 |
| Modal | 22 | 0.058 | 0.0021 | 0.0097 | 0 | 0.933 | 0.9287 | 0 |
| Modal | 23 | 0.058 | 0.0001 | 0.0013 | 0 | 0.9331 | 0.93 | 0 |
| Modal | 24 | 0.057 | 0.0083 | 0.0001 | 0 | 0.9414 | 0.9301 | 0 |
| Modal | 25 | 0.055 | 0.0134 | 0.0001 | 0 | 0.9548 | 0.9302 | 0 |
| Modal | 26 | 0.054 | 0.0006 | 0.003 | 0 | 0.9555 | 0.9332 | 0 |
| Modal | 27 | 0.044 | 0.0001 | 0.0085 | 0 | 0.9556 | 0.9417 | 0 |
| Modal | 28 | 0.044 | 0.0063 | 2.965E-05 | 0 | 0.9619 | 0.9418 | 0 |
| Modal | 29 | 0.043 | 0.0002 | 0.0007 | 0 | 0.9621 | 0.9425 | 0 |
| Modal | 30 | 0.04 | 2.018E-06 | 0.0096 | 0 | 0.9621 | 0.952 | 0 |
| Modal | 31 | 0.039 | 0.0072 | 5.815E-06 | 0 | 0.9693 | 0.952 | 0 |
| Modal | 32 | 0.038 | 4.146E-05 | 1.651E-05 | 0 | 0.9694 | 0.9521 | 0 |
| Modal | 33 | 0.037 | 8.118E-06 | 0.0002 | 0 | 0.9694 | 0.9522 | 0 |
| Modal | 34 | 0.035 | 0.0042 | 0.0006 | 0 | 0.9736 | 0.9529 | 0 |
| Modal | 35 | 0.035 | 0.0003 | 0.0077 | 0 | 0.9738 | 0.9606 | 0 |
| Modal | 36 | 0.033 | 9.198E-07 | 0.004 | 0 | 0.9738 | 0.9646 | 0 |

Table 5.9 - Modal Participating Mass Ratios (Part 2 of 2)

| Case | Mode | RX | RY | RZ | Sum RX | Sum RY | Sum RZ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.0001 | 0.4708 | 0.0001 | 0.0001 | 0.4708 | 0.0001 |
| Modal | 2 | 0.4184 | 0.0001 | 0.0167 | 0.4185 | 0.4709 | 0.0168 |
| Modal | 3 | 0.0001 | 3.289E-05 | 0.3956 | 0.4186 | 0.4709 | 0.4124 |
| Modal | 4 | 0 | 0.0069 | 0 | 0.4186 | 0.4778 | 0.4124 |
| Modal | 5 | 0.1506 | 0 | 0.101 | 0.5692 | 0.4778 | 0.5133 |
| Modal | 6 | 0.0021 | 0.1646 | 0.0037 | 0.5713 | 0.6424 | 0.517 |
| Modal | 7 | 0.1329 | 0.0025 | 0.2231 | 0.7042 | 0.6449 | 0.7401 |
| Modal | 8 | 0 | 0.0735 | 0 | 0.7042 | 0.7184 | 0.7401 |
| Modal | 9 | 0.0393 | 1.506E-06 | 0.0604 | 0.7435 | 0.7184 | 0.8005 |
| Modal | 10 | 0.0219 | 0 | 2.28E-05 | 0.7654 | 0.7184 | 0.8005 |
| Modal | 11 | 0.0002 | 0.0004 | 0.0005 | 0.7657 | 0.7188 | 0.801 |
| Modal | 12 | 4.724E-05 | 0.0277 | 0.0001 | 0.7657 | 0.7464 | 0.8011 |
| Modal | 13 | 0.0219 | 2.365E-05 | 0.0524 | 0.7876 | 0.7464 | 0.8535 |
| Modal | 14 | 0 | 0.0779 | 0 | 0.7876 | 0.8243 | 0.8535 |
| Modal | 15 | 0.0297 | 0 | 0.0445 | 0.8172 | 0.8243 | 0.8979 |
| Modal | 16 | 0.0171 | 0 | 1.084E-05 | 0.8344 | 0.8243 | 0.8979 |
| Modal | 17 | 0 | 0.0284 | 0 | 0.8344 | 0.8528 | 0.8979 |
| Modal | 18 | 0.0153 | 1.042E-05 | 0.0036 | 0.8497 | 0.8528 | 0.9015 |
| Modal | 19 | 0.0135 | 2.804E-06 | 0.002 | 0.8632 | 0.8528 | 0.9035 |
| Modal | 20 | 0.0104 | 0.0001 | 0.0031 | 0.8735 | 0.8529 | 0.9066 |
| Modal | 21 | 0.0014 | 0.0137 | 0.0025 | 0.8749 | 0.8666 | 0.909 |
| Modal | 22 | 0.0163 | 0.0031 | 0.0163 | 0.8912 | 0.8698 | 0.9253 |
| Modal | 23 | 0.0001 | 0.0001 | 0.0008 | 0.8912 | 0.8699 | 0.9261 |
| Modal | 24 | 0.0001 | 0.0112 | 0.0001 | 0.8913 | 0.8811 | 0.9262 |
| Modal | 25 | 0.0001 | 0.033 | 0.0006 | 0.8914 | 0.9141 | 0.9268 |
| Modal | 26 | 0.0021 | 0.0016 | 0.0169 | 0.8935 | 0.9157 | 0.9436 |
| Modal | 27 | 0.024 | 0.0002 | 0.0005 | 0.9175 | 0.9159 | 0.9441 |
| Modal | 28 | 0.0002 | 0.0125 | 0.0002 | 0.9176 | 0.9284 | 0.9443 |
| Modal | 29 | 0.0005 | 0.0003 | 0.0046 | 0.9182 | 0.9288 | 0.9489 |
| Modal | 30 | 0.0128 | 5.292E-06 | 0.0051 | 0.931 | 0.9288 | 0.954 |
| Modal | 31 | 4.69E-06 | 0.0159 | 2.558E-05 | 0.931 | 0.9447 | 0.954 |
| Modal | 32 | 4.091E-05 | 0.0001 | 0.0029 | 0.9311 | 0.9448 | 0.9569 |
| Modal | 33 | 0.0004 | 1.508E-05 | 0.0027 | 0.9315 | 0.9448 | 0.9596 |
| Modal | 34 | 0.0012 | 0.0065 | 0.0005 | 0.9327 | 0.9513 | 0.9601 |
| Modal | 35 | 0.0145 | 0.0004 | 0.0059 | 0.9472 | 0.9517 | 0.966 |
| Modal | 36 | 0.0073 | 1.315E-06 | 0.0123 | 0.9545 | 0.9517 | 0.9783 |

Table 5.10 - Modal Load Participation Ratios

| Case | Item Type | Item | Static % | Dynamic % |
| --- | --- | --- | --- | --- |
| Modal | Acceleration | UX | 99.99 | 97.38 |
| Modal | Acceleration | UY | 99.99 | 96.46 |
| Modal | Acceleration | UZ | 0 | 0 |

Table 5.11 - Modal Direction Factors

| Case | Mode | Period sec | UX | UY | UZ | RZ |
| --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.566 | 1 | 0 | 0 | 0 |
| Modal | 2 | 0.516 | 0 | 0.967 | 0 | 0.033 |
| Modal | 3 | 0.376 | 0 | 0.237 | 0 | 0.763 |
| Modal | 4 | 0.313 | 1 | 0 | 0 | 0 |
| Modal | 5 | 0.243 | 0 | 0.691 | 0 | 0.309 |
| Modal | 6 | 0.198 | 0.985 | 0.011 | 0 | 0.004 |
| Modal | 7 | 0.196 | 0.016 | 0.703 | 0 | 0.28 |
| Modal | 8 | 0.177 | 1 | 0 | 0 | 0 |
| Modal | 9 | 0.141 | 0 | 0.672 | 0 | 0.328 |
| Modal | 10 | 0.127 | 0 | 0.431 | 0 | 0.569 |
| Modal | 11 | 0.114 | 0.018 | 0.672 | 0 | 0.311 |
| Modal | 12 | 0.114 | 0.981 | 0.01 | 0 | 0.009 |
| Modal | 13 | 0.11 | 0.001 | 0.39 | 0 | 0.609 |
| Modal | 14 | 0.105 | 1 | 0 | 0 | 0 |
| Modal | 15 | 0.091 | 0 | 0.472 | 0 | 0.528 |
| Modal | 16 | 0.082 | 0 | 0.699 | 0 | 0.301 |
| Modal | 17 | 0.076 | 1 | 0 | 0 | 0 |
| Modal | 18 | 0.063 | 0.001 | 0.423 | 0 | 0.576 |
| Modal | 19 | 0.063 | 0 | 0.641 | 0 | 0.358 |
| Modal | 20 | 0.059 | 0.013 | 0.254 | 0 | 0.733 |
| Modal | 21 | 0.058 | 0.86 | 0.032 | 0 | 0.109 |
| Modal | 22 | 0.058 | 0.126 | 0.283 | 0 | 0.591 |
| Modal | 23 | 0.058 | 0.003 | 0.875 | 0 | 0.121 |
| Modal | 24 | 0.057 | 0.997 | 0.002 | 0 | 0.001 |
| Modal | 25 | 0.055 | 0.953 | 0.015 | 0 | 0.031 |
| Modal | 26 | 0.054 | 0.046 | 0.345 | 0 | 0.609 |
| Modal | 27 | 0.044 | 0.011 | 0.741 | 0 | 0.248 |
| Modal | 28 | 0.044 | 0.951 | 0.036 | 0 | 0.014 |
| Modal | 29 | 0.043 | 0.037 | 0.348 | 0 | 0.615 |
| Modal | 30 | 0.04 | 0.001 | 0.789 | 0 | 0.21 |
| Modal | 31 | 0.039 | 0.994 | 0.001 | 0 | 0.006 |
| Modal | 32 | 0.038 | 0.005 | 0.001 | 0 | 0.993 |
| Modal | 33 | 0.037 | 0.001 | 0.615 | 0 | 0.385 |
| Modal | 34 | 0.035 | 0.925 | 0.038 | 0 | 0.038 |
| Modal | 35 | 0.035 | 0.073 | 0.454 | 0 | 0.473 |
| Modal | 36 | 0.033 | 0 | 0.842 | 0 | 0.158 |